## Slide 1: Wholesale Market Working Group Report to WMS
Bryan Sams
Murali Sithuraj
April 6, 2022
From March 25 WMWG Meeting

## Slide 2: Recap of 3/25/2022 WMWG Meeting
Discussion of pending NPRRs:
  NPRR 1100, Emergency Switching Solutions for Energy Storage Resources
  NPRR 1110, Black Start Requirements
  NPRR 1108, ERCOT Shall Approve or Deny All Resource Outages Requests
Agenda items regarding RUC and NPRR 1118 (Clarification to the OSA Process) were not taken up and will be addressed at the 4/22/22 Meeting.
WMWG also reviewed 3/24/22 Luminant NPRR 1124 Comments on Recovering Actual Fuel Costs Through RUC Guarantee.

## Slide 3: NPRR1110, Black Start Requirements
ERCOT flagged additional comments were pending based on BSWG discussion.
ERCOT Comments filed 4/1/22
    Changed contract period from 2 years to 3 years
    Adds backup fuel requirements to add on-site 72-hour fuel requirements
    Includes black start backup fuel attestation forms
    Adds Black Start Agreement information to the ECEII

## Slide 4: NPRR1108 ERCOT Shall Approve or Deny All Resource Outage Requests
Stepped through 3/22/22 Luminant Comments
ERCOT filed additional comments on 3/31/22 and also has a presentation for WMS today.
ERCOT proposes to approve outages on a first-come, first-service basis while ensuring the total amount of daily outages is below the Maximum Daily Planned Resource Outage Capacity threshold.
Proposes a single project to implement NPRR 1108.
ERCOT plans to post the outage schedule and include the maximum limit of outages that ERCOT can approve to maintain their required reserves as well as the number of outages that have been approved.
ERCOT shortened their deadline to respond to outage requests in some instances.

## Slide 5: Pending Assignments
NPRR 981, Day-Ahead Market Price Correction Process
NPRR 1058, Resource Offer Modernization for Real-Time Co-Optimization
NPRR 1084, Improvements to Reporting of Resource Outages and Derates
NPRR 1100, Emergency Switching Solutions for Energy Storage Resources
NPRR 1108, ERCOT Shall Approve of Deny All Resource Outage Requests
NPRR 1110, Black Start Requirements Update
AS Methodology
  Additional analysis for NSRS quantities
  Definition of conservative operations
Addressing cost and compensation for using voltage reduction for grid reliability
Weatherization Inspections fees (2nd Quarter)

## Slide 6: Next meeting
Expect 4/22 agenda to be posted by 4/15.
Any questions?