## Slide 1: Planning Working Group Update
To
Reliability and Operations Subcommittee
April 7, 2022

## Slide 2: ROS Voting Items
NOGRR 240, Direct Current Tie (DC Tie) Ride-Through Requirements
  Met before DWG review.
  Need for desktop edit to change the time on Table B (from 10ms to 1ms) was noted.
  No other issues or concerns identified.
NPRR 1070 – Planning Criteria for GTC Exit Solutions
  Remain tabled at PLWG pending PUCT rule making related to economic project evaluation.
PGRR 100 – Steady-State Case Building Timeline
  Remain tabled at PLWG pending modifications to Section 6.4 of the Planning Guides
  SSWG can provide 3 updates per year.
  First update under new schedule is proposed for January 30, 2023.
  Section 6.4 of the Planning Guides needs revisions to reflect this change.

## Slide 3: Other items
PLWG Scope Review
  Reviewed PGDTF Responsibility Matrix showing how PGDTF responsibilities are proposed to be distributed to existing working groups.
  PLWG Scope already includes reviewing and maintaining Planning Guide.
  No PLWG Scope change is required.
DC Tie Review of Benefits and Planning Criteria
  Mark Bruce, Cratylus Advisors, showed an updated presentation of DC Tie performance during Winter Storm Uri.
  The presentation was based on previously presented ERCOT data.
  ERCOT continues to recommend waiting on PUCT Rulemaking associated with SB 1281 before taking up rule changes.
  PLWG will continue to review current practices and monitor rulemaking activity.
KTC-15-6 RMR and MRA Services Analysis for Batteries
  No discussion in March

## Slide 4: Questions?