## Slide 1
PDCWG Report to ROS
Chair: Jimmy Jackson, CPS
Vice Chair: Vacant
ROS
April 07, 2022

## Slide 2: Report Overview & Notes
Report Overview
  Meeting Minutes
  BAL-001-TRE-2 FMEs and IMFR
    1 FME in the month of February
  Frequency Control Report

## Slide 3: Meeting Minutes
PDCWG Meeting 3/16/2022
  ERCOT Inertia Analysis
  Overview of the ROS meeting
  ERCOT Reports

## Slide 4: Frequency Measurable Events Performance

## Slide 5: Frequency Measurable Events
There was 1 FME in February
  2/22/2022 6:18:28
    Loss of 764 MW generation
    Interconnection Frequency Response: 1,698 MW/0.1 Hz
    37 Resources were evaluated. These includes,
      35 Generation Resources
      2 Controllable Load Resources
      0 Energy Storage Resources
    3 of 35 Evaluated Generation Resources had less than 75% of their expected Initial Primary Frequency Response.
    5 of 35 Evaluated Generation Resources had less than 75% of their expected Sustained Primary Frequency Response.

## Slide 6: Interconnection Minimum Frequency Response (IMFR) Performance
Frequency Response Obligation (FRO): 412 MW/0.1 Hz
IMFR Performance currently
1096.30 MW/0.1HZ

## Slide 7
Questions?

## Slide 8: Frequency Control Report
February 2022

## Slide 9: CPS1 Performance
Current 12-Month Rolling Average: 171.30%

## Slide 10: RMS1 Performance of ERCOT Frequency

## Slide 11: Frequency Profile Analysis

## Slide 12: Time Error Corrections

## Slide 13: ERCOT Total Energy
Notes: 31,284,898 MWh

## Slide 14: ERCOT Total Energy from Wind Generation
Notes: 8,261,666 MWh

## Slide 15: ERCOT % Energy from Wind Generation
Notes: 26.41%

## Slide 16: ERCOT Total Energy from Solar Generation
Notes: 1,423,230 MWh

## Slide 17: ERCOT % Energy from Solar Generation
Notes: 4.55 %