## Slide 1: Operations Working Group
Chair- Rickey Floyd
Vice-Chair- Shawn McCreary
HITE List Sub-Chair – Pushkar Chhajed
04/07/2022

## Slide 2: NPRR1084
Improvements to Reporting of Resource Outages and Derates.
  ERCOT comments were reviewed that included comments from Centerpoint
    ERCOT was supportive of comments submitted by CenterPoint and is planning submitting additional comments before the next OWG
    MPs would like to continue to work with ERCOT on changes to comments
  NPRR1084 remains Tabled

## Slide 3: NPRR1085
Ensuring Continuous Validity of Physical Responsive Capability (PRC) and Dispatch through Timely Changes to Resource Telemetry and Current Operating Plans (COPs)
  Concerns raised on personnel being able to provide accurate information to ERCOT as required in the comments
  Concerns were discussed about keeping COP updated and compliance risk if information was wrong
  Recommendations were reiterated on adding an “ON-HOLD” option when a units is experiencing issues for a long term solution and possibly locking the HSL or using “ONTEST” as a interim solution
  ERCOT is still evaluating latest comments from MPs
  Stakeholders reported a meeting was scheduled with ERCOT to discuss NPRR1085.
  NPRR1085 remains tabled

## Slide 4: NPRR1100 - Emergency Switching Solutions for Energy Storage Resources
ERCOT presented slides proposing language for Open Transition.
6.5.5.1 paragraph 4
  OWG consensus did not reached on comments presented in the slides
  Changes to these comments may be pending
6.5.6 paragraph 4, (i), (ii), (iii) and (iv)
  Stakeholders at OWG raised questions regarding why these comments were needed.

## Slide 5: NPRR1118, Clarifications to the OSA Process
Reviewed initial comments.
Discussions will continue at next OWG

## Slide 6: NOGRR240 Direct Current Tie (DC Tie) Ride-Through Requirements
NOGRR240 was reviewed and consensus was reached on comments

## Slide 7: NOGRR215 – Limited Use of RAS
Tabled pending new comments from ERCOT

## Slide 8: NOGRR226 - Revision to 5% Transmission Operator (TO) Load Shedding Relay Set Point
Comments were filed by Oncor and reviewed at OWG. The comments were submitted as a concept for adding a softer UFLS at frequency levels between 59.3 and 59.4.
ERCOT gave a presentation on the studies they would be conducting based on the original comments, the latest comments and possibly changing the trigger for EEA 3. The studies are planned to be finished in early May.
A copy of the ERCOT presentation is available on the February OWG meeting site.
NOGRR226 remains tabled pending ERCOT study results

## Slide 9: TAC Assignment: Following the 12/16/21 PUCT approval of NPRR1105
Option to Deploy Distribution Voltage Reduction Measures Prior to Energy Emergency Alert (EEA), review and evaluate the effectiveness and criteria to use when deploying voltage reduction before EEA
  ERCOT presented updates to their presentation as requested by OWG.
  Updates included separating the data for clarity, provide information on the deployment of VR, (SCADA controlled and manual deployment)
  ERCOT was asked to provide data on how long the benefit of voltage reduction will last. ERCOT will post a report from a VRTF.
  The ERCOT updated presentation is available at the OWG March meeting site
  OWG will discuss the “criteria to use when deploying VR before EEA” at next months meeting.