## Slide 1
Generation Resource Energy and Regulation Deployment Performance Report for March 2022

## Slide 2: Non-IRR GREDP < 85% – March 2022
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 209 | 5 | 7 | 0.72 | 71.43
Unit 211 | 10 | 13 | 0.71 | 76.92
Unit 318 | 5 | 10 | 0.70 | 50.00
Unit 383 | 0 | 7 | 0.86 | 0.00

## Slide 3: IRR Summary – March 2022
IRR | Fleet | < 95% | > 100 INT, < 95%
GREDP Average (%) | 86.56 | 73.31 | 83.76
GREDP Median (%) | 95.62 | 83.13 | 88.94
Average MW Error | 5.30 | 5.67 | 5.77
Median MW Error | 4.71 | 4.88 | 4.93
Total Intervals Scored | 172,849 | 64,568 | 63,194
100+ Intervals Scored | 146 | 137.00 | 64
Total Intervals Scored Average | 608.62 | 603.44 | 987.41

## Slide 4: IRR ≥ 95%, ≥ 100 Scored Intervals – March 2022
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 3 | 3,368 | 3,405 | 4.44 | 98.91
Unit 4 | 3,267 | 3,329 | 3.37 | 98.14
Unit 5 | 3,037 | 3,189 | 3.84 | 95.23
Unit 6 | 3,019 | 3,167 | 3.20 | 95.33
Unit 7 | 3,133 | 3,157 | 3.76 | 99.24
Unit 8 | 3,000 | 3,026 | 6.50 | 99.14
Unit 9 | 2,867 | 3,003 | 2.88 | 95.47
Unit 11 | 2,864 | 2,895 | 4.71 | 98.93
Unit 13 | 2,817 | 2,826 | 2.47 | 99.68
Unit 14 | 2,802 | 2,808 | 2.83 | 99.79
Unit 15 | 2,761 | 2,768 | 3.26 | 99.75
Unit 17 | 2,615 | 2,648 | 4.15 | 98.75
Unit 19 | 2,336 | 2,343 | 8.63 | 99.70
Unit 20 | 2,235 | 2,239 | 8.13 | 99.82
Unit 21 | 2,161 | 2,222 | 7.56 | 97.25
Unit 26 | 2,040 | 2,145 | 2.10 | 95.10
Unit 27 | 2,095 | 2,118 | 5.75 | 98.91
Unit 30 | 1,831 | 1,868 | 7.79 | 98.02
Unit 31 | 1,768 | 1,819 | 4.02 | 97.20
Unit 32 | 1,739 | 1,808 | 4.35 | 96.18

## Slide 5: IRR ≥ 95%, ≥ 100 Scored Intervals – March 2022
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 33 | 1,730 | 1,800 | 6.04 | 96.11
Unit 34 | 1,768 | 1,782 | 7.29 | 99.21
Unit 36 | 1,702 | 1,722 | 2.34 | 98.84
Unit 37 | 1,676 | 1,717 | 7.78 | 97.61
Unit 41 | 1,580 | 1,597 | 10.42 | 98.94
Unit 42 | 1,537 | 1,549 | 15.42 | 99.23
Unit 44 | 1,502 | 1,512 | 6.12 | 99.34
Unit 45 | 1,478 | 1,505 | 11.47 | 98.21
Unit 46 | 1,468 | 1,501 | 6.15 | 97.80
Unit 47 | 1,482 | 1,482 | 4.55 | 100.00
Unit 49 | 1,448 | 1,464 | 1.38 | 98.91
Unit 50 | 1,389 | 1,453 | 9.68 | 95.60
Unit 51 | 1,417 | 1,439 | 1.30 | 98.47
Unit 52 | 1,394 | 1,424 | 5.88 | 97.89
Unit 54 | 1,358 | 1,399 | 1.35 | 97.07
Unit 55 | 1,339 | 1,397 | 0.67 | 95.85
Unit 56 | 1,289 | 1,316 | 1.29 | 97.95
Unit 57 | 1,261 | 1,310 | 13.03 | 96.26
Unit 58 | 1,282 | 1,298 | 9.25 | 98.77
Unit 61 | 1,252 | 1,276 | 1.39 | 98.12

## Slide 6: IRR ≥ 95%, ≥ 100 Scored Intervals – March 2022
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 62 | 1,235 | 1,269 | 4.11 | 97.32
Unit 64 | 1,213 | 1,222 | 1.23 | 99.26
Unit 67 | 1,141 | 1,195 | 6.03 | 95.48
Unit 70 | 1,151 | 1,157 | 5.41 | 99.48
Unit 71 | 1,113 | 1,113 | 3.73 | 100.00
Unit 72 | 1,091 | 1,110 | 4.76 | 98.29
Unit 73 | 1,091 | 1,096 | 6.94 | 99.54
Unit 74 | 1,061 | 1,093 | 11.82 | 97.07
Unit 76 | 1,029 | 1,050 | 2.18 | 98.00
Unit 77 | 1,025 | 1,046 | 3.79 | 97.99
Unit 78 | 989 | 1,023 | 3.26 | 96.68
Unit 79 | 927 | 962 | 4.42 | 96.36
Unit 81 | 908 | 934 | 7.13 | 97.22
Unit 82 | 870 | 896 | 3.44 | 97.10
Unit 84 | 849 | 883 | 3.94 | 96.15
Unit 85 | 851 | 858 | 4.91 | 99.18
Unit 86 | 808 | 834 | 4.89 | 96.88
Unit 91 | 658 | 663 | 4.10 | 99.25
Unit 96 | 566 | 571 | 6.53 | 99.12
Unit 97 | 541 | 558 | 8.38 | 96.95

## Slide 7: IRR ≥ 95%, ≥ 100 Scored Intervals – March 2022
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 98 | 488 | 500 | 0.56 | 97.60
Unit 102 | 417 | 433 | 5.23 | 96.30
Unit 108 | 346 | 359 | 1.24 | 96.38
Unit 110 | 332 | 332 | 5.08 | 100.00
Unit 112 | 302 | 308 | 8.10 | 98.05
Unit 113 | 303 | 306 | 7.71 | 99.02
Unit 116 | 281 | 292 | 8.80 | 96.23
Unit 118 | 256 | 266 | 4.16 | 96.24
Unit 120 | 247 | 255 | 4.06 | 96.86
Unit 121 | 240 | 248 | 3.38 | 96.77
Unit 123 | 242 | 242 | 5.76 | 100.00
Unit 125 | 229 | 232 | 4.72 | 98.71
Unit 126 | 214 | 217 | 12.36 | 98.62
Unit 127 | 206 | 216 | 5.66 | 95.37
Unit 131 | 189 | 190 | 3.78 | 99.47
Unit 134 | 153 | 158 | 5.57 | 96.84
Unit 137 | 146 | 152 | 4.13 | 96.05
Unit 140 | 133 | 140 | 1.84 | 95.00
Unit 143 | 125 | 126 | 5.53 | 99.21
Unit 144 | 113 | 113 | 3.17 | 100.00

## Slide 8: IRR ≥ 95%, ≥ 100 Scored Intervals – March 2022
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 145 | 102 | 106 | 9.70 | 96.23
Unit 147 | 100 | 100 | 3.66 | 100.00

## Slide 9: IRR < 95%, ≥ 100 Scored Intervals – March 2022
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 2 | 3,605 | 3,803 | 4.43 | 94.79
Unit 10 | 2,657 | 2,904 | 1.72 | 91.49
Unit 12 | 2,438 | 2,862 | 8.51 | 85.19
Unit 16 | 2,423 | 2,715 | 4.88 | 89.24
Unit 18 | 2,077 | 2,552 | 3.50 | 81.39
Unit 22 | 2,040 | 2,184 | 2.70 | 93.41
Unit 23 | 1,935 | 2,183 | 4.09 | 88.64
Unit 24 | 1,838 | 2,169 | 8.50 | 84.74
Unit 25 | 1,340 | 2,150 | 4.18 | 62.33
Unit 28 | 1,496 | 2,055 | 5.89 | 72.80
Unit 29 | 1,046 | 1,962 | 6.48 | 53.31
Unit 35 | 1,626 | 1,741 | 3.47 | 93.39
Unit 38 | 1,535 | 1,703 | 6.42 | 90.14
Unit 39 | 1,603 | 1,701 | 6.93 | 94.24
Unit 40 | 1,520 | 1,609 | 6.80 | 94.47
Unit 43 | 1,444 | 1,521 | 7.13 | 94.94
Unit 48 | 1,403 | 1,480 | 4.29 | 94.80
Unit 53 | 1,337 | 1,422 | 6.37 | 94.02
Unit 59 | 1,184 | 1,298 | 3.82 | 91.22
Unit 60 | 1,153 | 1,278 | 8.29 | 90.22

## Slide 10: IRR < 95%, ≥ 100 Scored Intervals – March 2022
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 63 | 1,173 | 1,254 | 3.16 | 93.54
Unit 65 | 407 | 1,216 | 4.24 | 33.47
Unit 66 | 1,000 | 1,212 | 6.53 | 82.51
Unit 68 | 1,122 | 1,188 | 3.71 | 94.44
Unit 69 | 1,108 | 1,176 | 1.75 | 94.22
Unit 75 | 857 | 1,089 | 20.87 | 78.70
Unit 80 | 791 | 960 | 8.48 | 82.40
Unit 83 | 726 | 888 | 6.09 | 81.76
Unit 87 | 740 | 797 | 2.26 | 92.85
Unit 88 | 534 | 751 | 9.12 | 71.11
Unit 89 | 635 | 725 | 4.77 | 87.59
Unit 90 | 642 | 676 | 8.45 | 94.97
Unit 92 | 385 | 650 | 11.46 | 59.23
Unit 93 | 520 | 649 | 10.93 | 80.12
Unit 94 | 564 | 600 | 3.39 | 94.00
Unit 95 | 542 | 575 | 2.84 | 94.26
Unit 99 | 459 | 493 | 1.11 | 93.10
Unit 100 | 241 | 460 | 5.99 | 52.39
Unit 101 | 409 | 436 | 4.33 | 93.81
Unit 103 | 202 | 401 | 4.98 | 50.37

## Slide 11: IRR < 95%, ≥ 100 Scored Intervals – March 2022
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 104 | 352 | 401 | 3.92 | 87.78
Unit 105 | 343 | 391 | 4.06 | 87.72
Unit 106 | 336 | 387 | 4.07 | 86.82
Unit 107 | 255 | 361 | 4.49 | 70.64
Unit 109 | 311 | 332 | 5.59 | 93.67
Unit 111 | 215 | 323 | 14.60 | 66.56
Unit 114 | 267 | 296 | 10.71 | 90.20
Unit 115 | 233 | 295 | 9.46 | 78.98
Unit 117 | 237 | 276 | 2.46 | 85.87
Unit 119 | 242 | 261 | 7.79 | 92.72
Unit 122 | 226 | 247 | 2.95 | 91.50
Unit 124 | 196 | 233 | 4.30 | 84.12
Unit 128 | 198 | 211 | 10.75 | 93.84
Unit 129 | 185 | 196 | 7.89 | 94.39
Unit 130 | 177 | 191 | 1.27 | 92.67
Unit 132 | 150 | 166 | 1.67 | 90.36
Unit 133 | 142 | 164 | 5.04 | 86.59
Unit 135 | 140 | 155 | 5.30 | 90.32
Unit 136 | 138 | 153 | 3.64 | 90.20
Unit 138 | 81 | 147 | 1.05 | 55.10

## Slide 12: IRR < 95%, ≥ 100 Scored Intervals – March 2022
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 139 | 129 | 146 | 5.73 | 88.36
Unit 141 | 82 | 138 | 8.69 | 59.42
Unit 142 | 111 | 132 | 4.56 | 84.09
Unit 146 | 82 | 104 | 6.34 | 78.85