## Slide 1
Interim Large Load Interconnection Process Overview
John Bernecker
Manager, Transmission Planning Assessment

## Slide 2: Background
ERCOT established an interim large load interconnection process to ensure that large loads with accelerated interconnection timelines are interconnected reliably and that requirements of NERC Reliability Standards are met
The need for the interim process stems from accelerated timeframes, not flexibility
The interim process does not add new requirements, but rather ensures that existing requirements are being met
ERCOT expects to develop a long-term large load interconnection process in collaboration with stakeholders

## Slide 3: Stakeholder Communication
ERCOT presented existing large load interconnection requirements at the March 3, 2022 ROS meeting
  Included references to applicable NERC Reliability Standards (FAC-001 and FAC-002)
ERCOT sent a Market Notice on the interim large load interconnection process on March 25
  Included applicability requirements:
    Loads not modeled and studied in a completed RTP, FIS, or RPG review
    New or increased standalone load ≥ 75 MW in the next two years
    New or increased load co-located with a Resource ≥ 20 MW in the next two years

## Slide 4: Interim Large Load Interconnection Process

## Slide 5: Example Timeline

## Slide 6: Contact Information
Studies and other communication related to the interim large load interconnection process can be sent to LargeLoadInterconnection@ercot.com