## Slide 1
General Updates
Joel Koepke
March 14, 2022

## Slide 2: Topics
ERCOT Staffing Changes
Double Circuit Contingencies
Incoming MAGE Release
Interim Large Load Interconnection Process

## Slide 3: MAGE Release – End of March
Issue - Certain users were unable to launch MAGE after receiving a new computer
Resolution - A new MAGE release will be released at the end of this month. If prompted, please download and update MAGE.
Details – The release does not update any code within MAGE therefore no functionality will be changed. The only change is to a backend DLL to support authentication.
Date – Likely end of March but final verification testing is still in progress

## Slide 4: Interim Large Load Interconnection Process
Emerging topic – Speed in which certain large loads are being conceived and implemented
FAC-002 R3 requires coordination of studies with the Planning Coordinator when materially modifying end-user Facilities.
  This is typically met by the RPG/RTP/TIS Planning processes
ERCOT is implementing an interim Large Load Interconnection process to ensure obligations are met.
ERCOT will be reviewing all loads submitted via NMMS or RARF/RIOO