## Slide 1
RUC Activities Overview – January to March 2022
ERCOT Staff
WMWG RUC Workshop
April 22, 2022
ERCOT Public

## Slide 2: RUC Resource-Hours
* The difference between “Instructed” and “Effective” values is a result of Resources starting up, shutting down, receiving partial hour instructions, or otherwise not being dispatchable by SCED.
 | January 2022 |  |  | February 2022 |  |  | March 2022 |  | 
 | Total | Opt-Out | Non-Opt-Out | Total | Opt-Out | Non-Opt-Out | Total | Opt-Out | Non-Opt-Out
Instructed Resource-hours | 114.0 | 26.0 | 88.0 | 1014.0 | 64.0 | 950.0 | 277.0 | 62.0 | 215.0
Effective Resource-hours* | 105.8 | 26.0 | 79.8 | 991.8 | 62.5 | 929.4 | 255.5 | 55.7 | 199.9
Average LSL | 128.0 | 208.8 | 102.5 | 110.5 | 109.0 | 110.6 | 104.6 | 129.4 | 97.7
Average LDL | 132.0 | 220.0 | 104.1 | 113.9 | 164.8 | 110.5 | 112.3 | 158.0 | 99.6
Average BP | 137.8 | 241.2 | 105.1 | 115.7 | 190.6 | 110.6 | 117.3 | 178.3 | 100.4
Average HSL | 386.9 | 353.9 | 397.3 | 303.3 | 283.7 | 304.7 | 335.2 | 314.0 | 341.1

## Slide 3: Non-opt-out and Opt-out Totals: Last 13 Months February 2022 has a total of 929.4 non-opt-out effective Resource-hours and 62.5 opt-out effective Resource-hours. Its total BP MWh and HSL MWh were highest since July 2021.

## Slide 4: RUC Instruction Reasons
January 2022
105.8 effective RUC Resource-hours, 100% for capacity concerns.
  26.0 effective Resource-hours (24.6%) were successfully bought back.
February 2022
991.8 effective RUC Resource-hours in February 2022. 991.2 Resource-hours (99.94%) for capacity concerns, and 0.6 Resource-hours (0.06%) for congestion concerns.
  62.5 effective Resource-hours (6.3%) were successfully bought back.
March 2022
255.5 effective RUC Resource-hours, 198.0 Resource-hours (77.46%) for capacity concerns, and 57.6 Resource-hours (22.54%) for congestion concerns.
  55.7 effective Resource-hours (21.80%) were successfully bought back.

## Slide 5: Non-opt-out and Opt-out Totals: January 2022 RUC in January 2022 were all driven by capacity concerns. Operating Day 1/7/2022 has the highest Resource-hours, total BP MWh and HSL MWh due to cold weather

## Slide 6: Non-opt-out and Opt-out Totals: February 2022 RUC in February 2022 were primarily driven by two separate cold events. Most Opt-out Resource-hours occurred on Operating Day 2/23/2022

## Slide 7: Non-opt-out and Opt-out Totals: March 2022 RUC in March 2022 were primarily driven by capacity concerns. Most Opt-out Resource-hours occurred on Operating Day 3/1/2022 and 3/7/2022

## Slide 8: Hourly RUC Effective Hours and MWh in January 2022 RUC in January 2022 were all driven by capacity concerns. Operating Day 1/7/2022 has the highest Resource-hours, total BP MWh and HSL MWh due to cold weather
Note: HSL MWh is calculated as Real-Time HSL times SCED duration, summed over all SCED intervals on an hourly basis.

## Slide 9: Hourly RUC Effective Hours and MWh in February 2022 RUC in February 2022 were primarily driven by two separate cold events. Most Opt-out Resource-hours occurred on Operating Day 2/23/2022
Note: HSL MWh is calculated as Real-Time HSL times SCED duration, summed over all SCED intervals on an hourly basis.

## Slide 10: Hourly RUC Effective Hours and MWh in March 2022 RUC in March 2022 were primarily driven by capacity concerns. Most Opt-out Resource-hours occurred on Operating Day 3/1/2022 and 3/7/2022
Note: HSL MWh is calculated as Real-Time HSL times SCED duration, summed over all SCED intervals on an hourly basis.

## Slide 11: RUC-Instructed Resource Dispatch above LDL
January 2022
When Resources did not successfully opt out, there were 1.8 effective Resource-hours for which the Resource was dispatched above its LDL.
  For all these Resource-hours, the RUC-instructed Resource was mitigated.
February 2022
When Resources did not successfully opt out, there were 0.3 effective Resource-hours for which the Resource was dispatched above its LDL.
  For all these Resource-hours, the RUC-instructed Resource was mitigated.
March 2022
When Resources did not successfully opt out, there were 6.6 effective Resource-hours for which the Resource was dispatched above its LDL.
  For 3.3 of these Resource-hours, the RUC-instructed Resource was mitigated.
  For the other 3.3 of these Resource-hours, the RUC-instructed Resource was DAM-committed, and the Resource-hours were counted as Opt-out.

## Slide 12: Average Resource Age For the first three months of 2022, the mean opt-out Resource age is 50.4 years and mean non-opt-out Resource is 39.7 years.
Note: For Resource configurations with multiple physical generators, the age of the oldest generator is used.

## Slide 13: Age Category Majority of RUC Committed Resources in the first three months of 2022 were older than 40 years.
Non-opt-out
Opt-out

## Slide 14: RUC Clawback, Capacity Short Charges, and Shortfall The highest monthly clawback charge was $9.4 million in February 2022, and the highest monthly total Capacity Short Charge was $3.1 million in the same month. The Capacity Short Charge was nearly fully covered by Make-whole payment.
 | January 2022 | February 2022 | March 2022
Make-whole ($ Million) | 0.245 | 3.102 | 0.636
Uplift to Load ($) | 0.31 | 2.01 | 0.6