## Slide 1
Item 11.2.2: TAC Recommendation Opposition of ERCOT on NPRR1108, ERCOT Shall Approve or Deny All Resource Outage Requests (URGENT) – ERCOT Position Statement
Woody Rickerson
Vice Present, System Planning and Weatherization
Board of Directors Meeting
ERCOT Public
April 28, 2022

## Slide 2: Overview
ERCOT’s outage coordination mandate under Senate Bill 3
Current outage coordination practice
NPRR1108/Maximum Daily Resource Planned Outage Capacity concept
Concerns with TAC recommendations
  Guaranteed minimum Outage capacity value
  Right to reschedule Resource Outages due to an AAN or OSA
  TAC approval of ERCOT’s methodology

## Slide 3: Utilities Code § 35.0021(f)
The independent organization certified under Section 39.151 for the ERCOT power region shall review, coordinate, and approve or deny requests by providers of electric generation service described by Subsection (a) for a planned power outage during any season and for any period of time.
This language was enacted by the Legislature in 2021 as part of Senate Bill 3 and became effective on June 8, 2021
Establishes clear mandate to coordinate generator planned outages

## Slide 4: Current Outage Coordination Practices
Outages are studied within a defined time period after they are submitted
The grid conditions for an outage are studied several times ahead of the day the outage starts
Each study includes all approved or accepted outages during the period of the study
Automatic acceptance of outages raises concern under section 35.0021(f)
 | Planned Outages |  | Unplanned (Forced) Outages
 | Submitted >45 Days Ahead | Submitted <45 Days Ahead | 
Generation Resources | Automatically Accepted | Evaluated for transmission security issues on timeline | Accepted as submitted unless able to be delayed
Transmission | Evaluated for transmission security issues on timeline | Evaluated for transmission security issues on timeline | Accepted as submitted unless able to be delayed

## Slide 5: NPRR1108
ERCOT sponsored NPRR1108 to specify how it would decide whether to approve or reject each proposed outage, as required by Utilities Code § 35.0021(f).
Key feature: Maximum Daily Planned Resource Outage Capacity (MDRPOC)
  MDRPOC is a limit on the total amount of generator outage capacity for each day over the next five years.
  MDRPOC allows higher number of outages during fall and spring to ensure generation availability for summer and winter peak load seasons.
  MDRPOC will be updated twice each month and daily remaining outage capacity values will be updated at least twice per day.
  These values will be posted to ERCOT’s website. This visibility will enable generation owners to schedule Planned Outages at times that will not compromise system reliability.

## Slide 6: Maximum Daily Resource Planned Outage Capacity
Currently, generators often schedule their planned outages for the same few weeks in the spring and fall, which has sometimes resulted in a forecasted generation shortage.
MDRPOC approach enables generators to monitor publicly posted remaining outage capacity values for each day within the next five years and schedule their outages within those limits.
April
October
Generation outages are often scheduled at common times

## Slide 7: Maximum Daily Resource Planned Outage Capacity
Using 2021 actual planned outages (which were highest outages since 2019), MDRPOC provides at least 15% additional margin for 2022-2024, 10% for 2025, and 5% for 2026.*
Use of MDRPOC would require some outages to be moved a little earlier in the spring and a little later in the fall.
ERCOT has flexibility to adjust methodology as necessary to maximize opportunities for generator maintenance while ensuring near-term reliability.
* Additional margin calculated by subtracting the total area under the 2021 Planned Outage shape from the proposed MDRPOC.
2022
2023
2024
2025
2026

## Slide 8: Concerns with TAC Recommendations
Guaranteed minimum outage capacity value
Right to reschedule generator outages due to an Advanced Action Notice (AAN) or Outage Schedule Adjustment (OSA)
Requirement for TAC approval of ERCOT’s methodology

## Slide 9: 1. Concerns with Minimum Outage Restriction
Establishing a guaranteed minimum (or “floor”) for the MDRPOC impairs ERCOT’s ability to ensure reliability by preventing ERCOT from ensuring sufficient generation capacity is available to meet expected conditions in cases where the floor exceeds the MDRPOC.
Floor is also unnecessary: ERCOT’s methodology will ensure sufficient outage headroom to conduct all needed generator maintenance.
If expected operating conditions improve, ERCOT will increase the MDRPOC to allow more Planned Outages for a given day.
The floor approved by TAC exceeds the current MDRPOC by more than 70% at certain times

## Slide 10: 1. Concerns with Minimum Outage Restriction
The TAC proposal would rely heavily on increased usage of AAN/OSA for periods when ERCOT’s projected MDRPOC would be below the TAC Minimum Outage Restriction floor.
The AAN/OSA process has proven to be useful, but it is not sufficient to ensure reliable operating conditions.
  Protocol § 3.1.6.9(3)(e) allows ERCOT to issue an OSA only within seven days of the Operating Day, which may be too late to stop an outage that would cause a reliability problem for that Operating Day.
  Protocol § 3.1.6.9(3)(c) allows generators to opt out of an OSA based on Resource reliability, compliance with contractual warranty obligations, or other reasons beyond the QSE’s control.
  Overlapping AAN/OSA periods with multiple Market Notice requirements would be difficult to coordinate.

## Slide 11: 2. Concerns with Right to Reschedule Resource Outages Due to an AAN or OSA
Under the TAC language, ERCOT would have to automatically accept outages rescheduled due to an AAN or OSA.
The alternative outage date selected by the generator could be just as bad or worse in terms of available capacity.
Those outages should be rescheduled at a time that can reasonably be accommodated based on the amount of remaining generation on the system.
If outages must be rescheduled due to an AAN/OSA, ERCOT should have the discretion to approve the rescheduled date.
ERCOT’s methodology will ensure that near-term reliability can be managed while accommodating generators to schedule planned outages needed over the longer term.
OSA
is required
Bad time to reschedule
Good time to reschedule

## Slide 12: 3. Concerns with requirement for TAC approval of ERCOT’s methodology
The methodology should ultimately be controlled by the ERCOT independent system operator, which is responsible for maintaining the reliability of Texas power grid (Utilities Code § 39.151(a)(2)).
ERCOT’s goal is to allow as much capacity and flexibility for generator Planned Outages as possible while maintaining reliability.
ERCOT agrees that stakeholders should have notice of any proposed change to its methodology and a reasonable opportunity to comment on the change.
Stakeholder feedback has been valuable as it has refined the methodology through the NPRR process. ERCOT will continue to solicit that feedback and incorporate it when feasible.
To ensure greater oversight of the MDRPOC methodology, ERCOT proposes that for any change, ERCOT will solicit stakeholder feedback through a Market Notice at least 14 days before seeking approval of the changes by the ERCOT Board, except where an actual or anticipated Emergency Condition justifies a shorter comment period.

## Slide 13: Other changes in ERCOT’s comment
Exemption of Qualifying Facilities from obtaining ERCOT approval of Resource Planned Outage requests.
  TAC-approved language and TAC advocate position cites to US Code definitions of “cogeneration facility” and “qualifying cogeneration facility,” but language still refers only to “qualifying cogeneration facility.”
  ERCOT does not have information needed to confirm which units are eligible for this exemption. ERCOT language requires generator to provide ERCOT information demonstrating generator’s eligibility for exemption from MDRPOC.
  ERCOT’s updated language in its 4/25/22 comments ensures scope is appropriately limited to industrial generation facilities, per Utilities Code § 39.151(l).
  Only ERCOT’s language gives ERCOT authority to deny exemption in case where outage would threaten transmission network reliability, consistent with explicit allowance in Utilities Code § 39.151(l).
  Only ERCOT’s language ensures exemption is limited to situations in which outage is attributable to the industrial load’s internal processes and is not simply a routine generator maintenance outage taken independent of the needs of the load.
Relocate the exemption for nuclear-powered Generation Resources. Language identical to TAC version.

## Slide 14: Summary of Proposed MDRPOC Calculation (subject to further revision and stakeholder comment)
For days that are more than seven days ahead of the Operating Day:
MDRPOC for all Resources other than Intermittent Renewable Resources (IRR) and Industrial Generation Facilities (IGF) = thermal Resources installed seasonal capacity + average hydro capacity contribution + SWGR capacity available to ERCOT + available mothballed capacity + capacity from IGF Generation Resources + DC Tie capacity contribution + IRR installed capacity contribution – targeted reserve capacity + forecast of capacity provided by price-responsive Demand – high unplanned outage capacity – long term load forecast + capacity contribution from planned thermal Resources + capacity contribution from planned IRRs
summer & winter outages capped at 105% of historical max Planned Outage capacity from previous 3 summers/winters
For days that are seven or fewer days prior to the Operating Day:
MDRPOC for all Resources other than IRRs and IGFs = seasonal maximum capacity of non-IRR and non-IGF Generation Resources + wind forecast + solar forecast + capacity from IGF Generation Resources + DC Tie capacity – outaged capacity of non-IRR and non-IGF Generation Resources – load forecast – targeted reserve levels + forecast of capacity provided by price-responsive Demand + SODG and SOTG forecasts
For IRRs in either horizon:
MDRPOC for IRRs = 105% of historical maximum Resource Planned Outages for IRRs from the previous three years

## Slide 15: Next Steps
If Board approves ERCOT’s revisions to NPRR1108, ERCOT will issue a Market Notice providing a draft of the MDRPOC methodology document and will solicit comments.
ERCOT will discuss the MDRPOC methodology document at the May 25, 2022 TAC meeting.
ERCOT will consider all feedback and will finalize the MDRPOC methodology document and seek approval at the June 2022 Board of Directors meeting.