## Slide 1
ERCOT Staff Update
DSWG
April 26, 2022

## Slide 2: Controllable Load Resource Participation in Non-Spin CLR NPRR and related OBDRR
NPRR - Controllable Load Resource Participation in Non-Spin
Changes Controllable Load Resource participation in Non-Spin from Off-line to On-Line Non-Spin.
Controllable Load Resources will be required to be Security Constrained Economic Dispatch (SCED) qualified and capable of following SCED basepoints.
Sets a bid floor of $75 per MWh, equivalent to the offer floor for a Generation Resource providing On-Line Non-Spin.
These resources have a standing deployment instruction and therefore the QSE can receive a SCED basepoint at any time their bid is struck.
Related OBDRR - ORDC Changes Related to NPRRXXXX, Controllable Load Participation in Non-Spin
Removes the CLR providing Non-Spin Schedules and Regulation Schedules from the capacity calculations

## Slide 3: Implementation of NPRR939 Modification to Load Resources Providing RRS to Maintain Minimum PRC on Generators During Scarcity Conditions and NOGR191
NPRR939
Focus is on changes for NCLRs providing RRS
Break the RRS from UFR type Load Resources into smaller groups
Currently have two groups; will be going to four groups
Groups will range in size from 350 MW to 500 MW
NOGRR191
4.8.1 Responsive Reserve Service Manual Deployment
Allows ERCOT to manually deploy Load Resources other than Controllable Load Resources providing Responsive Reserve (RRS) to maintain a minimum 500 MWs of Physical Responsive Capability (PRC) reserves on Generation Resources to continuously balance the Demand with supply while maintaining the stable grid frequency for smaller disturbances.
Note: Scheduled for R3 (5/26/2022 release)

## Slide 4: Interim process for accepting model changes load resources
Market notice sent out on Large Flexible Loads participating in ERCOT
Review notes and presentations from the LFLTF Workshop on 4/26
Rules are being established to insure studies are being conducted by TDSPs and reviewed by ERCOT Planning and System Operations that meet NERC requirements
Requests for Large Load Resource additions to the Network Operations Model are subject to at least a 90 day lead time based on the Protocols
Request for smaller new Load Resources are subject to a minimum lead time of at least 45 days prior to the prospective database load date but must have an Interim Update Request Form included with the Service Request
Request for Resource Parameters Changes can be submitted for with a short INMU timeline but are going to be subject to availability of personnel to make the changes

## Slide 5: ERS AprMay 2022 procurement summary

## Slide 6: ERS issues related to TNMP 3G Remediation
ERS Team sent email to ERS QSEs about issue on April 5, 2022
TNMP has lost communication with 3G IDR meters, changing some sites to Non-IDR meters as a result (including some ERS sites)
ERCOT Protocols state that sites lacking 15-minute interval meter data will be treated as missing meter data and deemed unavailable
Total share of TNMP sites included in table below, but sites actually affected by the issue expected to be lower:

## Slide 7: ERS issues related to TNMP 3G Remediation
ERS QSEs with affected sites may consider:
  Submitting Substitutions or Supplemental Resources to mitigate the impact any affected sites may have on their ERS Resources.
  Providing 15-minute interval data directly to ERCOT along with a signed affidavit attesting to the accuracy of the meter data for affected sites (see Section 6.6 through 6.11 of the ERS Technical Requirements & Scope of Work for meter data requirements).
Recommend following the TNMP 3G Remediation topic at ERCOT’s Retail market Subcommittee (RMS) meetings