## Slide 1
Overview of Large Load Interconnection Requests (Interim Process)
Large Flexible Load Task Force
April 26, 2022

## Slide 2: Overview
Chart: Cumulative Large Load Interconnection Requests (MW)
| 2022 | 2023 | 2024 | 2025 | 2026
Submittal Expected | 2290.9 | 4795.3 | 6795.3 | 7795.3 | 8695.3
Under Review | 1553 | 2355 | 2605 | 3105 | 3505
ERCOT Comments Sent | 247 | 1960 | 2060 | 2260 | 2760
Interim Limits Established | 600 | 1500 | 1800 | 1800 | 1800
Review Complete | 341 | 341 | 341 | 341 | 341
Existing | 275 | 275 | 275 | 275 | 275

## Slide 3: Requests by Weather Zone
Chart: Total Large Load Interconnection Requests (MW)
| Coast | East | Far West | North | North Central | South | South Central | West
Total Load (MW) | 30 | 1600 | 4491 | 6066.4 | 1400 | 500 | 1438.6 | 1850.3

## Slide 4: Behind-the-Meter and Netting
Chart: 
| Standalone | Co-located
 | 12190 | 5186