Draft

Minutes of the Reliability Operations Subcommittee (ROS) Meeting

Webex Only

Thursday, March 3, 2022 – 9:30 a.m.

| Attendance |  |  |
| --- | --- | --- |
| Members: |  |  |
| Ayers-Brasher, Jennifer | RWE Renewables |  |
| Barnes, Bill | Reliant Energy | Alt. Rep. for Kevin Matt |
| Boyd, Phillip | City of Lewisville |  |
| Bunch, Kevin | EDF Trading North America |  |
| Camet, Brooke | OPUC |  |
| Cochran, Adam | Tenaska Power Services |  |
| Coleman, Diana | CPS Energy | Alt. Rep. for Kenneth Bowen |
| Evans, Doug | South Texas Electric Cooperative |  |
| Ebrahimian, Reza | Austin Energy |  |
| Haley, Ian | Luminant Corporation |  |
| Hudson, Tony | Texas-New Mexico Power |  |
| Kremling, Barry | Guadalupe Valley Electric Cooperative |  |
| Kunkel, Dennis | AEP Service Corporation |  |
| Lee, Billy | Garland Power and Light |  |
| Looper, Jerry | Denton Municipal Electric | Alt. Rep. for Chris Lutrick |
| Marr, Daniel | Lower Colorado River Authority |  |
| Matt, Kevin | Reliant |  |
| Nashawati, Eithar | Oncor |  |
| Reed, Cyrus | Sierra Club |  |
| Reid, Mike | Air Liquide |  |
| Rich, Katie | Golden Spread Electric Cooperative |  |
| Schmitt, Jennifer | Rhythm Ops |  |
| Smith, Chase | Southern Power Co |  |
| Surendran, Resmi | Shell Energy |  |
| Valagura, Bill | Calpine Corporation |  |
| Woitt, Wes | CenterPoint Energy |  |

The following proxies were assigned:

- Clayton Greer to Kevin Bunch

- Resmi Surendran to Kevin Bunch

| - Guests: |  |  |  |
| --- | --- | --- | --- |
| Allen, Thresa | Avangrid Renewables |  |  |
| Anderson, Connor | AB Power Advisors |  |  |
| Ashley, Kristy | Customized Energy Solutions |  |  |
| Bailey, Robert | NRG |  |  |
| Blackburn, Don | Hunt Energy Network Power |  |  |
| Blackshear, David | PNM Resources |  |  |
| Bondurant, Chuck | PUCT |  |  |
| Bruce, Mark | Cratylus Advisors |  |  |
| Burke, Tom | RWE Renewables |  |  |
| Burford, Bret | AEP |  |  |
| Calcagni, Anthony | DC Energy |  |  |
| Canamar, Jorge | Sharyland |  |  |
| Claiborn-Pinto, Shawnee | PUCT |  |  |
| Cloninger, Ross | Texas-New Mexico Power |  |  |
| Cochran, Seth | DC Energy |  |  |
| Collard, Brad | PEC |  |  |
| Comstock, Read | AB Power Advisors |  |  |
| Cortez, Sarai | Sharyland Utilities |  |  |
| DeRidder, Chris | nFront |  |  |
| Detelich, David | CPS Energy |  |  |
| Dewitt, Charlie | PEC |  |  |
| Dietert, Cole | EPE |  |  |
| Dharme, Neeraja | EDFT |  |  |
| Donohoo, Kenneth | EPE |  |  |
| Floyd, Rickey | Oncor |  |  |
| Friday, Ron | Lower Colorado River Authority |  |  |
| Gross, Blake | AEPSC |  |  |
| Helton, Bob | Engie North America |  |  |
| Henry, Mark | Texas Reliability Entity |  |  |
| Henson, Martha | Oncor |  |  |
| Huynh, Thuy | Potomac Economics |  |  |
| Jackson, Jimmy | CPS Energy |  |  |
| Jones, Randy | Mountaineer Market Advisors |  |  |
| Jowlabar, Nicholas | RWE |  |  |
| Koenig, Chris | Golden Spread Electric Cooperative |  |  |
| Kroskey, Tony | Brazos Electric Cooperative |  |  |
| Lee, Jim | TEC |  |  |
| Lopez, Edward | BTU |  |  |
| Lotter, Eric | GridMonitor |  |  |
| Martinez, Javier | TNMP |  |  |
| Matevosyan, Julia | ESIG Energy |  |  |
| Mathew, Shirley | Austin Energy |  |  |
| Minchew, Christina | CTT |  |  |
| Mulholland, Chad | NRG |  |  |
| Nguyen, Andy | Lower Colorado River Authority |  |  |
| Oberski, Nicholas | LCRA TSC |  |  |
| Patel, Rutul | Oncor |  |  |
| Penney, David | Texas Reliability Entity |  |  |
| Petäjäsoja, Ida | inBalance |  |  |
| Pokharel, Nabaraj | OPUC |  |  |
| Preas, Dylan | LCRA TSC |  |  |
| Pyka, Greg | Schneider Engineering |  |  |
| Rainwater, Kim | Lower Colorado River Authority |  |  |
| Ramaswamy, Ramya | PUCT |  |  |
| Reid, Walter | Advanced Power Alliance |  |  |
| Ritch, John | Gexa Energy |  |  |
| Rivers, Joshua | PEC |  |  |
| Schwarz, Brad | Sharyland Utilities |  |  |
| Siddiqi, Shams | Crescent Power Consulting |  |  |
| Smith, Caitlin | Jupiter Power |  |  |
| Turner, Mina | AEP |  |  |
| Turner, Lucas | South Texas Electric Cooperative |  |  |
| Uy, Manny | Hunt Energy |  |  |
| Velasquez, Ivan | Oncor |  |  |
| Williams, Scot | Oncor |  |  |
| Wittmeyer, Bob | Longhorn Power |  |  |
| Wu, Tiffany | PUCT |  |  |
| ERCOT Staff: |  |  |  |
| Albracht, Brittney |  |  |  |
| Anderson, Troy |  |  |  |
| Ayson, Janice |  |  |  |
| Bernecker, John |  |  |  |
| Bigbee, Nathan |  |  |  |
| Billo, Jeff |  |  |  |
| Blevins, Bill |  |  |  |
| Boren, Ann |  |  |  |
| Chambers, Jason |  |  |  |
| Cheng, Yunzhi |  |  |  |
| Clifton, Suzy |  |  |  |
| Daryabak, Mehdi |  |  |  |
| de la Garza, Mario |  |  |  |
| Dokic, Tatjana |  |  |  |
| Du, Pengwei |  |  |  |
| Garcia, Freddy |  |  |  |
| Gnanam, Prabhu |  |  |  |
| Hartmann, Jimmy |  |  |  |
| Huang, Fred |  |  |  |
| Jenkins, Darrell |  |  |  |
| Kang, Sun Wook |  |  |  |
| Koepke, Joel |  |  |  |
| Mago, Nitika |  |  |  |
| Phillips, Cory |  |  |  |
| Rickerson, Woody |  |  |  |
| Sanchez, Diana |  |  |  |
| Schmall, John |  |  |  |
| Sheets, Jarod |  |  |  |
| Showalter, Dana |  |  |  |
| Teixeira, Jay |  |  |  |
| Thomas, Shane |  |  |  |
| Troublefield, Jordan |  |  |  |
| Woodfin, Dan |  |  |  |
| Xiao, Hong |  |  |  |
| Yan, Ping |  |  |  |

Unless otherwise indicated, all Market Segments were participating in the votes.

Chase Smith called the March 3, 2022 ROS meeting to order at 9:30 a.m.

Antitrust Admonition

Mr. Smith directed attention to the Antitrust Admonition, which was displayed.

Agenda Review

Mr. Smith reviewed items scheduled for a vote and noted changes to the agenda.

- Approval of Meeting Minutes

- February 7, 2022

- This item was deferred to the April 7, 2022 ROS meeting.

Technical Advisory Committee (TAC) Update

Planning Guide Revision Request (PGRR) PGRR095, Establish Minimum Deliverability Criteria - Minimum Duration Threshold for Energy Storage Resources (ESRs)

Mr. Smith reviewed the disposition of items considered at the February 23, 2022 TAC meeting, including the TAC request that ROS review the minimum duration threshold issues for ESRs related to PGRR095 and provide their recommendation at the March 30, 2022 TAC meeting.  Market Participants discussed PGRR095 and the February 7, 2022 ROS endorsement, noted requirements in Nodal Protocol Revision Request (NPRR) 1096, Require Sustained Two-Hour Capability for ECRS and Four-Hour Capability for Non-Spin, and debated the appropriate duration threshold.  John Bernecker reminded Market Participants that the minimum duration threshold and Ancillary Services are two separate issues and stated that the intent of PGRR095 is to establish planning criteria for energy adequacy.  Mr. Bernecker noted although the four hour duration ERCOT proposed was reasonable based on the peak load condition analysis, ERCOT could support a two hour minimum duration threshold but that anything lower was inappropriate.

Ian Haley moved to waive notice to consider the Minimum Duration Threshold for ERSs.  Mr. Smith seconded the motion.  The motion carried via roll call ballot with three abstentions from the Independent Power Marketer (IPM) (Morgan Stanley, Shell Energy, Tenaska) Market Segment.  (Please see ballot posted with Key Documents.)

Mr. Smith moved to endorse the minimum duration threshold for ESRs of two hours; and that lower duration Resources would be prorated to their continuous Real Power capability for two hours.  Cyrus Reed seconded the motion.  The motion carried with one objection from the Independent Generator (Luminant) Market Segment and four abstentions from the Consumer (Air Liquide), IPM (2) (Morgan Stanley, Shell Energy) and Independent Retail Electric Provider (IREP) (Reliant) Market Segments.  (Please see ballot posted with Key Documents.)

- 2022 ROS Goals (see Key Documents)

Market Participants reviewed the draft 2022 ROS Goals and offered clarifications.  Mr. Smith noted this item could be considered for inclusion in the Combined Ballot.

- ERCOT Reports (See Key Documents)

- Operations Report

- System Planning Report

- Mr. Smith noted the January 2022 Operations and System Planning Reports were posted for review.  There were no questions or comments from Market Participants.

- Winter Storm Landon Discussion

- Dan Woodfin provided an overview of the reliability concerns anticipated for Winter Storm Landon, noted ERCOT sent an Operating Condition Notice (OCN) on January 27, 2022, and stated that based on actual conditions and self-commitment by Generation Resources, ERCOT did not enter into emergency operations or have significant reliability problems.  Jeff Billo summarized weather forecasts and variations in the Network Operations Models during Winter Storm Landon and noted that the various models had difficulty converging on timing and severity of the event.

Generic Transmission Constraint (GTC) Update

Yunzhi Cheng provided an update on GTC activities, including the West Texas Export GTC.

Spring Resource Planned Outage Status Update

Fred Huang provided an update on the Spring Resource planned outage status and noted that NPRR1108, ERCOT Shall Approve or Deny All Resource Planned Outage Requests, is proceeding through the Stakeholder process and encouraged Market Participants to attend the February 24, 2022 Wholesale Market Working Group (WMWG) meeting to discuss the issues.

Review Existing Requirements Related to Load Interconnection

Mr. Bernecker presented the ERCOT and North American Electric Reliability Corporation (NERC)  existing reliability requirements related to Load interconnections, and noted that ERCOT is receiving increasing numbers of large Load interconnection requests, both stand-alone and co-located that have accelerated timelines that are challenging ERCOT existing processes.  Mr. Bernecker summarized interim solutions and noted that ERCOT anticipates that long term solutions will be discussed at future Large Flexible Load Task Force (LFLTF) meetings.

Southern Cross Directive 6 Determination regarding any needed transmission upgrades

Mr. Bernecker reviewed ERCOT's Determination for Directive 6 as reflected in the Whitepaper, "PUC Project No. 46304 Oversight Relating to the Southern Cross Transmission (SCT) DC Tie Planning Studies for Transmission Upgrades (Directive 6)” and noted Revision Requests impacting Directive 6 and  Regional Planning Group (RPG) discussions in 2018 and 2019.  Mr. Haley stated that Luminant believes some of their Resources would be dispatched down to accommodate DC Tie imports and that they may not be economically viable as a result.

Southern Cross Directive 8 Voltage Support

Mr. Bernecker reviewed ERCOT's Determination for Directive 8 as reflected in the Whitepaper, "PUC Project No. 46304 Oversight Relating to the Southern Cross Transmission (SCT) DC Tie Voltage Support Service (Directive 8)” and noted Revision Requests impacting Directive 8 and RPG discussions in 2018 and 2019, ROS discussions in 2019 and 2021, and TAC discussions in 2021.  Some Market Participants requested additional time to review the issues.

Mr. Reed moved to endorse ERCOT’s Determinations for Southern Cross Transmission Directives 6 and 8 as reflected in the respective whitepapers.  Phillip Boyd seconded the motion.  The motion carried via roll call ballot with one objection from the Independent Generator (Luminant) Market Segment and four abstentions from the IPM (2) (Morgan Stanley, EDF Trading) and IREP (2) Reliant, Rhythm Ops) Market Segments.  (Please see ballot posted with Key Documents.)

Recommendation on minimum capacity required from Security-Constrained Economic Dispatch (SCED) dispatchable Resources to provide Non-Spinning Reserve (Non-Spin)

Ms. Mago stated that as ERCOT reviewed the project and implementation requirements for NPRR1093, Load Resource Participation in Non-Spinning Reserve, and NPRR1101, Create Non-Spin Deployment Groups made up of Generation Resources Providing Off-Line Non-Spinning Reserve and Load Resources that are Not Controllable Load Resources Providing Non-Spinning Reserve, with an anticipated go-live date of May 2022, ERCOT also assessed the minimum capacity required from SCED dispatchable Resources to provide Non-Spin; noted that ERCOT does not yet have operational experience for Not Controllable Load Resources (NCLRs); presented the ERCOT recommendation for ROS consideration to address the reliability concerns; and reviewed the timeline for TAC consideration to advance the Ancillary Service Methodology changes to the April 12, 2022 ERCOT Board meeting.  Ms. Mago summarized the March 3, 2022 Wholesale Market Subcommittee (WMS) discussion and subsequent endorsement to include the Most Severe Single Contingency (MSSC) as the minimum amount of Non-Spin procured rather than the ERCOT recommendation.  Some Market Participants expressed support for consideration of the MSSC as the minimum amount of Non-Spin to procure and expressed concern that the 25% recommended by ERCOT is an arbitrary number.  Other Market Participants expressed support for the ERCOT recommendation in consideration of the reliability concerns and noted that ERCOT anticipates further evaluation of the updated methodology in the Fall of 2022 for applicability in 2023.

Mr. Haley moved to endorse MSSC as the minimum amount of Non-Spin procured from SCED dispatchable Resources.  Doug Evans seconded the motion.  The motion carried via roll call ballot with seven objections from the Consumer (4) (Air Liquide, Sierra Club, City of Lewisville, OPUC), IPM (Morgan Stanley) and IREP (2) (Reliant, Rhythm Ops) Market Segments.  (Please see ballot posted with Key Documents.)

New Protocol Revision Subcommittee (PRS) Referrals (see Key Documents)

NPRR1118, Clarifications to the OSA Process

Mr. Woodfin summarized NPRR1118.  Market Participants requested further review of the issues by the Operation Working Group (OWG).  Mr. Smith noted this item could be considered for inclusion in the Combined Ballot.

ROS Revision Requests (See Key Documents)

Impact Analyses Review

PGRR096, Achieve Consistent Representation of Distributed Generation in Steady-State Models

Market Participants reviewed the Impact Analysis for PGRR096.  Mr. Smith noted this item could be considered for inclusion in the Combined Ballot.

PGRR098, Consideration of Load Shed in Transmission Planning Criteria

In response to Market Participant questions, Mr. Bernecker reviewed PGRR098’s Impact Analysis and contextualized the additional Full-Time Employee (FTE) as caused by general increased changes in transmission planning and specific increased studies and criteria as established within PGRR098.  Mr. Smith noted this item could be considered for inclusion in the Combined Ballot.

Language Review

Nodal Operating Guide Revision Request (NOGRR) 240, Direct Current Tie (DC Tie) Ride-Through Requirements

John Schmall summarized NOGRR240.  Market Participants requested further review of the issues by the Dynamics Working Group (DWG), OWG and Planning Working Group (PLWG).  Prabhu Gnanam reviewed the Revision Request timeline for NOGRR240.  Mr. Smith noted this item could be considered for inclusion in the Combined Ballot.

Revision Requests Tabled at ROS (see Key Documents)

PGRR073, Related to NPRR956, Designation of Providers of Transmission Additions

NOGRR230, WAN Participant Security

ROS took no action on these items.

PGRR100, Steady-State Case Building Timeline Update

Market Participants reviewed PGRR100 and noted additional review of the issues at the March 15, 2022 PLWG meeting.  Mr. Smith noted that PGRR100 would be considered at the April 7, 2022 ROS meeting.

NOGRR239, WAN Data Protection Responsibilities

Market Participants noted that no comments had been filed in the month since NOGRR239 was tabled.  Mr. Smith noted this item could be considered for inclusion in the Combined Ballot.  Mr. Haley expressed support for consideration of NOGRR239 on the combined ballot, however, noted he had not had sufficient time to review NOGRR239 and would abstain.

PLWG (see Key Documents)

Mr. Smith noted the PLWG report was posted for review.  There were no questions or comments from Market Participants.

NPRR1070, Planning Criteria for GTC Exit Solutions

ROS took no action on this item.

Steady State Working Group (SSWG) (see Key Documents)

Mr. Smith noted the SSWG report was posted for review.  There were no questions or comments from Market Participants.

OWG  (see Key Documents)

Mr. Smith noted the OWG report was posted for review.  There were no questions or comments from Market Participants.

NPRR1084, Improvements to Reporting of Resource Outages and Derates

NPRR1085, Ensuring Continuous Validity of Physical Responsive Capability (PRC) and Dispatch through Timely Changes to Resource Telemetry and Current Operating Plans (COPs)

NPRR1100, Emergency Switching Solutions for Energy Storage Resources

NOGRR215, Limit Use of Remedial Action Schemes

NOGRR226, Revision to 5% Transmission Operator (TO) Load Shedding Relay Point

ROS took no action on these items.

Performance Disturbance Compliance Working Group (PDCWG) (see Key Documents)

Mr. Smith noted the PDCWG report was posted for review.  There were no questions or comments from Market Participants.

Black Start Working Group (BSWG) (see Key Documents)

Freddy Garcia presented Rutul Patel, Oncor as the 2022 BSWG Chair for ROS consideration.  Mr. Smith noted this item could be considered for inclusion in the Combined Ballot.

NPRR1110, Black Start Requirements Update

ROS took no action on this item.

Combined Ballot

Dennis Kunkel moved to approve the Combined Ballot as follows:

- To approve the 2022 ROS Goals as revised by ROS

- To request PRS continue to table NPRR1118 for further discussion at OWG

- To endorse and forward to TAC the 2/7/22 ROS Report and Impact Analysis for PGRR096

- To endorse and forward to TAC the 2/7/22 ROS Report and Impact Analysis for PGRR098

- To table NOGRR240 for review by DWG, OWG, and PLWG

- To recommend approval of NOGRR239 as submitted

- To approve Rutul Patel, Oncor as the BSWG Chair

Kevin Bunch seconded the motion.  The motion carried with one abstention from the Independent Generator (Luminant) Market Segment.  (Please see ballot posted with Key Documents.)

DWG (see Key Documents)

Mr. Smith noted the DWG report was posted for review.  There were no questions or comments from Market Participants.

- Inverter Based Resources Task Force (IBRTF) (see Key Documents)

Mr. Smith noted the IBRTF report was posted for review.  There were no questions or comments from Market Participants.

Other Business

Update on Hybrid Stakeholder Meetings (In-Person/Webex)

Brittney Albracht stated that the March 7 and March 8, 2022 ERCOT Board meetings would be in person at the new ERCOT MET facility, and that all stakeholder groups would have the option of hybrid meetings beginning with the March 30, 2022 TAC meeting.  Ms. Albracht summarized the hybrid meeting criteria codified in the TAC Procedures.

Review Open Action Items List

In consideration of TAC direction at the February 23, 2022 TAC meeting, Market Participants removed the following item from the ROS Open Action Items List:

- TAC Assignment:   Review the issues raised along with the impacts of OBDRR031 and return to the October 27, 2021 TAC meeting with recommendations:

- Review RRS increase to 2800 MW

- Assess Impact of Ancillary Service changes over summer/report to TAC

- Analyze methodology for determining Non-Spinning Reserve (Non-Spin) requirements and value provided in non-peak times

- Account for Responsive Reserve Service (RRS) High Ancillary Service Limit (HASL) release in non-spin deployment

- How to define high/med/low variability?

- Should Non-Controllable Load Resource (NCLR) be allowed to provide Non-Spin?

- Should higher RRS or ERCOT Contingency Reserve Service (ECRS) be procured?

- Review the impact to cycling resource before it is really needed in peak summer

No Report

- Network Data Support Working Group (NDSWG)

- Operations Training Working Group (OTWG)

- Planning Geomagnetic Disturbance Task Force (PGDTF)

- System Protection Working Group (SPWG)

- Voltage Profile Working Group (VPWG)

Adjournment

Mr. Smith adjourned March 3, 2022 ROS meeting 2:32 p.m.

- Key Documents referenced in these minutes may be accessed on the ERCOT website at:

- https://www.ercot.com/calendar/event?id=1623086834860