APPROVED

Minutes of the Technical Advisory Committee (TAC) Meeting

Webex Only

Wednesday, February 23, 2022 – 9:30 a.m.

| Attendance |  |  |
| --- | --- | --- |
| Members: |  |  |
| Bailey, Dan | Garland Power & Light |  |
| Blakey, Eric | Just Energy |  |
| Camet, Brooke | OPUC |  |
| Carpenter, Jeremy | Tenaska Power Services |  |
| Cochran, Seth | DC Energy |  |
| Coleman, Diana | CPS Energy | Alt. Rep. for David Kee |
| Dreyfus, Mark | City of Eastland |  |
| Easton, Eric | CenterPoint Energy |  |
| Fehrenbach, Nick | City of Dallas |  |
| Gaytan, Jose | Denton Municipal Electric |  |
| Goff, Eric | Residential Consumer |  |
| Greer, Clayton | Morgan Stanley |  |
| Haley, Ian | Luminant Generation |  |
| Harpole, Jay | APG&E |  |
| Helton, Bob | ENGIE |  |
| Hendrix, Chris | Demand Control 2 |  |
| Henson, Martha | Oncor Electric Delivery | Alt. Rep. for Collin Martin |
| Jolly, Emily | Lower Colorado River Authority |  |
| Kee, David | CPS Energy |  |
| Kent, Garret | CMC Steel |  |
| Lange, Clif | South Texas Electric Cooperative |  |
| Loving, Alicia | Austin Energy |  |
| Martin, Collin | Oncor Electric Delivery |  |
| Nguyen, Andy | Lower Colorado River Authority | Alt. Rep. for Emily Jolly |
| Nix, Keith | Texas-New Mexico Power Company |  |
| Powell, Christian | Pedernales Electric Cooperative |  |
| Ross, Richard | AEP Service Corporation |  |
| Sams, Bryan | Calpine Corporation |  |
| Smith, Bill | Air Liquide |  |
| Smith, Caitlin | Jupiter Power |  |
| Surendran, Resmi | Shell Energy North America |  |
| Turner, Lucas | South Texas Electric Cooperative | Alt. Rep. for Clif Lange |
| Wise, Mike | Golden Spread Electric Cooperative |  |

The following proxy was assigned:

- Bill Barnes to Eric Blakey

| Guests: |  |  |
| --- | --- | --- |
| Aldridge, Ryan | AB Power Advisors |  |
| Alford, Anthony | CenterPoint Energy |  |
| Allen, Thresa | Avangrid Renewables |  |
| Anderson, Connor | AB Power Advisors |  |
| Anderson, Kevin | Customized Energy Solutions |  |
| Ashley, Kristy | Customized Energy Solutions |  |
| Benson, Mariah | PUCT |  |
| Bivens, Carrie | Potomac Economics |  |
| Bonskowski, Ned | Luminant |  |
| Bruce, Mark | Cratylus Advisors |  |
| Bunch, Kevin | EDF Trading |  |
| Coleman, Katie | TIEC |  |
| Comstock, Read | AB Power Advisors |  |
| Cortez, Sarai | Sharyland Utilities |  |
| Couch, Andrea | TNMP |  |
| Cripe, Ramsey | Schneider Engineering |  |
| Daigneault, Ralph | Potomac Economics |  |
| Dharme, Neeraja | EDFT |  |
| Donohoo, Kenneth | EPE |  |
| Frayer, Julia | London Economics |  |
| Frazier, Amanda | Vistra |  |
| Graham, Sophie | Adapt2 Solutions |  |
| Gross, Blake | AEPSC |  |
| Harvey, Julia | TEC |  |
| Horstmyer, Reid | Dynasty Power |  |
| Hubbard, John Russ | TIEC |  |
| Huynh, Thuy | Potomac Economics |  |
| Johnson, Anthony | CenterPoint Energy |  |
| Jones, Randy | Mountaineer Market Advisors |  |
| Khayat, Maribel | CenterPoint Energy |  |
| Kilroy, Taylor | TPPA |  |
| King, Blake | RES |  |
| Kremling, Barry | GVEC |  |
| Lasher, Warren | Lasher Energy Consulting |  |
| Lee, Jim | TEC |  |
| Maquieyra, Javier | LEI |  |
| McKeever, Debbie | Oncor |  |
| McMurray, Creighton | PUCT |  |
| Oliver, Jon | PUCT |  |
| Pyka, Greg | Schneider Engineering |  |
| Rainwater, Kim | LCRA |  |
| Ramaswamy, Ramya | PUCT |  |
| Reed, Carolyn | CenterPoint Energy |  |
| Reedy, Steve | CIM View Consulting |  |
| Reid, Walter | Advanced Power Alliance |  |
| Rich, Katie | Golden Spread Electric Cooperative |  |
| Ritch, John | NextEra |  |
| Schatz, John | Vistra |  |
| Scott, Kathy | CenterPoint Energy |  |
| Siddiqi, Shams | Crescent Power Consulting |  |
| Spectrum News 1 |  |  |
| Smith, Chase | Southern Power Company |  |
| Townsend, Aaron | Potomac Economics |  |
| Trefny, Floyd | Texas Steel Companies |  |
| True, Roy | ACES Power |  |
| Velasquez, Ivan | Oncor |  |
| Villasana, Kristi | NBU |  |
| Walker, Floyd | PUCT |  |
| Wall, Perrin | CenterPoint Energy |  |
| White, Lauri | AEP |  |
| Wittmeyer, Bob | Longhorn Power |  |
| Wiegand, Sheri | Vistra |  |
| Wu, Tiffany | PUCT |  |
| Yu, Joel | Enchanted Rock |  |
| Zerwas, Rebecca | PUCT |  |
| ERCOT Staff: |  |  |
| Albracht, Brittney |  |  |
| Anderson, Troy |  |  |
| Ayson, Janice |  |  |
| Barati, Camron |  |  |
| Bernecker, John |  |  |
| Bigbee, Nathan |  |  |
| Billo, Jeff |  |  |
| Boren, Ann |  |  |
| Cheng, Yong |  |  |
| Clifton, Suzy |  |  |
| Dinopol, Ohlen |  |  |
| Dwyer, Davida |  |  |
| Garcia, Freddy |  |  |
| Gnanam, Prabhu |  |  |
| Gonzalez, Ino |  |  |
| Gore, Amy |  |  |
| Haesler, Jameson |  |  |
| Hobbs, Kristi |  |  |
| Holt, Blake |  |  |
| House, Donald |  |  |
| Huang, Fred |  |  |
| Hughes, Lindsey |  |  |
| Kane, Erika |  |  |
| Kapiloff, Leonard |  |  |
| Kang, Sun Wook |  |  |
| Magarinos, Marcelo |  |  |
| Maggio, Dave |  |  |
| Mago, Nitika |  |  |
| Mantena, Dan |  |  |
| Parakkuth, Jayapal |  |  |
| Phillips, Cory |  |  |
| Ruane, Mark |  |  |
| Rosel, Austin |  |  |
| Sharma, Sandip |  |  |
| Shaw, Pamela |  |  |
| Thomas, Shane |  |  |
| Troublefield, Jordan |  |  |
| Wattles, Paul |  |  |
| Wiley, Leslie |  |  |
| Woodfin, Dan |  |  |
| Xiao, Hong |  |  |
| Zapanta, Zaldy |  |  |

Unless otherwise indicated, all Market Segments were participating in the votes.

# Clif Lange called the February 23, 2022 meeting to order at 9:30 a.m.

Antitrust Admonition

Mr. Lange directed attention to the displayed Antitrust Admonition and noted that the Antitrust Guidelines are available for review on the ERCOT website.

Approval of TAC Meeting Minutes (see Key Documents)

January 31, 2022

Market Participants reviewed the January 31, 2022 TAC Meeting Minutes. Mr. Lange noted this item could be considered in the Combined Ballot.

2022 TAC Goals and Strategic Initiatives (see Key Documents)

Market Participants reviewed draft 2022 TAC Goals and Strategic Initiatives and offered clarifications.  In discussing Strategic Initiatives, Market Participants noted that the process for integrating or transitioning large Load into ERCOT includes crypto Loads and acknowledged potential impacts beyond Load participation and price formation.  Mr. Lange noted these items could be considered in the Combined Ballot.

Review of ERCOT Market Impact Statements and ERCOT Opinions (see Key Documents)

Ann Boren presented the ERCOT Market Impact Statements and ERCOT Opinions for Revision Requests to be considered by TAC.

Protocol Revision Subcommittee (PRS) (see Key Documents)

Martha Henson reviewed PRS activities and presented Revision Requests for TAC consideration.

Nodal Protocol Revision Request (NPRR) 1092, Reduce RUC Offer Floor and Remove RUC Opt-Out Provision

Independent Analysis by London Economics International LLC, on behalf of Vistra

Market Participants noted several sets of recently filed comments to NPRR1092 containing analysis of Reliability Unit Commitment (RUC) behavior and continuing discussions regarding the potential impacts of changes to the RUC offer floor, discussed the Revision Request timeline, and requested additional review of the issues in the appropriate forum.  Rebecca Zerwas expressed Public Utility Commission of Texas (PUCT) Staff support for the opportunity for additional discussion of stakeholder positions and consideration of NPRR1092 at the March 30, 2022 TAC meeting.  Resmi Surendran summarized the 2/16/22 Shell comments to NPRR1092.  Julia Frayer presented on behalf of Vistra, highlights of an independent analysis, of the impacts of reducing the RUC Offer Floor on Real-Time energy prices.  Mr. Lange announced the March 10, 2022 NPRR1092 Workshop at 1:00 p.m. and encouraged Market Participants to submit comments in advance for stakeholder review.  Mr. Lange noted this item could be considered in the Combined Ballot.

NPRR1097, Create Resource Forced Outage Report – URGENT

Market Participants reviewed the Impact Analysis and Business Case for NPRR1097.

Emily Jolly moved to recommend approval of NPRR1097 as recommended by PRS in the 2/16/22 PRS Report.  Eric Goff seconded the motion.  The motion carried via roll call vote with one abstention from the Independent Power Marketer (IPM) (Morgan Stanley) Market Segment. (Please see ballot posted with Key Documents.)

NPRR1120, Create Firm Fuel Supply Service – URGENT

Sandip Sharma summarized the 2/18/22 ERCOT comments to NPRR1120.  Clif Lange summarized the 2/21/22 STEC comments to NPRR1120.  Ms. Jolly summarized the 2/22/22 LCRA comments to NPRR1120.  Market Participants reviewed the Impact Analysis and Business case for NPRR1120.

Ms. Jolly moved to recommend approval of NPRR1120 as recommended by PRS in the 2/16/22 PRS Report as amended by the 2/22/22 LCRA comments; and the Impact Analysis.  David Kee seconded the motion.  The motion carried via roll call vote with one objection from the Independent Retail Electric Provider (IREP) (Demand Control 2) Market Segment.  (Please see ballot posted with Key Documents.)

PRS Goals

Ms. Henson presented the 2022 PRS Goals for TAC consideration.  Mr. Lange noted this item could be considered in the Combined Ballot.

Other Binding Document Revision Requests (OBDRRs) (see Key Documents)

OBDRR039, ORDC Changes Related to NPRR1120, Create Firm Fuel Supply Service

Mr. Sharma summarized OBDRR039.  Market Participants discussed the potential impact of Firm Fuel Supply Service (FFSS) deployments on scarcity pricing, and the appropriateness of including or excluding the High Sustained Limits (HSLs) of FFSS Resources (FFSSRs) in the Operating Reserve Demand Curve (ORDC) reserve calculation.

Mr. Kee moved to recommend approval of OBDRR039 as submitted; and the Impact Analysis.  Mr. Greer seconded the motion.  The motion carried via roll call ballot with three objections from the Cooperative (2) (STEC, Golden Spread) and IREP (Demand Control 2) Market Segments.    (Please see ballot posted with Key Documents.)

Reliability and Operations Subcommittee (ROS) Report (see Key Documents)

Chase Smith reviewed ROS activities and presented a Revision Request for TAC consideration.

Planning Guide Revision Request (PGRR) 095, Establish Minimum Deliverability Criteria

Minimum Percentage of Capacity or Minimum Duration Threshold for Energy Storage Resources (ESRs)

John Bernecker summarized PGRR095 and presented the ERCOT recommendation that the minimum percentage of capacity be set to 100% to serve expected coincident peak Load, and that the minimum duration threshold be set to four hours for ESRs.  Some Market Participants expressed concern for a four-hour-duration threshold and the methodology/criteria used to determine the threshold, that stakeholders had insufficient time to review the recommendation, how much transmission investment the duration threshold would require, and impacts to various types of Resources.  Prabhu Gnanam noted that planning studies cannot proceed without determining the minimum duration threshold.  Market Participants recommended that PGRR095 be advanced with ERCOT’s recommendation for minimum capacity to be set at 100% and that ROS further discuss the minimum duration threshold.  Eric Blakey requested that ROS review the minimum duration threshold issues and bring its recommendation to the March 30, 2022 TAC meeting.

Mr. Greer moved to recommend approval of PGRR095 as recommended by ROS in the 2/7/22 ROS Report; and for the minimum deliverability criteria, a minimum percentage of capacity of 100% to serve expected coincident peak Load.  Ms. Henson seconded the motion.  The motion carried via roll call ballot with two objections from the Independent Generator (Calpine) and IREP (Demand Control 2) Market Segments and four abstentions from the Consumer (2) (Residential, OPUC) and IPM (2) (DC Energy, Shell Energy) Market Segments. (Please see ballot posted with Key Documents.)

TAC Direction on OBDRR031, Change Non-Spinning Reserve Service Deployment

Mr. Smith summarized the TAC Action item to ROS for issues related to OBDRR031, Change Non-Spinning Reserve Service Deployment, and requested TAC direction on the issues.  Mr. Lange noted the discussion at the January 31, 2022 TAC meeting and directed the below item be removed from the TAC Open Action Items list:

- Review the issues raised along with the impacts of OBDRR031 and return to the October 27, 2021 TAC meeting with recommendations

Wholesale Market Subcommittee (WMS) Report (see Key Documents)

Ms. Surendran reviewed WMS activities.

ERCOT Reports (see Key Documents)

Update on Securitization Subchapter N

Mark Ruane reminded Market Participants of the securitization process pursuant to the Debt Obligation Order issued in PUCT Docket No. 52321, Application of Electric Reliability Council of Texas, Inc. for a Debt Obligation Order Pursuant to Chapter 39, Subchapter M, Winter Storm Uri Default Balance Financing and N, Winter Storm Uri Uplift Financing, of the Public Utility Regulatory Act (PURA), noted that ERCOT is submitting clarification Revision Requests for both Subchapter M and N and requesting Urgent status, and presented Next Steps and the implementation timeline for Subchapter N.

Update on Energy Storage Resource Single Model

Mr. Sharma summarized the Real-Time Co-optimization (RTC) update presented at the January 31, 2022 TAC meeting, noted that that the original implementation timelines for NPRR1014, BESTF-4 Energy Storage Resource Single Model and NPRR1029, BESTF-6 DC-Coupled Resources projects were based on implementing post RTC, and discussed potential considerations and impacts in prioritizing these projects.  Mr. Sharma stated that when the ERCOT Board provided direction on implementing RTC, ERCOT would provide recommendations for Single Model and DC-Couple Resource projects implementation and timelines for stakeholder review.

Other Business

Update on Task Force to Address Load Resource Issues

Mr. Sharma stated that ERCOT was engaging with interested parties and developing the draft scope for consideration along with the creation of the Load Resource Task Force at the March 30, 2022 TAC meeting.

Texas-New Mexico Power Company Update on 3G Meter Remediation

Andrea Couch summarized issues impacting the AT&T 3G network transition, noted the filing in PUCT Docket No. 51387, Application of Texas-New Mexico Power Company for Change in Deployed Advanced Meter Technology, stated that as of February 28, 2022, Texas-New Mexico Power Company lost the ability to communicate with the 3G meter population based on AT&T sunset, and reviewed potential impacts and interim meter solutions.

2022 February Winter Storm Discussion

Mr. Blakey noted that a Market Participant requested an opportunity to discuss details of the 2022 February Winter Storm event and stated that ERCOT Staff would be discussing the issues at the March 3, 2022 ROS meeting.

Hybrid Stakeholder Meetings (In-Person/Webex)

Ms. Boren stated that the March 7 and March 8, 2022 ERCOT Board meetings would be in person at the new ERCOT MET facility, and that in consideration of facilities, stakeholder meetings would resume in the hybrid approach beginning with the March 30, 2022 TAC meeting.  Ms. Boren summarized the hybrid meeting criteria codified in the TAC Procedures.

March TAC meeting date

Mr. Blakey announced the March 23, 2022 TAC meeting is rescheduled to March 30, 2022.

Combined Ballot

Ian Haley moved to approve the Combined Ballot as follows:

- To approve the January 31, 2022 Meeting Minutes as presented

- To approve the 2022 TAC Goals and Strategic Initiatives as revised by TAC

- To approve the 2022 PRS Goals as presented

- To table NPRR1092

Jeremy Carpenter seconded the motion.  The motion carried unanimously via roll call vote.  (Please see ballot posted with Key Documents.)

Mr. Blakey adjourned the February 23, 2022 TAC meeting at 2:26 p.m.

# Footnotes

# Key Documents referenced in these minutes may be accessed on the ERCOT website at:

https://www.ercot.com/calendar/event?id=1620841548847