| PGRR Number | 100 | PGRR Title | Steady-State Case Building Timeline Update |
| --- | --- | --- | --- |

| Date | March 22, 2022 |
| --- | --- |

| Submitter’s Information |  |
| --- | --- |
| Name | Eric Meier |
| E-mail Address | Eric.Meier@ercot.com |
| Company | ERCOT |
| Phone Number | 512-248-6770 |
| Cell Number |  |
| Market Segment | Not Applicable |

Comments

ERCOT submits these comments to ensure the continued triannual production of Transmission Project Information Tracking (TPIT) reports while moving to a biannual Steady State Working Group (SSWG) case building schedule, as desired by Market Participants, should PGRR100 be approved and implemented.

Revised Cover Page Language

| Planning Guide Sections Requiring Revision | 6.1, Steady-State Model Development 6.4.2, ERCOT Responsibilities |
| --- | --- |
| Revision Description | This Planning Guide Revision Request (PGRR) revises the Annual Planning Model base case update frequency from triannual to biannual to align with the intention of the Steady-State Working Group (SSWG) to adjust its current case building schedule to a biannual basis. This PGRR also ensures the continued production of Transmission Project Information Tracking (TPIT) reports on a triannual basis. |
| Business Case | SSWG presented the idea for moving to a biannual update schedule at the August 17, 2021 Planning Working Group (PLWG) meeting. SSWG proposes making this update effective with the 2022 case build schedule. This PGRR will increase the efficiency and capability of the SSWG case build by allowing a longer case build duration during each update. This longer duration will: - Allow for the bandwidth to add additional cases to the case builds; - Provide time for increased error checking to ensure high quality and accurate models; and - Provide time for the additional model data that will be added during the transition from a bus-branch to a node-breaker model. The SSWG has been following a triannual case build schedule since the adoption of PGRR026, Addition of Year 6 to the SSWG Base Cases, in 2013 to add a six year summer peak case to help meet North American Electric Reliability Corporation (NERC) Reliability Standard TPL-001-4, Transmission System Planning Performance Requirements. This tasks SSWG with developing 54 base cases annually. Since that time, the case build schedule has remained relatively unchanged; however, case building has seen an evolution in complexity, including the addition of a number of types of models that either didn’t exist in 2013 or were in modeling infancy (Distributed Generation (DG), Settlement Only Distribution Generator (SODG), unregistered DG, battery Energy Storage System (ESS), Distribution Energy Storage Resource (DESR), etc). For example, the 2018SUM1 case from the June 2013 case build contained 6,608 buses while the 2022SUM1 case from the October 2021 case build contains 9,109 buses. SSWG members have noted a growing concern with case quality in recent cases. Most SSWG members feel that they are near maximum capacity workload with the existing case build triannual schedule. Recently, several efforts have begun that could impact SSWG workload. 1) As part of the effort to comply with NERC Reliability Standard TPL-007, Transmission System Planned Performance for Geomagnetic Disturbance (GMD) Events, the Planning Geomagnetic Disturbance Task Force (PGDTF) was formed to help guide ERCOT through the initial development of GIC models to complete benchmark and supplemental GMD Vulnerability Assessments. Requirement R2 of NERC Reliability Standard TPL-007-4 requires a responsible entity to maintain the GIC models for performing ERCOT System benchmark and supplemental GMD vulnerability assessments of the near-term transmission planning horizon at least once every 60 calendar months. Since the initial work associated with the PGDTF has been completed, the PGDTF’s future needs to be decided. ROS could direct them to become a working group; however, a Planning Geomagnetic Disturbance Working Group (“PGDWG”) would have a limited scope of work. One of the suggestions for relocating the responsibility for updating GIC system models, is for it to be added to the SSWG. This is a reasonably good fit since the content in the GIC models are in essence the future SSWG base cases, with a small number of additional parameters. Therefore, ROS could charge SSWG to include the GIC system models update in their scope of work. 2) Following the February 2021 winter event, the Technical Advisory Committee (TAC) created an Emergency Conditions List which contained items #47, 93, and 94 that the PLWG has been discussing that address transmission planning studies and extreme winter cases. The PLWG sub-group tasked with developing a response identified several potential extreme event cases that could be added to the SSWG list of cases to create. At a minimum, it would seem the addition of a future winter peak or extreme winter peak case is a real possibility. 3) SSWG is currently transitioning to Power System Simulator for Engineering (PSS/E) v35. The SSWG already saw the amount of effort it took to add in the new Rate 4 and Rate 5 during the latest case update in which there are still Rate 4 and Rate 5 updates left to complete. One of the major benefits of PSS/E v35 is the ability to model the transmission system in a node-breaker model rather than the traditional bus-branch model. ERCOT is in the initial stages of modifying the topology processor to allow output from the ERCOT Network Operations Model to PSS/E in node-breaker format. The benefits to moving to a node-breaker model include a much closer consistency between the planning and operations models since both will now be node-breaker models. This will make contingency modeling more accurate. The industry is also clearly headed in this direction. The SSWG issue is that it will be a significant challenge completing the conversion to a PSS/E v35 node-breaker model and maintaining the quality of the current case build with the triannual schedule. 4) Following discussion with Market Participants, it was determined that there was a desire for the frequency of the publication of TPIT reports to not be impacted by the proposed change to the SSWG case update schedule. Therefore, this PGRR contains revisions to ensure the continued production of TPIT reports on a triannual basis. |

Revised Proposed Guide Language

6.1	Steady-State Model Development

(1)	To adequately simulate steady-state system conditions, it is necessary to establish and maintain steady-state data and simulation ready study cases in accordance with the ERCOT Steady State Working Group Procedure Manual.  These case models, known as steady-state base cases, shall contain appropriate equipment characteristics and system data, and shall represent projected system conditions that provide a starting point for each required season and year.

(a)	The Annual Planning Model base cases, which represent the annual peak load conditions, as prescribed in Protocol Section 3.10.2, Annual Planning Model, shall be developed annually,  updated on a biannual basis, and may be updated as needed on an interim basis.  Each Annual Planning Model base case, biannual updates, and off-cycle updates shall be posted on the Market Information System (MIS) Secure Area to ensure availability of the most accurate steady-state base cases.

(b)	Additional steady-state base cases, such as seasonal base cases, shall also be developed annually, updated on a biannual basis, and may also be updated as needed on an interim basis.  These derivative base cases, biannual updates, and off-cycle updates shall be posted on MIS Secure Area to ensure availability of the most accurate steady-state base cases.

(c)	Off-cycle updates not associated with the biannual update shall be posted in a timely manner and include:

(i)	Corrections to significant errors discovered in modeling or major changes in operation configuration that affect the steady-state base cases; or

(ii)	A significant change in the scope or timing of a transmission project or the development of a new transmission project that impacts either of the next two summer base cases.

(d)	Off-cycle updates that are posted as described in paragraphs (1)(a) through (c) above shall be in the form of a Power System Simulator for Engineering (PSS/E) formatted incremental change file.

(e)	All steady-state base cases and incremental change files on the MIS Secure Area shall be available for use by Market Participants.

(f)	The ERCOT Steady State Working Group Procedure Manual describes each base case that is required to be built.  The schedule for posting all steady-state base cases shall be made available on the MIS Secure Area.

(2)	Transmission Service Providers (TSPs) and ERCOT shall develop the steady-state base cases.  The steady-state base cases are derived from the Network Operations Model to ensure consistency of key characteristics, including Ratings, impedance and connectivity for Transmission Facilities that are common between the Network Operations Model and each steady-state base case.  Minor differences between the models will occur for several reasons.  For example:

(a)	The Network Operations Model is converted from a “breaker, switch, and AC line segment” convention to an equivalent steady-state base case “bus and branch” convention.  This conversion reduces the number of breakers/switches that may be included in the steady-state base case model and may combine buses separated by breakers/switches in the Network Operations Model.

(b)	Additional detailed modeling may be added to the converted Network Operations Model for planning purposes.

(c)	Future projects are added to the converted Network Operations Model that do not exist in the Network Operations Model past the model build date used to extract a snapshot from the Network Operations Model.

(3)	Using the Network Model Management System (NMMS), ERCOT and TSPs shall create steady state models that represent current and planned system conditions from the following data elements:

(a)	Each TSP, or its Designated Agent, shall provide its respective transmission network steady-state model data, including load data.

(b)	ERCOT shall utilize the latest available Resource Entity and Private Use Network model data submitted to ERCOT by the Resource Entity and the Private Use Network owners through the Resource Registration process for Resource Entities.

(c)	ERCOT shall utilize proposed Generation Resource model data provided by the Interconnecting Entity (IE) during the generation interconnection process in accordance with Section 5, Generation Resource Interconnection or Change Request.

(d)	ERCOT shall determine the operating state of Generation Resources (MW, MVAr) using a security-constrained economic dispatch tool.

(e)	ERCOT shall determine the import/export levels of asynchronous transmission interconnections based on historical data.

6.4.2	ERCOT Responsibilities

(1)	ERCOT shall prepare the TPIT report using data supplied by each TSP, or its Designated Agent.

(2)	ERCOT shall update the TPIT report with updated information provided through the SSWG case build or SSWG update process.

(3)	ERCOT shall publish the TPIT report on the ERCOT website on a triannual basis.