## Slide 1: Operations Working Group
Chair- Rickey Floyd
Vice-Chair- Shawn McCreary
HITE List Sub-Chair – Pushkar Chhajed
05/05/2022

## Slide 2: NPRR1084
Improvements to Reporting of Resource Outages and Derates.
  ERCOT comments were reviewed that included comments from Centerpoint
    ERCOT was supportive of comments submitted by CenterPoint and is planning submitting additional comments before the next OWG
    MPs would like to continue to work with ERCOT on changes to comments
  NPRR1084 remains Tabled

## Slide 3: NPRR1085
Ensuring Continuous Validity of Physical Responsive Capability (PRC) and Dispatch through Timely Changes to Resource Telemetry and Current Operating Plans (COPs)
  Concerns raised on personnel being able to provide accurate information to ERCOT as required in the comments
  Concerns were discussed about keeping COP updated and compliance risk if information was wrong
  Recommendations were reiterated on adding an “ON-HOLD” option when a units is experiencing issues for a long term solution and possibly locking the HSL or using “ONTEST” as a interim solution
  ERCOT is still evaluating latest comments from MPs
  Stakeholders reported a meeting was scheduled with ERCOT to discuss NPRR1085.
  NPRR1085 remains tabled

## Slide 4: NPRR1100 - Emergency Switching Solutions for Energy Storage Resources
New comments were submitted for discussion by OWG.
OWG reached consensus to endorse comment filed 04/13/2022

## Slide 5: NPRR1118, Clarifications to the OSA Process
Tabled at OWG pending results of NPRR1108

## Slide 6: NOGRR215 – Limited Use of RAS
ERCOT indicated that the original comments would be re-submitted for discussion before next OWG.

## Slide 7: NOGRR226 - Revision to 5% Transmission Operator (TO) Load Shedding Relay Set Point
Comments were filed by Oncor and reviewed at OWG. The comments were submitted as a concept for adding a softer UFLS at frequency levels between 59.3 and 59.4.
ERCOT gave a presentation on the studies they would be conducting based on the original comments, the latest comments and possibly changing the trigger for EEA 3. The studies are planned to be finished in early May.
A copy of the ERCOT presentation is available on the February OWG meeting site.
NOGRR226 remains tabled pending ERCOT study results
ERCOT reported that studies were progressing to complete by early May.

## Slide 8: NOGRR241, Related to NPRR1127, Clarification of ERCOT Hotline Uses
OWG reviewed NOGRR241 and NPRR1127 and reached consensus to endorse comments
  NOGRR241 comments submitted 03/23/2022
  NPRR1127 comments submitted 04/12/2022

## Slide 9: TAC Assignment: Following the 12/16/21 PUCT approval of NPRR1105
Option to Deploy Distribution Voltage Reduction Measures Prior to Energy Emergency Alert (EEA), review and evaluate the effectiveness and criteria to use when deploying voltage reduction before EEA
  ERCOT provided data on the effectiveness of VR on the following:
    Data from a survey sent to TOs
    Report from VRTF studies in 2014
    Alex Lee will present data to ROS
    The volume of data was limited
  OWG discussed the criteria used when deploying VR before EEA
    Criteria is documented in Transmission and Security Desk Operating Procedure section 4.8
    No concerns were raised from OWG in the criteria