## Slide 1
Generation Resource Energy and Regulation Deployment Performance Report for April 2022

## Slide 2: Non-IRR GREDP < 85% – April 2022
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 157 | 0 | 2 | 0.46 | 0.00
Unit 395 | 106 | 168 | 2.32 | 63.10

## Slide 3: IRR Summary – April 2022
IRR | Fleet | < 95% | > 100 INT, < 95%
GREDP Average (%) | 87.75 | 74.76 | 85.74
GREDP Median (%) | 96.14 | 85.71 | 90.83
Average MW Error | 5.11 | 5.41 | 5.94
Median MW Error | 4.58 | 5.00 | 5.22
Total Intervals Scored | 192,079 | 74,534 | 73,418
100+ Intervals Scored | 150 | 149 | 67
Total Intervals Scored Average | 640.26 | 659.59 | 1095.79

## Slide 4: IRR ≥ 95%, ≥ 100 Scored Intervals – April 2022
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 1 | 4,324 | 4,406 | 3.01 | 98.14
Unit 2 | 3,764 | 3,899 | 3.57 | 96.54
Unit 4 | 3,103 | 3,107 | 4.59 | 99.87
Unit 5 | 2,984 | 3,080 | 4.90 | 96.88
Unit 8 | 2,861 | 2,885 | 4.62 | 99.17
Unit 9 | 2,729 | 2,870 | 3.96 | 95.09
Unit 10 | 2,711 | 2,849 | 3.49 | 95.16
Unit 11 | 2,736 | 2,753 | 4.43 | 99.38
Unit 12 | 2,419 | 2,515 | 6.06 | 96.18
Unit 14 | 2,288 | 2,399 | 4.43 | 95.37
Unit 15 | 2,372 | 2,390 | 2.89 | 99.25
Unit 16 | 2,375 | 2,384 | 6.71 | 99.62
Unit 17 | 2,353 | 2,378 | 3.10 | 98.95
Unit 20 | 2,292 | 2,295 | 3.23 | 99.87
Unit 25 | 2,141 | 2,164 | 12.63 | 98.94
Unit 26 | 2,159 | 2,160 | 5.65 | 99.95
Unit 29 | 2,061 | 2,081 | 3.64 | 99.04
Unit 30 | 1,993 | 2,034 | 4.84 | 97.98
Unit 32 | 2,007 | 2,023 | 7.37 | 99.21
Unit 33 | 2,001 | 2,001 | 8.39 | 100.00

## Slide 5: IRR ≥ 95%, ≥ 100 Scored Intervals – April 2022
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 34 | 1,908 | 1,992 | 8.83 | 95.78
Unit 35 | 1,930 | 1,983 | 7.37 | 97.33
Unit 38 | 1,900 | 1,953 | 8.27 | 97.29
Unit 39 | 1,880 | 1,943 | 7.64 | 96.76
Unit 40 | 1,902 | 1,921 | 1.14 | 99.01
Unit 41 | 1,891 | 1,897 | 4.09 | 99.68
Unit 42 | 1,824 | 1,895 | 4.08 | 96.25
Unit 43 | 1,859 | 1,888 | 6.58 | 98.46
Unit 46 | 1,829 | 1,867 | 7.56 | 97.96
Unit 47 | 1,749 | 1,840 | 6.99 | 95.05
Unit 48 | 1,829 | 1,832 | 4.64 | 99.84
Unit 49 | 1,781 | 1,825 | 9.06 | 97.59
Unit 50 | 1,718 | 1,787 | 8.65 | 96.14
Unit 51 | 1,772 | 1,773 | 3.45 | 99.94
Unit 52 | 1,714 | 1,727 | 4.70 | 99.25
Unit 54 | 1,689 | 1,691 | 4.61 | 99.88
Unit 55 | 1,568 | 1,620 | 5.96 | 96.79
Unit 56 | 1,560 | 1,617 | 3.73 | 96.47
Unit 57 | 1,584 | 1,599 | 13.81 | 99.06
Unit 58 | 1,549 | 1,595 | 1.30 | 97.12

## Slide 6: IRR ≥ 95%, ≥ 100 Scored Intervals – April 2022
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 60 | 1,530 | 1,570 | 4.17 | 97.45
Unit 62 | 1,460 | 1,517 | 4.52 | 96.24
Unit 63 | 1,447 | 1,501 | 4.22 | 96.40
Unit 64 | 1,486 | 1,491 | 3.77 | 99.66
Unit 65 | 1,431 | 1,465 | 4.71 | 97.68
Unit 68 | 1,310 | 1,344 | 2.25 | 97.47
Unit 69 | 1,297 | 1,335 | 5.87 | 97.15
Unit 70 | 1,286 | 1,331 | 1.44 | 96.62
Unit 80 | 1,028 | 1,048 | 6.42 | 98.09
Unit 84 | 952 | 988 | 3.05 | 96.36
Unit 85 | 959 | 981 | 8.20 | 97.76
Unit 86 | 906 | 945 | 6.54 | 95.87
Unit 88 | 855 | 889 | 9.01 | 96.18
Unit 89 | 881 | 887 | 5.58 | 99.32
Unit 91 | 828 | 838 | 3.66 | 98.81
Unit 93 | 790 | 807 | 3.94 | 97.89
Unit 96 | 643 | 665 | 6.64 | 96.69
Unit 97 | 632 | 644 | 3.20 | 98.14
Unit 98 | 619 | 628 | 4.00 | 98.57
Unit 101 | 549 | 549 | 11.87 | 100.00

## Slide 7: IRR ≥ 95%, ≥ 100 Scored Intervals – April 2022
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 102 | 525 | 530 | 6.29 | 99.06
Unit 103 | 497 | 516 | 5.43 | 96.32
Unit 105 | 494 | 513 | 6.25 | 96.30
Unit 106 | 509 | 512 | 5.98 | 99.41
Unit 108 | 481 | 484 | 3.44 | 99.38
Unit 112 | 437 | 449 | 4.07 | 97.33
Unit 113 | 417 | 417 | 4.63 | 100.00
Unit 116 | 326 | 330 | 1.28 | 98.79
Unit 117 | 291 | 293 | 6.23 | 99.32
Unit 120 | 255 | 264 | 2.75 | 96.59
Unit 125 | 228 | 239 | 0.98 | 95.40
Unit 126 | 218 | 227 | 3.04 | 96.04
Unit 129 | 212 | 214 | 11.22 | 99.07
Unit 131 | 207 | 209 | 3.56 | 99.04
Unit 134 | 187 | 194 | 3.41 | 96.39
Unit 137 | 170 | 170 | 8.01 | 100.00
Unit 140 | 163 | 165 | 8.07 | 98.79
Unit 142 | 144 | 145 | 3.76 | 99.31
Unit 144 | 115 | 115 | 3.80 | 100.00
Unit 145 | 115 | 115 | 5.72 | 100.00

## Slide 8: IRR ≥ 95%, ≥ 100 Scored Intervals – April 2022
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 146 | 112 | 114 | 1.66 | 98.25
Unit 147 | 113 | 113 | 5.28 | 100.00

## Slide 9: IRR < 95%, ≥ 100 Scored Intervals – April 2022
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 3 | 3,224 | 3,441 | 1.93 | 93.69
Unit 6 | 2,579 | 3,045 | 5.16 | 84.70
Unit 7 | 2,742 | 3,028 | 7.99 | 90.55
Unit 13 | 2,286 | 2,407 | 7.21 | 94.97
Unit 18 | 1,747 | 2,346 | 7.36 | 74.47
Unit 19 | 2,131 | 2,297 | 4.51 | 92.77
Unit 21 | 2,072 | 2,271 | 2.83 | 91.24
Unit 22 | 1,996 | 2,269 | 7.10 | 87.97
Unit 23 | 2,081 | 2,266 | 3.32 | 91.84
Unit 24 | 1,927 | 2,209 | 1.42 | 87.23
Unit 27 | 2,024 | 2,150 | 6.63 | 94.14
Unit 28 | 1,964 | 2,092 | 3.64 | 93.88
Unit 31 | 1,892 | 2,030 | 0.66 | 93.20
Unit 36 | 1,708 | 1,965 | 4.50 | 86.92
Unit 37 | 1,602 | 1,956 | 5.35 | 81.90
Unit 44 | 1,766 | 1,888 | 9.42 | 93.54
Unit 45 | 1,712 | 1,877 | 6.22 | 91.21
Unit 53 | 1,610 | 1,700 | 1.67 | 94.71
Unit 59 | 1,273 | 1,595 | 7.65 | 79.81
Unit 61 | 1,423 | 1,526 | 8.15 | 93.25

## Slide 10: IRR < 95%, ≥ 100 Scored Intervals – April 2022
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 66 | 1,361 | 1,457 | 8.86 | 93.41
Unit 67 | 1,339 | 1,432 | 4.60 | 93.51
Unit 71 | 1,243 | 1,311 | 0.77 | 94.81
Unit 72 | 1,189 | 1,282 | 2.62 | 92.75
Unit 73 | 1,109 | 1,281 | 22.22 | 86.57
Unit 74 | 962 | 1,241 | 9.48 | 77.52
Unit 75 | 1,139 | 1,216 | 6.79 | 93.67
Unit 76 | 1,062 | 1,155 | 10.91 | 91.95
Unit 77 | 944 | 1,102 | 10.30 | 85.66
Unit 78 | 1,024 | 1,082 | 8.60 | 94.64
Unit 79 | 924 | 1,071 | 4.52 | 86.27
Unit 81 | 400 | 1,028 | 3.68 | 38.91
Unit 82 | 903 | 1,020 | 6.31 | 88.53
Unit 83 | 437 | 998 | 6.86 | 43.79
Unit 87 | 746 | 943 | 8.87 | 79.11
Unit 90 | 746 | 878 | 6.03 | 84.97
Unit 92 | 743 | 818 | 3.94 | 90.83
Unit 94 | 644 | 798 | 3.77 | 80.70
Unit 95 | 535 | 779 | 1.93 | 68.68
Unit 99 | 548 | 593 | 2.45 | 92.41

## Slide 11: IRR < 95%, ≥ 100 Scored Intervals – April 2022
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 100 | 510 | 556 | 1.74 | 91.73
Unit 104 | 479 | 516 | 2.82 | 92.83
Unit 107 | 426 | 495 | 2.71 | 86.06
Unit 109 | 442 | 472 | 6.03 | 93.64
Unit 110 | 411 | 467 | 8.10 | 88.01
Unit 111 | 331 | 457 | 7.73 | 72.43
Unit 114 | 332 | 398 | 2.56 | 83.42
Unit 115 | 328 | 347 | 4.28 | 94.52
Unit 118 | 244 | 278 | 3.63 | 87.77
Unit 119 | 248 | 270 | 3.21 | 91.85
Unit 121 | 131 | 258 | 5.00 | 50.78
Unit 122 | 244 | 258 | 4.74 | 94.57
Unit 123 | 235 | 258 | 5.22 | 91.09
Unit 124 | 237 | 256 | 6.70 | 92.58
Unit 127 | 207 | 226 | 5.17 | 91.59
Unit 128 | 207 | 221 | 3.69 | 93.67
Unit 130 | 170 | 210 | 5.28 | 80.95
Unit 132 | 188 | 201 | 4.36 | 93.53
Unit 133 | 186 | 201 | 10.48 | 92.54
Unit 135 | 159 | 193 | 5.72 | 82.38

## Slide 12: IRR < 95%, ≥ 100 Scored Intervals – April 2022
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 136 | 143 | 182 | 12.88 | 78.57
Unit 138 | 124 | 168 | 11.00 | 73.81
Unit 139 | 136 | 166 | 6.85 | 81.93
Unit 141 | 83 | 163 | 14.65 | 50.92
Unit 143 | 116 | 140 | 4.83 | 82.86
Unit 148 | 103 | 111 | 3.80 | 92.79
Unit 149 | 93 | 107 | 8.37 | 86.92
Unit 150 | 92 | 100 | 4.34 | 92.00