## Slide 1
Questions on Early April Congestion in Central Texas
Dave Maggio
Director, Market Design & Analytics
ERCOT
Congestion Management Working Group (CMWG)
May 16, 2022

## Slide 2: Background
This presentation is an attempt to address a stakeholder question that was sent to the CMWG chair in April.
In early April, there were some elevated prices in Central Texas related to congestion and there was a desire to better understand what was happening.
Related to that was the question of how this congestion may have been impacted by Resource outages.

## Slide 3: Trend in Total Monthly Real-Time Congestion Rent
Real-time congestion rent was up in April ’22, as compared to previous periods, with the single biggest contributor being the WESTEX constraint at ~$88M.

## Slide 4: Real-Time Congestion Rent per Day for April ‘22
A particular day of note for the month was April 5, 2022, with real-time congestion rent at $48M

## Slide 5: Top 5 Constraints per Zone for April ‘22

## Slide 6: Constraints Impacting Central Texas on April 5, 2022
The primary constraints impacting the Central Texas area on April 5, 2022, were:
  DHUTHUT5: 1661__A
    Loss of 345kV double-circuit between Hutto and Zorn/Gilleland Creek overloading the 138kV line between Round Rock and Round Rock Northeast
    Real-time congestion rent of ~$9M
  SGILTRI8: 211T147_1
    Loss of 138kV line between Techridge and AEN Gilleland Creek overloading the 138kV line between McNeil and Gilleland Creek
    Real-time congestion rent of ~$5.6M
  DCAGCI58: 255T279_1
    Loss of 345kV line between Kendall and Cagnon and 138kV line between Cico and Menger Creek overloading the 138kV line between Pipe Creek and Medina Lake
    Real-time congestion rent of ~$5M
Based on initial analysis, the first two constraints were impacted by transmission outages in the same area.

## Slide 7: Analysis of Constraint Relief Available on April 5, 2022 - DHUTHUT5: 1661__A
Chart: Relief Available for the Constraint considering Resource Limits, Status, and Shift Factor

## Slide 8: Analysis of Constraint Relief Available on April 5, 2022 - SGILTRI8: 211T147_1
Chart: Relief Available for the Constraint considering Resource Limits, Status, and Shift Factor

## Slide 9: Analysis of Constraint Relief Available on April 5, 2022 - DCAGCI58: 255T279_1
Chart: Relief Available for the Constraint considering Resource Limits, Status, and Shift Factor