## Slide 1
May 2022 NDSWG - ERCOT Updates
May 17, 2022

## Slide 2: Contents
Model correction for mismatched voltage associations (verbal)
LFLTF
Resource Node management for DESR and DGRs
ICR usage for contingency DPCs

## Slide 3: Large Flexible Loads - Update
Large Flexible Load Task Force created:
  https://www.ercot.com/committees/tac/lfltf
  Next meeting on 5/18 (tomorrow)
New email address for LFL process:
  LargeLoadInterconnection@ercot.com
Interim thresholds described in Market Notice (W-A032522-01)
  TSP stations: >75MW demand increase over 2 years
  Co-located generation sites: >20MW demand increase over 2 years

## Slide 4: Resource Node Movement for DGR/DESR

## Slide 5: DGR/DESR Resource Node Management – Post-Conversion
If a DGR/DESR is modeled in the “new-style” protocols provide some flexibility to relocate Resource Nodes of DGRs and DESRs

## Slide 6: DGR/DESR Resource Node Management – Post-Conversion
Resource Nodes of DGR/DESRs can move to a new location if they are electrically the same

## Slide 7: DGR/DESR Resource Node Management – Post-Conversion
Resource Nodes of DGR/DESRs can move to a new location if they are electrically the same or the impedance is less that the 0.0005 pu reactance threshold
<0.0005 X

## Slide 8: DGR/DESR Resource Node Management – Post-Conversion
Resource Nodes of DGR/DESRs cannot be moved across impedances greater that 0.0005 reactance.
>0.0005 X
The “old” Resource Node must stay in the model until all CRR activities have concluded (Up to 3 years)

## Slide 9: Contingency Management – Informational Change Requests

## Slide 10: ICR – Informational Change Request
Informational Change Requests (ICRs) are submissions to ERCOT that will not have an associated modeling change.
  Example: Ratings Methodology Submissions
ERCOT requests ICRs be submitted when a valid change request cannot be accommodated due to modeling nuances
  Example: Disabling an auto-traced contingency via DPC on the first model load

## Slide 11: Submission of Auto-Traced Contingencies
CRs are submitted throughout the first day of the model week
The model provided downstream represents the end of the model week
Auto-traced contingencies are added at the end of the model week

## Slide 12: Submission of Auto-Traced Contingencies
Contingency is not present in the model at this time. ICR requested since CAMR would not have any changes