Date:	May 25, 2022

To:	Technical Advisory Committee (TAC) Representatives

From:	Martha Henson, Protocol Revision Subcommittee (PRS) Chair

Subject: Nodal Protocol Revision Requests (NPRRs) and System Change Requests (SCRs)

##### Issue: ##### Consideration of the following NPRRs recommended for approval by PRS: - NPRR1100, Allow Generation Resources and Energy Storage Resources to Serve Customer Load When the Customer and the Resource are Disconnected from the ERCOT System - URGENT - NPRR1110, Black Start Requirements Update - NPRR1119, Removal of Extraneous Language Pertaining to the Calculation of Weekly Generation and Load Resource Capacity Forecasts - NPRR1121, Add a Posting Requirement to the Exceptional Fuel Cost Submission Process - NPRR1129, Posting ESI IDs of Transmission-Voltage Customer Opt-Outs – URGENT - NPRR1130, Weatherization Inspection Fees Sunset Date Extension – URGENT

##### Background/History: Unless otherwise noted: (i) all Market Segments participated in each vote and (ii) For NPRRs, ERCOT Credit Staff and the Credit Work Group (Credit WG) have reviewed the NPRR and do not believe it requires changes to credit monitoring activity or the calculation of liability. Revision Requests Recommended for Approval - NPRR1100, Allow Generation Resources and Energy Storage Resources to Serve Customer Load When the Customer and the Resource are Disconnected from the ERCOT System – URGENT [Tesla] Proposed Effective Date: Upon system implementation ERCOT Impact Analysis: Less than $5k (O&M); no impacts to ERCOT staffing; no impacts to ERCOT computer systems; ERCOT business processes will be updated; no impacts to ERCOT grid operations and practices. Revision Description: This NPRR clarifies that a Generation Resource or Energy Storage Resource (ESR) may serve Customer Load in any circumstance in which the Customer and the Resource are both disconnected from the ERCOT System due to an Outage of the transmission or distribution system. It is limited to configurations where the Resource and Customer Load are using privately owned transmission and distribution infrastructure during the Private Microgrid Island (PMI) operation. This is not a Private Use Network and the Load and Resource do not net during normal circumstances. For PMIs with an ESR, after the initial Settlement of an Operating Day in which the private microgrid operated as a PMI, this NPRR proposes an adjustment to ensure that consumption by the ESR prior to the PMI operation period and subsequently used to serve the Customer during private microgrid operation is no longer treated as Wholesale Storage Load (WSL). This adjustment will recharacterize the Load from WSL to Non-WSL on an Operating Day basis for as many Operating Days as necessary to ensure that ESR Load not eligible for WSL treatment is not provided WSL treatment. PRS Decision: On 4/14/22, PRS voted via roll call to grant NPRR1100 Urgent status; and to table NPRR1100. There was one abstention from the Consumer (Residential Consumer) Market Segment. On 5/11/22, PRS voted unanimously to recommend approval of NPRR1100 as amended by the 5/3/22 ERCOT comments; and to forward to TAC NPRR1100. - NPRR1110, Black Start Requirements Update [ERCOT] Proposed Effective Date: August 1, 2022 ERCOT Impact Analysis: No budgetary impact; no impacts to ERCOT staffing; no impacts to ERCOT computer systems; no impacts to ERCOT business processes; no impacts to ERCOT grid operations and practices. Revision Description: This NPRR modifies the Black Start Service (BSS) confidential information, contract period, and back-up fuel requirements. Specific changes included the information contained in Section 1B. and Exhibit 1 in the Standard Form Black Start Agreement, not including the Hourly Standby Price, Notice and Certification sections, is added to the items considered ERCOT Critical Energy Infrastructure Information; the BSS procurement period is increased from two to four years; Black Start Back-up Fuel requirements add an on-site 72-hour priority fuel requirement that can be waived in whole or in part in order procure a sufficient number or preferred combination of Resources; and also included is an associated Black Start Back-up Fuel attestation, fuel switching test, and a Black Start Back-up Fuel cost recovery opportunity as part of the BSS bid. PRS Decision: On 4/14/22, PRS voted unanimously via roll call to recommend approval of NPRR1110 as amended by the 4/1/22 ERCOT comments. On 5/11/22, PRS voted unanimously to endorse and forward to TAC the 4/14/22 PRS Report and 11/22/21 Impact Analysis for NPRR1110. - NPRR1119, Removal of Extraneous Language Pertaining to the Calculation of Weekly Generation and Load Resource Capacity Forecasts [ERCOT] Proposed Effective Date: August 1, 2022 ERCOT Impact Analysis: No budgetary impact; no impacts to ERCOT staffing; no impacts to ERCOT computer systems; no impacts to ERCOT business processes; no impacts to ERCOT grid operations and practices. Revision Description: This NPRR deletes extraneous Protocol language that should have been removed as part of NPRR978, Alignment with Amendments to PUCT Substantive Rule 25.505. PRS Decision: On 3/9/22, PRS voted unanimously via roll call to recommend approval of NPRR1119 as submitted. On 4/14/22, PRS voted unanimously via roll call to endorse and forward to TAC the 3/9/22 PRS Report and Impact Analysis for NPRR1119. - NPRR1121, Add a Posting Requirement to the Exceptional Fuel Cost Submission Process [ERCOT] Proposed Effective Date: Upon system implementation – Priority 2022; Rank 3590 ERCOT Impact Analysis: Between $25k and $45k; no impacts to ERCOT staffing; impacts to Data Management & Analytic Systems, ERCOT Website and MIS Systems, and Channel Management Systems; ERCOT business processes will be updated; no impacts to ERCOT grid operations and practices. Revision Description: This NPRR replaces the Market Notice currently used in the Exceptional Fuel Cost submission process to notify Market Participants when such costs have been submitted for an Operating Day with an automated report. PRS Decision: On 3/9/22, PRS voted unanimously via roll call to recommend approval of NPRR1121 as submitted. On 4/14/22, PRS voted unanimously via roll call to endorse and forward to TAC the 3/9/22 PRS Report and Impact Analysis for NPRR1121 with a recommended priority of 2022 and rank of 3590. - NPRR1129, Posting ESI IDs of Transmission-Voltage Customer Opt-Outs – URGENT [ERCOT] Proposed Effective Date: August 1, 2022 ERCOT Impact Analysis: No budgetary impact; no impacts to ERCOT staffing; no impacts to ERCOT computer systems; ERCOT business processes will be updated; no impacts to ERCOT grid operations and practices. Revision Description: This NPRR allows ERCOT to post on the ERCOT website a list of ESI IDs of transmission-voltage Customer opt-outs as defined in the Debt Obligation Order (DOO) entered in Public Utility Commission of Texas (PUCT) Docket No. 52322, Application of Electric Reliability Council of Texas, Inc. for a Debt Obligation Order to Finance Uplift Balances Under PURA Chapter 39, Subchapter N, and for a Good Cause Exception. PRS Decision: On 4/14/22, PRS voted unanimously to grant NPRR1129 Urgent status; to recommend approval of NPRR1129 as submitted; and to forward to TAC NPRR1129 and the Impact Analysis. - NPRR1130, Weatherization Inspection Fees Sunset Date Extension – URGENT [ERCOT] Proposed Effective Date: August 1, 2022 ERCOT Impact Analysis: No budgetary impact; no impacts to ERCOT staffing; no impacts to ERCOT computer systems; no impacts to ERCOT business processes; no impacts to ERCOT grid operations and practices. Revision Description: This NPRR extends the current sunset date of September 1, 2022, to July 31, 2023, for the weatherization inspection fees listed on the ERCOT Fee Schedule. PRS Decision: On 5/11/22, PRS voted to grant NPRR1130 Urgent status; to recommend approval of NPRR1130 as amended by the 5/6/22 ERCOT comments as revised by PRS; and to forward to TAC NPRR1130 and the 4/22/22 Impact Analysis. There were two abstentions from the Independent Generator (Luminant Generation, Enel Green Power) Market Segment. Revision Requests Rejected None Revision Requests Withdrawn None Status of Pending Revision Requests (For Information Purposes Only): Revision Requests Scheduled for Impact Analysis Review and Priority Assignment (if applicable) at PRS - NPRR1127, Clarification of ERCOT Hotline Uses [ERCOT] - NPRR1131, Controllable Load Resource Participation in Non-Spin [ERCOT] - SCR820, Operator Real-Time Messaging During Emergency [AEP/CenterPoint] Revision Requests Deferred or Tabled and/or Pending Input from Another Subcommittee - NPRR956, Designation of Providers of Transmission Additions [ERCOT] - NPRR981, Day-Ahead Market Price Correction Process [Luminant] - NPRR1058, Resource Offer Modernization for Real-Time Co-Optimization [Reliant, Luminant, STEC, LCRA, Calpine] - NPRR1067, Market Entry Qualifications, Continued Participation Requirements, and Credit Risk Assessment [ERCOT] - NPRR1070, Planning Criteria for GTC Exit Solutions [EDF Renewables / Pattern Energy] - NPRR1084, Improvements to Reporting of Resource Outages and Derates [ERCOT] - NPRR1085, Ensuring Continuous Validity of Physical Responsive Capability (PRC) and Dispatch through Timely Changes to Resource Telemetry and Current Operating Plans (COPs) [ERCOT] - NPRR1088, Applying Forward Adjustment Factors to Forward Market Positions and Un-applying Forward Adjustment Factors to Prior Market Positions [Grand Oak Capital Partners] - NPRR1089, Requiring Highest-Ranking Representative, Official, or Officer of a Resource Entity to Execute Weatherization and Natural Gas Declarations [ERCOT] - NPRR1118, Clarifications to the OSA Process [ERCOT] - NPRR1126, Default Uplift Allocation Enhancement [DC Energy] - NPRR1128, Allow FFR Procurement up to FFR Limit Without Proration [Hunt Energy Network] - 1132NPRR, Communicate Operating Limitations during Cold and Hot Weather Conditions [ERCOT] - SCR821, Voltage Set Point Target Information for Distribution Generation Resource (DGR) or Distribution Energy Storage Resource (DESR) [AEP] New Revision Requests Scheduled for Consideration at PRS - 1132NPRR, Communicate Operating Limitations during Cold and Hot Weather Conditions [ERCOT] - 1133NPRR, Clarify Responsibilities for Submission of Planning Model Data for DC Ties [ERCOT] - 1134NPRR, Related to RMGRR168, Modify ERCOT’s Mass Transition Responsibilities [TX SET] - 1135NPRR, Add On-Line Status Check for Resources Telemetering OFFNS for Ancillary Service Imbalance Settlements [ERCOT] - 1136NPRR, Updates to Language Regarding a QSE Moving Ancillary Service Responsibility Between Resources [ERCOT] - 822SCR, Create Daily Energy Storage Integration Report and Dashboard [Reliant Energy Retail Services] These Revision Requests and supporting materials are posted on the ERCOT website at the following links: http://www.ercot.com/mktrules/issues/nprr http://www.ercot.com/mktrules/issues/scr