## Slide 1
Updates on NPRRs, NOGRRs, and PGRRs
IBRTF
Stephen Solis
Principal, System Operations Improvement
May 22, 2022

## Slide 2: Update on NPRRs, NOGRRs, and PGRRs
Next 5-10 days
  NPRR to address Communication of Capability and Status of Online IRRs at 0 MW Output.
    Is in final review
Next 10-45 days
  NPRR to require capability to comply with IEEE P2800 for all new IBRs
    Is in SME review
  NPRR to require new IBRs to provide reactive capability at no real power output and existing IBRs to enable if capable
    Is in SME review
Next 45-90 days
  NPRR and NOGRR to enhance ride through requirements
    Not started – drafting soon