## Slide 1: Wholesale Market Working Group Report to WMS
Bryan Sams
Murali Sithuraj
June 1, 2022
From April 22 WMWG & RUC Workshop Meetings

## Slide 2: Recap of 5/20/2022 WMWG Meeting
RUC Review
  ERCOT presented HRUC “deep dive” analysis regarding causes of the April 22nd RUCs
  Analysis suggested RUCs were a result of local constraints around the state in addition to the congestion on WESTEX
  ERCOT operators likely chose WESTEX as the cause of the RUCs due to lack of information and time to perform analysis in real time
  WMWG will discuss this topic again next month and may consider ways to improve the process in which ERCOT operators select an official reason for RUCs
NPRR 1118, Clarification to the OSA Process
  Left pending since we understand additional ERCOT comments are forthcoming.

## Slide 3: Recap of 5/20/2022 WMWG Meeting
NPRR 1128, Allow Fast Frequency Response (FFR) Procurement up to FFR Limit without Proration
  Hunt Energy gave a presentation explaining how the NPRR would set RRS-FFR’s offer floor to -$0.01/MWh, prioritizing FFR procurement over Under Frequency Relay (UFR) procurement and allowing FFR Resources to avoid proration with Load Resources providing RRS-UFR
  FFR Resources would still be prorated amongst each other, but not with UFR LRs whose offer floor would be a penny higher
  Hunt suggests the current methodology of grouping FFR with the Under Frequency Relay (UFR) portion of RRS creates a negative incentive for batteries to offer FFR
  Unopposed during WMWG; ERCOT was requested to state position on the NPRR.

## Slide 4: Pending Assignments
NPRR 981, Day-Ahead Market Price Correction Process
NPRR 1084, Improvements to Reporting of Resource Outages and Derates
NPRR 1100, Emergency Switching Solutions for Energy Storage Resources
NPRR1118, Clarifications to the OSA Process (WMWG)
AS Methodology
  Additional analysis for NSRS quantities
  Definition of conservative operations
  Quantities of AS post ECRS release
Addressing cost and compensation for using voltage reduction for grid reliability
Seasonal transmission loss factor enhancement review
ESR performance during Uri and possible market enhancements

## Slide 5: Next meeting
Expect 6/17 agenda to be posted by 6/10.
Any questions?