- Section 8:

SMOGRR025 – Modifications to Line Loss Compensation Requirement for EPS Metering

This Settlement Metering Operating Guide Revision Request (SMOGRR) allows for losses in short runs of connecting lines to be disregarded in instances where the ERCOT-Polled Settlement (EPS) Meter is not physically placed at the Point of Interconnection (POI).  This SMOGRR requires calculation to verify that the watts copper losses are below 0.001%.

Revised Subsection:  8.4