## Slide 1: Planning Working Group Update
To
Reliability and Operations Subcommittee
Charles DeWitt, PLWG Chair
June 2, 2022

## Slide 2: ROS Voting Items
PGRR101 - Related to NPRR1133, Clarify Responsibilities for Submission of Planning Model Data for DC Ties
  Adds DC Tie Owners to parties responsible for providing Planning model data
  Consensus to recommend approval at ROS
NPRR 1070 – Planning Criteria for GTC Exit Solutions
  Remain tabled at PLWG pending PUCT rule making related to economic project evaluation

## Slide 3: Planning Cases
SSWG: Replacement of HWLL case with the High Renewable case
  HWLL case will be replaced in the next SSWG case build
  Min case load levels will be used in the High Renewable case
  High Renewable case will use the same year used to define the HWLL case topology
  ERCOT will update the procedure for generation dispatch for this case
  SSWG will update the procedure manual for ROS approval

## Slide 4: Other items
Impact on Planning Guides and Protocols of proposed revisions FAC-001 and FAC-002 changing term “material modifications” to “qualified changes”
  Planning Coordinator needs to meet this requirement 12 months after the standard is approved
  There will be an additional 12 months for other entities to comply with the changes adopted by the Planning Coordinator
  Expected NERC Board approval in November 2022
  Next Steps:
    ERCOT developing of concepts for defining/determining “qualified changes”
    Identify Planning Guide Revisions needed to implement the changes

## Slide 5: Other items
KTC-15-6 RMR and MRA Services Analysis for Batteries
  ERCOT Working to prepare a NPRR submission in Q3 2022
  MRA Services for ESR at PLWG discussion will occur end of the year

## Slide 6: Questions?