## Slide 1: Operations Working Group
Chair- Rickey Floyd
Vice-Chair- Shawn McCreary
HITE List Sub-Chair – Pushkar Chhajed
06/02/2022

## Slide 2: NPRR1084
Improvements to Reporting of Resource Outages and Derates.
  ERCOT comments were reviewed that included comments from Centerpoint
    ERCOT was supportive of comments submitted by CenterPoint and is planning submitting additional comments before the next OWG
    MPs would like to continue to work with ERCOT on changes to comments
  NPRR1084 remains Tabled pending the completion of NPRR1085

## Slide 3: NPRR1085
Ensuring Continuous Validity of Physical Responsive Capability (PRC) and Dispatch through Timely Changes to Resource Telemetry and Current Operating Plans (COPs)
  Recent comments were filed by Stakeholders and ERCOT
  Both sets of comments were discussed at OWG
  OWG does not have consensus on the either comments
  ERCOT and Stakeholders would like ROS to move forward with a vote

## Slide 4: NPRR1118, Clarifications to the OSA Process
Tabled at OWG pending new comments

## Slide 5: SCR821, Voltage Set Point Target Information for Distribution Generation Resource (DGR) or Distribution Energy Storage Resource (DESR) (OWG, NDSWG, VPWG) (Possible Vote)
Discussions are continuing between Stakeholders
Tabled pending on-going discussion with stakeholders

## Slide 6: NOGRR215 – Limited Use of RAS
ERCOT refiled original comments that will be discussed at the next OWG.

## Slide 7: NOGRR226 - Revision to 5% Transmission Operator (TO) Load Shedding Relay Set Point
Comments were filed by Oncor and reviewed at OWG. The comments were submitted as a concept for adding a softer UFLS at frequency levels between 59.3 and 59.4.
ERCOT gave a presentation on the studies they would be conducting based on the original comments, the latest comments and possibly changing the trigger for EEA 3. The studies are planned to be finished in early May.
ERCOT reported that study results should be available for discussion at the next OWG