## 2021 Regulation-up
2021 Regulation-up (this reflects the impact of SCR 811 after June 1st, 2021)
HE | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
1 | 184 | 220 | 194 | 246 | 220 | 322 | 196 | 254 | 172 | 158 | 177 | 158
2 | 257 | 258 | 178 | 211 | 233 | 212 | 155 | 148 | 143 | 167 | 193 | 194
3 | 291 | 245 | 236 | 253 | 221 | 222 | 145 | 140 | 164 | 174 | 219 | 190
4 | 294 | 291 | 241 | 265 | 229 | 238 | 178 | 193 | 183 | 197 | 261 | 243
5 | 365 | 366 | 320 | 284 | 308 | 272 | 222 | 239 | 257 | 261 | 315 | 328
6 | 576 | 540 | 439 | 431 | 423 | 371 | 303 | 375 | 392 | 421 | 471 | 516
7 | 668 | 732 | 616 | 596 | 596 | 417 | 355 | 471 | 492 | 530 | 523 | 593
8 | 362 | 388 | 398 | 344 | 333 | 377 | 370 | 361 | 347 | 338 | 297 | 311
9 | 249 | 327 | 341 | 338 | 384 | 420 | 422 | 433 | 421 | 371 | 328 | 269
10 | 331 | 364 | 422 | 439 | 490 | 522 | 510 | 502 | 502 | 411 | 366 | 279
11 | 313 | 391 | 456 | 468 | 584 | 571 | 572 | 618 | 518 | 480 | 350 | 359
12 | 364 | 389 | 455 | 493 | 611 | 542 | 569 | 593 | 541 | 501 | 325 | 339
13 | 324 | 460 | 459 | 472 | 562 | 487 | 491 | 521 | 505 | 558 | 346 | 292
14 | 320 | 384 | 414 | 492 | 559 | 430 | 447 | 467 | 457 | 432 | 328 | 304
15 | 340 | 403 | 437 | 455 | 497 | 383 | 372 | 434 | 405 | 418 | 376 | 319
16 | 399 | 496 | 439 | 493 | 493 | 362 | 318 | 357 | 380 | 356 | 363 | 315
17 | 509 | 544 | 463 | 510 | 463 | 301 | 295 | 314 | 333 | 386 | 413 | 486
18 | 667 | 607 | 541 | 533 | 432 | 319 | 289 | 258 | 306 | 384 | 452 | 567
19 | 415 | 524 | 604 | 465 | 428 | 325 | 239 | 257 | 305 | 347 | 212 | 289
20 | 200 | 235 | 426 | 459 | 429 | 230 | 199 | 286 | 232 | 235 | 202 | 188
21 | 206 | 201 | 250 | 352 | 316 | 207 | 216 | 202 | 170 | 264 | 157 | 148
22 | 213 | 204 | 161 | 351 | 449 | 198 | 148 | 117 | 136 | 179 | 153 | 153
23 | 221 | 217 | 265 | 190 | 218 | 235 | 218 | 165 | 177 | 189 | 160 | 137
24 | 210 | 192 | 215 | 239 | 187 | 207 | 109 | 175 | 167 | 161 | 196 | 129
Total | 8278 | 8978 | 8970 | 9379 | 9665 | 8170 | 7338 | 7880 | 7705 | 7918 | 7183 | 7106

## 2021 Regulation-down
2021 Regulation-down (this reflects the impact of SCR 811 after June 1st, 2021)
HE | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
1 | 257 | 293 | 369 | 341 | 390 | 451 | 438 | 440 | 386 | 391 | 294 | 247
2 | 208 | 244 | 277 | 290 | 316 | 348 | 346 | 308 | 293 | 265 | 226 | 206
3 | 182 | 238 | 291 | 248 | 235 | 310 | 263 | 270 | 224 | 213 | 175 | 178
4 | 173 | 214 | 213 | 216 | 217 | 212 | 227 | 227 | 183 | 183 | 165 | 146
5 | 225 | 213 | 229 | 195 | 217 | 188 | 184 | 176 | 157 | 161 | 243 | 184
6 | 295 | 342 | 320 | 280 | 298 | 203 | 192 | 181 | 179 | 265 | 257 | 263
7 | 269 | 256 | 284 | 260 | 263 | 194 | 179 | 204 | 156 | 184 | 183 | 225
8 | 274 | 375 | 420 | 301 | 259 | 205 | 170 | 191 | 189 | 221 | 253 | 258
9 | 478 | 532 | 451 | 365 | 418 | 255 | 254 | 245 | 248 | 265 | 354 | 441
10 | 480 | 558 | 534 | 436 | 399 | 314 | 226 | 262 | 304 | 377 | 344 | 306
11 | 475 | 470 | 538 | 359 | 465 | 214 | 137 | 229 | 364 | 291 | 365 | 381
12 | 452 | 454 | 421 | 368 | 347 | 178 | 238 | 187 | 289 | 308 | 347 | 379
13 | 391 | 451 | 416 | 357 | 339 | 189 | 164 | 191 | 241 | 296 | 320 | 328
14 | 379 | 447 | 418 | 338 | 412 | 488 | 210 | 267 | 225 | 259 | 360 | 313
15 | 392 | 405 | 380 | 380 | 411 | 279 | 236 | 257 | 237 | 293 | 354 | 320
16 | 303 | 355 | 349 | 354 | 423 | 299 | 258 | 262 | 294 | 298 | 291 | 271
17 | 200 | 351 | 377 | 425 | 476 | 324 | 308 | 363 | 324 | 388 | 240 | 229
18 | 194 | 273 | 377 | 470 | 489 | 415 | 398 | 427 | 394 | 401 | 197 | 186
19 | 312 | 334 | 326 | 506 | 508 | 459 | 463 | 461 | 457 | 390 | 321 | 313
20 | 275 | 352 | 337 | 330 | 405 | 417 | 383 | 443 | 380 | 370 | 333 | 277
21 | 305 | 348 | 375 | 430 | 370 | 340 | 359 | 449 | 505 | 460 | 310 | 285
22 | 355 | 386 | 441 | 484 | 491 | 522 | 513 | 569 | 552 | 483 | 328 | 326
23 | 381 | 388 | 420 | 513 | 521 | 563 | 567 | 588 | 549 | 447 | 368 | 345
24 | 364 | 349 | 380 | 431 | 508 | 487 | 497 | 528 | 513 | 419 | 347 | 313
Total | 7619 | 8628 | 8943 | 8677 | 9177 | 7854 | 7210 | 7725 | 7643 | 7628 | 6975 | 6720

## 2021 NSRS
2021 NSRS
HE | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
1 | 1169 | 1190 | 1136 | 1196 | 1076 | 1106 | 1110 | 1183 | 1026 | 1158 | 1268 | 1047
2 | 1169 | 1190 | 1136 | 1196 | 1076 | 1106 | 1110 | 1183 | 1026 | 1158 | 1268 | 1047
3 | 1147 | 1257 | 1327 | 1379 | 1314 | 1316 | 1245 | 1409 | 1255 | 1555 | 1347 | 1292
4 | 1147 | 1257 | 1327 | 1379 | 1314 | 1316 | 1245 | 1409 | 1255 | 1555 | 1347 | 1292
5 | 1147 | 1257 | 1327 | 1379 | 1314 | 1316 | 1245 | 1409 | 1255 | 1555 | 1347 | 1292
6 | 1147 | 1257 | 1327 | 1379 | 1314 | 1316 | 1245 | 1409 | 1255 | 1555 | 1347 | 1292
7 | 1895 | 1984 | 1816 | 1820 | 1881 | 2003 | 1577 | 1607 | 1633 | 2012 | 1854 | 1873
8 | 1895 | 1984 | 1816 | 1820 | 1881 | 2003 | 1577 | 1607 | 1633 | 2012 | 1854 | 1873
9 | 1895 | 1984 | 1816 | 1820 | 1881 | 2003 | 1577 | 1607 | 1633 | 2012 | 1854 | 1873
10 | 1895 | 1984 | 1816 | 1820 | 1881 | 2003 | 1577 | 1607 | 1633 | 2012 | 1854 | 1873
11 | 1531 | 1632 | 1770 | 1540 | 1686 | 1553 | 1599 | 1814 | 2031 | 1695 | 1508 | 1637
12 | 1531 | 1632 | 1770 | 1540 | 1686 | 1553 | 1599 | 1814 | 2031 | 1695 | 1508 | 1637
13 | 1531 | 1632 | 1770 | 1540 | 1686 | 1553 | 1599 | 1814 | 2031 | 1695 | 1508 | 1637
14 | 1531 | 1632 | 1770 | 1540 | 1686 | 1553 | 1599 | 1814 | 2031 | 1695 | 1508 | 1637
15 | 1420 | 1636 | 1390 | 1530 | 1538 | 1828 | 1406 | 1385 | 1437 | 1555 | 1782 | 1936
16 | 1420 | 1636 | 1390 | 1530 | 1538 | 1828 | 1406 | 1385 | 1437 | 1555 | 1782 | 1936
17 | 1420 | 1636 | 1390 | 1530 | 1538 | 1828 | 1406 | 1385 | 1437 | 1555 | 1782 | 1936
18 | 1420 | 1636 | 1390 | 1530 | 1538 | 1828 | 1406 | 1385 | 1437 | 1555 | 1782 | 1936
19 | 2047 | 1926 | 1560 | 1718 | 1388 | 1355 | 1276 | 1230 | 1146 | 1144 | 1294 | 1281
20 | 2047 | 1926 | 1560 | 1718 | 1388 | 1355 | 1276 | 1230 | 1146 | 1144 | 1294 | 1281
21 | 2047 | 1926 | 1560 | 1718 | 1388 | 1355 | 1276 | 1230 | 1146 | 1144 | 1294 | 1281
22 | 2047 | 1926 | 1560 | 1718 | 1388 | 1355 | 1276 | 1230 | 1146 | 1144 | 1294 | 1281
23 | 1169 | 1190 | 1136 | 1196 | 1076 | 1106 | 1110 | 1183 | 1026 | 1158 | 1268 | 1047
24 | 1169 | 1190 | 1136 | 1196 | 1076 | 1106 | 1110 | 1183 | 1026 | 1158 | 1268 | 1047
Total | 36836 | 38500 | 35996 | 36732 | 35532 | 36644 | 32852 | 34512 | 34112 | 36476 | 36212 | 36264
* The NSRS quantities have been calculated based on the historical data from 2018, 2019 and 2020.

## 2021 RRS
Note that ERCOT has been working with NERC to include an update to ERCOT's Resource Contingency Criteria (RCC) (from 2750 MW to 2805 MW) in NERC's 2020 BAL-003 Interconnection Frequency Response Obligation (IFRO) assessment for 2021. ERCOT's preliminary IFRO for 2021 is 471 MW/0.1 Hz. As a result of this ERCOT expects that the minimum RRS-PFR limit for 2021 will change to 1420 MW. These 2021 quantities are based on an updated 2021 RRS table that was built using RCC of 2805 MW and the minimum RRS-PFR limit of 1420 MW.
2021-01-01 | [6 empty] | 2021-02-01 | [6 empty] | 2021-03-01
HE | Total RRS MW | PFRS | LRs | Equivalency Ratio | %RRS from LRs | Total Equivalent PFRs | HE | Total RRS MW | PFRS | LRs | Equivalency Ratio | %RRS from LRs | Total Equivalent PFRs | HE | Total RRS MW | PFRS | LRs | Equivalency Ratio | %RRS from LRs | Total Equivalent PFRs
1 | 3053 | 1420 | 1633 | 1.65 | 53.49% | 4114.45 | 1 | 3170 | 1420 | 1750 | 1.83 | 55.21% | 4622.5 | 1 | 3092 | 1420 | 1672 | 1.74 | 54.08% | 4329.28
2 | 3053 | 1420 | 1633 | 1.65 | 53.49% | 4114.45 | 2 | 3170 | 1420 | 1750 | 1.83 | 55.21% | 4622.5 | 2 | 3092 | 1420 | 1672 | 1.74 | 54.08% | 4329.28
3 | 3053 | 1420 | 1633 | 1.65 | 53.49% | 4114.45 | 3 | 3092 | 1420 | 1672 | 1.74 | 54.08% | 4329.28 | 3 | 3170 | 1420 | 1750 | 1.83 | 55.21% | 4622.5
4 | 3053 | 1420 | 1633 | 1.65 | 53.49% | 4114.45 | 4 | 3092 | 1420 | 1672 | 1.74 | 54.08% | 4329.28 | 4 | 3170 | 1420 | 1750 | 1.83 | 55.21% | 4622.5
5 | 3053 | 1420 | 1633 | 1.65 | 53.49% | 4114.45 | 5 | 3092 | 1420 | 1672 | 1.74 | 54.08% | 4329.28 | 5 | 3170 | 1420 | 1750 | 1.83 | 55.21% | 4622.5
6 | 3053 | 1420 | 1633 | 1.65 | 53.49% | 4114.45 | 6 | 3092 | 1420 | 1672 | 1.74 | 54.08% | 4329.28 | 6 | 3170 | 1420 | 1750 | 1.83 | 55.21% | 4622.5
7 | 2959 | 1420 | 1539 | 1.51 | 52.01% | 3743.89 | 7 | 2959 | 1420 | 1539 | 1.51 | 52.01% | 3743.89 | 7 | 3002 | 1420 | 1582 | 1.58 | 52.7% | 3919.56
8 | 2959 | 1420 | 1539 | 1.51 | 52.01% | 3743.89 | 8 | 2959 | 1420 | 1539 | 1.51 | 52.01% | 3743.89 | 8 | 3002 | 1420 | 1582 | 1.58 | 52.7% | 3919.56
9 | 2959 | 1420 | 1539 | 1.51 | 52.01% | 3743.89 | 9 | 2959 | 1420 | 1539 | 1.51 | 52.01% | 3743.89 | 9 | 3002 | 1420 | 1582 | 1.58 | 52.7% | 3919.56
10 | 2959 | 1420 | 1539 | 1.51 | 52.01% | 3743.89 | 10 | 2959 | 1420 | 1539 | 1.51 | 52.01% | 3743.89 | 10 | 3002 | 1420 | 1582 | 1.58 | 52.7% | 3919.56
11 | 2880 | 1420 | 1460 | 1.44 | 50.69% | 3522.4 | 11 | 2959 | 1420 | 1539 | 1.51 | 52.01% | 3743.89 | 11 | 2959 | 1420 | 1539 | 1.51 | 52.01% | 3743.89
12 | 2880 | 1420 | 1460 | 1.44 | 50.69% | 3522.4 | 12 | 2959 | 1420 | 1539 | 1.51 | 52.01% | 3743.89 | 12 | 2959 | 1420 | 1539 | 1.51 | 52.01% | 3743.89
13 | 2880 | 1420 | 1460 | 1.44 | 50.69% | 3522.4 | 13 | 2959 | 1420 | 1539 | 1.51 | 52.01% | 3743.89 | 13 | 2959 | 1420 | 1539 | 1.51 | 52.01% | 3743.89
14 | 2880 | 1420 | 1460 | 1.44 | 50.69% | 3522.4 | 14 | 2959 | 1420 | 1539 | 1.51 | 52.01% | 3743.89 | 14 | 2959 | 1420 | 1539 | 1.51 | 52.01% | 3743.89
15 | 2880 | 1420 | 1460 | 1.44 | 50.69% | 3522.4 | 15 | 2959 | 1420 | 1539 | 1.51 | 52.01% | 3743.89 | 15 | 2959 | 1420 | 1539 | 1.51 | 52.01% | 3743.89
16 | 2880 | 1420 | 1460 | 1.44 | 50.69% | 3522.4 | 16 | 2959 | 1420 | 1539 | 1.51 | 52.01% | 3743.89 | 16 | 2959 | 1420 | 1539 | 1.51 | 52.01% | 3743.89
17 | 2880 | 1420 | 1460 | 1.44 | 50.69% | 3522.4 | 17 | 2959 | 1420 | 1539 | 1.51 | 52.01% | 3743.89 | 17 | 2959 | 1420 | 1539 | 1.51 | 52.01% | 3743.89
18 | 2880 | 1420 | 1460 | 1.44 | 50.69% | 3522.4 | 18 | 2959 | 1420 | 1539 | 1.51 | 52.01% | 3743.89 | 18 | 2959 | 1420 | 1539 | 1.51 | 52.01% | 3743.89
19 | 2959 | 1420 | 1539 | 1.51 | 52.01% | 3743.89 | 19 | 3002 | 1420 | 1582 | 1.58 | 52.7% | 3919.56 | 19 | 2959 | 1420 | 1539 | 1.51 | 52.01% | 3743.89
20 | 2959 | 1420 | 1539 | 1.51 | 52.01% | 3743.89 | 20 | 3002 | 1420 | 1582 | 1.58 | 52.7% | 3919.56 | 20 | 2959 | 1420 | 1539 | 1.51 | 52.01% | 3743.89
21 | 2959 | 1420 | 1539 | 1.51 | 52.01% | 3743.89 | 21 | 3002 | 1420 | 1582 | 1.58 | 52.7% | 3919.56 | 21 | 2959 | 1420 | 1539 | 1.51 | 52.01% | 3743.89
22 | 2959 | 1420 | 1539 | 1.51 | 52.01% | 3743.89 | 22 | 3002 | 1420 | 1582 | 1.58 | 52.7% | 3919.56 | 22 | 2959 | 1420 | 1539 | 1.51 | 52.01% | 3743.89
23 | 3053 | 1420 | 1633 | 1.65 | 53.49% | 4114.45 | 23 | 3170 | 1420 | 1750 | 1.83 | 55.21% | 4622.5 | 23 | 3092 | 1420 | 1672 | 1.74 | 54.08% | 4329.28
24 | 3053 | 1420 | 1633 | 1.65 | 53.49% | 4114.45 | 24 | 3170 | 1420 | 1750 | 1.83 | 55.21% | 4622.5 | 24 | 3092 | 1420 | 1672 | 1.74 | 54.08% | 4329.28
2021-04-01 | [6 empty] | 2021-05-01 | [6 empty] | 2021-06-01
HE | Total RRS MW | PFRS | LRs | Equivalency Ratio | %RRS from LRs | Total Equivalent PFRs | HE | Total RRS MW | PFRS | LRs | Equivalency Ratio | %RRS from LRs | Total Equivalent PFRs | HE | Total RRS MW | PFRS | LRs | Equivalency Ratio | %RRS from LRs | Total Equivalent PFRs
1 | 3170 | 1420 | 1750 | 1.83 | 55.21% | 4622.5 | 1 | 2959 | 1420 | 1539 | 1.51 | 52.01% | 3743.89 | 1 | 2658 | 1420 | 1238 | 1.28 | 46.58% | 3004.64
2 | 3170 | 1420 | 1750 | 1.83 | 55.21% | 4622.5 | 2 | 2959 | 1420 | 1539 | 1.51 | 52.01% | 3743.89 | 2 | 2658 | 1420 | 1238 | 1.28 | 46.58% | 3004.64
3 | 3170 | 1420 | 1750 | 1.83 | 55.21% | 4622.5 | 3 | 3002 | 1420 | 1582 | 1.58 | 52.7% | 3919.56 | 3 | 2783 | 1420 | 1363 | 1.39 | 48.98% | 3314.57
4 | 3170 | 1420 | 1750 | 1.83 | 55.21% | 4622.5 | 4 | 3002 | 1420 | 1582 | 1.58 | 52.7% | 3919.56 | 4 | 2783 | 1420 | 1363 | 1.39 | 48.98% | 3314.57
5 | 3170 | 1420 | 1750 | 1.83 | 55.21% | 4622.5 | 5 | 3002 | 1420 | 1582 | 1.58 | 52.7% | 3919.56 | 5 | 2783 | 1420 | 1363 | 1.39 | 48.98% | 3314.57
6 | 3170 | 1420 | 1750 | 1.83 | 55.21% | 4622.5 | 6 | 3002 | 1420 | 1582 | 1.58 | 52.7% | 3919.56 | 6 | 2783 | 1420 | 1363 | 1.39 | 48.98% | 3314.57
7 | 3053 | 1420 | 1633 | 1.65 | 53.49% | 4114.45 | 7 | 2880 | 1420 | 1460 | 1.44 | 50.69% | 3522.4 | 7 | 2605 | 1420 | 1185 | 1.24 | 45.49% | 2889.4
8 | 3053 | 1420 | 1633 | 1.65 | 53.49% | 4114.45 | 8 | 2880 | 1420 | 1460 | 1.44 | 50.69% | 3522.4 | 8 | 2605 | 1420 | 1185 | 1.24 | 45.49% | 2889.4
9 | 3053 | 1420 | 1633 | 1.65 | 53.49% | 4114.45 | 9 | 2880 | 1420 | 1460 | 1.44 | 50.69% | 3522.4 | 9 | 2605 | 1420 | 1185 | 1.24 | 45.49% | 2889.4
10 | 3053 | 1420 | 1633 | 1.65 | 53.49% | 4114.45 | 10 | 2880 | 1420 | 1460 | 1.44 | 50.69% | 3522.4 | 10 | 2605 | 1420 | 1185 | 1.24 | 45.49% | 2889.4
11 | 3002 | 1420 | 1582 | 1.58 | 52.7% | 3919.56 | 11 | 2658 | 1420 | 1238 | 1.28 | 46.58% | 3004.64 | 11 | 2429 | 1420 | 1009 | 1.08 | 41.54% | 2509.72
12 | 3002 | 1420 | 1582 | 1.58 | 52.7% | 3919.56 | 12 | 2658 | 1420 | 1238 | 1.28 | 46.58% | 3004.64 | 12 | 2429 | 1420 | 1009 | 1.08 | 41.54% | 2509.72
13 | 3002 | 1420 | 1582 | 1.58 | 52.7% | 3919.56 | 13 | 2658 | 1420 | 1238 | 1.28 | 46.58% | 3004.64 | 13 | 2429 | 1420 | 1009 | 1.08 | 41.54% | 2509.72
14 | 3002 | 1420 | 1582 | 1.58 | 52.7% | 3919.56 | 14 | 2658 | 1420 | 1238 | 1.28 | 46.58% | 3004.64 | 14 | 2429 | 1420 | 1009 | 1.08 | 41.54% | 2509.72
15 | 2959 | 1420 | 1539 | 1.51 | 52.01% | 3743.89 | 15 | 2605 | 1420 | 1185 | 1.24 | 45.49% | 2889.4 | 15 | 2383 | 1420 | 963 | 1.04 | 40.41% | 2421.52
16 | 2959 | 1420 | 1539 | 1.51 | 52.01% | 3743.89 | 16 | 2605 | 1420 | 1185 | 1.24 | 45.49% | 2889.4 | 16 | 2383 | 1420 | 963 | 1.04 | 40.41% | 2421.52
17 | 2959 | 1420 | 1539 | 1.51 | 52.01% | 3743.89 | 17 | 2605 | 1420 | 1185 | 1.24 | 45.49% | 2889.4 | 17 | 2383 | 1420 | 963 | 1.04 | 40.41% | 2421.52
18 | 2959 | 1420 | 1539 | 1.51 | 52.01% | 3743.89 | 18 | 2605 | 1420 | 1185 | 1.24 | 45.49% | 2889.4 | 18 | 2383 | 1420 | 963 | 1.04 | 40.41% | 2421.52
19 | 3002 | 1420 | 1582 | 1.58 | 52.7% | 3919.56 | 19 | 2658 | 1420 | 1238 | 1.28 | 46.58% | 3004.64 | 19 | 2429 | 1420 | 1009 | 1.08 | 41.54% | 2509.72
20 | 3002 | 1420 | 1582 | 1.58 | 52.7% | 3919.56 | 20 | 2658 | 1420 | 1238 | 1.28 | 46.58% | 3004.64 | 20 | 2429 | 1420 | 1009 | 1.08 | 41.54% | 2509.72
21 | 3002 | 1420 | 1582 | 1.58 | 52.7% | 3919.56 | 21 | 2658 | 1420 | 1238 | 1.28 | 46.58% | 3004.64 | 21 | 2429 | 1420 | 1009 | 1.08 | 41.54% | 2509.72
22 | 3002 | 1420 | 1582 | 1.58 | 52.7% | 3919.56 | 22 | 2658 | 1420 | 1238 | 1.28 | 46.58% | 3004.64 | 22 | 2429 | 1420 | 1009 | 1.08 | 41.54% | 2509.72
23 | 3170 | 1420 | 1750 | 1.83 | 55.21% | 4622.5 | 23 | 2959 | 1420 | 1539 | 1.51 | 52.01% | 3743.89 | 23 | 2658 | 1420 | 1238 | 1.28 | 46.58% | 3004.64
24 | 3170 | 1420 | 1750 | 1.83 | 55.21% | 4622.5 | 24 | 2959 | 1420 | 1539 | 1.51 | 52.01% | 3743.89 | 24 | 2658 | 1420 | 1238 | 1.28 | 46.58% | 3004.64
2021-07-01 | [6 empty] | 2021-08-01 | [6 empty] | 2021-09-01
HE | Total RRS MW | PFRS | LRs | Equivalency Ratio | %RRS from LRs | Total Equivalent PFRs | HE | Total RRS MW | PFRS | LRs | Equivalency Ratio | %RRS from LRs | Total Equivalent PFRs | HE | Total RRS MW | PFRS | LRs | Equivalency Ratio | %RRS from LRs | Total Equivalent PFRs
1 | 2469 | 1420 | 1049 | 1.12 | 42.49% | 2594.88 | 1 | 2429 | 1420 | 1009 | 1.08 | 41.54% | 2509.72 | 1 | 2605 | 1420 | 1185 | 1.24 | 45.49% | 2889.4
2 | 2469 | 1420 | 1049 | 1.12 | 42.49% | 2594.88 | 2 | 2429 | 1420 | 1009 | 1.08 | 41.54% | 2509.72 | 2 | 2605 | 1420 | 1185 | 1.24 | 45.49% | 2889.4
3 | 2566 | 1420 | 1146 | 1.19 | 44.66% | 2783.74 | 3 | 2469 | 1420 | 1049 | 1.12 | 42.49% | 2594.88 | 3 | 2712 | 1420 | 1292 | 1.33 | 47.64% | 3138.36
4 | 2566 | 1420 | 1146 | 1.19 | 44.66% | 2783.74 | 4 | 2469 | 1420 | 1049 | 1.12 | 42.49% | 2594.88 | 4 | 2712 | 1420 | 1292 | 1.33 | 47.64% | 3138.36
5 | 2566 | 1420 | 1146 | 1.19 | 44.66% | 2783.74 | 5 | 2469 | 1420 | 1049 | 1.12 | 42.49% | 2594.88 | 5 | 2712 | 1420 | 1292 | 1.33 | 47.64% | 3138.36
6 | 2566 | 1420 | 1146 | 1.19 | 44.66% | 2783.74 | 6 | 2469 | 1420 | 1049 | 1.12 | 42.49% | 2594.88 | 6 | 2712 | 1420 | 1292 | 1.33 | 47.64% | 3138.36
7 | 2469 | 1420 | 1049 | 1.12 | 42.49% | 2594.88 | 7 | 2383 | 1420 | 963 | 1.04 | 40.41% | 2421.52 | 7 | 2605 | 1420 | 1185 | 1.24 | 45.49% | 2889.4
8 | 2469 | 1420 | 1049 | 1.12 | 42.49% | 2594.88 | 8 | 2383 | 1420 | 963 | 1.04 | 40.41% | 2421.52 | 8 | 2605 | 1420 | 1185 | 1.24 | 45.49% | 2889.4
9 | 2469 | 1420 | 1049 | 1.12 | 42.49% | 2594.88 | 9 | 2383 | 1420 | 963 | 1.04 | 40.41% | 2421.52 | 9 | 2605 | 1420 | 1185 | 1.24 | 45.49% | 2889.4
10 | 2469 | 1420 | 1049 | 1.12 | 42.49% | 2594.88 | 10 | 2383 | 1420 | 963 | 1.04 | 40.41% | 2421.52 | 10 | 2605 | 1420 | 1185 | 1.24 | 45.49% | 2889.4
11 | 2300 | 1420 | 880 | 1 | 38.26% | 2300 | 11 | 2300 | 1420 | 880 | 1 | 38.26% | 2300 | 11 | 2469 | 1420 | 1049 | 1.12 | 42.49% | 2594.88
12 | 2300 | 1420 | 880 | 1 | 38.26% | 2300 | 12 | 2300 | 1420 | 880 | 1 | 38.26% | 2300 | 12 | 2469 | 1420 | 1049 | 1.12 | 42.49% | 2594.88
13 | 2300 | 1420 | 880 | 1 | 38.26% | 2300 | 13 | 2300 | 1420 | 880 | 1 | 38.26% | 2300 | 13 | 2469 | 1420 | 1049 | 1.12 | 42.49% | 2594.88
14 | 2300 | 1420 | 880 | 1 | 38.26% | 2300 | 14 | 2300 | 1420 | 880 | 1 | 38.26% | 2300 | 14 | 2469 | 1420 | 1049 | 1.12 | 42.49% | 2594.88
15 | 2300 | 1420 | 880 | 1 | 38.26% | 2300 | 15 | 2300 | 1420 | 880 | 1 | 38.26% | 2300 | 15 | 2383 | 1420 | 963 | 1.04 | 40.41% | 2421.52
16 | 2300 | 1420 | 880 | 1 | 38.26% | 2300 | 16 | 2300 | 1420 | 880 | 1 | 38.26% | 2300 | 16 | 2383 | 1420 | 963 | 1.04 | 40.41% | 2421.52
17 | 2300 | 1420 | 880 | 1 | 38.26% | 2300 | 17 | 2300 | 1420 | 880 | 1 | 38.26% | 2300 | 17 | 2383 | 1420 | 963 | 1.04 | 40.41% | 2421.52
18 | 2300 | 1420 | 880 | 1 | 38.26% | 2300 | 18 | 2300 | 1420 | 880 | 1 | 38.26% | 2300 | 18 | 2383 | 1420 | 963 | 1.04 | 40.41% | 2421.52
19 | 2300 | 1420 | 880 | 1 | 38.26% | 2300 | 19 | 2300 | 1420 | 880 | 1 | 38.26% | 2300 | 19 | 2469 | 1420 | 1049 | 1.12 | 42.49% | 2594.88
20 | 2300 | 1420 | 880 | 1 | 38.26% | 2300 | 20 | 2300 | 1420 | 880 | 1 | 38.26% | 2300 | 20 | 2469 | 1420 | 1049 | 1.12 | 42.49% | 2594.88
21 | 2300 | 1420 | 880 | 1 | 38.26% | 2300 | 21 | 2300 | 1420 | 880 | 1 | 38.26% | 2300 | 21 | 2469 | 1420 | 1049 | 1.12 | 42.49% | 2594.88
22 | 2300 | 1420 | 880 | 1 | 38.26% | 2300 | 22 | 2300 | 1420 | 880 | 1 | 38.26% | 2300 | 22 | 2469 | 1420 | 1049 | 1.12 | 42.49% | 2594.88
23 | 2469 | 1420 | 1049 | 1.12 | 42.49% | 2594.88 | 23 | 2429 | 1420 | 1009 | 1.08 | 41.54% | 2509.72 | 23 | 2605 | 1420 | 1185 | 1.24 | 45.49% | 2889.4
24 | 2469 | 1420 | 1049 | 1.12 | 42.49% | 2594.88 | 24 | 2429 | 1420 | 1009 | 1.08 | 41.54% | 2509.72 | 24 | 2605 | 1420 | 1185 | 1.24 | 45.49% | 2889.4
2021-10-01 | [6 empty] | 2021-11-01 | [6 empty] | 2021-12-01
HE | Total RRS MW | PFRS | LRs | Equivalency Ratio | %RRS from LRs | Total Equivalent PFRs | HE | Total RRS MW | PFRS | LRs | Equivalency Ratio | %RRS from LRs | Total Equivalent PFRs | HE | Total RRS MW | PFRS | LRs | Equivalency Ratio | %RRS from LRs
1 | 3053 | 1420 | 1633 | 1.65 | 53.49% | 4114.45 | 1 | 3170 | 1420 | 1750 | 1.83 | 55.21% | 4622.5 | 1 | 3053 | 1420 | 1633 | 1.65 | 53.49% | 4114.45
2 | 3053 | 1420 | 1633 | 1.65 | 53.49% | 4114.45 | 2 | 3170 | 1420 | 1750 | 1.83 | 55.21% | 4622.5 | 2 | 3053 | 1420 | 1633 | 1.65 | 53.49% | 4114.45
3 | 3053 | 1420 | 1633 | 1.65 | 53.49% | 4114.45 | 3 | 3170 | 1420 | 1750 | 1.83 | 55.21% | 4622.5 | 3 | 3053 | 1420 | 1633 | 1.65 | 53.49% | 4114.45
4 | 3053 | 1420 | 1633 | 1.65 | 53.49% | 4114.45 | 4 | 3170 | 1420 | 1750 | 1.83 | 55.21% | 4622.5 | 4 | 3053 | 1420 | 1633 | 1.65 | 53.49% | 4114.45
5 | 3053 | 1420 | 1633 | 1.65 | 53.49% | 4114.45 | 5 | 3170 | 1420 | 1750 | 1.83 | 55.21% | 4622.5 | 5 | 3053 | 1420 | 1633 | 1.65 | 53.49% | 4114.45
6 | 3053 | 1420 | 1633 | 1.65 | 53.49% | 4114.45 | 6 | 3170 | 1420 | 1750 | 1.83 | 55.21% | 4622.5 | 6 | 3053 | 1420 | 1633 | 1.65 | 53.49% | 4114.45
7 | 2959 | 1420 | 1539 | 1.51 | 52.01% | 3743.89 | 7 | 3053 | 1420 | 1633 | 1.65 | 53.49% | 4114.45 | 7 | 2880 | 1420 | 1460 | 1.44 | 50.69% | 3522.4
8 | 2959 | 1420 | 1539 | 1.51 | 52.01% | 3743.89 | 8 | 3053 | 1420 | 1633 | 1.65 | 53.49% | 4114.45 | 8 | 2880 | 1420 | 1460 | 1.44 | 50.69% | 3522.4
9 | 2959 | 1420 | 1539 | 1.51 | 52.01% | 3743.89 | 9 | 3053 | 1420 | 1633 | 1.65 | 53.49% | 4114.45 | 9 | 2880 | 1420 | 1460 | 1.44 | 50.69% | 3522.4
10 | 2959 | 1420 | 1539 | 1.51 | 52.01% | 3743.89 | 10 | 3053 | 1420 | 1633 | 1.65 | 53.49% | 4114.45 | 10 | 2880 | 1420 | 1460 | 1.44 | 50.69% | 3522.4
11 | 2783 | 1420 | 1363 | 1.39 | 48.98% | 3314.57 | 11 | 3002 | 1420 | 1582 | 1.58 | 52.7% | 3919.56 | 11 | 2880 | 1420 | 1460 | 1.44 | 50.69% | 3522.4
12 | 2783 | 1420 | 1363 | 1.39 | 48.98% | 3314.57 | 12 | 3002 | 1420 | 1582 | 1.58 | 52.7% | 3919.56 | 12 | 2880 | 1420 | 1460 | 1.44 | 50.69% | 3522.4
13 | 2783 | 1420 | 1363 | 1.39 | 48.98% | 3314.57 | 13 | 3002 | 1420 | 1582 | 1.58 | 52.7% | 3919.56 | 13 | 2880 | 1420 | 1460 | 1.44 | 50.69% | 3522.4
14 | 2783 | 1420 | 1363 | 1.39 | 48.98% | 3314.57 | 14 | 3002 | 1420 | 1582 | 1.58 | 52.7% | 3919.56 | 14 | 2880 | 1420 | 1460 | 1.44 | 50.69% | 3522.4
15 | 2712 | 1420 | 1292 | 1.33 | 47.64% | 3138.36 | 15 | 3002 | 1420 | 1582 | 1.58 | 52.7% | 3919.56 | 15 | 2880 | 1420 | 1460 | 1.44 | 50.69% | 3522.4
16 | 2712 | 1420 | 1292 | 1.33 | 47.64% | 3138.36 | 16 | 3002 | 1420 | 1582 | 1.58 | 52.7% | 3919.56 | 16 | 2880 | 1420 | 1460 | 1.44 | 50.69% | 3522.4
17 | 2712 | 1420 | 1292 | 1.33 | 47.64% | 3138.36 | 17 | 3002 | 1420 | 1582 | 1.58 | 52.7% | 3919.56 | 17 | 2880 | 1420 | 1460 | 1.44 | 50.69% | 3522.4
18 | 2712 | 1420 | 1292 | 1.33 | 47.64% | 3138.36 | 18 | 3002 | 1420 | 1582 | 1.58 | 52.7% | 3919.56 | 18 | 2880 | 1420 | 1460 | 1.44 | 50.69% | 3522.4
19 | 2783 | 1420 | 1363 | 1.39 | 48.98% | 3314.57 | 19 | 3002 | 1420 | 1582 | 1.58 | 52.7% | 3919.56 | 19 | 2959 | 1420 | 1539 | 1.51 | 52.01% | 3743.89
20 | 2783 | 1420 | 1363 | 1.39 | 48.98% | 3314.57 | 20 | 3002 | 1420 | 1582 | 1.58 | 52.7% | 3919.56 | 20 | 2959 | 1420 | 1539 | 1.51 | 52.01% | 3743.89
21 | 2783 | 1420 | 1363 | 1.39 | 48.98% | 3314.57 | 21 | 3002 | 1420 | 1582 | 1.58 | 52.7% | 3919.56 | 21 | 2959 | 1420 | 1539 | 1.51 | 52.01% | 3743.89
22 | 2783 | 1420 | 1363 | 1.39 | 48.98% | 3314.57 | 22 | 3002 | 1420 | 1582 | 1.58 | 52.7% | 3919.56 | 22 | 2959 | 1420 | 1539 | 1.51 | 52.01% | 3743.89
23 | 3053 | 1420 | 1633 | 1.65 | 53.49% | 4114.45 | 23 | 3170 | 1420 | 1750 | 1.83 | 55.21% | 4622.5 | 23 | 3053 | 1420 | 1633 | 1.65 | 53.49% | 4114.45
24 | 3053 | 1420 | 1633 | 1.65 | 53.49% | 4114.45 | 24 | 3170 | 1420 | 1750 | 1.83 | 55.21% | 4622.5 | 24 | 3053 | 1420 | 1633 | 1.65 | 53.49% | 4114.45

## 2021_RRS_table
2021 RRS
HE | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
1 | 3053 | 3170 | 3092 | 3170 | 2959 | 2658 | 2469 | 2429 | 2605 | 3053 | 3170 | 3053
2 | 3053 | 3170 | 3092 | 3170 | 2959 | 2658 | 2469 | 2429 | 2605 | 3053 | 3170 | 3053
3 | 3053 | 3092 | 3170 | 3170 | 3002 | 2783 | 2566 | 2469 | 2712 | 3053 | 3170 | 3053
4 | 3053 | 3092 | 3170 | 3170 | 3002 | 2783 | 2566 | 2469 | 2712 | 3053 | 3170 | 3053
5 | 3053 | 3092 | 3170 | 3170 | 3002 | 2783 | 2566 | 2469 | 2712 | 3053 | 3170 | 3053
6 | 3053 | 3092 | 3170 | 3170 | 3002 | 2783 | 2566 | 2469 | 2712 | 3053 | 3170 | 3053
7 | 2959 | 2959 | 3002 | 3053 | 2880 | 2605 | 2469 | 2383 | 2605 | 2959 | 3053 | 2880
8 | 2959 | 2959 | 3002 | 3053 | 2880 | 2605 | 2469 | 2383 | 2605 | 2959 | 3053 | 2880
9 | 2959 | 2959 | 3002 | 3053 | 2880 | 2605 | 2469 | 2383 | 2605 | 2959 | 3053 | 2880
10 | 2959 | 2959 | 3002 | 3053 | 2880 | 2605 | 2469 | 2383 | 2605 | 2959 | 3053 | 2880
11 | 2880 | 2959 | 2959 | 3002 | 2658 | 2429 | 2300 | 2300 | 2469 | 2783 | 3002 | 2880
12 | 2880 | 2959 | 2959 | 3002 | 2658 | 2429 | 2300 | 2300 | 2469 | 2783 | 3002 | 2880
13 | 2880 | 2959 | 2959 | 3002 | 2658 | 2429 | 2300 | 2300 | 2469 | 2783 | 3002 | 2880
14 | 2880 | 2959 | 2959 | 3002 | 2658 | 2429 | 2300 | 2300 | 2469 | 2783 | 3002 | 2880
15 | 2880 | 2959 | 2959 | 2959 | 2605 | 2383 | 2300 | 2300 | 2383 | 2712 | 3002 | 2880
16 | 2880 | 2959 | 2959 | 2959 | 2605 | 2383 | 2300 | 2300 | 2383 | 2712 | 3002 | 2880
17 | 2880 | 2959 | 2959 | 2959 | 2605 | 2383 | 2300 | 2300 | 2383 | 2712 | 3002 | 2880
18 | 2880 | 2959 | 2959 | 2959 | 2605 | 2383 | 2300 | 2300 | 2383 | 2712 | 3002 | 2880
19 | 2959 | 3002 | 2959 | 3002 | 2658 | 2429 | 2300 | 2300 | 2469 | 2783 | 3002 | 2959
20 | 2959 | 3002 | 2959 | 3002 | 2658 | 2429 | 2300 | 2300 | 2469 | 2783 | 3002 | 2959
21 | 2959 | 3002 | 2959 | 3002 | 2658 | 2429 | 2300 | 2300 | 2469 | 2783 | 3002 | 2959
22 | 2959 | 3002 | 2959 | 3002 | 2658 | 2429 | 2300 | 2300 | 2469 | 2783 | 3002 | 2959
23 | 3053 | 3170 | 3092 | 3170 | 2959 | 2658 | 2469 | 2429 | 2605 | 3053 | 3170 | 3053
24 | 3053 | 3170 | 3092 | 3170 | 2959 | 2658 | 2469 | 2429 | 2605 | 3053 | 3170 | 3053
Total | 71136 | 72564 | 72564 | 73424 | 67048 | 61148 | 57616 | 56724 | 60972 | 69372 | 73596 | 70820