## 2023 Regulation Up
2023 Regulation-up
HE | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
1 | 241 | 238 | 320 | 230 | 220 | 259 | 196 | 198 | 210 | 207 | 202 | 201
2 | 197 | 209 | 270 | 202 | 233 | 180 | 135 | 124 | 126 | 153 | 218 | 220
3 | 255 | 212 | 250 | 212 | 268 | 219 | 158 | 148 | 176 | 238 | 206 | 220
4 | 266 | 274 | 284 | 271 | 280 | 246 | 212 | 195 | 198 | 187 | 251 | 247
5 | 351 | 388 | 330 | 287 | 301 | 292 | 222 | 236 | 247 | 261 | 316 | 337
6 | 535 | 507 | 491 | 412 | 420 | 379 | 315 | 332 | 414 | 389 | 442 | 487
7 | 644 | 607 | 609 | 540 | 529 | 451 | 366 | 427 | 459 | 477 | 579 | 567
8 | 393 | 399 | 422 | 334 | 332 | 387 | 321 | 289 | 298 | 347 | 320 | 331
9 | 311 | 308 | 371 | 313 | 400 | 429 | 324 | 329 | 319 | 307 | 349 | 324
10 | 399 | 438 | 414 | 498 | 558 | 591 | 617 | 556 | 481 | 461 | 391 | 426
11 | 412 | 433 | 507 | 393 | 623 | 611 | 684 | 641 | 580 | 627 | 369 | 469
12 | 353 | 399 | 504 | 451 | 626 | 637 | 687 | 690 | 644 | 583 | 393 | 440
13 | 378 | 419 | 503 | 486 | 576 | 611 | 657 | 654 | 632 | 597 | 394 | 351
14 | 330 | 463 | 515 | 519 | 577 | 550 | 590 | 623 | 594 | 568 | 372 | 416
15 | 371 | 462 | 515 | 469 | 552 | 482 | 502 | 589 | 561 | 606 | 435 | 433
16 | 448 | 527 | 541 | 506 | 528 | 567 | 494 | 537 | 523 | 644 | 412 | 546
17 | 724 | 615 | 596 | 538 | 535 | 493 | 480 | 552 | 486 | 640 | 766 | 849
18 | 850 | 921 | 779 | 536 | 571 | 490 | 470 | 574 | 561 | 789 | 636 | 666
19 | 390 | 655 | 851 | 708 | 515 | 525 | 437 | 510 | 616 | 724 | 382 | 251
20 | 238 | 238 | 733 | 648 | 533 | 460 | 512 | 485 | 378 | 280 | 176 | 209
21 | 245 | 258 | 319 | 342 | 401 | 288 | 368 | 335 | 135 | 210 | 161 | 226
22 | 186 | 188 | 262 | 292 | 282 | 251 | 108 | 67 | 200 | 223 | 157 | 200
23 | 209 | 257 | 275 | 187 | 216 | 225 | 181 | 115 | 146 | 149 | 177 | 172
24 | 212 | 183 | 231 | 217 | 189 | 166 | 71 | 121 | 148 | 137 | 151 | 191
Total | 8938 | 9598 | 10892 | 9591 | 10265 | 9789 | 9107 | 9327 | 9132 | 9804 | 8255 | 8779

## 2023 Regulation Down
2023 Regulation-Down
HE | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
1 | 276 | 289 | 356 | 387 | 483 | 475 | 431 | 387 | 386 | 377 | 306 | 300
2 | 223 | 240 | 257 | 305 | 366 | 396 | 352 | 304 | 289 | 276 | 227 | 288
3 | 217 | 230 | 261 | 254 | 276 | 318 | 295 | 265 | 248 | 215 | 188 | 205
4 | 245 | 191 | 223 | 239 | 248 | 254 | 216 | 247 | 224 | 211 | 184 | 191
5 | 204 | 309 | 233 | 208 | 217 | 247 | 210 | 195 | 199 | 210 | 216 | 191
6 | 294 | 526 | 299 | 257 | 283 | 214 | 171 | 152 | 208 | 238 | 231 | 278
7 | 247 | 310 | 263 | 239 | 242 | 242 | 262 | 196 | 158 | 192 | 242 | 204
8 | 219 | 573 | 606 | 339 | 408 | 371 | 307 | 237 | 245 | 231 | 465 | 363
9 | 747 | 880 | 742 | 553 | 563 | 423 | 394 | 262 | 517 | 712 | 653 | 684
10 | 549 | 597 | 647 | 563 | 478 | 432 | 360 | 262 | 402 | 652 | 439 | 562
11 | 490 | 527 | 535 | 425 | 463 | 292 | 183 | 486 | 363 | 447 | 398 | 442
12 | 454 | 503 | 508 | 445 | 457 | 348 | 263 | 202 | 336 | 465 | 385 | 360
13 | 414 | 511 | 568 | 448 | 496 | 282 | 194 | 246 | 302 | 434 | 385 | 352
14 | 386 | 505 | 461 | 391 | 399 | 347 | 273 | 267 | 299 | 391 | 399 | 393
15 | 442 | 463 | 486 | 463 | 388 | 314 | 329 | 292 | 367 | 458 | 435 | 411
16 | 388 | 506 | 509 | 514 | 396 | 371 | 400 | 273 | 468 | 475 | 366 | 376
17 | 299 | 502 | 564 | 504 | 440 | 431 | 400 | 371 | 400 | 567 | 278 | 341
18 | 224 | 372 | 500 | 477 | 514 | 461 | 506 | 408 | 461 | 518 | 181 | 228
19 | 303 | 327 | 415 | 496 | 491 | 508 | 484 | 447 | 394 | 277 | 315 | 299
20 | 267 | 346 | 336 | 365 | 426 | 294 | 299 | 283 | 362 | 439 | 351 | 294
21 | 284 | 335 | 369 | 414 | 375 | 338 | 363 | 434 | 519 | 455 | 327 | 301
22 | 305 | 323 | 416 | 483 | 524 | 539 | 543 | 505 | 532 | 438 | 341 | 317
23 | 389 | 385 | 414 | 487 | 546 | 589 | 582 | 554 | 523 | 453 | 377 | 365
24 | 337 | 326 | 418 | 474 | 560 | 538 | 522 | 479 | 478 | 437 | 347 | 391
Total | 8203 | 10076 | 10386 | 9730 | 10039 | 9024 | 8339 | 7754 | 8680 | 9568 | 8036 | 8136

## 2023 RRS
2023 RRS
HE | Jan | Feb | Mar | Apr | May | Jun | July | Aug | Sep | Oct | Nov | Dec
1 | 3041 | 3079 | 3335 | 3195 | 3041 | 2651 | 2517 | 2466 | 2705 | 3079 | 3195 | 3156
2 | 3041 | 3079 | 3335 | 3195 | 3041 | 2651 | 2517 | 2466 | 2705 | 3079 | 3195 | 3156
3 | 2991 | 3041 | 3335 | 3239 | 3041 | 2774 | 2562 | 2562 | 2774 | 3156 | 3195 | 3195
4 | 2991 | 3041 | 3335 | 3239 | 3041 | 2774 | 2562 | 2562 | 2774 | 3156 | 3195 | 3195
5 | 2991 | 3041 | 3335 | 3239 | 3041 | 2774 | 2562 | 2562 | 2774 | 3156 | 3195 | 3195
6 | 2991 | 3041 | 3335 | 3239 | 3041 | 2774 | 2562 | 2562 | 2774 | 3156 | 3195 | 3195
7 | 2871 | 2991 | 3239 | 3156 | 2949 | 2651 | 2517 | 2466 | 2651 | 2991 | 3041 | 3079
8 | 2871 | 2991 | 3239 | 3156 | 2949 | 2651 | 2517 | 2466 | 2651 | 2991 | 3041 | 3079
9 | 2871 | 2991 | 3239 | 3156 | 2949 | 2651 | 2517 | 2466 | 2651 | 2991 | 3041 | 3079
10 | 2871 | 2991 | 3239 | 3156 | 2949 | 2651 | 2517 | 2466 | 2651 | 2991 | 3041 | 3079
11 | 2949 | 3041 | 3239 | 3041 | 2774 | 2381 | 2300 | 2300 | 2427 | 2871 | 3041 | 2991
12 | 2949 | 3041 | 3239 | 3041 | 2774 | 2381 | 2300 | 2300 | 2427 | 2871 | 3041 | 2991
13 | 2949 | 3041 | 3239 | 3041 | 2774 | 2381 | 2300 | 2300 | 2427 | 2871 | 3041 | 2991
14 | 2949 | 3041 | 3239 | 3041 | 2774 | 2381 | 2300 | 2300 | 2427 | 2871 | 3041 | 2991
15 | 2991 | 2991 | 3195 | 2991 | 2800 | 2800 | 2800 | 2800 | 2800 | 2800 | 2991 | 2949
16 | 2991 | 2991 | 3195 | 2991 | 2800 | 2800 | 2800 | 2800 | 2800 | 2800 | 2991 | 2949
17 | 2991 | 2991 | 3195 | 2991 | 2800 | 2800 | 2800 | 2800 | 2800 | 2800 | 2991 | 2949
18 | 2991 | 2991 | 3195 | 2991 | 2800 | 2800 | 2800 | 2800 | 2800 | 2800 | 2991 | 2949
19 | 2949 | 2991 | 3195 | 2991 | 2800 | 2800 | 2800 | 2800 | 2800 | 2800 | 2991 | 2949
20 | 2949 | 2991 | 3195 | 2991 | 2800 | 2800 | 2800 | 2800 | 2800 | 2800 | 2991 | 2949
21 | 2949 | 2991 | 3195 | 2991 | 2800 | 2800 | 2800 | 2800 | 2800 | 2800 | 2991 | 2949
22 | 2949 | 2991 | 3195 | 2991 | 2800 | 2800 | 2800 | 2800 | 2800 | 2800 | 2991 | 2949
23 | 3041 | 3079 | 3335 | 3195 | 3041 | 2651 | 2517 | 2466 | 2705 | 3079 | 3195 | 3156
24 | 3041 | 3079 | 3335 | 3195 | 3041 | 2651 | 2517 | 2466 | 2705 | 3079 | 3195 | 3156
Total | 71168 | 72536 | 78152 | 74452 | 69620 | 64228 | 61984 | 61576 | 64628 | 70788 | 73816 | 73276
These 2023 quantities above are based on the 2023 RRS table that was built using Resource Contingency Criteria (RCC) of 2805 MW, the minimum RRS-PFR limit of 1390 MW and a floor of 2800 MW for peak hours and 2300 MW for remaining hours. Note that, NERC’s 2023 BAL-003 Interconnection Frequency Response Obligation (IFRO) assessment for ERCOT shows an increase in ERCOT’s IFRO. This is primarily because of an update in the IFRO methodology that was approved as a part of the Project 2017-01, Modifications to BAL-003. As a result of this ERCOT the minimum RRS-PFR limit for 2023has been changed to align with ERCOT's new IFRO.

## 2023 RRS Table
These 2023 quantities above are based on the 2022 RRS table that was built using Resource Contingency Criteria (RCC) of 2805 MW, the minimum RRS-PFR limit of 1390 MW and a floor of 2800 MW for peak hours and 2300 MW for remaining hours. Note that, NERC’s 2023 BAL-003 Interconnection Frequency Response Obligation (IFRO) assessment for ERCOT shows an increase in ERCOT’s IFRO. This is primarily because of an update in the IFRO methodology that was approved as a part of the Project 2017-01, Modifications to BAL-003. As a result of this ERCOT the minimum RRS-PFR limit for 2023 has been changed to align with ERCOT's new IFRO.
2023-01-01 | [5 empty] | 2023-02-01 | [5 empty] | 2023-03-01
HE | Total RRS MW | PFRS | LRs | Equivalency Ratio | %RRS from LRs | HE | Total RRS MW | PFRS | LRs | Equivalency Ratio | %RRS from LRs | HE | Total RRS MW | PFRS | LRs | Equivalency Ratio | %RRS from LRs
1 | 3041 | 1390 | 1651 | 1.65 | 54.29% | 1 | 3079 | 1390 | 1689 | 1.74 | 54.86% | 1 | 3335 | 1390 | 1945 | 2.35 | 58.32%
2 | 3041 | 1390 | 1651 | 1.65 | 54.29% | 2 | 3079 | 1390 | 1689 | 1.74 | 54.86% | 2 | 3335 | 1390 | 1945 | 2.35 | 58.32%
3 | 2991 | 1390 | 1601 | 1.58 | 53.53% | 3 | 3041 | 1390 | 1651 | 1.65 | 54.29% | 3 | 3335 | 1390 | 1945 | 2.35 | 58.32%
4 | 2991 | 1390 | 1601 | 1.58 | 53.53% | 4 | 3041 | 1390 | 1651 | 1.65 | 54.29% | 4 | 3335 | 1390 | 1945 | 2.35 | 58.32%
5 | 2991 | 1390 | 1601 | 1.58 | 53.53% | 5 | 3041 | 1390 | 1651 | 1.65 | 54.29% | 5 | 3335 | 1390 | 1945 | 2.35 | 58.32%
6 | 2991 | 1390 | 1601 | 1.58 | 53.53% | 6 | 3041 | 1390 | 1651 | 1.65 | 54.29% | 6 | 3335 | 1390 | 1945 | 2.35 | 58.32%
7 | 2871 | 1390 | 1481 | 1.44 | 51.58% | 7 | 2991 | 1390 | 1601 | 1.58 | 53.53% | 7 | 3239 | 1390 | 1849 | 2.06 | 57.09%
8 | 2871 | 1390 | 1481 | 1.44 | 51.58% | 8 | 2991 | 1390 | 1601 | 1.58 | 53.53% | 8 | 3239 | 1390 | 1849 | 2.06 | 57.09%
9 | 2871 | 1390 | 1481 | 1.44 | 51.58% | 9 | 2991 | 1390 | 1601 | 1.58 | 53.53% | 9 | 3239 | 1390 | 1849 | 2.06 | 57.09%
10 | 2871 | 1390 | 1481 | 1.44 | 51.58% | 10 | 2991 | 1390 | 1601 | 1.58 | 53.53% | 10 | 3239 | 1390 | 1849 | 2.06 | 57.09%
11 | 2949 | 1390 | 1559 | 1.51 | 52.87% | 11 | 3041 | 1390 | 1651 | 1.65 | 54.29% | 11 | 3239 | 1390 | 1849 | 2.06 | 57.09%
12 | 2949 | 1390 | 1559 | 1.51 | 52.87% | 12 | 3041 | 1390 | 1651 | 1.65 | 54.29% | 12 | 3239 | 1390 | 1849 | 2.06 | 57.09%
13 | 2949 | 1390 | 1559 | 1.51 | 52.87% | 13 | 3041 | 1390 | 1651 | 1.65 | 54.29% | 13 | 3239 | 1390 | 1849 | 2.06 | 57.09%
14 | 2949 | 1390 | 1559 | 1.51 | 52.87% | 14 | 3041 | 1390 | 1651 | 1.65 | 54.29% | 14 | 3239 | 1390 | 1849 | 2.06 | 57.09%
15 | 2991 | 1390 | 1601 | 1.58 | 53.53% | 15 | 2991 | 1390 | 1601 | 1.58 | 53.53% | 15 | 3195 | 1390 | 1805 | 1.94 | 56.49%
16 | 2991 | 1390 | 1601 | 1.58 | 53.53% | 16 | 2991 | 1390 | 1601 | 1.58 | 53.53% | 16 | 3195 | 1390 | 1805 | 1.94 | 56.49%
17 | 2991 | 1390 | 1601 | 1.58 | 53.53% | 17 | 2991 | 1390 | 1601 | 1.58 | 53.53% | 17 | 3195 | 1390 | 1805 | 1.94 | 56.49%
18 | 2991 | 1390 | 1601 | 1.58 | 53.53% | 18 | 2991 | 1390 | 1601 | 1.58 | 53.53% | 18 | 3195 | 1390 | 1805 | 1.94 | 56.49%
19 | 2949 | 1390 | 1559 | 1.51 | 52.87% | 19 | 2991 | 1390 | 1601 | 1.58 | 53.53% | 19 | 3195 | 1390 | 1805 | 1.94 | 56.49%
20 | 2949 | 1390 | 1559 | 1.51 | 52.87% | 20 | 2991 | 1390 | 1601 | 1.58 | 53.53% | 20 | 3195 | 1390 | 1805 | 1.94 | 56.49%
21 | 2949 | 1390 | 1559 | 1.51 | 52.87% | 21 | 2991 | 1390 | 1601 | 1.58 | 53.53% | 21 | 3195 | 1390 | 1805 | 1.94 | 56.49%
22 | 2949 | 1390 | 1559 | 1.51 | 52.87% | 22 | 2991 | 1390 | 1601 | 1.58 | 53.53% | 22 | 3195 | 1390 | 1805 | 1.94 | 56.49%
23 | 3041 | 1390 | 1651 | 1.65 | 54.29% | 23 | 3079 | 1390 | 1689 | 1.74 | 54.86% | 23 | 3335 | 1390 | 1945 | 2.35 | 58.32%
24 | 3041 | 1390 | 1651 | 1.65 | 54.29% | 24 | 3079 | 1390 | 1689 | 1.74 | 54.86% | 24 | 3335 | 1390 | 1945 | 2.35 | 58.32%
2023-04-01 | [5 empty] | 2023-05-01 | [5 empty] | 2023-06-01
HE | Total RRS MW | PFRS | LRs | Equivalency Ratio | %RRS from LRs | HE | Total RRS MW | PFRS | LRs | Equivalency Ratio | %RRS from LRs | HE | Total RRS MW | PFRS | LRs | Equivalency Ratio | %RRS from LRs
1 | 3195 | 1390 | 1805 | 1.94 | 56.49% | 1 | 3041 | 1390 | 1651 | 1.65 | 54.29% | 1 | 2651 | 1390 | 1261 | 1.28 | 47.57%
2 | 3195 | 1390 | 1805 | 1.94 | 56.49% | 2 | 3041 | 1390 | 1651 | 1.65 | 54.29% | 2 | 2651 | 1390 | 1261 | 1.28 | 47.57%
3 | 3239 | 1390 | 1849 | 2.06 | 57.09% | 3 | 3041 | 1390 | 1651 | 1.65 | 54.29% | 3 | 2774 | 1390 | 1384 | 1.39 | 49.89%
4 | 3239 | 1390 | 1849 | 2.06 | 57.09% | 4 | 3041 | 1390 | 1651 | 1.65 | 54.29% | 4 | 2774 | 1390 | 1384 | 1.39 | 49.89%
5 | 3239 | 1390 | 1849 | 2.06 | 57.09% | 5 | 3041 | 1390 | 1651 | 1.65 | 54.29% | 5 | 2774 | 1390 | 1384 | 1.39 | 49.89%
6 | 3239 | 1390 | 1849 | 2.06 | 57.09% | 6 | 3041 | 1390 | 1651 | 1.65 | 54.29% | 6 | 2774 | 1390 | 1384 | 1.39 | 49.89%
7 | 3156 | 1390 | 1766 | 1.83 | 55.96% | 7 | 2949 | 1390 | 1559 | 1.51 | 52.87% | 7 | 2651 | 1390 | 1261 | 1.28 | 47.57%
8 | 3156 | 1390 | 1766 | 1.83 | 55.96% | 8 | 2949 | 1390 | 1559 | 1.51 | 52.87% | 8 | 2651 | 1390 | 1261 | 1.28 | 47.57%
9 | 3156 | 1390 | 1766 | 1.83 | 55.96% | 9 | 2949 | 1390 | 1559 | 1.51 | 52.87% | 9 | 2651 | 1390 | 1261 | 1.28 | 47.57%
10 | 3156 | 1390 | 1766 | 1.83 | 55.96% | 10 | 2949 | 1390 | 1559 | 1.51 | 52.87% | 10 | 2651 | 1390 | 1261 | 1.28 | 47.57%
11 | 3041 | 1390 | 1651 | 1.65 | 54.29% | 11 | 2774 | 1390 | 1384 | 1.39 | 49.89% | 11 | 2381 | 1390 | 991 | 1.04 | 41.62%
12 | 3041 | 1390 | 1651 | 1.65 | 54.29% | 12 | 2774 | 1390 | 1384 | 1.39 | 49.89% | 12 | 2381 | 1390 | 991 | 1.04 | 41.62%
13 | 3041 | 1390 | 1651 | 1.65 | 54.29% | 13 | 2774 | 1390 | 1384 | 1.39 | 49.89% | 13 | 2381 | 1390 | 991 | 1.04 | 41.62%
14 | 3041 | 1390 | 1651 | 1.65 | 54.29% | 14 | 2774 | 1390 | 1384 | 1.39 | 49.89% | 14 | 2381 | 1390 | 991 | 1.04 | 41.62%
15 | 2991 | 1390 | 1601 | 1.58 | 53.53% | 15 | 2800 | 1390 | 1410 | 1.33 | 50.36% | 15 | 2800 | 1390 | 1410 | 1.01 | 50.36%
16 | 2991 | 1390 | 1601 | 1.58 | 53.53% | 16 | 2800 | 1390 | 1410 | 1.33 | 50.36% | 16 | 2800 | 1390 | 1410 | 1.01 | 50.36%
17 | 2991 | 1390 | 1601 | 1.58 | 53.53% | 17 | 2800 | 1390 | 1410 | 1.33 | 50.36% | 17 | 2800 | 1390 | 1410 | 1.01 | 50.36%
18 | 2991 | 1390 | 1601 | 1.58 | 53.53% | 18 | 2800 | 1390 | 1410 | 1.33 | 50.36% | 18 | 2800 | 1390 | 1410 | 1.01 | 50.36%
19 | 2991 | 1390 | 1601 | 1.58 | 53.53% | 19 | 2800 | 1390 | 1410 | 1.33 | 50.36% | 19 | 2800 | 1390 | 1410 | 1.04 | 50.36%
20 | 2991 | 1390 | 1601 | 1.58 | 53.53% | 20 | 2800 | 1390 | 1410 | 1.33 | 50.36% | 20 | 2800 | 1390 | 1410 | 1.04 | 50.36%
21 | 2991 | 1390 | 1601 | 1.58 | 53.53% | 21 | 2800 | 1390 | 1410 | 1.33 | 50.36% | 21 | 2800 | 1390 | 1410 | 1.04 | 50.36%
22 | 2991 | 1390 | 1601 | 1.58 | 53.53% | 22 | 2800 | 1390 | 1410 | 1.33 | 50.36% | 22 | 2800 | 1390 | 1410 | 1.04 | 50.36%
23 | 3195 | 1390 | 1805 | 1.94 | 56.49% | 23 | 3041 | 1390 | 1651 | 1.65 | 54.29% | 23 | 2651 | 1390 | 1261 | 1.28 | 47.57%
24 | 3195 | 1390 | 1805 | 1.94 | 56.49% | 24 | 3041 | 1390 | 1651 | 1.65 | 54.29% | 24 | 2651 | 1390 | 1261 | 1.28 | 47.57%
2023-07-01 | [5 empty] | 2023-08-01 | [5 empty] | 2023-09-01
HE | Total RRS MW | PFRS | LRs | Equivalency Ratio | %RRS from LRs | HE | Total RRS MW | PFRS | LRs | Equivalency Ratio | %RRS from LRs | HE | Total RRS MW | PFRS | LRs | Equivalency Ratio | %RRS from LRs
1 | 2517 | 1390 | 1127 | 1.15 | 44.78% | 1 | 2466 | 1390 | 1076 | 1.12 | 43.63% | 1 | 2705 | 1390 | 1315 | 1.33 | 48.61%
2 | 2517 | 1390 | 1127 | 1.15 | 44.78% | 2 | 2466 | 1390 | 1076 | 1.12 | 43.63% | 2 | 2705 | 1390 | 1315 | 1.33 | 48.61%
3 | 2562 | 1390 | 1172 | 1.19 | 45.75% | 3 | 2562 | 1390 | 1172 | 1.19 | 45.75% | 3 | 2774 | 1390 | 1384 | 1.39 | 49.89%
4 | 2562 | 1390 | 1172 | 1.19 | 45.75% | 4 | 2562 | 1390 | 1172 | 1.19 | 45.75% | 4 | 2774 | 1390 | 1384 | 1.39 | 49.89%
5 | 2562 | 1390 | 1172 | 1.19 | 45.75% | 5 | 2562 | 1390 | 1172 | 1.19 | 45.75% | 5 | 2774 | 1390 | 1384 | 1.39 | 49.89%
6 | 2562 | 1390 | 1172 | 1.19 | 45.75% | 6 | 2562 | 1390 | 1172 | 1.19 | 45.75% | 6 | 2774 | 1390 | 1384 | 1.39 | 49.89%
7 | 2517 | 1390 | 1127 | 1.15 | 44.78% | 7 | 2466 | 1390 | 1076 | 1.12 | 43.63% | 7 | 2651 | 1390 | 1261 | 1.28 | 47.57%
8 | 2517 | 1390 | 1127 | 1.15 | 44.78% | 8 | 2466 | 1390 | 1076 | 1.12 | 43.63% | 8 | 2651 | 1390 | 1261 | 1.28 | 47.57%
9 | 2517 | 1390 | 1127 | 1.15 | 44.78% | 9 | 2466 | 1390 | 1076 | 1.12 | 43.63% | 9 | 2651 | 1390 | 1261 | 1.28 | 47.57%
10 | 2517 | 1390 | 1127 | 1.15 | 44.78% | 10 | 2466 | 1390 | 1076 | 1.12 | 43.63% | 10 | 2651 | 1390 | 1261 | 1.28 | 47.57%
11 | 2300 | 1390 | 910 | 1 | 39.57% | 11 | 2300 | 1390 | 910 | 1 | 39.57% | 11 | 2427 | 1390 | 1037 | 1.08 | 42.73%
12 | 2300 | 1390 | 910 | 1 | 39.57% | 12 | 2300 | 1390 | 910 | 1 | 39.57% | 12 | 2427 | 1390 | 1037 | 1.08 | 42.73%
13 | 2300 | 1390 | 910 | 1 | 39.57% | 13 | 2300 | 1390 | 910 | 1 | 39.57% | 13 | 2427 | 1390 | 1037 | 1.08 | 42.73%
14 | 2300 | 1390 | 910 | 1 | 39.57% | 14 | 2300 | 1390 | 910 | 1 | 39.57% | 14 | 2427 | 1390 | 1037 | 1.08 | 42.73%
15 | 2800 | 1390 | 1410 | 1.33 | 50.36% | 15 | 2800 | 1390 | 1410 | 1.33 | 50.36% | 15 | 2800 | 1390 | 1410 | 1.33 | 50.36%
16 | 2800 | 1390 | 1410 | 1.33 | 50.36% | 16 | 2800 | 1390 | 1410 | 1.33 | 50.36% | 16 | 2800 | 1390 | 1410 | 1.33 | 50.36%
17 | 2800 | 1390 | 1410 | 1.33 | 50.36% | 17 | 2800 | 1390 | 1410 | 1.33 | 50.36% | 17 | 2800 | 1390 | 1410 | 1.33 | 50.36%
18 | 2800 | 1390 | 1410 | 1.33 | 50.36% | 18 | 2800 | 1390 | 1410 | 1.33 | 50.36% | 18 | 2800 | 1390 | 1410 | 1.33 | 50.36%
19 | 2800 | 1390 | 1410 | 1.33 | 50.36% | 19 | 2800 | 1390 | 1410 | 1.33 | 50.36% | 19 | 2800 | 1390 | 1410 | 1.33 | 50.36%
20 | 2800 | 1390 | 1410 | 1.33 | 50.36% | 20 | 2800 | 1390 | 1410 | 1.33 | 50.36% | 20 | 2800 | 1390 | 1410 | 1.33 | 50.36%
21 | 2800 | 1390 | 1410 | 1.33 | 50.36% | 21 | 2800 | 1390 | 1410 | 1.33 | 50.36% | 21 | 2800 | 1390 | 1410 | 1.33 | 50.36%
22 | 2800 | 1390 | 1410 | 1.33 | 50.36% | 22 | 2800 | 1390 | 1410 | 1.33 | 50.36% | 22 | 2800 | 1390 | 1410 | 1.33 | 50.36%
23 | 2517 | 1390 | 1127 | 1.15 | 44.78% | 23 | 2466 | 1390 | 1076 | 1.12 | 43.63% | 23 | 2705 | 1390 | 1315 | 1.33 | 48.61%
24 | 2517 | 1390 | 1127 | 1.15 | 44.78% | 24 | 2466 | 1390 | 1076 | 1.12 | 43.63% | 24 | 2705 | 1390 | 1315 | 1.33 | 48.61%
2023-10-01 | [5 empty] | 2023-11-01 | [5 empty] | 2023-12-01
HE | Total RRS MW | PFRS | LRs | Equivalency Ratio | %RRS from LRs | HE | Total RRS MW | PFRS | LRs | Equivalency Ratio | %RRS from LRs | HE | Total RRS MW | PFRS | LRs | Equivalency Ratio | %RRS from LRs
1 | 3079 | 1390 | 1689 | 1.74 | 54.86% | 1 | 3195 | 1390 | 1805 | 1.94 | 56.49% | 1 | 3156 | 1390 | 1766 | 1.83 | 55.96%
2 | 3079 | 1390 | 1689 | 1.74 | 54.86% | 2 | 3195 | 1390 | 1805 | 1.94 | 56.49% | 2 | 3156 | 1390 | 1766 | 1.83 | 55.96%
3 | 3156 | 1390 | 1766 | 1.83 | 55.96% | 3 | 3195 | 1390 | 1805 | 1.94 | 56.49% | 3 | 3195 | 1390 | 1805 | 1.94 | 56.49%
4 | 3156 | 1390 | 1766 | 1.83 | 55.96% | 4 | 3195 | 1390 | 1805 | 1.94 | 56.49% | 4 | 3195 | 1390 | 1805 | 1.94 | 56.49%
5 | 3156 | 1390 | 1766 | 1.83 | 55.96% | 5 | 3195 | 1390 | 1805 | 1.94 | 56.49% | 5 | 3195 | 1390 | 1805 | 1.94 | 56.49%
6 | 3156 | 1390 | 1766 | 1.83 | 55.96% | 6 | 3195 | 1390 | 1805 | 1.94 | 56.49% | 6 | 3195 | 1390 | 1805 | 1.94 | 56.49%
7 | 2991 | 1390 | 1601 | 1.58 | 53.53% | 7 | 3041 | 1390 | 1651 | 1.65 | 54.29% | 7 | 3079 | 1390 | 1689 | 1.74 | 54.86%
8 | 2991 | 1390 | 1601 | 1.58 | 53.53% | 8 | 3041 | 1390 | 1651 | 1.65 | 54.29% | 8 | 3079 | 1390 | 1689 | 1.74 | 54.86%
9 | 2991 | 1390 | 1601 | 1.58 | 53.53% | 9 | 3041 | 1390 | 1651 | 1.65 | 54.29% | 9 | 3079 | 1390 | 1689 | 1.74 | 54.86%
10 | 2991 | 1390 | 1601 | 1.58 | 53.53% | 10 | 3041 | 1390 | 1651 | 1.65 | 54.29% | 10 | 3079 | 1390 | 1689 | 1.74 | 54.86%
11 | 2871 | 1390 | 1481 | 1.44 | 51.58% | 11 | 3041 | 1390 | 1651 | 1.65 | 54.29% | 11 | 2991 | 1390 | 1601 | 1.58 | 53.53%
12 | 2871 | 1390 | 1481 | 1.44 | 51.58% | 12 | 3041 | 1390 | 1651 | 1.65 | 54.29% | 12 | 2991 | 1390 | 1601 | 1.58 | 53.53%
13 | 2871 | 1390 | 1481 | 1.44 | 51.58% | 13 | 3041 | 1390 | 1651 | 1.65 | 54.29% | 13 | 2991 | 1390 | 1601 | 1.58 | 53.53%
14 | 2871 | 1390 | 1481 | 1.44 | 51.58% | 14 | 3041 | 1390 | 1651 | 1.65 | 54.29% | 14 | 2991 | 1390 | 1601 | 1.58 | 53.53%
15 | 2800 | 1390 | 1410 | 1.39 | 50.36% | 15 | 2991 | 1390 | 1601 | 1.58 | 53.53% | 15 | 2949 | 1390 | 1559 | 1.51 | 52.87%
16 | 2800 | 1390 | 1410 | 1.39 | 50.36% | 16 | 2991 | 1390 | 1601 | 1.58 | 53.53% | 16 | 2949 | 1390 | 1559 | 1.51 | 52.87%
17 | 2800 | 1390 | 1410 | 1.39 | 50.36% | 17 | 2991 | 1390 | 1601 | 1.58 | 53.53% | 17 | 2949 | 1390 | 1559 | 1.51 | 52.87%
18 | 2800 | 1390 | 1410 | 1.39 | 50.36% | 18 | 2991 | 1390 | 1601 | 1.58 | 53.53% | 18 | 2949 | 1390 | 1559 | 1.51 | 52.87%
19 | 2800 | 1390 | 1410 | 1.33 | 50.36% | 19 | 2991 | 1390 | 1601 | 1.58 | 53.53% | 19 | 2949 | 1390 | 1559 | 1.51 | 52.87%
20 | 2800 | 1390 | 1410 | 1.33 | 50.36% | 20 | 2991 | 1390 | 1601 | 1.58 | 53.53% | 20 | 2949 | 1390 | 1559 | 1.51 | 52.87%
21 | 2800 | 1390 | 1410 | 1.33 | 50.36% | 21 | 2991 | 1390 | 1601 | 1.58 | 53.53% | 21 | 2949 | 1390 | 1559 | 1.51 | 52.87%
22 | 2800 | 1390 | 1410 | 1.33 | 50.36% | 22 | 2991 | 1390 | 1601 | 1.58 | 53.53% | 22 | 2949 | 1390 | 1559 | 1.51 | 52.87%
23 | 3079 | 1390 | 1689 | 1.74 | 54.86% | 23 | 3195 | 1390 | 1805 | 1.94 | 56.49% | 23 | 3156 | 1390 | 1766 | 1.83 | 55.96%
24 | 3079 | 1390 | 1689 | 1.74 | 54.86% | 24 | 3195 | 1390 | 1805 | 1.94 | 56.49% | 24 | 3156 | 1390 | 1766 | 1.83 | 55.96%

## 2023 NSRS
2023 NSRS
HE | Jan | Feb | Mar | Apr | May | Jun 1-9 | Jun 10-30 | Jul | Aug | Sep | Oct | Nov | Dec
1 | 3583 | 3045 | 3546 | 3908 | 4536 | 4009 | 2372 | 2295 | 2039 | 1689 | 1925 | 1688 | 2658
2 | 3583 | 3045 | 3546 | 3908 | 4536 | 4009 | 2372 | 2295 | 2039 | 1689 | 1925 | 1688 | 2658
3 | 3728 | 3902 | 3895 | 3998 | 5341 | 3471 | 2625 | 2647 | 2266 | 1807 | 2112 | 2200 | 2495
4 | 3728 | 3902 | 3895 | 3998 | 5341 | 3471 | 2625 | 2647 | 2266 | 1807 | 2112 | 2200 | 2495
5 | 3728 | 3902 | 3895 | 3998 | 5341 | 3471 | 2625 | 2647 | 2266 | 1807 | 2112 | 2200 | 2495
6 | 3728 | 3902 | 3895 | 3998 | 5341 | 3471 | 2625 | 2647 | 2266 | 1807 | 2112 | 2200 | 2495
7 | 4129 | 4357 | 4142 | 4651 | 5633 | 3803 | 2836 | 3463 | 2428 | 2574 | 2537 | 2393 | 3291
8 | 4129 | 4357 | 4142 | 4651 | 5633 | 3803 | 2836 | 3463 | 2428 | 2574 | 2537 | 2393 | 3291
9 | 4129 | 4357 | 4142 | 4651 | 5633 | 3803 | 2836 | 3463 | 2428 | 2574 | 2537 | 2393 | 3291
10 | 4129 | 4357 | 4142 | 4651 | 5633 | 3803 | 2836 | 3463 | 2428 | 2574 | 2537 | 2393 | 3291
11 | 3706 | 4449 | 4121 | 5210 | 5314 | 4522 | 3475 | 2882 | 2541 | 3183 | 3035 | 2478 | 3387
12 | 3706 | 4449 | 4121 | 5210 | 5314 | 4522 | 3475 | 2882 | 2541 | 3183 | 3035 | 2478 | 3387
13 | 3800 | 4580 | 4152 | 5066 | 5321 | 4657 | 3610 | 2767 | 2442 | 3026 | 3120 | 2681 | 3445
14 | 3800 | 4580 | 4152 | 5066 | 5321 | 4657 | 3610 | 2767 | 2442 | 3026 | 3120 | 2681 | 3445
15 | 4924 | 5396 | 4463 | 4390 | 4677 | 3791 | 3402 | 2825 | 2020 | 2242 | 2723 | 2878 | 3511
16 | 4924 | 5396 | 4463 | 4390 | 4677 | 3791 | 3402 | 2825 | 2020 | 2242 | 2723 | 2878 | 3511
17 | 4924 | 5396 | 4463 | 4390 | 4677 | 3791 | 3402 | 2825 | 2020 | 2242 | 2723 | 2878 | 3511
18 | 4924 | 5396 | 4463 | 4390 | 4677 | 3791 | 3402 | 2825 | 2020 | 2242 | 2723 | 2878 | 3511
19 | 3989 | 4131 | 4015 | 3433 | 4699 | 4354 | 2727 | 2586 | 1923 | 2053 | 2251 | 2355 | 3164
20 | 3989 | 4131 | 4015 | 3433 | 4699 | 4354 | 2727 | 2586 | 1923 | 2053 | 2251 | 2355 | 3164
21 | 3989 | 4131 | 4015 | 3433 | 4699 | 4354 | 2727 | 2586 | 1923 | 2053 | 2251 | 2355 | 3164
22 | 3989 | 4131 | 4015 | 3433 | 4699 | 4354 | 2727 | 2586 | 1923 | 2053 | 2251 | 2355 | 3164
23 | 3949 | 3273 | 3731 | 4017 | 4755 | 4391 | 2754 | 2625 | 2182 | 1930 | 2282 | 2123 | 2697
24 | 3949 | 3273 | 3731 | 4017 | 4755 | 4391 | 2754 | 2625 | 2182 | 1930 | 2282 | 2123 | 2697
total | 97156 | 101838 | 97160 | 102290 | 121252 | 96834 | 70782 | 67222 | 52956 | 54360 | 59216 | 57244 | 74218
ECRS is currently targetted to be implemented on Jun 8, 2023 with Jun 10, 2023 being the first Operating Day for operating with ECRS. NSPIN quantited procured for Jun 10, 2023 and later Oeprating Days will be computed using post ECRS methodology.

## 2023 ECRS
2023 ECRS
HE | Jan | Feb | Mar | Apr | May | Jun 10-30 | Jul | Aug | Sep | Oct | Nov | Dec
1 | [5 empty] | 1509.1376 | 1571.8554 | 1630.4043 | 1726.6832 | 1275.1478 | 1098.0692 | 1332.571
2 | [5 empty] | 1374.3088 | 1517.6647 | 1622.2493 | 1568.0569 | 1211.9664 | 1167.2842 | 1281.4459
3 | [5 empty] | 1476.3248 | 1556.4346 | 1718.8103 | 1582.562 | 1357.1245 | 1134.2413 | 1406.848
4 | [5 empty] | 1470.5838 | 1431.2939 | 1624.9474 | 1550.6812 | 1346.0058 | 1259.4524 | 1537.8221
5 | [5 empty] | 1425.6845 | 1407.9101 | 1595.081 | 1513.0508 | 1326.6584 | 1290.9047 | 1453.1108
6 | [5 empty] | 1538.1675 | 1417.1478 | 1478.7758 | 1542.8761 | 1423.4686 | 1327.7744 | 1383.8221
7 | [5 empty] | 1731.9796 | 1612.2507 | 1595.652 | 1687.5596 | 1539.1377 | 1461.9309 | 1596.8373
8 | [5 empty] | 1796.1698 | 1790.9409 | 1797.6562 | 1895.8231 | 1812.001 | 1634.9768 | 1964.8208
9 | [5 empty] | 2241.858 | 2464.7207 | 2262.7383 | 2215.3195 | 1706.7127 | 1925.2755 | 1951.5963
10 | [5 empty] | 2335.041 | 2181.4961 | 2429.7437 | 2838.0047 | 2417.4522 | 2307.6878 | 2767.7483
11 | [5 empty] | 2351.6825 | 2484.8224 | 2443.2369 | 2409.5122 | 1810.4707 | 2091.945 | 2554.5726
12 | [5 empty] | 2465.6952 | 2525.6201 | 2380.3042 | 2540.9599 | 2134.6076 | 1944.7008 | 2325.4876
13 | [5 empty] | 2519.088 | 2509.5187 | 2489.2393 | 2384.6191 | 2002.7619 | 1941.872 | 2096.3815
14 | [5 empty] | 2596.7091 | 2339.0807 | 2433.4206 | 2410.1534 | 2035.4192 | 1859.4014 | 2401.3007
15 | [5 empty] | 2492.697 | 2127.7674 | 2487.8492 | 2371.6187 | 1991.4218 | 2118.5789 | 2772.9135
16 | [5 empty] | 2514.7114 | 2451.3413 | 2568.5243 | 2454.223 | 2143.7787 | 2299.4472 | 2490.2951
17 | [5 empty] | 2522.257 | 2574.7463 | 2643.0078 | 2681.6835 | 2043.2508 | 1956.2374 | 2144.4747
18 | [5 empty] | 2441.3457 | 2447.7697 | 2808.7696 | 2284.7002 | 2230.5783 | 2183.7879 | 2136.0996
19 | [5 empty] | 2600.9231 | 2497.9323 | 2679.4333 | 2066.3664 | 2875.0902 | 1263.5024 | 1328.7821
20 | [5 empty] | 2574.2025 | 2393.2004 | 2534.4308 | 2138.1975 | 1851.8062 | 1356.6085 | 1599.017
21 | [5 empty] | 2450.3147 | 2076.1671 | 2262.3539 | 1838.1415 | 1737.4029 | 1334.3118 | 1523.2593
22 | [5 empty] | 2111.3671 | 2046.2221 | 1972.1338 | 1791.2147 | 1660.9741 | 1272.6667 | 1538.506
23 | [5 empty] | 1567.1397 | 1834.5164 | 1897.3166 | 1820.2749 | 1470.9247 | 1177.4375 | 1494.1508
24 | [5 empty] | 1634.677 | 1717.8444 | 1694.747 | 1668.8308 | 1419.6397 | 1169.6996 | 1239.9475
total | 0 | 0 | 0 | 0 | 0 | 49742.0656 | 48978.2645 | 51050.8256 | 48981.1128 | 42823.8016 | 38577.7942 | 44321.8106
ECRS is currently targetted to be implemented on Jun 8, 2023 with Jun 10, 2023 being the first Operating Day for operating with ECRS.