## 2024 Regulation Up
2024 Regulation-up
HE | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
1 | 213 | 269 | 275 | 213 | 181 | 462 | 145 | 191 | 175 | 195 | 163 | 205
2 | 212 | 288 | 256 | 239 | 223 | 229 | 183 | 134 | 151 | 179 | 219 | 282
3 | 259 | 244 | 230 | 189 | 250 | 243 | 168 | 152 | 220 | 231 | 224 | 236
4 | 257 | 267 | 287 | 283 | 256 | 240 | 201 | 210 | 203 | 239 | 256 | 276
5 | 352 | 398 | 320 | 291 | 301 | 243 | 226 | 241 | 274 | 265 | 328 | 373
6 | 525 | 520 | 490 | 419 | 434 | 335 | 298 | 339 | 408 | 403 | 450 | 513
7 | 652 | 619 | 608 | 522 | 477 | 402 | 356 | 412 | 451 | 471 | 608 | 571
8 | 404 | 401 | 396 | 307 | 309 | 224 | 269 | 270 | 250 | 304 | 329 | 446
9 | 299 | 307 | 352 | 322 | 387 | 387 | 368 | 310 | 290 | 263 | 393 | 518
10 | 418 | 445 | 406 | 473 | 498 | 587 | 602 | 524 | 480 | 403 | 431 | 449
11 | 410 | 419 | 461 | 422 | 588 | 618 | 678 | 716 | 683 | 533 | 397 | 411
12 | 340 | 399 | 475 | 443 | 635 | 651 | 699 | 730 | 681 | 558 | 444 | 424
13 | 396 | 404 | 454 | 464 | 572 | 628 | 623 | 708 | 695 | 534 | 433 | 404
14 | 481 | 503 | 470 | 519 | 564 | 592 | 582 | 619 | 603 | 498 | 428 | 458
15 | 374 | 452 | 506 | 488 | 513 | 515 | 525 | 549 | 547 | 523 | 484 | 500
16 | 495 | 538 | 526 | 551 | 554 | 523 | 544 | 526 | 525 | 515 | 580 | 647
17 | 835 | 601 | 553 | 579 | 573 | 511 | 496 | 566 | 484 | 590 | 917 | 1110
18 | 882 | 973 | 748 | 503 | 531 | 488 | 449 | 512 | 518 | 849 | 837 | 827
19 | 383 | 684 | 820 | 748 | 517 | 574 | 492 | 585 | 750 | 884 | 753 | 236
20 | 237 | 242 | 719 | 775 | 590 | 600 | 652 | 604 | 435 | 378 | 212 | 230
21 | 206 | 228 | 305 | 388 | 386 | 380 | 401 | 369 | 147 | 176 | 243 | 218
22 | 209 | 221 | 262 | 275 | 269 | 239 | 103 | 125 | 191 | 212 | 268 | 236
23 | 203 | 203 | 257 | 196 | 204 | 217 | 167 | 104 | 135 | 167 | 176 | 186
24 | 192 | 190 | 192 | 184 | 189 | 134 | 55 | 124 | 135 | 163 | 284 | 265
Total | 9234 | 9815 | 10368 | 9793 | 10001 | 10022 | 9282 | 9620 | 9431 | 9533 | 9857 | 10021

## 2024 Regulation Down
2024 Regulation-Down
HE | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
1 | 286 | 311 | 369 | 384 | 478 | 491 | 470 | 473 | 421 | 376 | 306 | 292
2 | 252 | 257 | 326 | 301 | 360 | 385 | 384 | 348 | 329 | 321 | 241 | 253
3 | 222 | 250 | 253 | 248 | 267 | 309 | 310 | 323 | 292 | 250 | 234 | 326
4 | 236 | 241 | 256 | 237 | 238 | 261 | 266 | 290 | 226 | 205 | 196 | 251
5 | 239 | 271 | 237 | 193 | 222 | 236 | 239 | 212 | 210 | 205 | 254 | 262
6 | 280 | 319 | 277 | 230 | 274 | 212 | 194 | 185 | 192 | 239 | 215 | 277
7 | 234 | 269 | 236 | 211 | 232 | 274 | 233 | 224 | 201 | 187 | 213 | 378
8 | 312 | 603 | 662 | 506 | 496 | 474 | 467 | 466 | 388 | 281 | 612 | 537
9 | 825 | 918 | 768 | 626 | 618 | 490 | 461 | 493 | 629 | 892 | 881 | 1020
10 | 571 | 593 | 560 | 540 | 454 | 420 | 384 | 320 | 447 | 545 | 663 | 654
11 | 447 | 492 | 500 | 465 | 474 | 303 | 182 | 330 | 364 | 493 | 473 | 495
12 | 395 | 466 | 481 | 443 | 425 | 318 | 255 | 237 | 311 | 465 | 445 | 413
13 | 369 | 515 | 508 | 426 | 445 | 290 | 190 | 279 | 289 | 650 | 439 | 410
14 | 367 | 476 | 516 | 397 | 413 | 314 | 269 | 313 | 301 | 429 | 435 | 445
15 | 393 | 440 | 471 | 449 | 396 | 321 | 322 | 344 | 375 | 465 | 446 | 448
16 | 386 | 460 | 476 | 487 | 412 | 390 | 390 | 329 | 392 | 472 | 423 | 424
17 | 330 | 449 | 497 | 458 | 437 | 457 | 405 | 428 | 417 | 537 | 285 | 288
18 | 225 | 339 | 514 | 502 | 495 | 468 | 453 | 457 | 452 | 461 | 285 | 197
19 | 271 | 295 | 400 | 433 | 470 | 427 | 416 | 468 | 326 | 379 | 296 | 296
20 | 262 | 319 | 404 | 254 | 330 | 348 | 265 | 315 | 356 | 403 | 323 | 291
21 | 282 | 312 | 374 | 386 | 373 | 445 | 404 | 406 | 518 | 406 | 306 | 261
22 | 312 | 315 | 382 | 444 | 521 | 548 | 555 | 567 | 551 | 428 | 358 | 325
23 | 381 | 381 | 425 | 490 | 546 | 590 | 586 | 665 | 569 | 454 | 362 | 418
24 | 330 | 390 | 421 | 472 | 554 | 534 | 554 | 534 | 480 | 434 | 360 | 356
Total | 8207 | 9681 | 10313 | 9582 | 9930 | 9305 | 8654 | 9006 | 9036 | 9977 | 9051 | 9317

## 2024 RRS
2024 RRS
HE | Jan | Feb | Mar | Apr | May | Jun | July | Aug | Sep | Oct | Nov | Dec
1 | 2998 | 2998 | 3178 | 3086 | 2808 | 2491 | 2412 | 2342 | 2491 | 2808 | 2998 | 2916
2 | 2998 | 2998 | 3178 | 3086 | 2808 | 2491 | 2412 | 2342 | 2491 | 2808 | 2998 | 2916
3 | 2998 | 2998 | 3178 | 3128 | 2916 | 2560 | 2491 | 2373 | 2529 | 2880 | 2998 | 2916
4 | 2998 | 2998 | 3178 | 3128 | 2916 | 2560 | 2491 | 2373 | 2529 | 2880 | 2998 | 2916
5 | 2998 | 2998 | 3178 | 3128 | 2916 | 2560 | 2491 | 2373 | 2529 | 2880 | 2998 | 2916
6 | 2998 | 2998 | 3178 | 3128 | 2916 | 2560 | 2491 | 2373 | 2529 | 2880 | 2998 | 2916
7 | 2916 | 2916 | 3128 | 3086 | 2716 | 2529 | 2444 | 2342 | 2491 | 2808 | 2960 | 2808
8 | 2916 | 2916 | 3128 | 3086 | 2716 | 2529 | 2444 | 2342 | 2491 | 2808 | 2960 | 2808
9 | 2916 | 2916 | 3128 | 3086 | 2716 | 2529 | 2444 | 2342 | 2491 | 2808 | 2960 | 2808
10 | 2916 | 2916 | 3128 | 3086 | 2716 | 2529 | 2444 | 2342 | 2491 | 2808 | 2960 | 2808
11 | 2960 | 2960 | 3086 | 2960 | 2560 | 2342 | 2300 | 2300 | 2373 | 2716 | 2916 | 2808
12 | 2960 | 2960 | 3086 | 2960 | 2560 | 2342 | 2300 | 2300 | 2373 | 2716 | 2916 | 2808
13 | 2960 | 2960 | 3086 | 2960 | 2560 | 2342 | 2300 | 2300 | 2373 | 2716 | 2916 | 2808
14 | 2960 | 2960 | 3086 | 2960 | 2560 | 2342 | 2300 | 2300 | 2373 | 2716 | 2916 | 2808
15 | 2916 | 2916 | 2998 | 2880 | 2491 | 2300 | 2300 | 2300 | 2300 | 2606 | 2880 | 2716
16 | 2916 | 2916 | 2998 | 2880 | 2491 | 2300 | 2300 | 2300 | 2300 | 2606 | 2880 | 2716
17 | 2916 | 2916 | 2998 | 2880 | 2491 | 2300 | 2300 | 2300 | 2300 | 2606 | 2880 | 2716
18 | 2916 | 2916 | 2998 | 2880 | 2491 | 2300 | 2300 | 2300 | 2300 | 2606 | 2880 | 2716
19 | 2916 | 2916 | 2960 | 2880 | 2491 | 2300 | 2300 | 2300 | 2300 | 2606 | 2880 | 2716
20 | 2916 | 2916 | 2960 | 2880 | 2491 | 2300 | 2300 | 2300 | 2300 | 2606 | 2880 | 2716
21 | 2916 | 2916 | 2960 | 2880 | 2491 | 2300 | 2300 | 2300 | 2300 | 2606 | 2880 | 2716
22 | 2916 | 2916 | 2960 | 2880 | 2491 | 2300 | 2300 | 2300 | 2300 | 2606 | 2880 | 2716
23 | 2998 | 2998 | 3178 | 3086 | 2808 | 2491 | 2412 | 2342 | 2491 | 2808 | 2998 | 2916
24 | 2998 | 2998 | 3178 | 3086 | 2808 | 2491 | 2412 | 2342 | 2491 | 2808 | 2998 | 2916
Total | 70816 | 70816 | 74112 | 72080 | 63928 | 58088 | 56988 | 55828 | 57936 | 65696 | 70528 | 67520
These 2024 quantities above are based on the 2024 RRS table that was built using Resource Contingency Criteria (RCC) of 2805 MW, the minimum RRS-PFR limit of 1185 MW and a floor of 2300 MW for all hours. Note that, NERC’s 2023 BAL-003 Interconnection Frequency Response Obligation (IFRO) assessment for ERCOT shows an increase in ERCOT’s IFRO. This is primarily because of an update in the IFRO methodology that was approved as a part of the Project 2017-01, Modifications to BAL-003. As a result of this ERCOT the minimum RRS-PFR limit for 2023has been changed to align with ERCOT's new IFRO.

## 2024 RRS Table
These 2024 quantities above are based on the 2024 RRS table that was built using Resource Contingency Criteria (RCC) of 2805 MW, the minimum RRS-PFR limit of 1185 MW and a floor of 2300 MW for all hours. Note that, NERC’s 2023 BAL-003 Interconnection Frequency Response Obligation (IFRO) assessment for ERCOT shows an increase in ERCOT’s IFRO. This is primarily because of an update in the IFRO methodology that was approved as a part of the Project 2017-01, Modifications to BAL-003. As a result of this ERCOT the minimum RRS-PFR limit for 2024 has been changed to align with ERCOT's new IFRO.
2024-01-01 | [5 empty] | 2024-02-01 | [5 empty] | 2024-03-01
HE | Total RRS MW | PFRS | LRs | Equivalency Ratio | %RRS from LRs | HE | Total RRS MW | PFRS | LRs | Equivalency Ratio | %RRS from LRs | HE | Total RRS MW | PFRS | LRs | Equivalency Ratio | %RRS from LRs
1 | 2998 | 1199 | 1799 | 1.74 | 60.01% | 1 | 2998 | 1199 | 1799 | 1.74 | 60.01% | 1 | 3178 | 1271 | 1907 | 2.06 | 60.01%
2 | 2998 | 1199 | 1799 | 1.74 | 60.01% | 2 | 2998 | 1199 | 1799 | 1.74 | 60.01% | 2 | 3178 | 1271 | 1907 | 2.06 | 60.01%
3 | 2998 | 1199 | 1799 | 1.74 | 60.01% | 3 | 2998 | 1199 | 1799 | 1.74 | 60.01% | 3 | 3178 | 1271 | 1907 | 2.06 | 60.01%
4 | 2998 | 1199 | 1799 | 1.74 | 60.01% | 4 | 2998 | 1199 | 1799 | 1.74 | 60.01% | 4 | 3178 | 1271 | 1907 | 2.06 | 60.01%
5 | 2998 | 1199 | 1799 | 1.74 | 60.01% | 5 | 2998 | 1199 | 1799 | 1.74 | 60.01% | 5 | 3178 | 1271 | 1907 | 2.06 | 60.01%
6 | 2998 | 1199 | 1799 | 1.74 | 60.01% | 6 | 2998 | 1199 | 1799 | 1.74 | 60.01% | 6 | 3178 | 1271 | 1907 | 2.06 | 60.01%
7 | 2916 | 1185 | 1731 | 1.58 | 59.36% | 7 | 2916 | 1185 | 1731 | 1.58 | 59.36% | 7 | 3128 | 1251 | 1877 | 1.94 | 60.01%
8 | 2916 | 1185 | 1731 | 1.58 | 59.36% | 8 | 2916 | 1185 | 1731 | 1.58 | 59.36% | 8 | 3128 | 1251 | 1877 | 1.94 | 60.01%
9 | 2916 | 1185 | 1731 | 1.58 | 59.36% | 9 | 2916 | 1185 | 1731 | 1.58 | 59.36% | 9 | 3128 | 1251 | 1877 | 1.94 | 60.01%
10 | 2916 | 1185 | 1731 | 1.58 | 59.36% | 10 | 2916 | 1185 | 1731 | 1.58 | 59.36% | 10 | 3128 | 1251 | 1877 | 1.94 | 60.01%
11 | 2960 | 1185 | 1775 | 1.65 | 59.97% | 11 | 2960 | 1185 | 1775 | 1.65 | 59.97% | 11 | 3086 | 1234 | 1852 | 1.83 | 60.01%
12 | 2960 | 1185 | 1775 | 1.65 | 59.97% | 12 | 2960 | 1185 | 1775 | 1.65 | 59.97% | 12 | 3086 | 1234 | 1852 | 1.83 | 60.01%
13 | 2960 | 1185 | 1775 | 1.65 | 59.97% | 13 | 2960 | 1185 | 1775 | 1.65 | 59.97% | 13 | 3086 | 1234 | 1852 | 1.83 | 60.01%
14 | 2960 | 1185 | 1775 | 1.65 | 59.97% | 14 | 2960 | 1185 | 1775 | 1.65 | 59.97% | 14 | 3086 | 1234 | 1852 | 1.83 | 60.01%
15 | 2916 | 1185 | 1731 | 1.58 | 59.36% | 15 | 2916 | 1185 | 1731 | 1.58 | 59.36% | 15 | 2998 | 1199 | 1799 | 1.74 | 60.01%
16 | 2916 | 1185 | 1731 | 1.58 | 59.36% | 16 | 2916 | 1185 | 1731 | 1.58 | 59.36% | 16 | 2998 | 1199 | 1799 | 1.74 | 60.01%
17 | 2916 | 1185 | 1731 | 1.58 | 59.36% | 17 | 2916 | 1185 | 1731 | 1.58 | 59.36% | 17 | 2998 | 1199 | 1799 | 1.74 | 60.01%
18 | 2916 | 1185 | 1731 | 1.58 | 59.36% | 18 | 2916 | 1185 | 1731 | 1.58 | 59.36% | 18 | 2998 | 1199 | 1799 | 1.74 | 60.01%
19 | 2916 | 1185 | 1731 | 1.58 | 59.36% | 19 | 2916 | 1185 | 1731 | 1.58 | 59.36% | 19 | 2960 | 1185 | 1775 | 1.65 | 59.97%
20 | 2916 | 1185 | 1731 | 1.58 | 59.36% | 20 | 2916 | 1185 | 1731 | 1.58 | 59.36% | 20 | 2960 | 1185 | 1775 | 1.65 | 59.97%
21 | 2916 | 1185 | 1731 | 1.58 | 59.36% | 21 | 2916 | 1185 | 1731 | 1.58 | 59.36% | 21 | 2960 | 1185 | 1775 | 1.65 | 59.97%
22 | 2916 | 1185 | 1731 | 1.58 | 59.36% | 22 | 2916 | 1185 | 1731 | 1.58 | 59.36% | 22 | 2960 | 1185 | 1775 | 1.65 | 59.97%
23 | 2998 | 1199 | 1799 | 1.74 | 60.01% | 23 | 2998 | 1199 | 1799 | 1.74 | 60.01% | 23 | 3178 | 1271 | 1907 | 2.06 | 60.01%
24 | 2998 | 1199 | 1799 | 1.74 | 60.01% | 24 | 2998 | 1199 | 1799 | 1.74 | 60.01% | 24 | 3178 | 1271 | 1907 | 2.06 | 60.01%
2024-04-01 | [5 empty] | 2024-05-01 | [5 empty] | 2024-06-01
HE | Total RRS MW | PFRS | LRs | Equivalency Ratio | %RRS from LRs | HE | Total RRS MW | PFRS | LRs | Equivalency Ratio | %RRS from LRs | HE | Total RRS MW | PFRS | LRs | Equivalency Ratio | %RRS from LRs
1 | 3086 | 1234 | 1852 | 1.83 | 60.01% | 1 | 2808 | 1185 | 1623 | 1.44 | 57.8% | 1 | 2491 | 1185 | 1306 | 1.15 | 52.43%
2 | 3086 | 1234 | 1852 | 1.83 | 60.01% | 2 | 2808 | 1185 | 1623 | 1.44 | 57.8% | 2 | 2491 | 1185 | 1306 | 1.15 | 52.43%
3 | 3128 | 1251 | 1877 | 1.94 | 60.01% | 3 | 2916 | 1185 | 1731 | 1.58 | 59.36% | 3 | 2560 | 1185 | 1375 | 1.24 | 53.71%
4 | 3128 | 1251 | 1877 | 1.94 | 60.01% | 4 | 2916 | 1185 | 1731 | 1.58 | 59.36% | 4 | 2560 | 1185 | 1375 | 1.24 | 53.71%
5 | 3128 | 1251 | 1877 | 1.94 | 60.01% | 5 | 2916 | 1185 | 1731 | 1.58 | 59.36% | 5 | 2560 | 1185 | 1375 | 1.24 | 53.71%
6 | 3128 | 1251 | 1877 | 1.94 | 60.01% | 6 | 2916 | 1185 | 1731 | 1.58 | 59.36% | 6 | 2560 | 1185 | 1375 | 1.24 | 53.71%
7 | 3086 | 1234 | 1852 | 1.83 | 60.01% | 7 | 2716 | 1185 | 1531 | 1.39 | 56.37% | 7 | 2529 | 1185 | 1344 | 1.19 | 53.14%
8 | 3086 | 1234 | 1852 | 1.83 | 60.01% | 8 | 2716 | 1185 | 1531 | 1.39 | 56.37% | 8 | 2529 | 1185 | 1344 | 1.19 | 53.14%
9 | 3086 | 1234 | 1852 | 1.83 | 60.01% | 9 | 2716 | 1185 | 1531 | 1.39 | 56.37% | 9 | 2529 | 1185 | 1344 | 1.19 | 53.14%
10 | 3086 | 1234 | 1852 | 1.83 | 60.01% | 10 | 2716 | 1185 | 1531 | 1.39 | 56.37% | 10 | 2529 | 1185 | 1344 | 1.19 | 53.14%
11 | 2960 | 1185 | 1775 | 1.65 | 59.97% | 11 | 2560 | 1185 | 1375 | 1.24 | 53.71% | 11 | 2342 | 1185 | 1157 | 1.01 | 49.4%
12 | 2960 | 1185 | 1775 | 1.65 | 59.97% | 12 | 2560 | 1185 | 1375 | 1.24 | 53.71% | 12 | 2342 | 1185 | 1157 | 1.01 | 49.4%
13 | 2960 | 1185 | 1775 | 1.65 | 59.97% | 13 | 2560 | 1185 | 1375 | 1.24 | 53.71% | 13 | 2342 | 1185 | 1157 | 1.01 | 49.4%
14 | 2960 | 1185 | 1775 | 1.65 | 59.97% | 14 | 2560 | 1185 | 1375 | 1.24 | 53.71% | 14 | 2342 | 1185 | 1157 | 1.01 | 49.4%
15 | 2880 | 1185 | 1695 | 1.51 | 58.85% | 15 | 2491 | 1185 | 1306 | 1.15 | 52.43% | 15 | 2300 | 1185 | 1115 | 1 | 48.48%
16 | 2880 | 1185 | 1695 | 1.51 | 58.85% | 16 | 2491 | 1185 | 1306 | 1.15 | 52.43% | 16 | 2300 | 1185 | 1115 | 1 | 48.48%
17 | 2880 | 1185 | 1695 | 1.51 | 58.85% | 17 | 2491 | 1185 | 1306 | 1.15 | 52.43% | 17 | 2300 | 1185 | 1115 | 1 | 48.48%
18 | 2880 | 1185 | 1695 | 1.51 | 58.85% | 18 | 2491 | 1185 | 1306 | 1.15 | 52.43% | 18 | 2300 | 1185 | 1115 | 1 | 48.48%
19 | 2880 | 1185 | 1695 | 1.51 | 58.85% | 19 | 2491 | 1185 | 1306 | 1.15 | 52.43% | 19 | 2300 | 1185 | 1115 | 1 | 48.48%
20 | 2880 | 1185 | 1695 | 1.51 | 58.85% | 20 | 2491 | 1185 | 1306 | 1.15 | 52.43% | 20 | 2300 | 1185 | 1115 | 1 | 48.48%
21 | 2880 | 1185 | 1695 | 1.51 | 58.85% | 21 | 2491 | 1185 | 1306 | 1.15 | 52.43% | 21 | 2300 | 1185 | 1115 | 1 | 48.48%
22 | 2880 | 1185 | 1695 | 1.51 | 58.85% | 22 | 2491 | 1185 | 1306 | 1.15 | 52.43% | 22 | 2300 | 1185 | 1115 | 1 | 48.48%
23 | 3086 | 1234 | 1852 | 1.83 | 60.01% | 23 | 2808 | 1185 | 1623 | 1.44 | 57.8% | 23 | 2491 | 1185 | 1306 | 1.15 | 52.43%
24 | 3086 | 1234 | 1852 | 1.83 | 60.01% | 24 | 2808 | 1185 | 1623 | 1.44 | 57.8% | 24 | 2491 | 1185 | 1306 | 1.15 | 52.43%
2024-07-01 | [5 empty] | 2024-08-01 | [5 empty] | 2024-09-01
HE | Total RRS MW | PFRS | LRs | Equivalency Ratio | %RRS from LRs | HE | Total RRS MW | PFRS | LRs | Equivalency Ratio | %RRS from LRs | HE | Total RRS MW | PFRS | LRs | Equivalency Ratio | %RRS from LRs
1 | 2412 | 1185 | 1227 | 1.08 | 50.87% | 1 | 2342 | 1185 | 1157 | 1.01 | 49.4% | 1 | 2491 | 1185 | 1306 | 1.15 | 52.43%
2 | 2412 | 1185 | 1227 | 1.08 | 50.87% | 2 | 2342 | 1185 | 1157 | 1.01 | 49.4% | 2 | 2491 | 1185 | 1306 | 1.15 | 52.43%
3 | 2491 | 1185 | 1306 | 1.15 | 52.43% | 3 | 2373 | 1185 | 1188 | 1.04 | 50.06% | 3 | 2529 | 1185 | 1344 | 1.19 | 53.14%
4 | 2491 | 1185 | 1306 | 1.15 | 52.43% | 4 | 2373 | 1185 | 1188 | 1.04 | 50.06% | 4 | 2529 | 1185 | 1344 | 1.19 | 53.14%
5 | 2491 | 1185 | 1306 | 1.15 | 52.43% | 5 | 2373 | 1185 | 1188 | 1.04 | 50.06% | 5 | 2529 | 1185 | 1344 | 1.19 | 53.14%
6 | 2491 | 1185 | 1306 | 1.15 | 52.43% | 6 | 2373 | 1185 | 1188 | 1.04 | 50.06% | 6 | 2529 | 1185 | 1344 | 1.19 | 53.14%
7 | 2444 | 1185 | 1259 | 1.12 | 51.51% | 7 | 2342 | 1185 | 1157 | 1.01 | 49.4% | 7 | 2491 | 1185 | 1306 | 1.15 | 52.43%
8 | 2444 | 1185 | 1259 | 1.12 | 51.51% | 8 | 2342 | 1185 | 1157 | 1.01 | 49.4% | 8 | 2491 | 1185 | 1306 | 1.15 | 52.43%
9 | 2444 | 1185 | 1259 | 1.12 | 51.51% | 9 | 2342 | 1185 | 1157 | 1.01 | 49.4% | 9 | 2491 | 1185 | 1306 | 1.15 | 52.43%
10 | 2444 | 1185 | 1259 | 1.12 | 51.51% | 10 | 2342 | 1185 | 1157 | 1.01 | 49.4% | 10 | 2491 | 1185 | 1306 | 1.15 | 52.43%
11 | 2300 | 1185 | 1115 | 1 | 48.48% | 11 | 2300 | 1185 | 1115 | 1 | 48.48% | 11 | 2373 | 1185 | 1188 | 1.04 | 50.06%
12 | 2300 | 1185 | 1115 | 1 | 48.48% | 12 | 2300 | 1185 | 1115 | 1 | 48.48% | 12 | 2373 | 1185 | 1188 | 1.04 | 50.06%
13 | 2300 | 1185 | 1115 | 1 | 48.48% | 13 | 2300 | 1185 | 1115 | 1 | 48.48% | 13 | 2373 | 1185 | 1188 | 1.04 | 50.06%
14 | 2300 | 1185 | 1115 | 1 | 48.48% | 14 | 2300 | 1185 | 1115 | 1 | 48.48% | 14 | 2373 | 1185 | 1188 | 1.04 | 50.06%
15 | 2300 | 1185 | 1115 | 1 | 48.48% | 15 | 2300 | 1185 | 1115 | 1 | 48.48% | 15 | 2300 | 1185 | 1115 | 1 | 48.48%
16 | 2300 | 1185 | 1115 | 1 | 48.48% | 16 | 2300 | 1185 | 1115 | 1 | 48.48% | 16 | 2300 | 1185 | 1115 | 1 | 48.48%
17 | 2300 | 1185 | 1115 | 1 | 48.48% | 17 | 2300 | 1185 | 1115 | 1 | 48.48% | 17 | 2300 | 1185 | 1115 | 1 | 48.48%
18 | 2300 | 1185 | 1115 | 1 | 48.48% | 18 | 2300 | 1185 | 1115 | 1 | 48.48% | 18 | 2300 | 1185 | 1115 | 1 | 48.48%
19 | 2300 | 1185 | 1115 | 1 | 48.48% | 19 | 2300 | 1185 | 1115 | 1 | 48.48% | 19 | 2300 | 1185 | 1115 | 1 | 48.48%
20 | 2300 | 1185 | 1115 | 1 | 48.48% | 20 | 2300 | 1185 | 1115 | 1 | 48.48% | 20 | 2300 | 1185 | 1115 | 1 | 48.48%
21 | 2300 | 1185 | 1115 | 1 | 48.48% | 21 | 2300 | 1185 | 1115 | 1 | 48.48% | 21 | 2300 | 1185 | 1115 | 1 | 48.48%
22 | 2300 | 1185 | 1115 | 1 | 48.48% | 22 | 2300 | 1185 | 1115 | 1 | 48.48% | 22 | 2300 | 1185 | 1115 | 1 | 48.48%
23 | 2412 | 1185 | 1227 | 1.08 | 50.87% | 23 | 2342 | 1185 | 1157 | 1.01 | 49.4% | 23 | 2491 | 1185 | 1306 | 1.15 | 52.43%
24 | 2412 | 1185 | 1227 | 1.08 | 50.87% | 24 | 2342 | 1185 | 1157 | 1.01 | 49.4% | 24 | 2491 | 1185 | 1306 | 1.15 | 52.43%
2024-10-01 | [5 empty] | 2024-11-01 | [5 empty] | 2024-12-01
HE | Total RRS MW | PFRS | LRs | Equivalency Ratio | %RRS from LRs | HE | Total RRS MW | PFRS | LRs | Equivalency Ratio | %RRS from LRs | HE | Total RRS MW | PFRS | LRs | Equivalency Ratio | %RRS from LRs
1 | 2808 | 1185 | 1623 | 1.44 | 57.8% | 1 | 2998 | 1199 | 1799 | 1.74 | 60.01% | 1 | 2916 | 1185 | 1731 | 1.58 | 59.36%
2 | 2808 | 1185 | 1623 | 1.44 | 57.8% | 2 | 2998 | 1199 | 1799 | 1.74 | 60.01% | 2 | 2916 | 1185 | 1731 | 1.58 | 59.36%
3 | 2880 | 1185 | 1695 | 1.51 | 58.85% | 3 | 2998 | 1199 | 1799 | 1.74 | 60.01% | 3 | 2916 | 1185 | 1731 | 1.58 | 59.36%
4 | 2880 | 1185 | 1695 | 1.51 | 58.85% | 4 | 2998 | 1199 | 1799 | 1.74 | 60.01% | 4 | 2916 | 1185 | 1731 | 1.58 | 59.36%
5 | 2880 | 1185 | 1695 | 1.51 | 58.85% | 5 | 2998 | 1199 | 1799 | 1.74 | 60.01% | 5 | 2916 | 1185 | 1731 | 1.58 | 59.36%
6 | 2880 | 1185 | 1695 | 1.51 | 58.85% | 6 | 2998 | 1199 | 1799 | 1.74 | 60.01% | 6 | 2916 | 1185 | 1731 | 1.58 | 59.36%
7 | 2808 | 1185 | 1623 | 1.44 | 57.8% | 7 | 2960 | 1185 | 1775 | 1.65 | 59.97% | 7 | 2808 | 1185 | 1623 | 1.44 | 57.8%
8 | 2808 | 1185 | 1623 | 1.44 | 57.8% | 8 | 2960 | 1185 | 1775 | 1.65 | 59.97% | 8 | 2808 | 1185 | 1623 | 1.44 | 57.8%
9 | 2808 | 1185 | 1623 | 1.44 | 57.8% | 9 | 2960 | 1185 | 1775 | 1.65 | 59.97% | 9 | 2808 | 1185 | 1623 | 1.44 | 57.8%
10 | 2808 | 1185 | 1623 | 1.44 | 57.8% | 10 | 2960 | 1185 | 1775 | 1.65 | 59.97% | 10 | 2808 | 1185 | 1623 | 1.44 | 57.8%
11 | 2716 | 1185 | 1531 | 1.39 | 56.37% | 11 | 2916 | 1185 | 1731 | 1.58 | 59.36% | 11 | 2808 | 1185 | 1623 | 1.44 | 57.8%
12 | 2716 | 1185 | 1531 | 1.39 | 56.37% | 12 | 2916 | 1185 | 1731 | 1.58 | 59.36% | 12 | 2808 | 1185 | 1623 | 1.44 | 57.8%
13 | 2716 | 1185 | 1531 | 1.39 | 56.37% | 13 | 2916 | 1185 | 1731 | 1.58 | 59.36% | 13 | 2808 | 1185 | 1623 | 1.44 | 57.8%
14 | 2716 | 1185 | 1531 | 1.39 | 56.37% | 14 | 2916 | 1185 | 1731 | 1.58 | 59.36% | 14 | 2808 | 1185 | 1623 | 1.44 | 57.8%
15 | 2606 | 1185 | 1421 | 1.28 | 54.53% | 15 | 2880 | 1185 | 1695 | 1.51 | 58.85% | 15 | 2716 | 1185 | 1531 | 1.39 | 56.37%
16 | 2606 | 1185 | 1421 | 1.28 | 54.53% | 16 | 2880 | 1185 | 1695 | 1.51 | 58.85% | 16 | 2716 | 1185 | 1531 | 1.39 | 56.37%
17 | 2606 | 1185 | 1421 | 1.28 | 54.53% | 17 | 2880 | 1185 | 1695 | 1.51 | 58.85% | 17 | 2716 | 1185 | 1531 | 1.39 | 56.37%
18 | 2606 | 1185 | 1421 | 1.28 | 54.53% | 18 | 2880 | 1185 | 1695 | 1.51 | 58.85% | 18 | 2716 | 1185 | 1531 | 1.39 | 56.37%
19 | 2606 | 1185 | 1421 | 1.28 | 54.53% | 19 | 2880 | 1185 | 1695 | 1.51 | 58.85% | 19 | 2716 | 1185 | 1531 | 1.39 | 56.37%
20 | 2606 | 1185 | 1421 | 1.28 | 54.53% | 20 | 2880 | 1185 | 1695 | 1.51 | 58.85% | 20 | 2716 | 1185 | 1531 | 1.39 | 56.37%
21 | 2606 | 1185 | 1421 | 1.28 | 54.53% | 21 | 2880 | 1185 | 1695 | 1.51 | 58.85% | 21 | 2716 | 1185 | 1531 | 1.39 | 56.37%
22 | 2606 | 1185 | 1421 | 1.28 | 54.53% | 22 | 2880 | 1185 | 1695 | 1.51 | 58.85% | 22 | 2716 | 1185 | 1531 | 1.39 | 56.37%
23 | 2808 | 1185 | 1623 | 1.44 | 57.8% | 23 | 2998 | 1199 | 1799 | 1.74 | 60.01% | 23 | 2916 | 1185 | 1731 | 1.58 | 59.36%
24 | 2808 | 1185 | 1623 | 1.44 | 57.8% | 24 | 2998 | 1199 | 1799 | 1.74 | 60.01% | 24 | 2916 | 1185 | 1731 | 1.58 | 59.36%

## 2024 NSRS
2024 NSRS
HE | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
1 | 2125 | 2399 | 1789 | 2111 | 2856 | 2090 | 2144 | 2006 | 1947 | 1722 | 1430 | 2455
2 | 2125 | 2399 | 1789 | 2111 | 2856 | 2090 | 2144 | 2006 | 1947 | 1722 | 1430 | 2455
3 | 2987 | 3318 | 1874 | 2391 | 3564 | 2491 | 2269 | 2001 | 1651 | 1566 | 1663 | 2696
4 | 2987 | 3318 | 1874 | 2391 | 3564 | 2491 | 2269 | 2001 | 1651 | 1566 | 1663 | 2696
5 | 2987 | 3318 | 1874 | 2391 | 3564 | 2491 | 2269 | 2001 | 1651 | 1566 | 1663 | 2696
6 | 2987 | 3318 | 1874 | 2391 | 3564 | 2491 | 2269 | 2001 | 1651 | 1566 | 1663 | 2696
7 | 3450 | 2852 | 3038 | 3168 | 4476 | 3389 | 3614 | 2914 | 2785 | 2838 | 2754 | 2906
8 | 3450 | 2852 | 3038 | 3168 | 4476 | 3389 | 3614 | 2914 | 2785 | 2838 | 2754 | 2906
9 | 3450 | 2852 | 3038 | 3168 | 4476 | 3389 | 3614 | 2914 | 2785 | 2838 | 2754 | 2906
10 | 3450 | 2852 | 3038 | 3168 | 4476 | 3389 | 3614 | 2914 | 2785 | 2838 | 2754 | 2906
11 | 3009 | 2918 | 2909 | 3272 | 4311 | 3550 | 2877 | 2210 | 2301 | 3091 | 2708 | 3156
12 | 3009 | 2918 | 2909 | 3272 | 4311 | 3550 | 2877 | 2210 | 2301 | 3091 | 2708 | 3156
13 | 2978 | 3126 | 2909 | 3218 | 4482 | 3596 | 2639 | 1988 | 2057 | 3070 | 2847 | 3399
14 | 2978 | 3126 | 2909 | 3218 | 4482 | 3596 | 2639 | 1988 | 2057 | 3070 | 2847 | 3399
15 | 3047 | 3703 | 3236 | 2941 | 3236 | 2806 | 2107 | 2151 | 1926 | 2418 | 2814 | 3289
16 | 3047 | 3703 | 3236 | 2941 | 3236 | 2806 | 2107 | 2151 | 1926 | 2418 | 2814 | 3289
17 | 3047 | 3703 | 3236 | 2941 | 3236 | 2806 | 2107 | 2151 | 1926 | 2418 | 2814 | 3289
18 | 3047 | 3703 | 3236 | 2941 | 3236 | 2806 | 2107 | 2151 | 1926 | 2418 | 2814 | 3289
19 | 2846 | 2375 | 2237 | 2106 | 3587 | 2892 | 2084 | 1942 | 2294 | 2403 | 2070 | 3510
20 | 2846 | 2375 | 2237 | 2106 | 3587 | 2892 | 2084 | 1942 | 2294 | 2403 | 2070 | 3510
21 | 2846 | 2375 | 2237 | 2106 | 3587 | 2892 | 2084 | 1942 | 2294 | 2403 | 2070 | 3510
22 | 2846 | 2375 | 2237 | 2106 | 3587 | 2892 | 2084 | 1942 | 2294 | 2403 | 2070 | 3510
23 | 2572 | 2671 | 1974 | 2249 | 3054 | 2475 | 2232 | 1997 | 2022 | 2004 | 1763 | 2404
24 | 2572 | 2671 | 1974 | 2249 | 3054 | 2475 | 2232 | 1997 | 2022 | 2004 | 1763 | 2404
total | 70688 | 71220 | 60702 | 64124 | 88858 | 69734 | 60080 | 52434 | 51278 | 56674 | 54700 | 72432

## 2024 ECRS
2024 ECRS
HE | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
1 | 1071 | 1208 | 969 | 936 | 1303 | 1201 | 1522 | 1606 | 1428 | 1118 | 1123 | 1408
2 | 1081 | 1164 | 889 | 899 | 1298 | 1321 | 1500 | 1590 | 1390 | 1062 | 1250 | 1152
3 | 1099 | 1379 | 969 | 961 | 1409 | 1403 | 1585 | 1491 | 1226 | 982 | 1133 | 1307
4 | 1128 | 1197 | 906 | 985 | 1269 | 1407 | 1413 | 1441 | 1303 | 983 | 1104 | 1257
5 | 1118 | 1413 | 1027 | 935 | 1443 | 1327 | 1360 | 1408 | 1212 | 1061 | 1119 | 1173
6 | 1108 | 1478 | 1263 | 1079 | 1172 | 1296 | 1389 | 1390 | 1160 | 1090 | 1157 | 1161
7 | 1609 | 1687 | 1283 | 1126 | 1339 | 1407 | 1506 | 1328 | 1125 | 1026 | 1261 | 1307
8 | 1692 | 1939 | 1463 | 1328 | 1899 | 2006 | 1877 | 1729 | 1477 | 1228 | 1528 | 1569
9 | 2284 | 2577 | 2097 | 1719 | 2532 | 2593 | 1862 | 2055 | 1942 | 1650 | 2156 | 1839
10 | 2608 | 2737 | 2179 | 1911 | 2319 | 2030 | 2162 | 2127 | 2212 | 2155 | 2200 | 2104
11 | 2307 | 2373 | 2258 | 1776 | 2434 | 2149 | 2243 | 2644 | 2775 | 2070 | 1825 | 1847
12 | 1935 | 1854 | 1960 | 1843 | 2213 | 2286 | 2386 | 2529 | 2650 | 1797 | 1541 | 1573
13 | 1813 | 1746 | 1592 | 1715 | 2171 | 2290 | 2383 | 2673 | 2645 | 1705 | 1381 | 1433
14 | 1595 | 1665 | 1543 | 1796 | 2514 | 2573 | 2568 | 2749 | 2673 | 1796 | 1563 | 1499
15 | 1772 | 1692 | 1909 | 1906 | 2518 | 2503 | 2389 | 2677 | 2541 | 2011 | 1903 | 1699
16 | 1502 | 1828 | 2035 | 1863 | 2627 | 2504 | 2666 | 2793 | 2797 | 2131 | 1685 | 1688
17 | 1667 | 1745 | 2252 | 2067 | 3007 | 2804 | 2659 | 2958 | 2853 | 2241 | 1698 | 1673
18 | 1694 | 1663 | 2217 | 2225 | 2935 | 2664 | 2592 | 2906 | 2833 | 2020 | 1845 | 1711
19 | 1543 | 1840 | 1912 | 1622 | 2370 | 2475 | 2467 | 2761 | 2026 | 1748 | 1503 | 1755
20 | 1428 | 1439 | 1748 | 1552 | 1856 | 2229 | 2206 | 2559 | 1955 | 1871 | 1558 | 1562
21 | 1393 | 1431 | 1480 | 1343 | 1992 | 2243 | 2298 | 2448 | 2140 | 1555 | 1445 | 1641
22 | 1416 | 1410 | 1245 | 1290 | 2084 | 2106 | 2204 | 2354 | 1910 | 1468 | 1297 | 1453
23 | 1220 | 1361 | 1154 | 1168 | 1564 | 1719 | 2075 | 2079 | 1756 | 1368 | 1272 | 1469
24 | 1207 | 1194 | 1110 | 1082 | 1447 | 1673 | 1871 | 1833 | 1564 | 1251 | 1166 | 1344
total | 37290 | 40020 | 37460 | 35127 | 47715 | 48209 | 49183 | 52128 | 47593 | 37387 | 35713 | 36624