## 2022 Regulation-up
2022 Regulation-up
HE | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
1 | 233 | 229 | 302 | 215 | 200 | 251 | 191 | 202 | 212 | 203 | 205 | 191
2 | 194 | 208 | 254 | 197 | 266 | 170 | 148 | 131 | 168 | 168 | 225 | 230
3 | 222 | 248 | 233 | 197 | 257 | 219 | 171 | 155 | 185 | 163 | 212 | 214
4 | 268 | 265 | 260 | 261 | 267 | 267 | 205 | 191 | 186 | 212 | 259 | 249
5 | 373 | 384 | 309 | 274 | 288 | 277 | 249 | 259 | 244 | 258 | 326 | 335
6 | 534 | 539 | 447 | 400 | 363 | 366 | 319 | 322 | 368 | 374 | 443 | 476
7 | 654 | 684 | 533 | 520 | 511 | 435 | 390 | 427 | 472 | 526 | 579 | 590
8 | 393 | 371 | 401 | 317 | 357 | 408 | 350 | 307 | 288 | 356 | 323 | 373
9 | 312 | 382 | 358 | 366 | 404 | 432 | 369 | 437 | 314 | 333 | 358 | 340
10 | 357 | 381 | 450 | 457 | 502 | 568 | 570 | 542 | 425 | 450 | 348 | 382
11 | 340 | 356 | 455 | 412 | 580 | 629 | 618 | 675 | 552 | 476 | 349 | 428
12 | 378 | 374 | 435 | 468 | 565 | 607 | 631 | 667 | 597 | 518 | 352 | 379
13 | 334 | 451 | 482 | 467 | 535 | 552 | 546 | 599 | 575 | 489 | 366 | 346
14 | 320 | 416 | 457 | 468 | 511 | 492 | 498 | 539 | 526 | 447 | 348 | 375
15 | 346 | 424 | 442 | 473 | 486 | 455 | 437 | 481 | 465 | 414 | 373 | 392
16 | 436 | 455 | 453 | 472 | 491 | 402 | 410 | 436 | 469 | 435 | 380 | 507
17 | 563 | 549 | 564 | 481 | 503 | 378 | 389 | 399 | 443 | 396 | 624 | 681
18 | 676 | 622 | 549 | 510 | 417 | 370 | 382 | 379 | 397 | 516 | 564 | 679
19 | 367 | 514 | 590 | 534 | 454 | 398 | 310 | 346 | 385 | 544 | 392 | 260
20 | 187 | 241 | 512 | 481 | 445 | 348 | 367 | 290 | 273 | 262 | 178 | 238
21 | 242 | 255 | 253 | 313 | 304 | 245 | 304 | 257 | 149 | 216 | 161 | 187
22 | 179 | 182 | 211 | 279 | 471 | 219 | 117 | 73 | 154 | 152 | 160 | 215
23 | 181 | 244 | 296 | 174 | 239 | 259 | 177 | 121 | 185 | 150 | 177 | 181
24 | 204 | 164 | 217 | 225 | 171 | 178 | 93 | 112 | 190 | 172 | 152 | 165
Total | 8293 | 8938 | 9463 | 8961 | 9587 | 8925 | 8241 | 8347 | 8222 | 8230 | 7854 | 8413

## 2022 Regulation-down
2022 Regulation-Down
HE | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
1 | 270 | 297 | 392 | 363 | 425 | 424 | 443 | 421 | 390 | 357 | 298 | 277
2 | 220 | 259 | 268 | 295 | 331 | 355 | 348 | 308 | 298 | 275 | 216 | 237
3 | 213 | 252 | 262 | 241 | 246 | 314 | 264 | 268 | 253 | 219 | 178 | 185
4 | 204 | 194 | 230 | 229 | 227 | 221 | 226 | 224 | 188 | 209 | 174 | 181
5 | 200 | 302 | 233 | 210 | 230 | 189 | 183 | 173 | 196 | 192 | 206 | 194
6 | 269 | 522 | 303 | 257 | 304 | 214 | 192 | 151 | 214 | 264 | 248 | 308
7 | 243 | 306 | 263 | 236 | 263 | 245 | 262 | 171 | 163 | 174 | 234 | 230
8 | 270 | 359 | 391 | 292 | 319 | 236 | 164 | 188 | 208 | 211 | 381 | 281
9 | 503 | 549 | 477 | 394 | 468 | 304 | 283 | 267 | 295 | 366 | 497 | 542
10 | 510 | 540 | 596 | 489 | 442 | 364 | 250 | 294 | 324 | 392 | 350 | 437
11 | 480 | 504 | 505 | 403 | 631 | 241 | 158 | 543 | 583 | 305 | 354 | 399
12 | 417 | 486 | 442 | 416 | 395 | 213 | 245 | 234 | 592 | 322 | 334 | 376
13 | 397 | 503 | 456 | 406 | 386 | 222 | 179 | 278 | 270 | 306 | 320 | 352
14 | 374 | 498 | 449 | 372 | 361 | 345 | 233 | 299 | 255 | 270 | 355 | 344
15 | 403 | 466 | 447 | 419 | 345 | 307 | 260 | 327 | 300 | 311 | 372 | 359
16 | 343 | 425 | 427 | 455 | 388 | 338 | 341 | 301 | 423 | 321 | 318 | 347
17 | 272 | 409 | 437 | 450 | 415 | 378 | 371 | 408 | 362 | 413 | 279 | 331
18 | 245 | 376 | 399 | 412 | 489 | 432 | 458 | 442 | 419 | 401 | 204 | 223
19 | 284 | 319 | 339 | 431 | 490 | 481 | 510 | 484 | 400 | 319 | 312 | 339
20 | 278 | 340 | 328 | 371 | 418 | 373 | 383 | 389 | 361 | 425 | 358 | 283
21 | 325 | 323 | 390 | 408 | 402 | 337 | 375 | 471 | 500 | 489 | 329 | 311
22 | 374 | 366 | 419 | 456 | 526 | 528 | 508 | 589 | 522 | 432 | 341 | 347
23 | 383 | 380 | 426 | 470 | 547 | 557 | 564 | 579 | 517 | 442 | 372 | 372
24 | 328 | 337 | 401 | 446 | 473 | 519 | 506 | 515 | 479 | 424 | 337 | 373
Total | 7805 | 9312 | 9280 | 8921 | 9521 | 8137 | 7706 | 8324 | 8512 | 7839 | 7367 | 7628

## 2022_RRS
2022 RRS
HE | Jan | Feb | Mar | Apr | May | Jun | July | Aug | Sep | Oct | Nov | Dec
1 | 2982 | 3015 | 3178 | 3088 | 2982 | 2668 | 2498 | 2498 | 2732 | 2982 | 3178 | 3128
2 | 2982 | 3015 | 3178 | 3088 | 2982 | 2668 | 2498 | 2498 | 2732 | 2982 | 3178 | 3128
3 | 2982 | 3015 | 3178 | 3128 | 3015 | 2825 | 2538 | 2538 | 2825 | 3015 | 3178 | 3088
4 | 2982 | 3015 | 3178 | 3128 | 3015 | 2825 | 2538 | 2538 | 2825 | 3015 | 3178 | 3088
5 | 2982 | 3015 | 3178 | 3128 | 3015 | 2825 | 2538 | 2538 | 2825 | 3015 | 3178 | 3088
6 | 2982 | 3015 | 3178 | 3128 | 3015 | 2825 | 2538 | 2538 | 2825 | 3015 | 3178 | 3088
7 | 2898 | 2898 | 3088 | 3015 | 2936 | 2618 | 2450 | 2498 | 2618 | 2936 | 3015 | 3015
8 | 2898 | 2898 | 3088 | 3015 | 2936 | 2618 | 2450 | 2498 | 2618 | 2936 | 3015 | 3015
9 | 2898 | 2898 | 3088 | 3015 | 2936 | 2618 | 2450 | 2498 | 2618 | 2936 | 3015 | 3015
10 | 2898 | 2898 | 3088 | 3015 | 2936 | 2618 | 2450 | 2498 | 2618 | 2936 | 3015 | 3015
11 | 2898 | 2898 | 3015 | 2982 | 2825 | 2450 | 2300 | 2300 | 2498 | 2825 | 2982 | 2982
12 | 2898 | 2898 | 3015 | 2982 | 2825 | 2450 | 2300 | 2300 | 2498 | 2825 | 2982 | 2982
13 | 2898 | 2898 | 3015 | 2982 | 2825 | 2450 | 2300 | 2300 | 2498 | 2825 | 2982 | 2982
14 | 2898 | 2898 | 3015 | 2982 | 2825 | 2450 | 2300 | 2300 | 2498 | 2825 | 2982 | 2982
15 | 2898 | 2936 | 2982 | 2936 | 2800 | 2800 | 2800 | 2800 | 2800 | 2800 | 2936 | 2982
16 | 2898 | 2936 | 2982 | 2936 | 2800 | 2800 | 2800 | 2800 | 2800 | 2800 | 2936 | 2982
17 | 2898 | 2936 | 2982 | 2936 | 2800 | 2800 | 2800 | 2800 | 2800 | 2800 | 2936 | 2982
18 | 2898 | 2936 | 2982 | 2936 | 2800 | 2800 | 2800 | 2800 | 2800 | 2800 | 2936 | 2982
19 | 2898 | 2936 | 2982 | 2936 | 2800 | 2800 | 2800 | 2800 | 2800 | 2800 | 2982 | 2982
20 | 2898 | 2936 | 2982 | 2936 | 2800 | 2800 | 2800 | 2800 | 2800 | 2800 | 2982 | 2982
21 | 2898 | 2936 | 2982 | 2936 | 2800 | 2800 | 2800 | 2800 | 2800 | 2800 | 2982 | 2982
22 | 2898 | 2936 | 2982 | 2936 | 2800 | 2800 | 2800 | 2800 | 2800 | 2800 | 2982 | 2982
23 | 2982 | 3015 | 3178 | 3088 | 2982 | 2668 | 2498 | 2498 | 2732 | 2982 | 3178 | 3128
24 | 2982 | 3015 | 3178 | 3088 | 2982 | 2668 | 2498 | 2498 | 2732 | 2982 | 3178 | 3128
Total | 70224 | 70792 | 73692 | 72340 | 69432 | 64644 | 61544 | 61736 | 65092 | 69432 | 73084 | 72708
These 2022 quantities above are based on the 2022 RRS table that was built using Resource Contingency Criteria (RCC) of 2805 MW, the minimum RRS-PFR limit of 1240 MW and a floor of 2800 MW for peak hours and 2300 MW for remaining hours. Note that, NERC’s 2022 BAL-003 Interconnection Frequency Response Obligation (IFRO) assessment for ERCOT shows a reduction in ERCOT’s IFRO. This is primarily because of an update in the IFRO methodology that was approved as a part of the Project 2017-01, Modifications to BAL-003. As a result of this ERCOT the minimum RRS-PFR limit for 2022 has been changed to align with ERCOT's new IFRO.

## 2022 RRS Table
These 2022 quantities above are based on the 2022 RRS table that was built using Resource Contingency Criteria (RCC) of 2805 MW, the minimum RRS-PFR limit of 1240 MW and a floor of 2800 MW for peak hours and 2300 MW for remaining hours. Note that, NERC’s 2022 BAL-003 Interconnection Frequency Response Obligation (IFRO) assessment for ERCOT shows a reduction in ERCOT’s IFRO. This is primarily because of an update in the IFRO methodology that was approved as a part of the Project 2017-01, Modifications to BAL-003. As a result of this ERCOT the minimum RRS-PFR limit for 2022 has been changed to align with ERCOT's new IFRO.
2022-01-01 | [5 empty] | 2022-02-01 | [5 empty] | 2022-03-01
HE | Total RRS MW | PFRS | LRs | Equivalency Ratio | %RRS from LRs | HE | Total RRS MW | PFRS | LRs | Equivalency Ratio | %RRS from LRs | HE | Total RRS MW | PFRS | LRs | Equivalency Ratio | %RRS from LRs
1 | 2982 | 1240 | 1742 | 1.65 | 58.4% | 1 | 3015 | 1240 | 1775 | 1.74 | 58.9% | 1 | 3178 | 1271 | 1907 | 2.06 | 60%
2 | 2982 | 1240 | 1742 | 1.65 | 58.4% | 2 | 3015 | 1240 | 1775 | 1.74 | 58.9% | 2 | 3178 | 1271 | 1907 | 2.06 | 60%
3 | 2982 | 1240 | 1742 | 1.65 | 58.4% | 3 | 3015 | 1240 | 1775 | 1.74 | 58.9% | 3 | 3178 | 1271 | 1907 | 2.06 | 60%
4 | 2982 | 1240 | 1742 | 1.65 | 58.4% | 4 | 3015 | 1240 | 1775 | 1.74 | 58.9% | 4 | 3178 | 1271 | 1907 | 2.06 | 60%
5 | 2982 | 1240 | 1742 | 1.65 | 58.4% | 5 | 3015 | 1240 | 1775 | 1.74 | 58.9% | 5 | 3178 | 1271 | 1907 | 2.06 | 60%
6 | 2982 | 1240 | 1742 | 1.65 | 58.4% | 6 | 3015 | 1240 | 1775 | 1.74 | 58.9% | 6 | 3178 | 1271 | 1907 | 2.06 | 60%
7 | 2898 | 1240 | 1658 | 1.51 | 57.2% | 7 | 2898 | 1240 | 1658 | 1.51 | 57.2% | 7 | 3088 | 1240 | 1848 | 1.83 | 59.8%
8 | 2898 | 1240 | 1658 | 1.51 | 57.2% | 8 | 2898 | 1240 | 1658 | 1.51 | 57.2% | 8 | 3088 | 1240 | 1848 | 1.83 | 59.8%
9 | 2898 | 1240 | 1658 | 1.51 | 57.2% | 9 | 2898 | 1240 | 1658 | 1.51 | 57.2% | 9 | 3088 | 1240 | 1848 | 1.83 | 59.8%
10 | 2898 | 1240 | 1658 | 1.51 | 57.2% | 10 | 2898 | 1240 | 1658 | 1.51 | 57.2% | 10 | 3088 | 1240 | 1848 | 1.83 | 59.8%
11 | 2898 | 1240 | 1658 | 1.51 | 57.2% | 11 | 2898 | 1240 | 1658 | 1.51 | 57.2% | 11 | 3015 | 1240 | 1775 | 1.74 | 58.9%
12 | 2898 | 1240 | 1658 | 1.51 | 57.2% | 12 | 2898 | 1240 | 1658 | 1.51 | 57.2% | 12 | 3015 | 1240 | 1775 | 1.74 | 58.9%
13 | 2898 | 1240 | 1658 | 1.51 | 57.2% | 13 | 2898 | 1240 | 1658 | 1.51 | 57.2% | 13 | 3015 | 1240 | 1775 | 1.74 | 58.9%
14 | 2898 | 1240 | 1658 | 1.51 | 57.2% | 14 | 2898 | 1240 | 1658 | 1.51 | 57.2% | 14 | 3015 | 1240 | 1775 | 1.74 | 58.9%
15 | 2898 | 1240 | 1658 | 1.51 | 57.2% | 15 | 2936 | 1240 | 1696 | 1.58 | 57.8% | 15 | 2982 | 1240 | 1742 | 1.65 | 58.4%
16 | 2898 | 1240 | 1658 | 1.51 | 57.2% | 16 | 2936 | 1240 | 1696 | 1.58 | 57.8% | 16 | 2982 | 1240 | 1742 | 1.65 | 58.4%
17 | 2898 | 1240 | 1658 | 1.51 | 57.2% | 17 | 2936 | 1240 | 1696 | 1.58 | 57.8% | 17 | 2982 | 1240 | 1742 | 1.65 | 58.4%
18 | 2898 | 1240 | 1658 | 1.51 | 57.2% | 18 | 2936 | 1240 | 1696 | 1.58 | 57.8% | 18 | 2982 | 1240 | 1742 | 1.65 | 58.4%
19 | 2898 | 1240 | 1658 | 1.51 | 57.2% | 19 | 2936 | 1240 | 1696 | 1.58 | 57.8% | 19 | 2982 | 1240 | 1742 | 1.65 | 58.4%
20 | 2898 | 1240 | 1658 | 1.51 | 57.2% | 20 | 2936 | 1240 | 1696 | 1.58 | 57.8% | 20 | 2982 | 1240 | 1742 | 1.65 | 58.4%
21 | 2898 | 1240 | 1658 | 1.51 | 57.2% | 21 | 2936 | 1240 | 1696 | 1.58 | 57.8% | 21 | 2982 | 1240 | 1742 | 1.65 | 58.4%
22 | 2898 | 1240 | 1658 | 1.51 | 57.2% | 22 | 2936 | 1240 | 1696 | 1.58 | 57.8% | 22 | 2982 | 1240 | 1742 | 1.65 | 58.4%
23 | 2982 | 1240 | 1742 | 1.65 | 58.4% | 23 | 3015 | 1240 | 1775 | 1.74 | 58.9% | 23 | 3178 | 1271 | 1907 | 2.06 | 60%
24 | 2982 | 1240 | 1742 | 1.65 | 58.4% | 24 | 3015 | 1240 | 1775 | 1.74 | 58.9% | 24 | 3178 | 1271 | 1907 | 2.06 | 60%
2022-04-01 | [5 empty] | 2022-05-01 | [5 empty] | 2022-06-01
HE | Total RRS MW | PFRS | LRs | Equivalency Ratio | %RRS from LRs | HE | Total RRS MW | PFRS | LRs | Equivalency Ratio | %RRS from LRs | HE | Total RRS MW | PFRS | LRs | Equivalency Ratio | %RRS from LRs
1 | 3088 | 1240 | 1848 | 1.83 | 59.8% | 1 | 2982 | 1240 | 1742 | 1.65 | 58.4% | 1 | 2668 | 1240 | 1428 | 1.33 | 53.5%
2 | 3088 | 1240 | 1848 | 1.83 | 59.8% | 2 | 2982 | 1240 | 1742 | 1.65 | 58.4% | 2 | 2668 | 1240 | 1428 | 1.33 | 53.5%
3 | 3128 | 1251 | 1877 | 1.94 | 60% | 3 | 3015 | 1240 | 1775 | 1.74 | 58.9% | 3 | 2825 | 1240 | 1585 | 1.44 | 56.1%
4 | 3128 | 1251 | 1877 | 1.94 | 60% | 4 | 3015 | 1240 | 1775 | 1.74 | 58.9% | 4 | 2825 | 1240 | 1585 | 1.44 | 56.1%
5 | 3128 | 1251 | 1877 | 1.94 | 60% | 5 | 3015 | 1240 | 1775 | 1.74 | 58.9% | 5 | 2825 | 1240 | 1585 | 1.44 | 56.1%
6 | 3128 | 1251 | 1877 | 1.94 | 60% | 6 | 3015 | 1240 | 1775 | 1.74 | 58.9% | 6 | 2825 | 1240 | 1585 | 1.44 | 56.1%
7 | 3015 | 1240 | 1775 | 1.74 | 58.9% | 7 | 2936 | 1240 | 1696 | 1.58 | 57.8% | 7 | 2618 | 1240 | 1378 | 1.28 | 52.6%
8 | 3015 | 1240 | 1775 | 1.74 | 58.9% | 8 | 2936 | 1240 | 1696 | 1.58 | 57.8% | 8 | 2618 | 1240 | 1378 | 1.28 | 52.6%
9 | 3015 | 1240 | 1775 | 1.74 | 58.9% | 9 | 2936 | 1240 | 1696 | 1.58 | 57.8% | 9 | 2618 | 1240 | 1378 | 1.28 | 52.6%
10 | 3015 | 1240 | 1775 | 1.74 | 58.9% | 10 | 2936 | 1240 | 1696 | 1.58 | 57.8% | 10 | 2618 | 1240 | 1378 | 1.28 | 52.6%
11 | 2982 | 1240 | 1742 | 1.65 | 58.4% | 11 | 2825 | 1240 | 1585 | 1.44 | 56.1% | 11 | 2450 | 1240 | 1210 | 1.12 | 49.4%
12 | 2982 | 1240 | 1742 | 1.65 | 58.4% | 12 | 2825 | 1240 | 1585 | 1.44 | 56.1% | 12 | 2450 | 1240 | 1210 | 1.12 | 49.4%
13 | 2982 | 1240 | 1742 | 1.65 | 58.4% | 13 | 2825 | 1240 | 1585 | 1.44 | 56.1% | 13 | 2450 | 1240 | 1210 | 1.12 | 49.4%
14 | 2982 | 1240 | 1742 | 1.65 | 58.4% | 14 | 2825 | 1240 | 1585 | 1.44 | 56.1% | 14 | 2450 | 1240 | 1210 | 1.12 | 49.4%
15 | 2936 | 1240 | 1696 | 1.58 | 57.8% | 15 | 2800 | 1240 | 1560 | 1.39 | 55.7% | 15 | 2800 | 1240 | 1560 | 1.04 | 55.7%
16 | 2936 | 1240 | 1696 | 1.58 | 57.8% | 16 | 2800 | 1240 | 1560 | 1.39 | 55.7% | 16 | 2800 | 1240 | 1560 | 1.04 | 55.7%
17 | 2936 | 1240 | 1696 | 1.58 | 57.8% | 17 | 2800 | 1240 | 1560 | 1.39 | 55.7% | 17 | 2800 | 1240 | 1560 | 1.04 | 55.7%
18 | 2936 | 1240 | 1696 | 1.58 | 57.8% | 18 | 2800 | 1240 | 1560 | 1.39 | 55.7% | 18 | 2800 | 1240 | 1560 | 1.04 | 55.7%
19 | 2936 | 1240 | 1696 | 1.58 | 57.8% | 19 | 2800 | 1240 | 1560 | 1.39 | 55.7% | 19 | 2800 | 1240 | 1560 | 1.12 | 55.7%
20 | 2936 | 1240 | 1696 | 1.58 | 57.8% | 20 | 2800 | 1240 | 1560 | 1.39 | 55.7% | 20 | 2800 | 1240 | 1560 | 1.12 | 55.7%
21 | 2936 | 1240 | 1696 | 1.58 | 57.8% | 21 | 2800 | 1240 | 1560 | 1.39 | 55.7% | 21 | 2800 | 1240 | 1560 | 1.12 | 55.7%
22 | 2936 | 1240 | 1696 | 1.58 | 57.8% | 22 | 2800 | 1240 | 1560 | 1.39 | 55.7% | 22 | 2800 | 1240 | 1560 | 1.12 | 55.7%
23 | 3088 | 1240 | 1848 | 1.83 | 59.8% | 23 | 2982 | 1240 | 1742 | 1.65 | 58.4% | 23 | 2668 | 1240 | 1428 | 1.33 | 53.5%
24 | 3088 | 1240 | 1848 | 1.83 | 59.8% | 24 | 2982 | 1240 | 1742 | 1.65 | 58.4% | 24 | 2668 | 1240 | 1428 | 1.33 | 53.5%
2022-07-01 | [5 empty] | 2022-08-01 | [5 empty] | 2022-09-01
HE | Total RRS MW | PFRS | LRs | Equivalency Ratio | %RRS from LRs | HE | Total RRS MW | PFRS | LRs | Equivalency Ratio | %RRS from LRs | HE | Total RRS MW | PFRS | LRs | Equivalency Ratio | %RRS from LRs
1 | 2498 | 1240 | 1258 | 1.15 | 50.4% | 1 | 2498 | 1240 | 1258 | 1.15 | 50.4% | 1 | 2732 | 1240 | 1492 | 1.39 | 54.6%
2 | 2498 | 1240 | 1258 | 1.15 | 50.4% | 2 | 2498 | 1240 | 1258 | 1.15 | 50.4% | 2 | 2732 | 1240 | 1492 | 1.39 | 54.6%
3 | 2538 | 1240 | 1298 | 1.19 | 51.1% | 3 | 2538 | 1240 | 1298 | 1.19 | 51.1% | 3 | 2825 | 1240 | 1585 | 1.44 | 56.1%
4 | 2538 | 1240 | 1298 | 1.19 | 51.1% | 4 | 2538 | 1240 | 1298 | 1.19 | 51.1% | 4 | 2825 | 1240 | 1585 | 1.44 | 56.1%
5 | 2538 | 1240 | 1298 | 1.19 | 51.1% | 5 | 2538 | 1240 | 1298 | 1.19 | 51.1% | 5 | 2825 | 1240 | 1585 | 1.44 | 56.1%
6 | 2538 | 1240 | 1298 | 1.19 | 51.1% | 6 | 2538 | 1240 | 1298 | 1.19 | 51.1% | 6 | 2825 | 1240 | 1585 | 1.44 | 56.1%
7 | 2450 | 1240 | 1210 | 1.12 | 49.4% | 7 | 2498 | 1240 | 1258 | 1.15 | 50.4% | 7 | 2618 | 1240 | 1378 | 1.28 | 52.6%
8 | 2450 | 1240 | 1210 | 1.12 | 49.4% | 8 | 2498 | 1240 | 1258 | 1.15 | 50.4% | 8 | 2618 | 1240 | 1378 | 1.28 | 52.6%
9 | 2450 | 1240 | 1210 | 1.12 | 49.4% | 9 | 2498 | 1240 | 1258 | 1.15 | 50.4% | 9 | 2618 | 1240 | 1378 | 1.28 | 52.6%
10 | 2450 | 1240 | 1210 | 1.12 | 49.4% | 10 | 2498 | 1240 | 1258 | 1.15 | 50.4% | 10 | 2618 | 1240 | 1378 | 1.28 | 52.6%
11 | 2300 | 1240 | 1060 | 1 | 46.1% | 11 | 2300 | 1240 | 1060 | 1 | 46.1% | 11 | 2498 | 1240 | 1258 | 1.15 | 50.4%
12 | 2300 | 1240 | 1060 | 1 | 46.1% | 12 | 2300 | 1240 | 1060 | 1 | 46.1% | 12 | 2498 | 1240 | 1258 | 1.15 | 50.4%
13 | 2300 | 1240 | 1060 | 1 | 46.1% | 13 | 2300 | 1240 | 1060 | 1 | 46.1% | 13 | 2498 | 1240 | 1258 | 1.15 | 50.4%
14 | 2300 | 1240 | 1060 | 1 | 46.1% | 14 | 2300 | 1240 | 1060 | 1 | 46.1% | 14 | 2498 | 1240 | 1258 | 1.15 | 50.4%
15 | 2800 | 1240 | 1560 | 1 | 55.7% | 15 | 2800 | 1240 | 1560 | 1 | 55.7% | 15 | 2800 | 1240 | 1560 | 1.12 | 55.7%
16 | 2800 | 1240 | 1560 | 1 | 55.7% | 16 | 2800 | 1240 | 1560 | 1 | 55.7% | 16 | 2800 | 1240 | 1560 | 1.12 | 55.7%
17 | 2800 | 1240 | 1560 | 1 | 55.7% | 17 | 2800 | 1240 | 1560 | 1 | 55.7% | 17 | 2800 | 1240 | 1560 | 1.12 | 55.7%
18 | 2800 | 1240 | 1560 | 1 | 55.7% | 18 | 2800 | 1240 | 1560 | 1 | 55.7% | 18 | 2800 | 1240 | 1560 | 1.12 | 55.7%
19 | 2800 | 1240 | 1560 | 1 | 55.7% | 19 | 2800 | 1240 | 1560 | 1 | 55.7% | 19 | 2800 | 1240 | 1560 | 1.12 | 55.7%
20 | 2800 | 1240 | 1560 | 1 | 55.7% | 20 | 2800 | 1240 | 1560 | 1 | 55.7% | 20 | 2800 | 1240 | 1560 | 1.12 | 55.7%
21 | 2800 | 1240 | 1560 | 1 | 55.7% | 21 | 2800 | 1240 | 1560 | 1 | 55.7% | 21 | 2800 | 1240 | 1560 | 1.12 | 55.7%
22 | 2800 | 1240 | 1560 | 1 | 55.7% | 22 | 2800 | 1240 | 1560 | 1 | 55.7% | 22 | 2800 | 1240 | 1560 | 1.12 | 55.7%
23 | 2498 | 1240 | 1258 | 1.15 | 50.4% | 23 | 2498 | 1240 | 1258 | 1.15 | 50.4% | 23 | 2732 | 1240 | 1492 | 1.39 | 54.6%
24 | 2498 | 1240 | 1258 | 1.15 | 50.4% | 24 | 2498 | 1240 | 1258 | 1.15 | 50.4% | 24 | 2732 | 1240 | 1492 | 1.39 | 54.6%
2022-10-01 | [5 empty] | 2022-11-01 | [5 empty] | 2022-12-01
HE | Total RRS MW | PFRS | LRs | Equivalency Ratio | %RRS from LRs | HE | Total RRS MW | PFRS | LRs | Equivalency Ratio | %RRS from LRs | HE | Total RRS MW | PFRS | LRs | Equivalency Ratio | %RRS from LRs
1 | 2982 | 1240 | 1742 | 1.65 | 58.4% | 1 | 3178 | 1271 | 1907 | 2.06 | 60% | 1 | 3128 | 1251 | 1877 | 1.94 | 60%
2 | 2982 | 1240 | 1742 | 1.65 | 58.4% | 2 | 3178 | 1271 | 1907 | 2.06 | 60% | 2 | 3128 | 1251 | 1877 | 1.94 | 60%
3 | 3015 | 1240 | 1775 | 1.74 | 58.9% | 3 | 3178 | 1271 | 1907 | 2.06 | 60% | 3 | 3088 | 1240 | 1848 | 1.83 | 59.8%
4 | 3015 | 1240 | 1775 | 1.74 | 58.9% | 4 | 3178 | 1271 | 1907 | 2.06 | 60% | 4 | 3088 | 1240 | 1848 | 1.83 | 59.8%
5 | 3015 | 1240 | 1775 | 1.74 | 58.9% | 5 | 3178 | 1271 | 1907 | 2.06 | 60% | 5 | 3088 | 1240 | 1848 | 1.83 | 59.8%
6 | 3015 | 1240 | 1775 | 1.74 | 58.9% | 6 | 3178 | 1271 | 1907 | 2.06 | 60% | 6 | 3088 | 1240 | 1848 | 1.83 | 59.8%
7 | 2936 | 1240 | 1696 | 1.58 | 57.8% | 7 | 3015 | 1240 | 1775 | 1.74 | 58.9% | 7 | 3015 | 1240 | 1775 | 1.74 | 58.9%
8 | 2936 | 1240 | 1696 | 1.58 | 57.8% | 8 | 3015 | 1240 | 1775 | 1.74 | 58.9% | 8 | 3015 | 1240 | 1775 | 1.74 | 58.9%
9 | 2936 | 1240 | 1696 | 1.58 | 57.8% | 9 | 3015 | 1240 | 1775 | 1.74 | 58.9% | 9 | 3015 | 1240 | 1775 | 1.74 | 58.9%
10 | 2936 | 1240 | 1696 | 1.58 | 57.8% | 10 | 3015 | 1240 | 1775 | 1.74 | 58.9% | 10 | 3015 | 1240 | 1775 | 1.74 | 58.9%
11 | 2825 | 1240 | 1585 | 1.44 | 56.1% | 11 | 2982 | 1240 | 1742 | 1.65 | 58.4% | 11 | 2982 | 1240 | 1742 | 1.65 | 58.4%
12 | 2825 | 1240 | 1585 | 1.44 | 56.1% | 12 | 2982 | 1240 | 1742 | 1.65 | 58.4% | 12 | 2982 | 1240 | 1742 | 1.65 | 58.4%
13 | 2825 | 1240 | 1585 | 1.44 | 56.1% | 13 | 2982 | 1240 | 1742 | 1.65 | 58.4% | 13 | 2982 | 1240 | 1742 | 1.65 | 58.4%
14 | 2825 | 1240 | 1585 | 1.44 | 56.1% | 14 | 2982 | 1240 | 1742 | 1.65 | 58.4% | 14 | 2982 | 1240 | 1742 | 1.65 | 58.4%
15 | 2800 | 1240 | 1560 | 1.12 | 55.7% | 15 | 2936 | 1240 | 1696 | 1.58 | 57.8% | 15 | 2982 | 1240 | 1742 | 1.65 | 58.4%
16 | 2800 | 1240 | 1560 | 1.12 | 55.7% | 16 | 2936 | 1240 | 1696 | 1.58 | 57.8% | 16 | 2982 | 1240 | 1742 | 1.65 | 58.4%
17 | 2800 | 1240 | 1560 | 1.12 | 55.7% | 17 | 2936 | 1240 | 1696 | 1.58 | 57.8% | 17 | 2982 | 1240 | 1742 | 1.65 | 58.4%
18 | 2800 | 1240 | 1560 | 1.12 | 55.7% | 18 | 2936 | 1240 | 1696 | 1.58 | 57.8% | 18 | 2982 | 1240 | 1742 | 1.65 | 58.4%
19 | 2800 | 1240 | 1560 | 1.12 | 55.7% | 19 | 2982 | 1240 | 1742 | 1.65 | 58.4% | 19 | 2982 | 1240 | 1742 | 1.65 | 58.4%
20 | 2800 | 1240 | 1560 | 1.12 | 55.7% | 20 | 2982 | 1240 | 1742 | 1.65 | 58.4% | 20 | 2982 | 1240 | 1742 | 1.65 | 58.4%
21 | 2800 | 1240 | 1560 | 1.12 | 55.7% | 21 | 2982 | 1240 | 1742 | 1.65 | 58.4% | 21 | 2982 | 1240 | 1742 | 1.65 | 58.4%
22 | 2800 | 1240 | 1560 | 1.12 | 55.7% | 22 | 2982 | 1240 | 1742 | 1.65 | 58.4% | 22 | 2982 | 1240 | 1742 | 1.65 | 58.4%
23 | 2982 | 1240 | 1742 | 1.65 | 58.4% | 23 | 3178 | 1271 | 1907 | 2.06 | 60% | 23 | 3128 | 1251 | 1877 | 1.94 | 60%
24 | 2982 | 1240 | 1742 | 1.65 | 58.4% | 24 | 3178 | 1271 | 1907 | 2.06 | 60% | 24 | 3128 | 1251 | 1877 | 1.94 | 60%

## 2022 NSRS
2022 NSRS
HE | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
1 | 3207 | 3623 | 3361 | 3859 | 3899 | 3883 | 3423 | 3860 | 3113 | 3771 | 2907 | 3387
2 | 3207 | 3623 | 3361 | 3859 | 3899 | 3883 | 3423 | 3860 | 3113 | 3771 | 2907 | 3387
3 | 3295 | 3828 | 3682 | 4091 | 4342 | 3504 | 3314 | 3082 | 2540 | 3692 | 2869 | 3435
4 | 3295 | 3828 | 3682 | 4091 | 4342 | 3504 | 3314 | 3082 | 2540 | 3692 | 2869 | 3435
5 | 3295 | 3828 | 3682 | 4091 | 4342 | 3504 | 3314 | 3082 | 2540 | 3692 | 2869 | 3435
6 | 3295 | 3828 | 3682 | 4091 | 4342 | 3504 | 3314 | 3082 | 2540 | 3692 | 2869 | 3435
7 | 4037 | 4048 | 3894 | 4394 | 4960 | 4405 | 4083 | 3671 | 3858 | 4137 | 3264 | 3907
8 | 4037 | 4048 | 3894 | 4394 | 4960 | 4405 | 4083 | 3671 | 3858 | 4137 | 3264 | 3907
9 | 4037 | 4048 | 3894 | 4394 | 4960 | 4405 | 4083 | 3671 | 3858 | 4137 | 3264 | 3907
10 | 4037 | 4048 | 3894 | 4394 | 4960 | 4405 | 4083 | 3671 | 3858 | 4137 | 3264 | 3907
11 | 3801 | 4110 | 3807 | 4137 | 4929 | 4753 | 4273 | 4300 | 4258 | 4982 | 3001 | 3787
12 | 3801 | 4110 | 3807 | 4137 | 4929 | 4753 | 4273 | 4300 | 4258 | 4982 | 3001 | 3787
13 | 3953 | 4002 | 3688 | 4139 | 4994 | 4839 | 4293 | 4304 | 4132 | 5438 | 3176 | 3637
14 | 3953 | 4002 | 3688 | 4139 | 4994 | 4839 | 4293 | 4304 | 4132 | 5438 | 3176 | 3637
15 | 4520 | 5117 | 4311 | 4039 | 4663 | 3889 | 3501 | 2731 | 3065 | 4792 | 4109 | 4165
16 | 4520 | 5117 | 4311 | 4039 | 4663 | 3889 | 3501 | 2731 | 3065 | 4792 | 4109 | 4165
17 | 4520 | 5117 | 4311 | 4039 | 4663 | 3889 | 3501 | 2731 | 3065 | 4792 | 4109 | 4165
18 | 4520 | 5117 | 4311 | 4039 | 4663 | 3889 | 3501 | 2731 | 3065 | 4792 | 4109 | 4165
19 | 3897 | 4404 | 3620 | 3757 | 4111 | 4404 | 3733 | 3748 | 3536 | 4406 | 3283 | 3478
20 | 3897 | 4404 | 3620 | 3757 | 4111 | 4404 | 3733 | 3748 | 3536 | 4406 | 3283 | 3478
21 | 3897 | 4404 | 3620 | 3757 | 4111 | 4404 | 3733 | 3748 | 3536 | 4406 | 3283 | 3478
22 | 3897 | 4404 | 3620 | 3757 | 4111 | 4404 | 3733 | 3748 | 3536 | 4406 | 3283 | 3478
23 | 3418 | 3815 | 3511 | 4132 | 4150 | 4395 | 3745 | 4173 | 3465 | 4598 | 3312 | 3467
24 | 3418 | 3815 | 3511 | 4132 | 4150 | 4395 | 3745 | 4173 | 3465 | 4598 | 3312 | 3467
total | 91754 | 100688 | 90762 | 97658 | 108248 | 100548 | 89992 | 86202 | 81932 | 105686 | 78892 | 88496