## Slide 1
NOGRR 215
CMWG
June 13, 2022

## Slide 2: Language Overview
Exit Strategy
  Exit Strategy no longer required as part of RAS proposal.
  Provide strategy if one has been identified, for example through planned transmission project.
ERCOT RAS review
  Align with current practice of reviewing new, modified, retirement RAS proposals.
  Issue Market Notice for proposals and approvals.
Retirement
  Retirement may be proposed by RAS Entity and evaluated through normal processes.
  ERCOT can determine a RAS is no longer needed through an ERCOT initiated review (ex: 5 yr. review) or through transmission planning process.

## Slide 3: Language Overview
Reliability RAS
  Limit RASs to those needed to avoid actual or anticipated transmission security criteria in Operating Guide 2.2.2.
  RAS may not be used for constraints that can be resolved through market tools.

## Slide 4: Reliability Risk
Increased Reliability Risk
  Increased risk associated with RAS-RAS interactions in RAS-concentrated areas.
  Increased risk with more RAS’s behind or near GTC’s.
  Increased risk on ability to recognize an Outage’s impact on RAS.
  Increasing difficulty with recognizing impact of combinations of Outages on multiple RAS.
  The of Transmission Grid today is very different than the Grid of 10+ years ago

## Slide 5: Reliability Risk
2011 Southwest Blackout
  RAS tripped multiple Generators leading to cascading conditions
2021 CAISO Lytle Creek Fire Disturbance
  583 MW Solar PV reduction
  RAS tripped a Natural Gas turbine carrying 212 MW
2021 & 2022 Odessa Disturbances
  1,112MW & ~1,666MW of Solar Generation tripped
  Solar Models not representative of their behavior
  Unable to determine Solar Generation interaction with RASs

## Slide 6: Recent RAS History
5 Active RAS
  All are Generation Ramp back Schemes
  Range of Approval Dates
    Sept. 2008 – July 2020
4 RAS Retired in past 2 years
1 official RAS proposed in 2021
  Proposal for a Generation Ramp back scheme
3 RAS enquiries received in past 2 years
  All Generation Ramp back Schemes

## Slide 7: Questions?
Notes: Ryan