## Slide 1
NERC Energy Reliability Assessment Task Force Activities
Julie Jin
Resource Adequacy Dept.
June 24, 2022

## Slide 2: Background and Current Work
NERC’s Reliability and Security Technical Committee (RSTC) formed the Energy Reliability Assessment Task Force (ERATF) in 2021 to assess risks associated with energy constrained resources. ERATF developed two Standard Authorization Requests (SARs) to address fuel assurance for the planning horizon, and operations and operations planning horizon, respectively.
  Link to NERC ERATF webpage: https://www.nerc.com/comm/RSTC/Pages/ERATF.aspx
  ERATF scope and work plan can be found on the webpage.
The objective of the current project is to create new or revise existing standard(s) to require entities to perform energy reliability assessments evaluating energy assurance and developing Corrective Action Plan(s) to address identified risks

## Slide 3: Brief Summary of the Two SARs
Bulk Electric System needs energy reliability assessment because of the following factors:
  The transition from coal and nuclear generation to wind, solar, natural gas, DER, and hybrid resources is creating a more complex scenario and highlighting the need for energy assurance.
  The intermittency of renewable generation, demand volatility, the need for sufficient flexibility from balancing generation resources, and the potential for natural gas supply interruptions all combine to highlight the need for energy reliability assessments that evaluate every hour of a given study period rather than just the peak hours.
  Energy assurance and fuel assurance risks are becoming more apparent as extreme weather has resulted in energy deficits in recent years.

## Slide 4: Brief Summary of the Two SARs (cont.)
Some entities have started incorporating limited energy reliability assessments into reliability studies but it is not consistent among entities in whether and how the assessments are performed.
To achieve consistency across the industry, energy reliability assessments must be mandated and codified in NERC Reliability Standard requirements.
Functional Entities the proposed standard(s) should apply:
  Primary: Reliability Coordinator and Balancing Authority.
  Impacted: Distribution Provider, Transmission Operator, Transmission Owner, Generator Operator, and Generator Owner

## Slide 5: Implementation Considerations and Challenges
Current status:
  The SARs endorsed by the NERC RSTC at June 2022 RSTC Meeting
  The NERC Standards Committee accepted the SARs on June 15th, 2022
Next steps:
  The two SARs will be posted for a 30-day informal comment period
  ERATF will start solicitation of standard drafting team members