## Slide 1
Capacity, Demand and Reserves and
Summer Seasonal Assessment of Resource Adequacy Review and Q&A
Pete Warnken
Resource Adequacy Dept.
June 24, 2022

## Slide 2: Capacity, Demand and Reserves Report, May 2022

## Slide 3: CDR: Condensed 2023 Summer Summary
Recent resource retirement, 3/31/2022: Decker Creek steam-gas unit, 420 MW

## Slide 4: 2023 Summer Reserve Margin Waterfall Chart (December 2021 CDR to Draft May 2022 CDR)

## Slide 5: Summer Seasonal Assessment of Resource Adequacy, May 2022

## Slide 6: EEA Risk Measure: Capacity Available for Operating Reserves (CAFOR)
CAFOR Formula:
  = Seasonal Maximum Expected Resource Generation Capability
  – Demand
  – Uses of Reserves*
  + EEA Resources if CAFOR < 2,300 MW
* Uses of Reserves:
  Higher-than-expected peak demand
  Thermal unit outages
  Renewable generation below expected values

## Slide 7: Summer SARA: Base & Moderate Risk Scenarios
One of the four scenarios (forecasted peak load, typical thermal unplanned outages, low renewable output) presumes that emergency resources are needed to restore reserves to pre-Energy Emergency Alert levels
* Reflects only the installed capacity used to deliver power to the ERCOT grid.

## Slide 8: Waterfall Chart: Base Scenario

## Slide 9: Summer SARA: Three Extreme Risk Scenarios
Two of the three scenarios presume that emergency resources are needed; rotating outages likely required under both scenarios
* Reflects only the installed capacity used to deliver power to the ERCOT grid.

## Slide 10: Waterfall Chart: Most Extreme Risk Scenario