Date:	June 27, 2022

To:	Technical Advisory Committee (TAC) Representatives

From:	Martha Henson, Protocol Revision Subcommittee (PRS) Chair

Subject: Nodal Protocol Revision Requests (NPRRs) and System Change Requests (SCRs)

##### Issue: ##### Consideration of the following NPRRs recommended for approval by PRS: - NPRR1127, Clarification of ERCOT Hotline Uses [ERCOT] - NPRR1131, Controllable Load Resource Participation in Non-Spin [ERCOT]

##### Background/History: Unless otherwise noted: (i) all Market Segments participated in each vote and (ii) For NPRRs, ERCOT Credit Staff and the Credit Work Group (Credit WG) have reviewed the NPRR and do not believe it requires changes to credit monitoring activity or the calculation of liability. Revision Requests Recommended for Approval - NPRR1127, Clarification of ERCOT Hotline Uses [ERCOT] Proposed Effective Date: October 1, 2022 ERCOT Impact Analysis: No budgetary impact; no impacts to ERCOT staffing; no impacts to ERCOT computer systems; no impacts to ERCOT business processes; no impacts to ERCOT grid operations and practices. Revision Description: This NPRR clarifies which Entities are required to have Hotline and 24-hour, seven-day-per-week communications with ERCOT and requires that those Entities answer each Hotline call in order to proactively ensure situational awareness in emergency situations. PRS Decision: On 5/11/22, PRS voted unanimously to recommend approval of NPRR1127 as amended by the 4/12/22 DC Energy comments. On 6/9/22, PRS voted unanimously to endorse and forward to TAC the 5/11/22 PRS Report as amended by the 6/8/22 DC Energy comments and the 3/23/22 Impact Analysis for NPRR1127. - NPRR1131, Controllable Load Resource Participation in Non-Spin [ERCOT] Proposed Effective Date: Upon system implementation – Priority 2023; Rank 3720 ERCOT Impact Analysis: Between $100K and $150K; no impacts to ERCOT staffing; impacts to Market Operation Systems, Credit, Settlements & Billing Systems, Energy Management Systems, and Grid Decision Support Systems; no impacts to ERCOT business processes; no impacts to ERCOT grid operations and practices. Revision Description: This NPRR changes Controllable Load Resource participation in Non-Spinning Reserve (Non-Spin) from Off-Line to On-Line Non-Spin. Consistent with On-Line treatment, this NPRR also sets a bid floor of $75 per MWh for Controllable Load Resource capacity providing Non-Spin, equivalent to the offer floor for a Generation Resource providing On-Line Non-Spin and adds the requirement that if the Qualified Scheduling Entity (QSE) also assigns Responsive Reserve (RRS) and/or Regulation Up Service (Reg-Up) to a Controllable Load Resource that has been assigned Non-Spin, there will be a bid floor for the sum of the RRS, Reg-Up, and Non-Spin Ancillary Service Resource Responsibilities of $75 per MWh. ERCOT notes that the cap on a Real-Time Market (RTM) Energy Bid addressed in paragraph (2) of Section 6.4.3.1, RTM Energy Bids, remains unchanged. PRS Decision: On 5/11/22, PRS voted unanimously to recommend approval of NPRR1131 as submitted. On 6/9/22, PRS voted unanimously to endorse and forward to TAC the 5/11/22 PRS Report and 4/25/22 Impact Analysis for NPRR1131 with a recommended priority of 2023 and rank of 3720. Revision Requests Rejected - NPRR1088, Applying Forward Adjustment Factors to Forward Market Positions and Un-applying Forward Adjustment Factors to Prior Market Positions [Grand Oak Capital Partners] Proposed Effective Date: Not applicable ERCOT Impact Analysis: Not applicable Revision Description: This NPRR removes the Real-Time Forward Adjustment Factor (RFAF) and the Day-Ahead Forward Adjustment Factor (DFAF) from being applied to prior market positions and instead applies the RFAF and DFAF to ongoing market positions. PRS Decision: On 6/9/22, PRS voted unanimously to reject NPRR1088. Revision Requests Withdrawn None Status of Pending Revision Requests (For Information Purposes Only): Revision Requests Scheduled for Impact Analysis Review and Priority Assignment (if applicable) at PRS - NPRR1058, Resource Offer Modernization [Reliant, Luminant, STEC, LCRA, Calpine] - NPRR1085, Ensuring Continuous Validity of Physical Responsive Capability (PRC) and Dispatch through Timely Changes to Resource Telemetry and Current Operating Plans (COPs) [ERCOT] - NPRR1133, Clarify Responsibilities for Submission of Planning Model Data for DC Ties [ERCOT] - NPRR1134, Related to RMGRR168, Modify ERCOT’s Mass Transition Responsibilities [TX SET] - NPRR1135, Add On-Line Status Check for Resources Telemetering OFFNS for Ancillary Service Imbalance Settlements [ERCOT] - NPRR1136, Updates to Language Regarding a QSE Moving Ancillary Service Responsibility Between Resources [ERCOT] - NPRR1137, Updates to Section 1.1 to Modify the OBD List Review Timeline and Other Clarifications [Residential Consumer] - SCR820, Operator Real-Time Messaging During Emergency [AEP/CenterPoint] - SCR822, Create Daily Energy Storage Integration Report and Dashboard [Reliant Energy Retail Services] Revision Requests Deferred or Tabled and/or Pending Input from Another Subcommittee - NPRR956, Designation of Providers of Transmission Additions [ERCOT] - NPRR981, Day-Ahead Market Price Correction Process [Luminant] - NPRR1067, Market Entry Qualifications, Continued Participation Requirements, and Credit Risk Assessment [ERCOT] - NPRR1070, Planning Criteria for GTC Exit Solutions [EDF Renewables / Pattern Energy] - NPRR1084, Improvements to Reporting of Resource Outages and Derates [ERCOT] - NPRR1089, Requiring Highest-Ranking Representative, Official, or Officer of a Resource Entity to Execute Weatherization and Natural Gas Declarations [ERCOT] - NPRR1118, Clarifications to the OSA Process [ERCOT] - NPRR1126, Default Uplift Allocation Enhancement [DC Energy] - NPRR1128, Allow FFR Procurement up to FFR Limit Without Proration [Hunt Energy Network] - NPRR1132, Communicate Operating Limitations during Cold and Hot Weather Conditions [ERCOT] - NPRR1138, Communication of Capability and Status of Online IRRs at 0 MW Output [ERCOT] - NPRR1139, Adjustments to Capacity Shortfall Ratio Share for IRRs [ERCOT] - SCR821, Voltage Set Point Target Information for Distribution Generation Resource (DGR) or Distribution Energy Storage Resource (DESR) [AEP] New Revision Requests Scheduled for Consideration at PRS - NPRR1140, Recovering Fuel Costs for Generation Above LSL During RUC-Committed Hours [ERCOT] These Revision Requests and supporting materials are posted on the ERCOT website at the following links: http://www.ercot.com/mktrules/issues/nprr http://www.ercot.com/mktrules/issues/scr