## Slide 1
2022 Update to Rooftop Solar PV Growth Projections
Supply Analysis Working Group
June 24, 2022

## Slide 2: S-Curve Growth Projections
Initial Methodology Proposed at April 12, 2019 SAWG Meeting
  http://www.ercot.com/calendar/2019/4/12/172702-SAWG
Curves revised annually based on installed data
  2020 Projections
    http://www.ercot.com/content/wcm/key_documents_lists/195745/SAWG_April_2020_Solar_PV_Growth_Projection_Discussion.pptx
  2021 Projections
    https://www.ercot.com/files/docs/2021/05/18/SAWG__Meeting_5-18-2021_Updated_Rooftop_Solar_Growth_Projectionsv3.pptx
Minor update made to the moderate curve input variables since the S-curve equation tries to force solution in shorter timeframe.
  Start of ramp shifted from 2019 to 2020
  Provides smoother (although slightly delayed) growth

## Slide 3: 2021 Rooftop Solar PV Summary
Total of ~1440 MW for NOIES plus Competitive Choice areas
  2020 moderate curve projection was ~1630 MW (pre-Covid)

## Slide 4: Observations
Scenarios deviate significantly
  Conservative reaches ~2500 by 2025 and ~3900 MW by 2032
  Moderate reaches ~4000 MW by 2025 and ~5900 MW by 2032
  Aggressive reaches ~6100 MW by 2025 and ~7500 MW by 2032
2016-2021 Data matches the “Moderate” profile best (so far).
Discussion?