## Slide 1
Telemetry Data for Crypto load and IRR
June 28, 2022
Resource Integration Working Group Meeting
Staff
ERCOT Balancing Operations Planning

## Slide 2: Co-located Crypto Load and IRR
POI
IRR
POI
MW/HSL
IRR
Crypto Load
MW/HSL
Gross MW/Gross HSL
 | IRR + Co-located load with PUN designation or crypto load | Single IRR (WGR or PVGR)
High Sustained Limit | Reflect net power potential of the plant (re-use the existing HSL data point) | Existing today
Gross High Sustained Limit | New telemetry data point, added to reflect real-time power potential of IRR part | -
MW | Reflect actual power production of the plant (re-use the existing MW data point) | Existing today
Gross MW | Existing telemetry data point to reflect real-time power production of IRR part | Existing today

## Slide 3: Questions
Pengwei.du@ercot.com