## Slide 1
Generation Resource Energy and Regulation Deployment Performance Report for June 2022

## Slide 2: Non-IRR GREDP < 85% – June 2022
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 218 | 46 | 62 | 1.73 | 74.19

## Slide 3: IRR Summary – June 2022
IRR | Fleet | < 95% | > 100 INT, < 95%
GREDP Average (%) | 89.02 | 76.31 | 87.32
GREDP Median (%) | 97.12 | 85.71 | 90.03
Average MW Error | 4.88 | 5.09 | 5.40
Median MW Error | 4.30 | 4.35 | 4.41
Total Intervals Scored | 42,430 | 20,683 | 19,199
100+ Intervals Scored | 78 | 213 | 36
Total Intervals Scored Average | 145.81 | 220.03 | 533.31

## Slide 4: IRR ≥ 95%, ≥ 100 Scored Intervals – June 2022
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 2 | 1,783 | 1,803 | 3.65 | 98.89
Unit 3 | 1,475 | 1,539 | 7.06 | 95.84
Unit 5 | 1,317 | 1,354 | 2.99 | 97.27
Unit 6 | 1,289 | 1,342 | 9.33 | 96.05
Unit 8 | 1,177 | 1,210 | 2.86 | 97.27
Unit 10 | 1,112 | 1,159 | 9.93 | 95.94
Unit 12 | 981 | 1,025 | 7.17 | 95.71
Unit 13 | 912 | 913 | 5.49 | 99.89
Unit 18 | 731 | 749 | 3.70 | 97.60
Unit 19 | 732 | 745 | 13.63 | 98.26
Unit 20 | 734 | 741 | 3.13 | 99.06
Unit 26 | 497 | 510 | 4.34 | 97.45
Unit 27 | 480 | 485 | 7.81 | 98.97
Unit 30 | 434 | 434 | 3.89 | 100.00
Unit 31 | 415 | 425 | 5.72 | 97.65
Unit 32 | 403 | 417 | 6.05 | 96.64
Unit 33 | 395 | 397 | 2.93 | 99.50
Unit 34 | 379 | 395 | 9.85 | 95.95
Unit 37 | 368 | 374 | 7.08 | 98.40
Unit 38 | 369 | 369 | 1.41 | 100.00

## Slide 5: IRR ≥ 95%, ≥ 100 Scored Intervals – June 2022
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 40 | 347 | 357 | 2.11 | 97.20
Unit 41 | 342 | 353 | 1.13 | 96.88
Unit 42 | 344 | 348 | 1.65 | 98.85
Unit 43 | 343 | 343 | 3.37 | 100.00
Unit 44 | 336 | 343 | 5.70 | 97.96
Unit 45 | 340 | 341 | 3.09 | 99.71
Unit 46 | 324 | 333 | 4.53 | 97.30
Unit 55 | 234 | 235 | 3.03 | 99.57
Unit 56 | 228 | 232 | 10.50 | 98.28
Unit 57 | 218 | 220 | 8.35 | 99.09
Unit 59 | 206 | 209 | 4.57 | 98.56
Unit 64 | 141 | 146 | 2.26 | 96.58
Unit 66 | 129 | 134 | 2.34 | 96.27
Unit 68 | 127 | 130 | 2.20 | 97.69
Unit 69 | 110 | 112 | 5.55 | 98.21
Unit 70 | 106 | 111 | 6.10 | 95.50
Unit 71 | 105 | 109 | 4.00 | 96.33
Unit 72 | 105 | 105 | 5.93 | 100.00
Unit 73 | 101 | 104 | 2.33 | 97.12
Unit 74 | 102 | 102 | 5.77 | 100.00

## Slide 6: IRR ≥ 95%, ≥ 100 Scored Intervals – June 2022
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 77 | 100 | 100 | 4.66 | 100.00
Unit 78 | 99 | 100 | 6.09 | 99.00

## Slide 7: IRR < 95%, ≥ 100 Scored Intervals – June 2022
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 1 | 2,358 | 2,505 | 4.78 | 94.13
Unit 4 | 1,376 | 1,528 | 4.46 | 90.05
Unit 7 | 1,046 | 1,261 | 1.59 | 82.95
Unit 9 | 1,107 | 1,183 | 2.19 | 93.58
Unit 11 | 951 | 1,149 | 4.35 | 82.77
Unit 14 | 713 | 784 | 4.13 | 90.94
Unit 15 | 686 | 764 | 3.36 | 89.79
Unit 16 | 705 | 762 | 3.27 | 92.52
Unit 17 | 539 | 757 | 4.25 | 71.20
Unit 21 | 557 | 661 | 4.36 | 84.27
Unit 22 | 396 | 523 | 5.86 | 75.72
Unit 23 | 451 | 522 | 9.26 | 86.40
Unit 24 | 490 | 516 | 10.87 | 94.96
Unit 25 | 462 | 511 | 9.27 | 90.41
Unit 28 | 433 | 461 | 5.58 | 93.93
Unit 29 | 418 | 441 | 5.87 | 94.78
Unit 35 | 331 | 393 | 6.66 | 84.22
Unit 36 | 355 | 376 | 7.09 | 94.41
Unit 39 | 332 | 365 | 9.72 | 90.96
Unit 47 | 287 | 331 | 6.64 | 86.71

## Slide 8: IRR < 95%, ≥ 100 Scored Intervals – June 2022
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 48 | 294 | 323 | 6.58 | 91.02
Unit 49 | 298 | 322 | 3.90 | 92.55
Unit 50 | 298 | 322 | 10.13 | 92.55
Unit 51 | 246 | 274 | 4.57 | 89.78
Unit 52 | 215 | 267 | 5.50 | 80.52
Unit 53 | 228 | 259 | 1.38 | 88.03
Unit 54 | 165 | 238 | 8.30 | 69.33
Unit 58 | 177 | 218 | 2.63 | 81.19
Unit 60 | 187 | 205 | 2.13 | 91.22
Unit 61 | 157 | 178 | 18.14 | 88.20
Unit 62 | 151 | 160 | 2.94 | 94.38
Unit 63 | 144 | 160 | 3.46 | 90.00
Unit 65 | 126 | 144 | 4.10 | 87.50
Unit 67 | 123 | 133 | 2.37 | 92.48
Unit 75 | 60 | 102 | 1.00 | 58.82
Unit 76 | 92 | 101 | 3.71 | 91.09