## Slide 1
ERS deployment event details for 7/13/2022
DSWG Meeting
July 22, 2022

## Slide 2: ERS deployment events 7/13/2022
*Only five additional ERS Resources were deployed in ERS TP4 because all other obligated ERS Resources for the time period were already deployed in TP3.
In total, 429 ERS Resources were deployed across time periods 3 & 4 on 7/13/2022. 103 ERS Resources were not deployed because they did not have any obligation within the deployed time periods.
Meter data for the event is due 8/17/2022 (35 days after the event date).

## Slide 3: ERS deployment events 7/13/2022
In terms of cumulative deployment obligation time, ERS Resources were deployed for approximately 0hr:32min to 3hr:36min depending on service type (ERS10-NWS, ERS30-NWS, ERS30-WS) and Time Period obligations (TP3 & TP4).
The vast majority of the ERS fleet was deployed for at least 3hr:15min, leaving approximately 4hr:45min of cumulative deployment obligation time remaining under the 8hr maximum deployment time.
If ERS is deployed again and the duration of the event is less than 4hr:45min, the majority of the ERS fleet will still be available to deploy during a third ERS event for any remaining cumulative obligation time plus an additional 4 hours or until recalled by ERCOT in accordance with Section 3.14.3.3 (3)(a) of ERCOT Protocols.