## Slide 1
Large Flexible Load Taskforce-TAC update
Bill Blevins
July 27, 2022

## Slide 2: TAC update
Taskforce Endorsed the development of Interconnection process for Large Loads.
  Updated the Taskforce on the progress in drafting a PGRR. (LFL1-3)
Reviewed draft definition of two new types of Loads under the Large Flexible load term. (LFL 4,5,6)
  SCED Flexible load
  Interruptible load
Manual Load shed issue we have 4 options we are reviewing (LFL34, 38, 39, 43, 44)
Two options for UFLS and the new Large Flexible Loads (LFL 31)
Reviewing the treatment of these new Loads based on registration and how they will appear in CDR and SARA. (LFL 49)

## Slide 3: LFLTF next meeting
Achieve consensus on the Operations issues for UFLS and Manual Load shed at next meeting. (LFL 31,34, 38, 39, 43, 44)
Expect to share the draft PGRR for interconnection.
Review the definitions and achieve consensus. (LFL 4,5,6)
Review SARA and CDR whitepaper and update examples (LFL 49)
Review Issues list (51)
  Discussed 32 items at least 1 once
  Markets issues LFL10, 17, 23 merged and LFL 27 with 28
  Markets issue LFL 9,16,22 and 41 merged and in progress under NPRR Sai is drafting.