## Slide 1
Supply Analysis Working Group Update
Caitlin Smith, Chair
Ian Haley, Vice Chair
Pete Warnken, Vice Chair
August 3, 2022

## Slide 2: Mid-Term Load Forecast Presentation Follow-up
Summarized model updates for summer
  For Day-Ahead, E2 forecast no longer necessarily using the most extreme weather forecast – now targeting E2 to be 1-2% higher than base 50/50 forecast
  E3 forecast will use one of the most extreme weather forecasts for ERCOT system for 4+ days in the future, but necessarily the most extreme; control room discretion for extreme forecast selection

## Slide 3: CDR/SARA Issues Associated with Large Flexible Loads and PUNs
LFL_49 Action Item: Consider how co-located or Stand-alone LFLs and Resources should be considered in resource adequacy reports, including if they should be classified as Private Use Networks in ERCOT reports
Action Item Owners:
  ERCOT (Evan Neel)
  Lancium (Eric Goff)
  AEP (Blake Gross)
  Oncor (Martha Henson)
  Jupiter Power (Caitlin Smith)

## Slide 4: CDR/SARA Issues Associated with Large Flexible Loads and PUNs, continued
Reporting issues summarized:
  Co-located LFLs as possible separate PUN category with disclosure of project MW capacity only
  Capacity contribution method needed for proper representation in planning reserve margins; understanding operational behavior of LFLs during peak load hours is needed
  LFLs in deterministic scenarios and probabilistic modeling
  Standalone LFLs included in Long Term Load Forecast

## Slide 5: NERC Energy Reliability Assessment Task Force
NERC’s Reliability and Security Technical Committee (RSTC) formed the Energy Reliability Assessment Task Force (ERATF) in 2021 to assess risks associated with energy constrained resources
ERATF developed two Standard Authorization Requests (SARs) to address fuel assurance for the planning horizon, and operations and operations planning horizons, respectively
Objective is to create new or revise existing standards to require energy reliability assessments

## Slide 6: Summer 2022 SARA Probabilistic Model

## Slide 7: CDR/SARA Improvement Project
Two PUCT CDR/SARA workshops and June 6 Open Public Meeting
  “Framework of principles” to be in market rules by December 2022 that tie the CDR/SARA to Phase 2 market design
  Release CDR on a quarterly basis with seasonal outlooks
    Include probabilistic metric(s)
    Gather stakeholder feedback on Reliability Standard and metrics in parallel with Consultant Phase 2 analysis
    Standards should support resiliency goals
    Put target publication dates in the Rules, but allow some flexibility

## Slide 8: CDR/SARA Improvement Project, continued
  Rulemaking for voluntary registration of Large Flexible Loads and critical loads
    Tie to LFLTF progress
  Other CDR reforms like load forecasting improvement, resource accreditation, and scenario analysis can be managed by ERCOT rather than codified in the Rules
    Continue to collaborate with the Commission
    Maintain data and methodology transparency for stakeholders

## Slide 9: CDR/SARA Improvement Project, continued
SARA reports
  ERCOT proposal to release monthly resource adequacy reports that includes probabilistic risk assessment results
  PUCT goal: Identify “downside” seasonal scenarios that the fleet needs to prepare for to provide sufficient reliability

## Slide 10: Upcoming ERCOT Studies
Reserve Margin Study – initiate in 2022.Q4
Cost of New Entry (CONE) Study
  Plan to initiate in 2022.Q4, starting with an RFP for a consultant to conduct the study, but would like WMS to weigh-in on study timing