## Slide 1: Operations Working Group
Chair- Rickey Floyd
Vice-Chair- Shawn McCreary
HITE List Sub-Chair – Pushkar Chhajed
08/04/2022

## Slide 2: NPRR1084
Improvements to Reporting of Resource Outages and Derates.
  Stakeholders are still working with ERCOT to clarify the language regarding generator forced derates
  Tabled at OWG

## Slide 3: NPRR1118, Clarifications to the OSA Process
Comments were reviewed at the June OWG meeting and consensus was reached to endorse.

## Slide 4: SCR821, Voltage Set Point Target Information for Distribution Generation Resource (DGR) or Distribution Energy Storage Resource (DESR) (OWG, NDSWG, VPWG) (Possible Vote)
Discussed at June OWG meeting and consensus was not reached
OWG agreed to let ROS determine to move forward with a vote

## Slide 5: NOGRR215 – Limited Use of RAS
Stakeholders filed comments recommending the NOGRR not move forward
ERCOT presented their concerns on the risk of not limiting the used of Remedial Action Schemes
Stakeholders will continue discussions with ERCOT on possible alternatives
Tabled at OWG

## Slide 6: NOGRR226 - Revision to 5% Transmission Operator (TO) Load Shedding Relay Set Point
ERCOT presented results from their recent studies on the options that were proposed
ERCOT studies raised concerns on the option of changing UF1 from 59.4 to 59.5
ERCOT reported that their studies saw better results by adding the anti stall/kicker at 59.5
Stakeholders and ERCOT are considering options for using the anti- stall/kicker
  Number stages
  Time delay
  MW amount for each stage
Tabled at OWG

## Slide 7: NPRR1132 and RGRR032 - Communicate Operating Limitations during Cold and Hot Weather Conditions
ERCOT led the review of the comments filed
Stakeholders preferred to keep this tabled and discuss further next month
Tabled