**NDSWG Report to ROS**

**August 2022**

**Chair: Kenesha King, Vice-Chair: Aniruddha Khedlekar (AK)**

**NDSWG did not meet in June or July but asked for comments on SCR821**

**Email Discussion:**

**SCR821**

* Joel Koepke’s Comment
  + From ERCOT’s point of view, the SCR has a small impact to ERCOT’s systems.  ERCOT will need to create new analog types (something like DG-KVT and DG-KMV) within the model.  Additionally, this telemetry should be “hidden” or appropriately labeled such that any existing voltage displays and alarms are not acted upon by ERCOT Operators.