## Slide 1
PDCWG Report to ROS
Chair: Jimmy Jackson, CPS
Vice Chair: Vacant
ROS
Aug 10th, 2022

## Slide 2: Report Overview & Notes
Report Overview
  Meeting Minutes
  BAL-001-TRE-2 FMEs and IMFR
    0 FMEs in the month of June
  Frequency Control Report

## Slide 3: Meeting Minutes
PDCWG Meeting 7/20/2022
  NOGRR226 Update
  Large Net Load Ramp Event on 3/24/22 (ERCOT Presentation)
  BAL-001-TRE-SAR Update
  ERCOT Reports
  TRE Report

## Slide 4: Frequency Measurable Events Performance

## Slide 5: Frequency Measurable Events
There was 0 FME’s in June

## Slide 6: Interconnection Minimum Frequency Response (IMFR) Performance
Frequency Response Obligation (FRO): 412 MW/0.1 Hz
IMFR Performance currently
1144.94 MW/0.1HZ

## Slide 7
Questions?

## Slide 8: Frequency Control Report
May 2022

## Slide 9: CPS1 Performance

## Slide 10: RMS1 Performance of ERCOT Frequency
Notes: 15.56Mhz on avg for June 2022

## Slide 11: Frequency Profile Analysis

## Slide 12: Time Error Corrections
Notes: Time error started to go down around the 20th due to a significant solar and wind ramp coincided with each other. Also, temperature picks up in late June.

## Slide 13: ERCOT Total Energy
Notes: 42,088,672 MWh

## Slide 14: ERCOT Total Energy from Wind Generation
Notes: 9,677,677 MWh

## Slide 15: ERCOT % Energy from Wind Generation
Notes: 22.99%

## Slide 16: ERCOT Total Energy from Solar Generation
Notes: 2,672,960 MWh

## Slide 17: ERCOT % Energy from Solar Generation
Notes: 6.35%