## Slide 1
Reporting on Statistics for
EPS Meter Activity
August 25, 2022

## Slide 2: Notices issued January through July 2022
 | January | February | March | April | May | June | July
Total Notices Issued | 98 | 170 | 154 | 273 | 304 | 219 | 167
Total 6 Hours issued | 6 | 33 | 31 | 78 | 90 | 68 | 62
Total 12 Hours issued | 54 | 102 | 72 | 149 | 144 | 98 | 72
Total 5 days issued | 38 | 35 | 51 | 46 | 70 | 53 | 33
Total Notices Issued for IP | 22 | 26 | 56 | 140 | 106 | 94 | 18
Total Notices Issued for Phone Line | 76 | 144 | 98 | 133 | 198 | 125 | 149
TDSP | % OF METERS ON PHONE LINE | % OF METERS ON TCP/IP | % OF TOTAL NOTICES ISSUED FOR JANUARY | % OF TOTAL NOTICES ISSUED FOR FEBRUARY | % OF TOTAL NOTICES ISSUED FOR MARCH | % OF TOTAL NOTICES ISSUED FOR APRIL | % OF TOTAL NOTICES ISSUED FOR MAY | % OF TOTAL NOTICES ISSUED FOR JUNE | % OF TOTAL NOTICES ISSUED FOR JULY
TDSP M | 0% | 100% | 1.28% | 0.00% | 0.65% | 0.37% | 0.00% | 0.00% | 0.00%
TDSP O | 0% | 0% | 0.00% | 0.00% | 0.00% | 0.00% | 0.00% | 0.00% | 0.00%
TDSP K | 4% | 96% | 0.00% | 0.00% | 0.00% | 0.00% | 8.55% | 0.00% | 0.00%
TDSP T | 0% | 100% | 0.00% | 0.00% | 0.00% | 0.00% | 2.63% | 0.00% | 0.00%
TDSP V | 0% | 100% | 0.00% | 0.00% | 1.95% | 0.00% | 0.00% | 1.83% | 0.00%
TDSP Q | 0% | 100% | 0.00% | 0.00% | 0.00% | 0.00% | 0.00% | 0.00% | 0.00%
TDSP E | 0% | 100% | 1.28% | 0.00% | 0.00% | 0.00% | 0.66% | 0.00% | 0.00%
TDSP G | 0% | 100% | 0.00% | 0.00% | 0.00% | 0.00% | 3.95% | 5.48% | 0.00%
TDSP W | 0% | 100% | 0.00% | 1.18% | 0.00% | 0.00% | 0.00% | 0.00% | 0.00%
TDSP R | 0% | 100% | 0.00% | 0.00% | 5.19% | 11.72% | 14.47% | 5.02% | 0.00%
TDSP L | 0% | 100% | 0.00% | 0.00% | 0.00% | 0.00% | 0.00% | 0.00% | 0.00%
TDSP B | 100% | 0% | 0.00% | 0.00% | 0.00% | 0.00% | 0.00% | 0.91% | 0.00%
TDSP D | 26% | 74% | 0.00% | 1.76% | 2.60% | 5.86% | 0.33% | 12.79% | 0.00%
TDSP U | 0% | 100% | 0.00% | 0.00% | 0.00% | 0.00% | 0.00% | 0.00% | 0.00%
TDSP H | 0% | 100% | 0.00% | 0.00% | 3.25% | 0.37% | 0.00% | 0.00% | 0.00%
TDSP P | 31% | 69% | 10.26% | 0.59% | 0.00% | 1.47% | 0.00% | 0.00% | 0.60%
TDSP A | 0% | 100% | 0.00% | 0.00% | 0.00% | 0.00% | 0.66% | 0.00% | 1.20%
TDSP C | 28% | 72% | 14.10% | 12.35% | 5.84% | 4.40% | 9.54% | 10.05% | 4.19%
TDSP N | 28% | 72% | 5.13% | 12.35% | 11.04% | 5.86% | 1.32% | 3.20% | 4.19%
TDSP X | 4% | 96% | 6.41% | 4.12% | 4.55% | 1.47% | 2.96% | 0.91% | 5.99%
TDSP F | 8% | 92% | 21.79% | 44.71% | 27.92% | 36.26% | 21.05% | 29.22% | 14.37%
TDSP I | 36% | 64% | 6.41% | 6.47% | 6.49% | 4.76% | 18.09% | 21.46% | 19.16%
TDSP S | 11% | 89% | 25.64% | 15.88% | 28.57% | 25.27% | 8.88% | 7.76% | 20.36%
TDSP J | 17% | 83% | 7.69% | 0.59% | 1.95% | 2.20% | 6.91% | 1.37% | 29.94%

## Slide 3: 2022 Notices – Total and Overdue
Overdue timeframes: 6-hour = Open over 12 hours; 12-hour = Open over 24 hours; 5-day = Open over 7 days
 |  | Issued | Overdue | % Overdue
January | 6-hour | 6 | 0 | 0.00%
 | 12-hour | 54 | 7 | 12.96%
 | 5-day | 38 | 3 | 7.89%
 | Total | 98 | 10 | 10.20%
February | 6-hour | 33 | 19 | 57.58%
 | 12-hour | 102 | 31 | 30.39%
 | 5-day | 35 | 8 | 22.86%
 | Total | 170 | 58 | 34.12%
March | 6-hour | 31 | 20 | 64.52%
 | 12-hour | 72 | 14 | 19.44%
 | 5-day | 51 | 7 | 13.73%
 | Total | 154 | 41 | 26.62%
April | 6-hour | 78 | 59 | 75.64%
 | 12-hour | 149 | 39 | 26.17%
 | 5-day | 46 | 1 | 2.17%
 | Total | 273 | 99 | 36.26%
May | 6-hour | 90 | 63 | 70.00%
 | 12-hour | 144 | 34 | 23.61%
 | 5-day | 70 | 3 | 4.29%
 | Total | 304 | 100 | 32.89%
June | 6-hour | 68 | 50 | 73.53%
 | 12-hour | 98 | 38 | 38.78%
 | 5-day | 53 | 1 | 1.89%
 | Total | 219 | 89 | 40.64%
July | 6-hour | 62 | 49 | 79.03%
 | 12-hour | 72 | 27 | 37.50%
 | 5-day | 33 | 6 | 18.18%
 | Total | 167 | 82 | 49.10%
2022 Totals |  | Issued | Overdue | % Overdue
2022 Totals | 6-hour | 368 | 260 | 70.65%
 | 12-hour | 691 | 190 | 27.50%
 | 5-day | 326 | 29 | 8.90%
 | Total | 1385 | 479 | 34.58%

## Slide 4: 2021 and 2022 Monthly Averages – Issued and Overdue
Chart: 
| 6-hour | 12-hour | 5-day | Total | 6-hour | 12-hour | 5-day | Total | 2021 Monthly Average | 2022 Monthly Average
Issued | 62.5833 | 108.9167 | 63.6667 | 235.1667 | 52.5714 | 98.7143 | 46.5714 | 197.8571
Overdue | 48.5833 | 43.5 | 5.5 | 97.5833 | 37.1429 | 27.1429 | 4.1429 | 68.4286

## Slide 5: Field Access - 2022
*Indicates sorted by this column in lowest to highest order
TDSP | # OF 5 DAY NOTIFICAION PERIOD ACCESSES | # OF 10 DAY NOTIFICAION PERIOD ACCESSES | TOTAL ACCESSES | # OF ACCESSES OUTSIDE OF SMOG NOTIFICATION PERIOD REQUIREMENT | % OF ACCESSES OUTSIDE OF SMOG NOTIFICATION PERIOD REQUIREMENT *
TDSP O | 0 | 0 | 0 | 0 | 0%
TDSP P | 13 | 2 | 15 | 0 | 0%
TDSP T | 6 | 0 | 6 | 0 | 0%
TDSP G | 24 | 0 | 24 | 0 | 0%
TDSP R | 8 | 0 | 8 | 0 | 0%
TDSP L | 2 | 0 | 2 | 0 | 0%
TDSP B | 2 | 0 | 2 | 0 | 0%
TDSP H | 14 | 0 | 14 | 0 | 0%
TDSP V | 54 | 3 | 57 | 13 | 23%
TDSP K | 34 | 2 | 36 | 10 | 28%
TDSP S | 238 | 54 | 292 | 104 | 36%
TDSP I | 140 | 25 | 165 | 62 | 38%
TDSP A | 39 | 1 | 40 | 16 | 40%
TDSP M | 30 | 0 | 30 | 12 | 40%
TDSP E | 42 | 2 | 44 | 18 | 41%
TDSP D | 29 | 4 | 33 | 15 | 45%
TDSP C | 104 | 15 | 119 | 61 | 51%
TDSP J | 40 | 2 | 42 | 22 | 52%
TDSP W | 6 | 0 | 6 | 4 | 67%
TDSP X | 78 | 46 | 124 | 94 | 76%
TDSP F | 193 | 39 | 232 | 214 | 92%
TDSP N | 40 | 2 | 42 | 40 | 95%
TDSP Q | 12 | 0 | 12 | 12 | 100%
TDSP U | 6 | 0 | 6 | 6 | 100%
Total | 1154 | 197 | 1351 | 703 | 52%

## Slide 6: Temporary Exemptions Received 2015 through 2022
Count of Average Exemption Duration from problem identified through resolution (months) |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 
 | 2015-2020 Average |  |  |  |  | 2021 |  |  |  |  | 2022 |  |  |  | 
TDSP | 0-3 | 3-6 | 6-9 | 9-12 | >12 | 0-3 | 3-6 | 6-9 | 9-12 | >12 | 0-3 | 3-6 | 6-9 | 9-12 | >12*
TDSP A | 3.2 | 0.3 | 0.0 | 0.3 | 0.0 | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TDSP M | 3.3 | 0.0 | 0.0 | 0.0 | 0.0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0
TDSP O | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TDSP R | 1.2 | 0.0 | 0.2 | 0.0 | 0.0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0
TDSP K | 3.7 | 0.0 | 0.0 | 0.0 | 0.0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TDSP T | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0
TDSP V | 8.2 | 1.0 | 0.0 | 0.0 | 0.0 | 0 | 0 | 0 | 0 | 0 | 4 | 0 | 0 | 0 | 0
TDSP Q | 0.3 | 0.0 | 0.0 | 0.0 | 0.0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TDSP W | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 2 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0
TDSP G | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 7 | 0 | 0 | 1 | 0 | 1 | 0 | 0 | 1 | 0
TDSP L | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TDSP B | 0.2 | 0.0 | 0.0 | 0.0 | 0.0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TDSP U | 1.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TDSP H | 2.0 | 1.2 | 0.0 | 0.0 | 0.0 | 1 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 0
TDSP F | 7.0 | 1.8 | 0.7 | 0.0 | 0.2 | 8 | 0 | 0 | 0 | 0 | 6 | 0 | 0 | 0 | 0
TDSP P | 0.8 | 0.0 | 0.0 | 0.0 | 0.2 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TDSP E | 2.0 | 0.0 | 0.0 | 0.0 | 0.2 | 4 | 0 | 0 | 0 | 0 | 3 | 0 | 0 | 0 | 0
TDSP C | 9.3 | 0.7 | 0.2 | 0.0 | 0.2 | 2 | 0 | 1 | 0 | 0 | 3 | 0 | 1 | 0 | 0
TDSP D | 5.2 | 1.7 | 0.2 | 0.0 | 0.5 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0
TDSP S | 9.5 | 2.0 | 0.3 | 0.8 | 0.7 | 7 | 0 | 0 | 0 | 0 | 7 | 0 | 0 | 0 | 0
TDSP X | 1.3 | 0.3 | 0.0 | 0.0 | 1.0 | 1 | 0 | 0 | 0 | 0 | 3 | 0 | 0 | 0 | 0
TDSP J | 3.5 | 2.8 | 1.5 | 0.8 | 1.3 | 10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TDSP N | 5.0 | 0.0 | 0.5 | 0.2 | 4.2 | 5 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 0
TDSP I | 3.8 | 3.2 | 0.5 | 0.7 | 4.5 | 4 | 0 | 0 | 0 | 0 | 12 | 0 | 0 | 0 | 0
Totals | 70.5 | 15.0 | 4.0 | 2.8 | 12.8 | 45 | 0 | 2 | 2 | 0 | 0 | 0 | 0 | 0 | 0
*Indicates sorted by this column in lowest to highest order
(Counts do not include exemptions for delayed cutovers)
Table indicates when a temporary exemption was received and the length of time it was open. Duration was as of 8/18/2022 therefore counts can move to the right in future tables.
Temporary exemptions required due to modeling cutovers prior to EPS installations and agreed in service dates are not included in these counts.

## Slide 7: Temporary Exemption Currently Open as of 8/18/2022
Duration count of currently open Temporary Exemptions (months) |  |  |  |  |  | 
TDSP | 0-3 | 3-6 | 6-9 | 9-12 | 12-24 | 24+*
TDSP A | 0 | 0 | 0 | 0 | 0 | 0
TDSP B | 0 | 0 | 0 | 0 | 0 | 0
TDSP D | 0 | 0 | 0 | 0 | 0 | 0
TDSP E | 0 | 0 | 0 | 0 | 0 | 0
TDSP G | 0 | 0 | 0 | 0 | 0 | 0
TDSP H | 0 | 0 | 0 | 0 | 0 | 0
TDSP J | 0 | 0 | 0 | 0 | 0 | 0
TDSP K | 0 | 0 | 0 | 0 | 0 | 0
TDSP L | 0 | 0 | 0 | 0 | 0 | 0
TDSP N | 0 | 0 | 0 | 0 | 0 | 0
TDSP O | 0 | 0 | 0 | 0 | 0 | 0
TDSP P | 0 | 0 | 0 | 0 | 0 | 0
TDSP Q | 0 | 0 | 0 | 0 | 0 | 0
TDSP R | 0 | 0 | 0 | 0 | 0 | 0
TDSP T | 0 | 0 | 0 | 0 | 0 | 0
TDSP U | 0 | 0 | 0 | 0 | 0 | 0
TDSP X | 0 | 0 | 0 | 0 | 0 | 0
TDSP F | 1 | 0 | 0 | 0 | 0 | 0
TDSP M | 1 | 0 | 0 | 0 | 0 | 0
TDSP S | 4 | 0 | 0 | 0 | 0 | 0
TDSP V | 0 | 1 | 0 | 0 | 0 | 0
TDSP I | 10 | 1 | 0 | 0 | 0 | 0
TDSP C | 0 | 2 | 0 | 0 | 0 | 0
TDSP W | 0 | 0 | 0 | 1 | 0 | 0
Totals | 16 | 4 | 0 | 1 | 0 | 0
*Indicates sorted by this column in lowest to highest order
Current Totals versus Previous Totals |  |  |  |  |  | 
 | 0-3 | 3-6 | 6-9 | 9-12 | 12-24 | 24+
Current 8/18/22 | 16 | 4 | 0 | 1 | 0 | 0
Previous 1/18/22 | 3 | 2 | 2 | 0 | 0 | 0
Temporary exemptions required due to modeling cutovers prior to EPS installations and agreed in service dates are not included in these counts.

## Slide 8: Annual Meter Test/Meter Reprogram – Initial Submittals
Average Days to Receive |  |  |  | Percentage of documents submitted within protocol timeline |  |  |  |  | 
 |  |  |  | 2015-2020 Average |  | 2021 |  | 2022 | 
TDSP | 2015-2020 Average | 2021 | 2022 | ≤ 14 Days | > 14 Days | ≤ 14 Days | > 14 Days | ≤ 14 Days | > 14 Days*
TDSP O | 2 | 9 | N/A | 100.0% | 0.0% | 100.0% | 0.0% | N/A | N/A
TDSP R | 4 | 2 | 2 | 100.0% | 0.0% | 100.0% | 0.0% | 100.0% | 0.0%
TDSP B | 3 | 3 | 2 | 100.0% | 0.0% | 100.0% | 0.0% | 100.0% | 0.0%
TDSP T | 16 | 1 | 10 | 85.7% | 14.3% | 100.0% | 0.0% | 100.0% | 0.0%
TDSP M | 9 | 2 | 1 | 82.0% | 18.0% | 100.0% | 0.0% | 100.0% | 0.0%
TDSP U | 27 | 6 | 5 | 53.3% | 46.7% | 100.0% | 0.0% | 100.0% | 0.0%
TDSP P | 21 | 1 | 2 | 46.7% | 53.3% | 100.0% | 0.0% | 100.0% | 0.0%
TDSP S | 12 | 6 | 3 | 75.5% | 24.5% | 97.0% | 3.0% | 100.0% | 0.0%
TDSP X | 9 | 7 | 6 | 84.4% | 15.6% | 94.4% | 5.6% | 100.0% | 0.0%
TDSP I | 7 | 15 | 3 | 97.0% | 3.0% | 86.1% | 13.9% | 100.0% | 0.0%
TDSP W | 5 | 12 | 6 | 100.0% | 0.0% | 60.0% | 40.0% | 100.0% | 0.0%
TDSP H | 4 | 17 | 13 | 92.6% | 7.4% | 10.0% | 90.0% | 100.0% | 0.0%
TDSP L | N/A | 25 | 1 | N/A | N/A | 0.0% | 100.0% | 100.0% | 0.0%
TDSP V | 4 | 3 | 1 | 91.9% | 8.1% | 93.2% | 6.8% | 95.8% | 4.2%
TDSP K | 2 | 4 | 4 | 98.3% | 1.7% | 92.6% | 7.4% | 94.4% | 5.6%
TDSP E | 17 | 13 | 3 | 63.2% | 36.8% | 84.0% | 16.0% | 94.4% | 5.6%
TDSP N | 8 | 34 | 9 | 92.7% | 7.3% | 85.7% | 14.3% | 91.3% | 8.7%
TDSP J | 23 | 7 | 7 | 39.2% | 60.8% | 85.2% | 14.8% | 90.5% | 9.5%
TDSP F | 25 | 13 | 9 | 28.9% | 71.1% | 81.2% | 18.8% | 88.9% | 11.1%
TDSP A | 4 | 8 | 7 | 94.1% | 5.9% | 92.2% | 7.8% | 85.7% | 14.3%
Average | 11 | 13 | 7 | 78.4% | 21.6% | 82.8% | 17.2% | 84.8% | 15.2%
TDSP C | 9 | 10 | 5 | 91.4% | 8.6% | 89.3% | 10.7% | 84.8% | 15.2%
TDSP D | 29 | 17 | 21 | 29.2% | 70.8% | 66.7% | 33.3% | 46.2% | 53.8%
TDSP Q | 13 | 6 | 22 | 52.8% | 47.2% | 100.0% | 0.0% | 0.0% | 100.0%
TDSP G | N/A | 84 | 22 | N/A | N/A | 0.0% | 100.0% | 0.0% | 100.0%
*Indicates sorted by this column in lowest to highest order
2022 Values are as of 8/18/2022

## Slide 9: Annual Meter Test/Meter Reprogram – Resubmittals
Average Days to Receive |  |  |  | Percentage of documents submitted within protocol timeline |  |  |  |  | 
 |  |  |  | 2015-2020 Average |  | 2021 |  | 2022 | 
TDSP | 2015-2020 Average | 2021 | 2022 | ≤ 14 Days | > 14 Days | ≤ 14 Days | > 14 Days | ≤ 14 Days | > 14 Days*
TDSP W | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
TDSP G | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
TDSP L | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
TDSP T | 1 | N/A | N/A | 100.0% | 0.0% | N/A | N/A | N/A | N/A
TDSP Q | 4 | N/A | N/A | 100.0% | 0.0% | N/A | N/A | N/A | N/A
TDSP X | 11 | N/A | N/A | 90.9% | 9.1% | N/A | N/A | N/A | N/A
TDSP R | 8 | N/A | N/A | 88.9% | 11.1% | N/A | N/A | N/A | N/A
TDSP O | 9 | N/A | N/A | 50.0% | 50.0% | N/A | N/A | N/A | N/A
TDSP P | 1 | 3 | N/A | 100.0% | 0.0% | 100.0% | 0.0% | N/A | N/A
TDSP U | 43 | 8 | N/A | 46.2% | 53.8% | 100.0% | 0.0% | N/A | N/A
TDSP I | 31 | 43 | N/A | 64.3% | 35.7% | 71.4% | 28.6% | N/A | N/A
TDSP C | 29 | 21 | N/A | 69.7% | 30.3% | 66.7% | 33.3% | N/A | N/A
TDSP J | 96 | 69 | N/A | 41.2% | 58.8% | 66.7% | 33.3% | N/A | N/A
TDSP B | 5 | 42 | N/A | 100.0% | 0.0% | 0.0% | 100.0% | N/A | N/A
TDSP H | 8 | 72 | N/A | 83.3% | 16.7% | 0.0% | 100.0% | N/A | N/A
TDSP D | 39 | 45 | N/A | 51.4% | 48.6% | 0.0% | 100.0% | N/A | N/A
TDSP N | 132 | 477 | N/A | 27.9% | 72.1% | 0.0% | 100.0% | N/A | N/A
TDSP M | 23 | N/A | 1 | 73.9% | 26.1% | N/A | N/A | 100.0% | 0.0%
TDSP V | 10 | 7 | 0 | 81.4% | 18.6% | 90.0% | 10.0% | 100.0% | 0.0%
TDSP K | 16 | 14 | 4 | 91.7% | 8.3% | 66.7% | 33.3% | 100.0% | 0.0%
TDSP A | 73 | 12 | 0 | 66.7% | 33.3% | 50.0% | 50.0% | 100.0% | 0.0%
Average | 28 | 60 | 21 | 70.9% | 29.1% | 54.3% | 45.7% | 67.9% | 32.1%
TDSP E | 42 | 26 | 40 | 56.8% | 43.2% | 50.0% | 50.0% | 50.0% | 50.0%
TDSP S | 20 | 24 | 49 | 64.1% | 35.9% | 61.5% | 38.5% | 25.0% | 75.0%
TDSP F | 43 | 51 | 56 | 23.2% | 76.8% | 50.0% | 50.0% | 0.0% | 100.0%
*Indicates sorted by this column in lowest to highest order
2022 Values are as of 8/18/2022

## Slide 10: Site Certifications – Initial Submittals
Average Days to Receive |  |  |  | Percentage of documents submitted within protocol timeline |  |  |  |  | 
 |  |  |  | 2015-2020 Average |  | 2021 |  | 2022 | 
TDSP | 2015-2020 Average | 2021 | 2022 | ≤ 60 Days | > 60 Days | ≤ 60 Days | > 60 Days | ≤ 60 Days | > 60 Days*
TDSP O | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
TDSP Q | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
TDSP T | 12 | N/A | N/A | 100.0% | 0.0% | N/A | N/A | N/A | N/A
TDSP B | 40 | N/A | N/A | 100.0% | 0.0% | N/A | N/A | N/A | N/A
TDSP R | 13 | 13 | N/A | 94.4% | 5.6% | 100.0% | 0.0% | N/A | N/A
TDSP P | 23 | 16 | N/A | 84.6% | 15.4% | 100.0% | 0.0% | N/A | N/A
TDSP U | 86 | 41 | N/A | 50.0% | 50.0% | 66.7% | 33.3% | N/A | N/A
TDSP V | 34 | 37 | N/A | 85.1% | 14.9% | 62.5% | 37.5% | N/A | N/A
TDSP K | 16 | 22 | 2 | 89.3% | 10.7% | 92.3% | 7.7% | 100.0% | 0.0%
TDSP I | 22 | 29 | 1 | 91.9% | 8.1% | 73.7% | 26.3% | 100.0% | 0.0%
TDSP D | 28 | 26 | 22 | 82.1% | 17.9% | 66.7% | 33.3% | 100.0% | 0.0%
TDSP N | 127 | 233 | 18 | 52.4% | 47.6% | 50.0% | 50.0% | 100.0% | 0.0%
TDSP C | 44 | 40 | 26 | 76.7% | 23.3% | 85.7% | 14.3% | 94.4% | 5.6%
TDSP S | 30 | 21 | 16 | 91.0% | 9.0% | 83.3% | 16.7% | 90.9% | 9.1%
TDSP M | 14 | 3 | 15 | 95.0% | 5.0% | 100.0% | 0.0% | 80.0% | 20.0%
TDSP H | 30 | 26 | 50 | 88.9% | 11.1% | 84.6% | 15.4% | 75.0% | 25.0%
TDSP E | 46 | 87 | 44 | 67.9% | 32.1% | 56.5% | 43.5% | 75.0% | 25.0%
Average | 36 | 42 | 40 | 83.2% | 16.8% | 77.9% | 22.1% | 72.4% | 27.6%
TDSP W | 8 | 2 | 29 | 100.0% | 0.0% | 100.0% | 0.0% | 66.7% | 33.3%
TDSP X | 26 | 32 | 47 | 88.5% | 11.5% | 66.7% | 33.3% | 66.7% | 33.3%
TDSP J | 65 | 39 | 51 | 58.6% | 41.4% | 68.8% | 31.3% | 61.1% | 38.9%
TDSP F | 52 | 71 | 74 | 73.8% | 26.2% | 55.9% | 44.1% | 58.1% | 41.9%
TDSP A | 14 | 0 | 46 | 94.3% | 5.7% | 100.0% | 0.0% | 50.0% | 50.0%
TDSP G | N/A | N/A | 77 | N/A | N/A | N/A | N/A | 40.9% | 59.1%
TDSP L | N/A | 55 | 124 | N/A | N/A | 66.7% | 33.3% | 0.0% | 100.0%
*Indicates sorted by this column in lowest to highest order
2022 Values are as of 8/18/2022

## Slide 11: Site Certifications – Resubmittals
Average Days to Receive |  |  |  | Percentage of documents submitted within protocol timeline |  |  |  |  | 
 |  |  |  | 2015-2020 Average |  | 2021 |  | 2022 | 
TDSP | 2015-2020 Average | 2021 | 2022 | ≤ 60 Days | > 60 Days | ≤ 60 Days | > 60 Days | ≤ 60 Days | > 60 Days*
TDSP O | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
TDSP Q | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
TDSP T | 12 | N/A | N/A | 100.0% | 0.0% | N/A | N/A | N/A | N/A
TDSP B | 40 | N/A | N/A | 100.0% | 0.0% | N/A | N/A | N/A | N/A
TDSP R | 13 | 13 | N/A | 94.4% | 5.6% | 100.0% | 0.0% | N/A | N/A
TDSP P | 23 | 16 | N/A | 84.6% | 15.4% | 100.0% | 0.0% | N/A | N/A
TDSP U | 86 | 41 | N/A | 50.0% | 50.0% | 66.7% | 33.3% | N/A | N/A
TDSP V | 34 | 37 | N/A | 85.1% | 14.9% | 62.5% | 37.5% | N/A | N/A
TDSP G | N/A | N/A | 4 | N/A | N/A | N/A | N/A | 100.0% | 0.0%
TDSP W | 8 | 2 | 10 | 100.0% | 0.0% | 100.0% | 0.0% | 100.0% | 0.0%
TDSP M | 14 | 3 | 0 | 95.0% | 5.0% | 100.0% | 0.0% | 100.0% | 0.0%
TDSP A | 14 | 0 | 13 | 94.3% | 5.7% | 100.0% | 0.0% | 100.0% | 0.0%
TDSP I | 27 | 9 | 2 | 89.1% | 10.9% | 100.0% | 0.0% | 100.0% | 0.0%
TDSP K | 16 | 22 | 2 | 89.3% | 10.7% | 92.3% | 7.7% | 100.0% | 0.0%
TDSP S | 30 | 17 | 5 | 91.0% | 9.0% | 90.9% | 9.1% | 100.0% | 0.0%
TDSP J | 66 | 39 | 13 | 58.6% | 41.4% | 68.8% | 31.3% | 100.0% | 0.0%
TDSP X | 26 | 32 | 5 | 88.5% | 11.5% | 66.7% | 33.3% | 100.0% | 0.0%
TDSP D | 28 | 26 | 24 | 82.1% | 17.9% | 66.7% | 33.3% | 100.0% | 0.0%
TDSP N | 128 | 119 | 3 | 53.7% | 46.3% | 66.7% | 33.3% | 100.0% | 0.0%
TDSP E | 41 | 67 | 54 | 72.0% | 28.0% | 65.0% | 35.0% | 100.0% | 0.0%
TDSP C | 44 | 40 | 22 | 76.7% | 23.3% | 85.7% | 14.3% | 96.0% | 4.0%
Average | 37 | 33 | 23 | 83.3% | 16.7% | 81.3% | 18.7% | 89.7% | 10.3%
TDSP F | 53 | 62 | 34 | 73.4% | 26.6% | 60.9% | 39.1% | 88.9% | 11.1%
TDSP H | 30 | 24 | 79 | 88.9% | 11.1% | 84.6% | 15.4% | 50.0% | 50.0%
TDSP L | N/A | 55 | 106 | N/A | N/A | 66.7% | 33.3% | 0.0% | 100.0%
*Indicates sorted by this column in lowest to highest order
2022 Values are as of 8/18/2022

## Slide 12: Follow-up Count Averages
Site Certification Follow-up Count Averages |  |  | 
TDSP | 2015-2020 Average | 2021 | 2022*
TDSP B | 0 | 0 | 0
TDSP O | 0 | 0 | 0
TDSP Q | 0 | 0 | 0
TDSP R | 0.04 | 0 | 0
TDSP A | 0.1 | 0 | 0
TDSP T | 0.11 | 0 | 0
TDSP X | 0.11 | 0 | 0
TDSP V | 0.38 | 0 | 0
TDSP U | 1.32 | 0 | 0
TDSP W | 0 | 0.14 | 0
TDSP P | 0.39 | 0.2 | 0
TDSP H | 0.35 | 0.38 | 0
TDSP K | 0.19 | 0.4 | 0
TDSP I | 0.31 | 0.04 | 0.04
TDSP J | 0.95 | 0.94 | 0.1
TDSP M | 0.09 | 0 | 0.25
TDSP S | 0.21 | 0.22 | 0.25
Average | 0.42 | 0.48 | 0.37
TDSP D | 0.26 | 1.5 | 0.5
TDSP C | 0.39 | 0.34 | 0.52
TDSP E | 1.06 | 0.9 | 0.86
TDSP G | 0 | 1 | 1
TDSP F | 0.45 | 0.56 | 1.06
TDSP N | 2.46 | 2.82 | 1.2
TDSP L | 1 | 2 | 3
*Indicates sorted by this column in lowest to highest order
Annual Test/Reprogram Follow-up Count Averages |  |  | 
TDSP | 2015-2020 Average | 2021 | 2022*
TDSP G | 0 | 0 | 0
TDSP L | 0 | 0 | 0
TDSP O | 0 | 0 | 0
TDSP P | 0 | 0 | 0
TDSP Q | 0 | 0 | 0
TDSP T | 0 | 0 | 0
TDSP W | 0 | 0 | 0
TDSP X | 0.01 | 0 | 0
TDSP R | 0.05 | 0 | 0
TDSP M | 0.07 | 0 | 0
TDSP U | 0.34 | 0 | 0
TDSP V | 0.04 | 0.02 | 0
TDSP K | 0.03 | 0.04 | 0
TDSP D | 0.14 | 0.06 | 0
TDSP A | 0.05 | 0.1 | 0
TDSP I | 0.05 | 0.16 | 0
TDSP H | 0.03 | 0.22 | 0
TDSP B | 0 | 0.5 | 0
TDSP S | 0.01 | 0.03 | 0.03
Average | 0.1 | 0.47 | 0.13
TDSP C | 0.06 | 0.08 | 0.19
TDSP F | 0.12 | 0.06 | 0.21
TDSP J | 0.4 | 0.81 | 0.33
TDSP E | 0.08 | 0.12 | 0.44
TDSP N | 0.97 | 9.11 | 2
2022 Values are as of 8/18/2022