## Slide 1
Generation Resource Energy and Regulation Deployment Performance Report for July 2022

## Slide 2: Non-IRR GREDP < 85% – July 2022
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 97 | 3,544 | 4,424 | 11.30 | 80.11
Unit 163 | 475 | 562 | 2.17 | 84.52

## Slide 3: IRR Summary – July 2022
IRR | Fleet | < 95% | > 100 INT, < 95%
GREDP Average (%) | 87.34 | 71.80 | 84.44
GREDP Median (%) | 98.15 | 80.00 | 88.59
Average MW Error | 5.10 | 5.37 | 5.36
Median MW Error | 4.48 | 4.50 | 4.99
Total Intervals Scored | 29,490 | 17,924 | 16,972
100+ Intervals Scored | 39 | 257 | 21
Total Intervals Scored Average | 99.63 | 242.22 | 808.19

## Slide 4: IRR ≥ 95%, ≥ 100 Scored Intervals – July 2022
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 2 | 2,222 | 2,258 | 3.36 | 98.41
Unit 7 | 1,479 | 1,481 | 5.53 | 99.86
Unit 8 | 1,290 | 1,352 | 3.65 | 95.41
Unit 9 | 1,292 | 1,293 | 10.04 | 99.92
Unit 12 | 944 | 969 | 5.50 | 97.42
Unit 14 | 768 | 781 | 10.22 | 98.34
Unit 17 | 575 | 584 | 14.94 | 98.46
Unit 22 | 307 | 309 | 8.15 | 99.35
Unit 23 | 275 | 275 | 6.32 | 100.00
Unit 25 | 223 | 224 | 8.20 | 99.55
Unit 26 | 212 | 212 | 6.90 | 100.00
Unit 27 | 187 | 190 | 16.13 | 98.42
Unit 28 | 183 | 183 | 3.75 | 100.00
Unit 29 | 137 | 140 | 5.46 | 97.86
Unit 31 | 138 | 139 | 3.40 | 99.28
Unit 32 | 133 | 136 | 5.23 | 97.79
Unit 33 | 124 | 128 | 4.93 | 96.88
Unit 34 | 118 | 120 | 3.35 | 98.33

## Slide 5: IRR < 95%, ≥ 100 Scored Intervals – July 2022
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 1 | 2,496 | 2,830 | 3.64 | 88.20
Unit 3 | 2,002 | 2,117 | 5.77 | 94.57
Unit 4 | 1,305 | 1,753 | 2.54 | 74.44
Unit 5 | 1,516 | 1,675 | 4.05 | 90.51
Unit 6 | 1,351 | 1,525 | 7.90 | 88.59
Unit 10 | 1,073 | 1,272 | 4.99 | 84.36
Unit 11 | 1,096 | 1,177 | 3.45 | 93.12
Unit 13 | 704 | 839 | 11.15 | 83.91
Unit 15 | 461 | 617 | 8.32 | 74.72
Unit 16 | 539 | 587 | 10.78 | 91.82
Unit 18 | 545 | 581 | 5.33 | 93.80
Unit 19 | 312 | 372 | 6.25 | 83.87
Unit 20 | 314 | 363 | 2.01 | 86.50
Unit 21 | 282 | 312 | 6.38 | 90.38
Unit 24 | 214 | 246 | 4.33 | 86.99
Unit 30 | 124 | 139 | 2.96 | 89.21
Unit 35 | 107 | 118 | 7.33 | 90.68
Unit 36 | 105 | 118 | 5.68 | 88.98
Unit 37 | 34 | 115 | 3.57 | 29.57
Unit 38 | 101 | 113 | 3.87 | 89.38

## Slide 6: IRR < 95%, ≥ 100 Scored Intervals – July 2022
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 39 | 82 | 103 | 2.19 | 79.61