## Slide 1
2022 Wind and Solar Profiles Update
Evan Neel
August 29, 2022

## Slide 2: Wind and Solar Profiles Background
UL produces wind and solar profiles for ERCOT on an annual basis covering weather years 1980-present
The categories of profiles are:
  Operational and hypothetical utility-scale wind
  Operational and hypothetical utility-scale solar PV
  Metro and rural potential distributed generation solar PV (No DG profiles this year)
The profiles are posted to the Resource Adequacy page under Historical Data: http://www.ercot.com/gridinfo/resource

## Slide 3: 2022 Profiles Overview
Utilized Weather Research and Forecasting (WRF) model and ERA5 reanalysis dataset
  Overview of ERA5: https://www.ecmwf.int/en/forecasts/datasets/reanalysis-datasets/era5
Profile creation used significantly more site details and operational data than previous years
  Several updates were made to previously modeled sites that went through recent repowers
67.65 GW of modeled generation
  38 GW of operational wind (213/58 total/new sites)
  22.2 GW of operational utility-scale solar (164/103 total/new sites)
  7.45 GW of hypothetical utility-scale solar (149/10 total/new sites)

## Slide 4: 2022 Profiles Status
All profiles have been internally validated and the final review between ERCOT and the vendor is complete.
Memo describing the profile creation process and a summary of the results is currently being prepared.
Once completed, profiles will be posted on the ERCOT website and an announcement will be sent to the SAWG mailing list.

## Slide 5: 2023 Profiles Process Improvements
Several potential steps have already been identified to improve the profile creation process for 2023.
  ERCOT is working with the vendor to identify site specific details that have the most significant impact on profile results. This will allow ERCOT to prioritize the delivery/accuracy of these items, expediting the process.
  Exploring better modeling solutions for extreme weather events like icing.
  Evaluating the feasibility of more granular profile data to further improve solar profiles in low-light hours.

## Slide 6: Questions?