| NOGRR Number | 215 | NOGRR Title | Limit Use of Remedial Action Schemes |
| --- | --- | --- | --- |

| Date | August 31, 2022 |
| --- | --- |

| Submitter’s Information |  |
| --- | --- |
| Name | Andy Nguyen, Ian Haley |
| E-mail Address | Andy.Nguyen@lcra.org, Ian.Haley@VistraCorp.com |
| Company | Lower Colorado River Authority, Luminant Generation Company LLC |
| Phone Number | 512-578-2003, 512-673-9655 |
| Cell Number |  |
| Market Segment | Cooperative, Independent Generator |

Comments

Since ERCOT staff first sought to renew discussions on Nodal Operating Guide Revision Request (NOGRR) 215, Limit Use of Remedial Action Schemes, in May 2022, Joint Commenters have been working with stakeholders and ERCOT Staff on a proposal to add transparency and predictability to ERCOT’s review of new and modified Remedial Action Scheme (RAS) proposals.  Joint Commenters continue to believe that the RAS is an important reliability tool and can be implemented and managed in a manner that addresses ERCOT’s concerns.  Although stakeholders and ERCOT Staff have not yet been able to reach an agreement regarding procedural modifications to ERCOT’s original NOGRR, we are still working to bring forward a compromise for ERCOT’s consideration and would appreciate stakeholders continuing to allow NOGRR215 to be tabled while that work is underway.

Revised Cover Page Language

None

Revised Proposed Guide Language

None