**NDSWG Report to ROS**

**September 2022**

**Chair: Kenesha King, Vice-Chair: Aniruddha Khedlekar (AK)**

**NDSWG last met on August 16, 2022 (WebEx)**

**Discussion/Review Items:**

**NMMS Project Update**

* Presented by Joel Koepke
* Upgrade of SGEM
* This upgrade is intended to resolve diagram and ownership issues
* New NMMS cutover October/November 2022
* Functionality review will be provided during the September meeting
* CIM Schema Upgrade to CIM16 on the horizon, tentative completion is Q4 2024
* CIM10 Models or Incremental files will not be available after cutover to CIM16 is complete
* A copy of the CIM16 model is posted in the ECEII NMMS Posting Folder

**DPC Implementation**

* Presented by Joel Koepke
* ERCOT is proposing that the implementation of DPCs can be delayed for up to 48 hours if communicated with ERCOT Control Room staff.
* DPCs cannot be delayed across database loads.
* DPCs submitted for Friday implementation cannot be delayed until Monday due the to 48 hour hold policy
* Please note that ratings and impedance DPCs are not impacted by this proposal

**ICCP Handbook**

* Presented by Joel Koepke
* Progress is being made in the revision of the ICCP Handbook
* Completed task are:
* Find all references of the ICCP Handbook within NOG
* Determine the requirements made within the NOG in reference to the Handbook
* In Progress task is:
* Determine corresponding sections within the ICCP Handbook

Next NDSWG meeting will be held on September 20, 2022