## Slide 1: Operations Working Group
Chair- Rickey Floyd
Vice-Chair- Shawn McCreary
HITE List Sub-Chair – Pushkar Chhajed
09/01/2022

## Slide 2: NOGRR215 – Limited Use of RAS
Stakeholders will continue discussions with ERCOT on possible alternatives
ERCOT is reviewing comments filed by stakeholders
Tabled at OWG

## Slide 3: NOGRR226 - Revision to 5% Transmission Operator (TO) Load Shedding Relay Set Point
Comments were filled and reviewed by OWG that included the Anti-stall/Kicker UFLS at 59.5
OWG endorses 8/17/2022 joint comments
Frequency Threshold | TO Load Relief | Delay to Trip
59.5 Hz | At least 1.5% of the TO Load | 90 seconds
59.5 Hz | A total of at least 3.0% of the TO Load | 120 seconds
59.5 Hz | A total of at least 4.5% of the TO Load | 150 seconds

## Slide 4: NPRR1132 and RGRR032 - Communicate Operating Limitations during Cold and Hot Weather Conditions
ERCOT received information from RFI sent to stakeholders
New comments are expected to be filed for discussion
Tabled

## Slide 5: NPRR1138 Communication of Capability and Status of Online IRRs at 0 MW Output
ERCOT gave a presentation showing the purpose of the NPRR
  Voltage contingencies not being properly identified
Tabled at OWG pending further discussion and comment

## Slide 6: NPRR1070 Planning Criteria for GTC Exit Solutions
Table at OWG pending PUCT ruling

## Slide 7: MTE/HITE List Review
The MTE list was reviewed by OWG
Each T.O. presented their recommendations for removals from the list
There were a few changes to the list identified that were updated by ERCOT
There were no additions to the MTE list
OWG reached consensus and recommends approval from ROS on the updated MTE list
OWG Sub-chair for MTE list has accepted a position with another company within ERCOT. OWG chair request ROS to approve Pushkar Chhajed to continue role as Sub-chair.