## Info
Header Information
TDSP | Operator of the Major Transmission Element.
Major Transmission Element (MTE) | Transmission Element which was, or scheduled to be, on outage and has been associated with one or more high congestion(s).
Equip. Type | Equipment Type of the MTE.
kV | Voltage Level of the MTE. High-side voltage for transformers
Congestion Year/Month | Year and Month the associated congestion occurred.
Contingency | Contingency associated with the MTE.
Overload | Overload associated with the MTE.
Source | Source of the information: RT = Based on historical Real-Time congestion, ST = Based on Outage Coordination Studies. ADD = Addition Requests (both Private and Public)
Outage Type | Outage Type is categorized to be either Planned (PL) and Forced (FR, FE, UE, M1, M2, M3)
Cancel | Outage(s) for the specific MTE was Cancelled, Rejected, or Withdrawn.
Removal Requestor | Stakeholder who is requesting to remove the MTE from the list (Organization)
Addition Requestor | Stakeholder who is requesting to add the MTE from the list (Organization)
Reason for Addition | Justification for adding the MTE to the list. Details of the specific scenarios that the MTE may cause high congestion, including but not limited to: 1. ERCOT Load Level: Peak, Off-Peak (or 35GW, 70GW, etc). 2. Any specific regional load condition: High Houston Load, etc. 3. Wind Generation Level: High, Mid, Low, or N/A. 4. Solar Geneartion Level: High, Mid, Low, or N/A. 5. Any specific abnormal transmission equipment status: i.e. 345 kV line from A to B out-of-service, etc. 6. For Private Submissions, any specific generator output level: i.e. Resource A at 300 MW or above, etc. 7. (Optional) PSSE or PowerWorld case if available.
Reason for Removal | Justification for removing the MTE from the list. Usually entails a Transmission Upgrade Project.
OCITF Consensus | Consensus after OCITF meetings.
Decision | Final (TAC) Decision of the Addition/Removal Request for Non-Consensus items.
Discussion Items | Any other information that stakeholder(s) want to discuss during the OCITF meetings.

## MTE(2022)
TDSP | Major Transmission Element (MTE) | Equip. Type | kV | Congestion Year/Month | Contingency | Overload | Source | Outage Type | Cancel | Removal Requestor | Reason for Removal | OCITF Consensus | Decision | Discussion Items | From Acronym | To Acronym | ERCOT Equip Name | ERCOT Contingency ID
CNPE | Addicks - TH Wharton | LN | 345 | 22/4 | Roans Prairie - Singleton 345 kV & Singleton - Tomball 345 kV | TH Wharton - Zenith 345 kV | RT | Planned | [6 empty] | THW | ADK | ADKTHW71A | SADKTHW5
AEP | Air Liquide Ingleside - … - Dupont Switch - Ingleside & Oxychem Ingleside | LN | 138 | 18/1, 17/8, 16/4 | Dupont Pp1 Ingleside to Ingleside Cogen Sw 138 kV (3A), Lon Hill to Coleto Creek 345 kV, Dupont Sw - Ingleside to Ingleside Cogen Sw 138 Kv | Duppont Pp1 Ingleside - Duppont Sw Ingleside 138 kV, Lon Hill - Pawnee Switching Station 345 kV, Dupont Pp1 - Ingleside to Dupont Sw - Ingleside 138 kV | ST, RT | Planned, Forced | [6 empty] | ALIQUING | ALIQUSW | ALIQUI_ALIQUS1 | SALII_D8
AEP | Airline AEP - … - Westside AEP | LN | 138 | 21/2, 20/3 | Gila-…-Whitpoint 138 kV, Holly to Westside AEP 138 kV | Nueces Bay-Whitepoint 138 kV , Arcadia - Southside 138 kV | RT | Planned | [6 empty] | AIRLINE, CABANISS | CABANISS, WESTSIDE | AIRLIN_CABANI11, CABANI_WESTSI1 | SCABWES8
AEP | Ajo - … - Rio Hondo | LN | 345 | 17/2, 16/2 | DCKT Lon Hill to North Edinburg 345 kV & Orange Grove Sw 138 kV | Celanese Bishop - Nelson Sharpe 138 kV, Lon Hill - Bessel 138 kV | ST | Planned | [6 empty] | AJO | MAGICVAL | AJO_MAGICV1 | SAJORI25
AEP | Ajo - Cebolla | LN | 345 | 22/3 | Fowlerton - Lobo 345 kV | North Laredo Switch - Piloncillo Ranch 138 kV | RT | Planned | [6 empty] | CEBOLLA | AJO | AJO_CEBOLL1 | SAJOCEB5
AEP | Ajo … Bruennings Breeze | LN | 345 | 22/4, 22/3 | Lon Hill - North Edinburg 345 kV & Lon Hill - Orange Grove Switching Station 138 kV, Lon Hill - North Edinburg - Bonilla - El Trueno Wind Farm 345 kV & Primera-…- Rio Hondo 138 kV, Lon Hill - Nelson Sharpe 345 kV | Falfurrias - Premont 69 kV, Burns Sub - Rio Hondo 138 kV, Las Pulgas - Raymondville 2 138 kV, Celanese Bishop - Kleberg Aep 138 kV | RT | Forced, Planned | [6 empty] | CEBOLLA | AJO | AJO_CEBOLL1 | SAJOCEB5
TNMP | Alvin TNP - Mainland TNP | LN | 138 | 21/11 | Meadow - Ph Robinson 345 kV | Magnolia Tnp - Seminole Tnp 138 kV | RT | Planned | [6 empty] | MAINLAND | ALVIN | 138_ALV_MNL | SALVMAI8
AEP, CNPE | Angstrom - South Texas Project | LN | 345 | 18/3, 18/1, 17/12, 17/11, 17/9 | Lon Hill to Coleto Creek 345 kV, DCKT San Miguel Gen to Elmcreek 345 kV, DCKT Haisley to Warburton Road Switching Station 138 kV & Lon Hill to Coleto Creek 345 kV, San Miguel Auto 345_138 kV Switchyards Trx SANMGL8_3_1 345/138 kV, Dyann to Wharton 138 kV, Danevang Switching Station to Blessing 138 kV | Lon Hill - Pawnee Switching Station 345 kV, Pawnee Switching Station - Calaveras 345 kV, Blessing Auto 69A1 138/69 kV, El_Campo - Lane City Pump 138 kV | RT | Forced | [6 empty] | WHITE_PT | STP | STPZWP39 | SWHISTP5
ONCOR | Anna Switch - Cedar Elm Switch | LN | 345 | 22/3 | Krum West Switch - Lewisville Switch 345 kV & Lewisville Switch - Roanoke Switch 345 kV | Argyle - Highlands Tnp 138 kV | RT | Planned | [6 empty] | CDESW | ANASW | 38025_A | SCDEANA5
ONCOR | Anna Switch - Krum West Switch | LN | 345 | 22/3, 21/12 | Krum West Switch - Lewisville Switch 345 kV & Lewisville Switch - Roanoke Switch 345 kV | Argyle - Highlands Tnp 138 kV | RT | Planned | [6 empty] | KRWSW | ANASW | 38010_A | SANAKR15
AEP | Aransas Pass - Gregory | LN | 69 | 21/6 | Rincon Auto 69A1 138/69 kV | Whitepoint 138_69A1 138/69 kV | RT | Planned | [6 empty] | ARANSASP | GREGORY | ARANSA_GREGOR1 | SGREAR29
AEP | Armstrong Aep - … - Raymondville 2 | LN | 138 | 21/1, 16/3 | Lon Hill-Nelson Sharpe 138 kV, Valley Import | Celanese Bishop - Kleberg AEP , N/A | RT | Planned, Forced | [6 empty] | RAYMND2, ARMSTRON | MV_YUTT, MV_YUTT | MV_YUT_RAYMND1, ARMSTR_MV_YUT1 | SARMRA38
AEP | Asherton - Bevo | LN | 138 | 15/11 | Basecase | Low Voltage from Dimmit to DC Eagle Pass | ST | Forced | [6 empty] | BEVO | ASHERTON | 603T603 | SBEVASH8
ONCOR | Austrop - Sandow Switch (440) | LN | 345 | 22/4 | Hutto Switch - Zorn 345 kV & Hutto Switch - Gilleland Creek 345 kV, AEN Gilleland Creek - Techridge 138 kV | Round Rock - Round Rock Northeast 138 kV (1661_A), Gilleland Creek - Mcneil 138 kV | RT | Planned | [6 empty] | SNDSW | AUSTRO | 440 | SSNDAU15
ONCOR | Austrop - Sandow Switch (450) | LN | 345 | 22/4 | Hutto Switch - Zorn 345 kV & Hutto Switch - Gilleland Creek 345 kV, AEN Gilleland Creek - Techridge 138 kV | Round Rock - Round Rock Northeast 138 kV (1661_A), Gilleland Creek - Mcneil 138 kV | RT | Planned | [6 empty] | SNDSW | AUSTRO | 450 | SSNDAUS5
CNPE | Bailey - Hillje | LN | 345 | 22/4 | Jones Creek - Refuge 345 kV & Jones Creek - South Texas Project 345 kV | Blessing - Pavlov 138 kV | RT | Planned | [6 empty] | BLY | HLJ | BLYHLJ72A | SHLJBLY5
LCRA, STEC | Bakersfield - Cedar Canyon | LN | 345 | 22/4 | Midessa South Sw - Odessa EHV Switch 345 kV & Morgan Creek Ses -…- Quail Switch 345 kV, Longshore Switch - Midessa South Sw 345 kV & Morgan Creek Ses-…-Quail Switch 345 kV, Moss Switch - Odessa EHV Switch 345 kV & Odessa EHV Switch - Wolf Switching Station 345 kV | Midessa South SW AXFMR1 345/138 kV, Dewey Lake Tap - Polecat Creek Switch 138 kV, Falcon Seaboard - Morgan Creek Ses 345 kV, Odessa - Odessa North 138 kV | RT | Planned | [6 empty] | CEDACA | BAKESW | BAKRFLD_CEDCAN | SBAKSCH5
GAR, LCRA | Bakersfield - Nevill Road Switch | LN | 345 | 22/4 | Moss Switch - Odessa EHV Switch 345 kV & Odessa EHV Switch - Wolf Switching Station 345 kV | Odessa - Odessa North 138 kV | RT | Planned | [6 empty] | NEVILLSW | BAKESW | NEVILL_BAKESW1 | SBAKNOR5
CNPE | Baytown - Miller | LN | 138 | 21/2 | DCKT Chambers-King & Chambers Jordan-North Belt 345 kV | Exxon - Lynch 138 kV | RT | Forced | [6 empty] | BT | MLR | BT_MLR88A | SBTMLR8
CNPE | Bellaire - Jeanette | LN | 345 | 21/9 | Bellaire - Smithers 345 kV & Bellaire - WA Parish 345 kV | Bellaire - Sharpstown 138 kV | RT | Planned | [6 empty] | BI | JN | BI_JN_64A | SBIJN5
CNPE | Bellaire - Kirby | LN | 138 | 21/10 | Eastside - Polk 138 kV | Downtown - Polk 138 kV | RT | Planned | [6 empty] | BI | KB | BI_KB_37A | SKBBI8
CNPE | Bellaire - Smithers (BI_SMR98) | LN | 345 | 22/1, 19/7 | DCKT Wa Parish to Jeanetta 345 kV | Bellaire - Wa Parish 345 kV | RT | Forced | [6 empty] | BI | SMITHERS | BI_SMR98 | SBISMI5
ONCOR | Benbrook Switch - Parker Switch | LN | 345 | 21/10 | Comanche Peak Ses - Mitchell Bend Switch 345 kV & Comanche Peak Ses - Wolf Hollow 345 Switch 345 kV, DBCKT Comanche Peak Ses - Parker Switch 345 kV | Benbrook Switch - Parker Switch 345 kV (6042_A) | RT | Planned | [6 empty] | BNBSW | PKRSW | 6005_A | SBNBPKR5
ONCOR | Benbrook Swith - … - Timberview Switch | LN | 345 | 20/10, 19/11, 17/3, 17/2 | DCKT Wedgewood Sw - Benbrook Switch 138 kV, DCKT Timberview Switch - Comanche Peak SES & Carmichael Bend Switch 345 KV | Hemphill - Mistletoe Heights 138 kV | RT | Planned, Forced | N | [5 empty] | BNBSW | SYCRK | 6000_A | SSYCEV25
LCRA | Bergheim - Hays Energy | LN | 345 | 21/10 | Cagnon - Kendall 345 kV & Cico - Menger Creek 138 kV, Cagnon - Kendall 345 kV & Cico - Comfort 138 kV | Medina Lake - Pipe Creek 138 kV, Bergeim - Kendall 345 kV, Bergheim AT1 345/138kV | RT | Forced | [6 empty] | BERGHE | HAYSEN | 398T3891 | SHAYBER5
LCRA | Bergheim - Kendall | LN | 345 | 20/12 | DCKT Cagnon-Kendall 345 kV & Cico-Comfort 138 kV, Zorn - Haysen 345KV | Mason Creek - Bandera 138 kV, Bergheim Auto | RT | Planned | N | [5 empty] | BERGHE | KENDAL | 656T6561 | SKENBER5
AEP | Bessel - Lon Hill | LN | 138 | 22/3 | Fowlerton - Lobo 345 kV | Falfurrias - Premont 69 kV | RT | Planned | [6 empty] | BESSEL | LON_HILL | BESSEL_LON_HI1 | SBESLON8
STEC | Bevo Auto BEVO 138/69 kV | XF | 138 | 15/6 | Bevo Sub to Asherton 138 kV | Hamilton Road - Maverick 138 kV | RT | Planned | [6 empty] | BEVO |  | BEVO | XBEV89
ONCOR | Big Spring Switch -…- Natural Dam | LN | 138 | 21/11, 21/10 | Grady - Brown 138 kV, Longshore Switch - Midessa South Sw 345 kV & Morgan Creek Ses-…-Quail Switch 345 kV | Big Spring West - Stanton East 138 kV | RT | Planned | [6 empty] | BSPSW | BEALS | 6315_A | SSTABS18
AEP | Big Three - … - Bp Chem Vistron4 | LN | 138 | 17/6 | DCKT Victoria to Victoria Dupont Sw & Victoria Dupont Sw to Victoria 138 kV | Formosa - Lolita 138 kV | RT | Planned, Forced | [6 empty] | BIGTRE | BLCBAYU4 | BIGTRE_BLCBAY1 | SBIGVIS8
AEP, STEC | Blessing - Danevang Switching Station | LN | 138 | 17/5 | DCKT Victoria to Victoria Dupont Sw & Victoria Dupont Sw to Victoria 138 kV | Formosa - Lolita 138 kV | RT | Planned | [6 empty] | DANEVA | BLESSING | DANEVANG | SDANBLE8
AEP | Blessing - Stp Switch | LN | 138 | 18/1 | Lane City to Blessing 138 kV | El_Campo - Lane City Pump 138 kV | RT | Forced | [6 empty] | BLESSING | STP | BLESSI_STPSW1 | SBAYBLE8
AEP | Blessing Auto 1382 345/138 kV | XF | 345 | 18/12 | Lane City - South Lane City 138 kV | Franklins Camp Sub - Sargent Sub 69 kV | RT | Planned, Forced | [6 empty] | BLESSING |  | 345_1382 | XBLE89
AEP | Blessing Auto 69A1 138/69 kV | XF | 138 | 17/12, 17/10 | Coleto Creek to Victoria 138 kV, DCKT San Miguel Gen to Elmcreek 345 kV, San Miguel Auto 345_138 kV Switchyards Trx SANMGL8_3_1 | Coleto Creek - Victoria 138 kV, Pawnee Switching Station - Calaveras 345 kV, San Miguel Auto ATAH 345/138 KV | RT | Planned | [6 empty] | BLESSING |  | 1382 | XBLE58
AEP, ONCOR | Bowman Switch - Riley (34570) | LN | 345 | 21/3 | DCKT Clear Crossing-Coulomb & Clear Crossing-Smoky Hill 345 kV | Fisher Road Switch - Riley 345 kV | RT | Planned | N | [5 empty] | RILEY | BOMSW | 34570_A | SBOMRI25
ONCOR, ETT | Bowman Switch -…- Riley (34560) | LN | 345 | 21/3 | DCKT Clear Crossing-Coulomb & Clear Crossing-Smoky Hill 345 kV | Fisher Road Switch - Riley 345 kV | RT | Planned | N,Y | [5 empty] | RILEY | BOMSW | 34560_A | SBOMRI15
AEP | Brackettville - … - Hamilton Road | LN | 138 | 18/4 | DCKT Big Hill to Kendall 345 kV | Hamilton Road - Maverick 138 kV | RT | Planned | [6 empty] | HAMILTON | PINTCR | 464T464 | SBRAHAM8
CPS | Braunig - Calaveras | LN | 345 | 21/1 | DCKT Skyline-Calaveras 345 kV | Cagnon - Calaveras 345 kV | RT | Planned | N | [5 empty] | CALAVERS | BRAUNIG | N5_U31 | SBRACAL5
ONCOR | Brown Switch - Killeen Switch | LN | 345 | 21/6, 20/12 | Comanche Sw (Oncor)-Comanche Peak 345 kV | Comanche Tap - Comanche Switch (oncor) 138 kV | RT | Planned | N | [5 empty] | BWNSW | KLNSW | 35090_A | SKLNBWN5
ONCOR | Brownwood - … - Brownwood Switch | LN | 138 | 17/5, 17/4, 17/3, 17/2 | Mercers Gap Sw to Comanche Sw (Oncor) 138 kV | Holder Auto FMR1 138/69 kV | RT, ST | Planned | [6 empty] | BRNSO | BRNWD | 670_A | SBRNCMP8
AEP | Bruni - Crestonio | LN | 138 | 15/6, 15/5 | Laquinta to Lobo 138 kV | Bruni Auto 69_1 138/69 kV | ST | Planned | Y, N | [5 empty] | BRUNI4 | CRESTONI | BRUNI4_CRESTO1 | SCREBRU8
TMPA | Btu_Jack_Creek - Gibbons Creek | LN | 345 | 17/4, 16/1 | DCKT Jewett to Singleton 345 kV | Gibbons Creek - Twin Oak Sw 345 kV, BTU_Jack_Creek Auto XF1 345/138 kV | RT, ST | Planned | Y | [5 empty] | GIBCRK | JK_CK | GC_JK | SJK_GIB5
CNPE | Bunker - H O Clarke | LN | 138 | 21/9 | Meadow - Oasis 345 kV | Blodgett - Garrott 138 kV | RT | Planned | [6 empty] | BUN | HOC | BUNHOC08 | SBUNHO28
ONCOR | Burwick Switching Station - Graham SES | LN | 345 | 21/10 | DBCKT Graham Ses - Parker Switch 345 kV | Barton Chapel Wind Farm - Graham Switch 138 kV, Barton Chapel Wind Farm - Oran Sub 138 kV | RT | Planned | [6 empty] | BURSW | GRSES | 36030_A | SGRSJC25
CPS | Cagnon - Calaveras | LN | 345 | 17/8 | DCKT Calaveras to Skyline 345 kV | Braunig - Cagnon 345 kV | RT | Forced | [6 empty] | CALAVERS | CAGNON | N5_R5 | SCAGCA25
CPS | Calaveras - Skyline (N5_P4_1) | LN | 345 | 22/4, 22/3, 17/12, 17/5 | DCKT Cagnon to Braunig & Calaveras to Cagnon 345 kV, DCKT Hill Country to Marion 345 kV | Skyline - Calaveras 345 kV, Pawnee Switching Station - Calaveras 345 kV, Skyline - Elmcreek 345 kV, Coleto Creek - Rosata Tap 138 kV | RT | Planned, Forced | [6 empty] | CALAVERS | SKYLINE | N5_P4_1 | SSKYCA25
CPS | Calaveras - Skyline (N5_P4_2) | LN | 345 | 22/4, 22/3, 17/12 | DCKT Cagnon to Braunig & Calaveras to Cagnon 345 kV, DCKT Hill Country to Marion 345 kV | Pawnee Switching Station - Calaveras 345 kV, Pawnee Switching Station Auto XF1 345/138 kV, Skyline - Elmcreek 345 kV, Coleto Creek - Rosata Tap 138 kV | RT | Planned | [6 empty] | CALAVERS | SKYLINE | N5_P4_2 | SSKYCAL5
AEP | Campwood - … - Rock Springs | LN | 69 | 21/9 | DBCKT Big Hill - Kendall 345kV | Friess Ranch - Rocksprings 69 kV | RT | Planned | [6 empty] | NEWBARKS | CAMPWOOD | CAMPWO_NEWBAR1 | SCAMROC9
AEP | Carrizo Springs - Crystal City | LN | 69 | 20/10 | Asherton-Bevo 138 kV | Bevo - Brundage Sub 69 kV | RT | Planned | Y, N | [5 empty] | CARRIZO | CRYSTAL | CARRIZ_CRYSTA11 | SCARCRY9
BRAZOS, ONCOR | Carrollton Northwest - Lewisville Switch (105_A) | LN | 345 | 2018 | Jones Street Tnp to Lewisville Sw 138 kV | Ti Tnp - West Tnp 138 kV | ADD | [7 empty] | CRLNW | LWSSW | 105_A | SLWSCRL5
BRAZOS, ONCOR | Carrollton Northwest - Lewisville Switch (83) | LN | 345 | 17/3 | Jones Street Tnp to Lewisville Sw 138 kV | Ti Tnp - West Tnp 138 kV | RT | Planned | [6 empty] | CRLNW | LWSSW | 83 | SKRWCR25
CNPE | Cedar Bayou Plant - Center | LN | 345 | 22/3 | Jordan - King 345 kV & Jordan - North Belt 345 kV, North Belt - Th Wharton 345 kV | Bigvue - Lyondell 138 kV, Jefferson - South Channel 138 kV, Airline - White Oak 138 kV | RT | Planned | [6 empty] | CTR | CBY | CBYCTR97A | SCBYCTR5
ONCOR | Cedar Crest Switch - … - Industrial Blvd | LN | 138 | 19/3, 18/5 | DCKT Westmoreland - Cedar Hill Switch 138 kV & Mountain Creek Ses - Fish Creek Switch 69 kV | Saint Augustine Tap 2 - Sargent Road 138 kV | RT | Planned | [6 empty] | CMPST | CDCSW | 3130_A | SCMPIND8
ONCOR | Cedar Elm Switch - Krum West Switch | LN | 345 | 22/4 | Krum West Switch - Lewisville Switch 345 kV & Lewisville Switch - Roanoke Switch 345 kV | Argyle - Highlands Tnp 138 kV | RT | Planned | [6 empty] | KRWSW | CDESW | 38020 | SANAKR25
ONCOR | Cedar Hill Switch - Courtland | LN | 345 | 19/10, 18/9, 18/5 | DCKT Watermill Switch - Big Onion & Elrod Switch 345 kV, DCKT Venus Switch to Timberview Switch & Everman Switch 345 KV | Britton Road - Venus Switch 345 kV (530_C), Cedar Hill Switch - Fish Crek Switch (3180) 138 kV | RT | Planned, Forced | [6 empty] | CRTLD | CDHSW | 6020_A, 6020_D | STVWCRT5
AEP | Celanese Bay City - Wadsworth | LN | 138 | 21/1 | DCKT Jones Creek-South Texas Project & Refuge 345 kV | Blessing - Pavlov 138 kV | RT | Planned | N | [5 empty] | CELANEBC | WADSWORT | CELANE_WADSWO11 | SCELWAD8
AEP, ETT | Cenizo - … - Del Sol | LN | 345 | 19/1, 18/5 | Basecase, Lobo - San Miguel Gen 345 kV | Valley GTC, North Laredo Switch - Piloncillo 138 kV | RT | Forced | [6 empty] | CENIZO | CABEZNTP | CABEZN_CENIZO1 | SCE2DEL5
ONCOR | Centerville Road Switch - … - Judd Court & Kirkland Park | LN | 138 | 19/9, 19/3 | DCKT Centerville Road Switch to Parkdale Switch 138 kV | Prairie Creek - Scyene Road 138 kV | RT | Planned | [6 empty] | CNRSW | GRLRD | 3250_A, 3250_I | SLKHCNR8
ONCOR | Centerville Road Switch - Forney Switch | LN | 345 | 2017 | DCKT Forney Switch - Royse Switch 345 kV | Forney Switch 345/138 kV Auto MR3 | ADD | [7 empty] | CNRSW | FORSW | 110 | SCNRFOR5
CNPE | Chanel - Deepwater | LN | 138 | 21/11 | Eastside - Gable Stree 138 kV | Downtown - Polk 138 kV | RT | Planned | [6 empty] | DPW | CHL | CHLDPW70A | SCHLDPW8
ONCOR | China Grove Switch - Snyder | LN | 138 | 19/5 | DCKT Dermott Switch - Bluff Creek Switch & Ennis Creek Switch 138 kV | Morgan Creek SES - Sun Switch 138 kV | RT | Planned | [6 empty] | CGRSW | SNYDR | 6235 | SSNYCGR8
LCRA | Cibolo - Scherz | LN | 138 | 21/2 | DCKT Hill Country-Marion 345 kV | Cibolo - Schertz 138 kV | RT | Planned | N | [5 empty] | CIBOLO | SCHERT | 293T304 | SSCHCI28
CNPE | Citfil - Normandy | LN | 138 | 22/3 | Jordan - King 345 kV & Jordan - North Belt 345 kV | Bigvue - Lyondell 138 kV | RT | Planned | [6 empty] | NM | CF | CF_NM_77 | SCFGBY8
AEP, ONCOR | Clear Crossing - … - Dermott Switch (CLEARC_KIRCHH2) | LN | 345 | 18/5, 18/4 | DCKT Dermott Switch to Scurry County South Sw 345 kV | Knapp - Scurry Chevron 138 kV | RT | Planned | [6 empty] | CLEARCRO | KIRCHHOF | CLEARC_KIRCHH2 | SKIRDM35
AEP, ONCOR | Clear Crossing - … - Dermott Switch CLEARC_KIRCHH1) | LN | 345 | 18/12, 18/11, 18/9, 18/8, 18/7, 18/6, 18/5, 18/4 | DCKT Dermott Sw to Scurry County South Switch 345 kV | Knapp - Scurry Chevron 138 kV | RT | Planned | [6 empty] | CLEARCRO | KIRCHHOF | CLEARC_KIRCHH1 | SKIRDMT5
AEP, ETT | Clear Crossing - … - Edith Clarke (CLEARC_GAUSS2) | LN | 345 | 17/9, 17/8, 17/7 | Basecase | Panhandle GTC | RT | Planned | [6 empty] | CLEARCRO | GAUSS | CLEARC_GAUSS2 | SGAUED35
ETT, TETRTX | Clear Crossing - West Shackelford (CLEARC_WSHACK1) | LN | 345 | 21/9, 19/3, 19/2, 19/1 | DCKT Dermott Switch - Scurry County South Switch 345 kV | Knapp - Scurry Chevron 138 kV | RT | Planned | [6 empty] | CLEARCRO | WSHACK | CLEARC_WSHACK1 | SCLEWS15
ETT | Clear Crossing - West Shackelford (CLEARC_WSHACK2) | LN | 345 | 19/3, 19/2, 19/1 | DCKT Dermott Switch - Scurry County South Switch 345 kV | Knapp - Scurry Chevron 138 kV | RT | Planned | [6 empty] | CLEARCRO | WSHACK | CLEARC_WSHACK2 | SCLEWS25
AEP, ONCOR | Clear Crossing - Willow Creek Switch | LN | 345 | 21/11 | DBCKT Edith Clarke - Riley 345 kV, Abilene Mulberry Creek - Sweetwater East Switch 345 kV & Long Creek - Sweetwater East Switch 345 kV | Abilene Mulberry Creek - Long Creek 345 kV, Abilene Mulberry Creek - Bluff Creek 345 kV | RT | Planned | [6 empty] | CLEARCRO | WCSWS | 35150_A | SCLEWC25
AEP | Coleto - Lon Hill | LN | 345 | 20/3, 17/3, 16/12, 16/1, 15/3 | DCKT Whitepoint to Hecker & Dupont Sw Ingleside 138 kV, Coleto Creek to Pawnee Sw 345 kV, Pawnee Sw to Lon Hill 345 kV, Goddard to Pawnee Switching Station 345 kV | Whitepoint - Rincon 138 kV, Kenedy Sw - Coleto Creek 138 kV, Magruder - Victoria 138 kV, Kenedy Sub - Kenedy Sw 69 kV, Callicoatte - Lon Hill 138 kV | RT, ST | Planned, Forced | Y, N | [5 empty] | COLETO | LON_HILL | COLETO_LON_HI1 | SCOLLON5
AEP | Coleto Creek - Euler | LN | 138 | 19/5 | Formosa to Lolita 138 kV | Victoria - Victoria Dupont Switch (VICTOR_V_DUPS1) 138 kV | RT | Forced | [6 empty] | COLETO | EULER | COLETO_EULER1 | SCO2EUL8
AEP | Coleto Creek - Victoria (COLETO_VICTOR1) | LN | 138 | 21/11, 22/3 | Coleto Creek - Pawnee Switching Station 345 kV | Coleto Creek - Victoria 138 kV | ADD | Planned | [6 empty] | COLETO | VICTORIA | COLETO_VICTOR1 | SVICCO28
AEP | Coleto Creek - Victoria (COLETO_VICTOR2) | LN | 138 | 21/11, 22/3 | Coleto Creek - Pawnee Switching Station 345 kV | Coleto Creek - Victoria 138 kV | ADD | Planned | [6 empty] | COLETO | VICTORIA | COLETO_VICTOR2 | SVICCOL8
ONCOR | Comanche Peak Ses - Comanche Switch | LN | 345 | 22/4, 21/4, 18/11 | DCKT Brown Switch - Buckhorn Switch & Killen Switch 345 kV | Comanche Tap - Comanche Switch 138 kV | RT | Planned, Forced | [6 empty] | CMNSW | CPSES | 662 | SCMNCPS5
ONCOR | Comanche Peak Ses - Mitchell Bend Switch | LN | 345 | 20/3 | DCKT Comanche Peak SES - Timberview Switch & Johnson Switch 345 kV | Comanche Peak SES - Wolf Hollow 345 Switch 345 kV, Mitchell Bend Switch - Wolf Hollow 345 Switch 345 kV | RT | Planned | [6 empty] | CPSES | MBDSW | 6033 | SDCSCPS5
STEC | Cotulla Sub - … - Freer Sub | LN | 69 | 22/1 | Fowlerton - Lobo 345 kV | Bruni Sub 138/69 kV | RT | Planned | [6 empty] | COTULAS | HOLANDS | COT_HOLA | SFREBRU9
CNPE | Crosby - Power Systems Arco Cogen | LN | 138 | 19/3 | DCKT Chambers - King & Jordan - North Belt 345 kV | Bigvue - Power Systems Arco Cogen 138 kV | RT | Planned, Forced | [6 empty] | CS | HNY | CS_HL_08 | SHLC6S8
AEP | Del Mar - Laredo Plant | LN | 138 | 19/10 | North Edinburg - Pomelo 345 kV | Laredo VFT North - Las Cruces 138 kV | RT | Planned | [6 empty] | DEL_MAR | LAREDO | DEL_MA_LAREDO1 | SDELLAR8
AEP | Del Sol - Pomelo | LN | 345 | 17/1, 16/10 | Basecase | Valley GTC | ST | Planned | Y | [5 empty] | DELSOL | POMELO | DELSOL_POMELO1 | SPOMDEL5
TETRTX | Dermott Switch - Figaro | LN | 345 | 21/10 | DBCKT Dermott Switch - Scurry County South Switch 345 kV | Knapp - Scurry Chevron 138 kV | RT | Planned | [6 empty] | DMTSW | FIGARO | DMTSW_FIGARO1 | SFIGDMT5
ONCOR | Dermott Switch - Scurry County South Switch (34540) | LN | 345 | 20/11 | DCKT Clear Crossing-…-Figaro & Clear Crossing-…-Dermott Sw 345 kV | Knapp - Scurry Chevron 138 kV | RT | Planned | N | [5 empty] | DMTSW | SCOSW | 34540_A | SDMTSC15
ONCOR | Dermott Switch - Scurry County South Switch (34550) | LN | 345 | 20/11 | DCKT Clear Crossing-…-Figaro & Clear Crossing-…-Dermott Sw 345 kV | Knapp - Scurry Chevron 138 kV | RT | Planned | N | [5 empty] | DMTSW | SCOSW | 34550_A | SDMTSC25
ONCOR, WETR | Dermott Switch - Wett_Cottonwood (T-301) | LN | 345 | 22/4, 21/12 | Blackwater Draw Switch - Double Mountain Switch 345 kV | MacKenzie Substation - Northeast Substation 115 kV | RT | Planned | [6 empty] | W_CW_345 | DMTSW | T-301 | SDMTW_15
ONCOR, WETR | Dermott Switch - Wett_Cottonwood (T-302) | LN | 345 | 22/4, 21/12 | Blackwater Draw Switch - Double Mountain Switch 345 kV | MacKenzie Substation - Northeast Substation 115 kV | RT | Planned | [6 empty] | W_CW_345 | DMTSW | T-302 | SDMTW_25
TNMP | Dickinson Tnp - League City Tnp | LN | 138 | 20/10 | North Alvin TNP-Hastings Tnp 138 kV | League City Tnp - Hidden Lakes Tnp 138 kV | RT | Planned | N | [5 empty] | DICKNSON | LEAGCITY | G138_091 | SLEADIC8
GEUS, TMPA | Diesel - Greenville Steam | LN | 69 | 15/7 | Shelby Auto BT1 138/69 kV | Greenville Steam Auto XT1 138/69 kV | ST | Planned | [6 empty] | DIESEL | GN_S_I | DIE_GNS | SDIEGN_9
AEP | Dolan Tap - Whiting | LN | 138 | 21/10 | Odlaw Switch -…- Uvalde AEP 138 kV | Hamilton Road - Maverick 138 kV | RT | Planned | [6 empty] | DOLAN | WHITING | DOLAN_WHITIN1 | SCT2CAR8
CNPE | Dow Chemical - Oasis (DOWOAS18) | LN | 345 | 22/4, 21/4 | Cedar Creek - WA Parish 345 kV & WA Parish - Wolf 345 kV, DCKT Jones Creek-South Texas Project & Refuge 345 kV | South Texas Project - WA Parish 345 kV, Bay City Sub - Sargent Sub 69 kV | RT | Planned | N | [5 empty] | OAS | DOW | DOWOAS18A | SOASDO25
CNPE | Dow Chemical (DOWOAS27) - Oasis | LN | 345 | 22/4 | Cedar Creek - WA Parish 345 kV & WA Parish - Wolf 345 kV | South Texas Project - WA Parish 345 kV | RT | Forced | [6 empty] | OAS | DOW | DOWOAS27A | SOASDOW5
AEP, STEC | Downie Switching Station - … - Uvalde AEP | LN | 138 | 19/5 | Asphalt Mines to Odlaw Switchyard 138 kV | Hamilton - Maverick 138 kV | RT | Planned | [6 empty] | UVALDE | READING | READIN_UVALDE1 | SREAUVA8
STEC | Driscoll Sub - … - Loyola Sub | LN | 69 | 20/4 | Ajo-Nelson Sharpe 138 kV | Falfurrias - Premont 69 kV | RT | Planned | N | [5 empty] | DRSCOLS | RICRDOS | DRS_RICR | SRICLOY9
AEP | Dupont Switch Ingleside - Hecker (HECKER_I_DUPS2) | LN | 138 | 17/4 | Hecker to WhitePoint 138 kV | Whitepoint - Rincon 138 kV | RT | Planned | [6 empty] | HECKER | I_DUPSW | HECKER_I_DUPS2 | SI_DWHI8
AEP | Dupont Switch Ingleside - Rincon (I_DUPS_RINCON1) | LN | 138 | 21/2 | DCKT Whitepoint-Nueces Bay & Whitepoint-Portland-Gibbs 138 kV | Ingleside - Dupont Switch - Ingleside 138 kV | RT | Forced | [6 empty] | I_DUPSW | RINCON | I_DUPS_RINCON11 | SRINI_D8
AEP | Dupont Switch Ingleside - Rincon (I_DUPS_RINCON2) | LN | 138 | 21/2 | DCKT Whitepoint-Nueces Bay & Whitepoint-Portland-Gibbs 138 kV | Ingleside - Dupont Switch - Ingleside 138 kV | RT | Forced | [6 empty] | I_DUPSW | RINCON | I_DUPS_RINCON21 | SRINI_28
AEP, ETT | Edith Clarke - Riley (Edithc_Riley1) | LN | 345 | 18/3, 18/2, 18/1, 17/12, 17/11, 17/10 | Basecase | Panhandle GTC | RT | Planned | [6 empty] | EDITHCLA | RILEY | EDITHC_RILEY1 | SRILED15
AEP, ETT | Edith Clarke - Riley (Edithc_Riley2) | LN | 345 | 18/3, 18/2, 18/1, 17/12, 17/11, 17/10 | Basecase | Panhandle GTC | RT | Planned | [6 empty] | EDITHCLA | RILEY | EDITHC_RILEY2 | SRILED25
AEP, WET | Edith Clarke - Wett_Cottonwood (COTTON_EDITHC3) | LN | 345 | 17/6, 17/5, 17/4, 17/3, 17/2, 17/1, 16/12, 16/11 | Basecase | Panhandle GTC | RT, ST | Planned, Forced | [6 empty] | EDITHCLA | W_CW_345 | COTTON_EDITHC3 | SW_CED55
AEP, WET | Edith Clarke - Wett_Cottonwood (COTTON_EDITHC4) | LN | 345 | 17/6, 17/5, 17/4, 17/3, 17/2, 17/1, 16/12, 16/11 | Basecase | Panhandle GTC | RT, ST | Planned, Forced | [6 empty] | EDITHCLA | W_CW_345 | COTTON_EDITHC4 | SW_CED45
AEP | El Campo - Corichi Tap - … - Victoria | LN | 138 | 19/10 | Victoria Auto 69A1 138/69 kV | Victoria Auto 69A2 138/69 kV | RT | Planned | [6 empty] | EL_CAMPO | CORICHI | CORICH_EL_CAM1 | SGANVIC8
ONCOR | Elkins Road Pod - Midland East | LN | 138 | 21/11 | Grady -…- Brown 138 kV | Big Spring West - Stanton East 138 kV | RT | Planned | [6 empty] | ERPOD | MDLNE | 6146_A | SSTAMDL8
ONCOR | Elkton - Martin Lake Ses | LN | 345 | 2017 | Martin Lake - Styker and - Enterprise DCKT | Martin Lake - Shamburger | ADD | [7 empty] | ELKTN | MLSES | 180 | SELKMLS5
ONCOR | Elkton - Tri Corner | LN | 345 | 18/12, 18/11, 2017, 17/11 | DCKT Trinidad Ses- Mt Enterprise & Stryker Creek Ses, DCKT Martin Lake Ses - Stryker Creek Ses & Mt Enterprise 345 kV | Elkton 345/138 kV Auto MR3, Lufkin Switch - Nacogdoches South Tap 138 kV | ADD, RT | Planned | [6 empty] | ELKTN | TRCNR | 170 | SELKFOR5
CNPE, CPS | Elmcreek - South Texas Project | LN | 345 | 22/4 | Elmcreek - South Texas Project 345 kV & South Texas Project - WA Parish 345 kV | Hillje - South Texas Project 345 kV | RT | Planned | [6 empty] | STP | ELMCREEK | STPELM271 | SELMSTP5
GAR | Elmgrove - Wylie Switch | LN | 138 | 16/9 | Pruitt to Swindell 138 kV | Ben Davis - Olinger 138 kV | ST | Planned | [6 empty] | ELMGROVE | WYLIESW | WYL_ELMG | SWYLELM8
ONCOR | Ennis West Switch -…- Sterrett (940) | LN | 138 | 18/11 | ENNIS WEST SWITCH - SHANKLE SWITCH 138 kV (941) | ENNIS WEST SWITCH - SHANKLE SWITCH 138 kV (943) | ADD | Planned | [6 empty] | ENWSW | WXHCH | 940_C | SMGIENW8
ONCOR | Ennis West Switch -Ennis South (941_C) | LN | 138 | 19/4 | WXHCH-WXOCF_69kV & ENWSW-STERT_138kV | ENNIS WEST SWITCH - SHANKLE SWITCH 138 kV (943) | ADD | Planned | [6 empty] | ENWSW | ENSSO | 941_C | SENSENW8
ONCOR | ENNIS WEST SWITCH -...- SHANKLE SWITCH (941) | LN | 138 | 19/6 | ENNIS WEST SWITCH - SHANKLE SWITCH 138 kV (943) | Ennis West Switch- Wahaxhachie - Sterrett | ADD | Planned | [6 empty] | ENSSW | ENWSW | 943_A | SENSEN28
AEP | Euler - Tuleta | LN | 138 | 19/8, 19/5 | DCKT Lon Hill to Coleto Creek 345 kV & Warburton Road Switching Station 138 kV, Coleto Creek to Pawnee Switching Station 345 kV | Normanna - Pettus 69 kV, Coleto Creek - Rosata Tap 138 kV | RT | Forced | [6 empty] | TULETA | EULER | EULER_TULETA1 | SEULTUL8
ONCOR | Everman Switch - Oakhill Tap 1 | LN | 138 | 22/2, 21/12 | Davis -…-Everman Switch 138 kV, DBCKT Deen Switch -…- Hicks Switch 138 kV | Hemphill - Mistletoe Heights 138 kV | RT | Planned, Forced | [6 empty] | EVRSW | OAKT1 | 6310_A | SOAKEVR8
ONCOR | Falcon Seaboard - Midland East | LN | 345 | 20/10 | DCKT Odessa EHV Sw-Moss Sw & Wolf Switching Station 345 kV | Odessa North - Odessa 138 kV | RT | Planned | N | [5 empty] | FLCNS | MDLNE | 6045_A | SFLCMDL5
ONCOR | Forney Switch - Royse Switch (200) | LN | 345 | 2017 | Forney Sw - Centerville Road Sw 345 kV | Forney Switch 345/138 kV Auto MR3 | ADD | [7 empty] | FORSW | RYSSW | 200 | SFORRYS5
ONCOR | Forney Switch - Royse Switch (210) | LN | 345 | 2017 | Forney Sw - Centerville Road Sw 345 kV | Forney Switch 345/138 kV Auto MR3 | ADD | [7 empty] | FORSW | RYSSW | 210 | SFORRY25
AEP | Fort Mason - Mason AEP | LN | 138 | 19/5 | DCKT Ferguson to Granite Mountain 138 kV and Starcke to Wirtz 138 kV | Flat Rock LCRA - Wirtz 138 kV | RT | Planned | [6 empty] | MASN | FORTMA | FORTMA_MASN1 | SMA2FOR8
STEC | Fowlerton - San Miguel Gen | LN | 345 | 21/2 | DCKT Dilley Sw (AEP)-San Miguel Sw & Dilley Sw (AEP)-Cotulla Sub 138 kV | Dilley Switch Aep - Cotulla Sub 69 kV | RT | Forced | [6 empty] | FOWLRTON | SANMIGL | FOWRTN_SMIGL | SSANFOW5
TNMP | Freeway Park Tnp - Mainland Tnp | LN | 138 | 22/4, 22/3, 21/2 | Meadow - Ph Robinson 345 kV, PH Robinson-Gaf Tnp 138 kV | Magnolia Tnp - Seminole Tnp 138 kV, Freeway Park Tnp - Dickinson Tnp 138 kV | RT | Planned | N | [5 empty] | MAINLAND | FRWYPARK | 138_FWP_MNL1 | SFRWMAI8
CNPE | Garrott - Kirby | LN | 138 | 21/11 | Eastside - Gable Stree 138 kV | Downtown - Polk 138 kV | RT | Planned | [6 empty] | GT | KB | GT_KB_37A | SGTKB8
AEP | Gateway and Wormser Road to North Laredo Switch | LN | 138 | 22/4 | Fowlerton - Lobo 345 kV | Gateway West Tnp - Wormser Road 138 kV | RT | Forced | [6 empty] | GATE_WAY | GATEWTP | GATEWT_GATE_W1 | SNLAGAT8
CNPE, CROSS, GAR, TMPA | Gibbons Creek - Limestone Plant (GIB_LIME181) | LN | 345 | 21/3 | DCKT Jewett-Singleton 345 kV | Gibbons Creek - Twin Oak Switch 345 kV | RT | Planned | N | [5 empty] | GIBCRK | LEG | GIB_LIME181 | SLE2GIB5
CNPE, CROSS, GAR, TMPA | Gibbons Creek - Limestone Plant (GIB_LIME501) | LN | 345 | 21/3 | DCKT Jewett-Singleton 345 kV | Gibbons Creek - Twin Oak Switch 345 kV | RT | Planned | N | [5 empty] | GIBCRK | LEG | GIB_LIME501 | SLEGGIB5
TMPA | Gibbons Creek - Twin Oak Switch | LN | 345 | 20/11, 20/5 | DCKT GibbonsCreek-Limestone 345 kV, DCKT Jewett-Singleton 345 kV | Jewett - Singleton 345 kV | RT | Planned | N | [5 empty] | GIBCRK | TOKSW | 256_A1 | SGIBTOK5
AEP | Goddard - Pawnee Switching Station | LN | 345 | 21/12, 21/11 | Fowlerton - Lobo 345 kV | North Laredo Switch - Piloncillo Ranch 138 kV | RT | Forced, Planned | [6 empty] | PAWNEE | GODDARD | GODDAR_PAWNEE1 | SGODPAW5
AEP, STEC | Goddard - Tango | LN | 345 | 22/2, 22/1, 21/11 | Fowlerton - San Miguel Gen 345 kV, Grissom - Lon Hill 345 kV, Coleto Creek - Grissom 345 kV & Fannin Sub - Goliad 69 kV | George West Switch Station - Sigmor 138 kV, Choke Canyon Aep - San Miguel Gen 138 kV, North Carbide - Sea Drift Coke 138 kV | RT | Forced, Planned | [6 empty] | GODDARD | PAWNEE | GODDAR_TANGO1 | SGODTAN5
ONCOR | Golden Switch - Sun Switch | LN | 138 | 20/3 | DCKT Dermott Switch to Scurry County South Switch 345 kV | Knapp - Scurry Chevron 138 kV | RT | Forced | [6 empty] | GLDSW | SUNSW | 6438 | SGLDSUN8
ONCOR | Grady -...- Brown-Buzzard Draw Switch-...-Vealmoor | LN | 138 | 22/4, 22/3, 21/6, 21/5 | Big Spring Switch -…- Natural Dam 138 kV, Scurry County South Switch - Wett_Long_draw 345 kV & Wett_Faraday - Wett_Long_Draw 345 kV, Longshore Switch - Midessa South Sw 345 kV & Morgan Creek Ses-…-Quail Switch 345 kV, Wett_Grelton - Wett_Long_Draw 345 kV, Odessa EHV Switch - Wett_Grelton 345 kV | Big Spring West - Stanton East 138 kV, Luther - Vealmoor 138 kV, Falcon Seaboard - Morgan Creek Ses 345 kV | RT | Planned | [6 empty] | GRADY | LNPOD | 15050_A | SLUTVEA8
ONCOR | Graham SES - Rice Switch | LN | 138 | 22/4 | Windthorst Switch -…- Wichita Falls South Switch 138 kV | Cottonwood Road Switch - Olney Pod 69 kV | RT | Planned | [6 empty] | GRSES | RICSW | 6560_A | SRICGRS8
ONCOR | Graham SES - Tonkawa Switch | LN | 345 | 21/11 | Abilene Mulberry Creek - Sweetwater East Switch 345 kV & Long Creek - Sweetwater East Switch 345 kV | Abilene Mulberry Creek - Bluff Creek 345 kV | RT | Planned | [6 empty] | GRSES | TKWSW | 6035_A | STKWGRS5
CROSS | Gray - Railhead | LN | 345 | 16/5, 16/3 | Basecase, DCKT Alibates to Tule Canyon 345 kV | Panhandle GTC, Low Voltage in Panhandle area | RT, ST | Planned | Y | [5 empty] | RAILHEAD | CTT_GRAY | RAILHD_GRAY | SRAICTT5
AEP, CROSS | Gray - Tesla (GRAY_TESLA_1) | LN | 345 | 17/1 | Basecase | Panhandle GTC | RT | Forced | [6 empty] | CTT_GRAY | TESLA | GRAY_TESLA_1 | SCTTTES5
CROSS | Gray South Bus (CB GY_BKR_G130, etc.) | BUS | 345 | 16/5 | DCKT Alibates to Tule Canyon 345 kV | Low Voltage in Panhandle area | ST | Planned | Y | [5 empty] | GTT_GRAY |  | 1002 | N/A
ONCOR | Gresham Road Switch - … - Nacogdoches Se | LN | 138 | 19/1, 18/12, 18/10, 18/8, 18/7, 17/12 | DCKT Martin Lake Ses to Stryker Creek Ses & Trinidad Ses to Mt Enterprise 345 kV | Nacogdoches Se - Redland Switch 138 kV, Lufkin Switch - Nacogdoches South Tap 138 kV | RT | Planned | [6 empty] | CSHNG | GRDSW | 1450_F | SNCDCMI8
ONCOR | Gresham Road Switch - Stryker Creek Ses | LN | 138 | 18/6 | DCKT Mt Enterprise - Trinidad Ses & Martin Lake Ses - Stryker Creek Ses | Nacogdoches Se - Redland Switch 138 kV | RT | Planned | [6 empty] | SCSES | GRDSW | 11010 | SGRDSCS8
AEP | Haine Drive - La Palma | LN | 138 | 17/4 | DCKT Rio Hondo to North Endinburg 345 kV & Harlingen Sw | Burns Sub - Rio Hondo 138 kV | RT | Planned | [6 empty] | HAINE_DR | LA_PALMA | HAINE__LA_PAL1 | SHAILA_8
ONCOR | Handley SES -…- Sherry Switch | LN | 138 | 21/12, 21/10 | DBCKT Deen Switch -…- Hicks Switch 138 kV, DBCKT Everman Switch -…- Handley Ses 138 kV | Hemphill - Mistletoe Heights 138 kV | RT | Planned | [6 empty] | PNTGO | ARLNG | 6410_A | SBOWSHR8
AEP | Harlingen Switch - Raymondville 2 | LN | 138 | 21/2 | DCKT North Edinburg-Lon Hill & North Edinburg -…-El Trueno WInd 345 kV, DCKT South Santa Rosa-Rio Hondo 138 kV | Haine Drive - La Palma 138 kV | RT | Planned | N | [5 empty] | HARLNSW | RAYMOND1 | HARLNS_RAYMON11 | SRAYHAR8
LCRA | Harlingen Switch - Weslaco Switch | LN | 138 | 21/1, 20/11 | North Eninburg TRX 1382345/138 kV, DCKT North Edinburg-Lon Hill & North Edinburg -…-El Trueno WInd 345 kV, DCKT South Santa Rosa-Rio Hondo 138 kV | Burns Sub - Rio Hondo 138 kV | RT | Planned | N | [5 empty] | WESLACO | NWESLACO | 207T4801 | SNWEWES8
LCRA | Hays Energy Center - Zorn (388T3881) | LN | 345 | 2021 | DCKT Cagnon - Kendal 345kV & Cico - Comfor 138kV | Hays Energy Center - Zorn 345 kV (6T227) | ADD | [7 empty] | HAYSEN | ZORN | 388T3881 | SHAYZO25
LCRA | Hays Energy Center - Zorn (6T227) | LN | 345 | 2021 | DCKT Cagnon - Kendal 345kV & Cico - Comfor 138kV | Hays Energy Center - Zorn 345 kV (388T3881) | ADD | [7 empty] | HAYSEN | ZORN | 6T227 | SHAYZOR5
AEP | Hecker - Whitepoint (HECKER_WHITE_1) | LN | 138 | 21/4, 21/2, 20/10, 20/9, 19/3, 19/2, 18/1, 17/3 | Whitepoint-…-Gibbs 138 kV, DCKT Whitepoint-Nueces Bay & Whitepoint-Portland-Gibbs 138 kV, Whitepoint-…-Gibbs 138 kV, Whitepoint-…-Gibbs 138 kV, DCKT Whitepoint to Hecker & Dupont Sw Ingleside 138 kV, Lon Hill to Coleto Creek 345 kV, McCampbell - … - Whitepoint 138 kV | Heckter - Whitepoint, Ingleside - Dupont Switch - Ingleside, Whitepoint- Rosenburg, Whitepoint- Rosenburg, Whitepoint - Rincon 138 kV, Warburton Road Switching Station - Victoria 138 kV, Whitepoint TRX 138_69A1 138/69 kV | RT | Planned, Forced | [6 empty] | HECKER | WHITE_PT | HECKER_WHITE_1 | SHECWH28
AEP | Hecker - Whitepoint (HECKER_WHITE_2) | LN | 138 | 21/5, 21/2, 20/10, 20/09, 19/3, 19/2, 18/1 | Gibbs -…-Whitepoint 138 kV & Neuces Bay - Whitepoint 138 kV, DCKT Whitepoint-Nueces Bay & Whitepoint-Portland-Gibbs 138 kV, Whitepoint-…-Gibbs 138 kV, Whitepoint-…-Gibbs 138 kV, Lon Hill to Coleto Creek 345 kV, McCampbell - … - Whitepoint 138 kV | Hecker - Whitepoint 138 kV, Ingleside - Dupont Switch - Ingleside, Whitepoint- Rosenburg, Whitepoint- Rosenburg, Warburton Road Switching Station - Victoria 138 kV, Whitepoint TRX 138_69A1 138/69 kV, Rincon - Whitepoint 138 kV | RT | Forced, Planned | [6 empty] | HECKER | WHITE_PT | HECKER_WHITE_2 | SHECWHI8
LCRA | Heines - Naval Base | LN | 69 | 19/4 | DCKT Whitepoint - Lon Hill & South Texas Project 345 kV | Lon Hill 345/138 kV Auto 382H | RT | Planned | [6 empty] | NVLBASE | HEINES | 685T685 | SNVLHEI9
TNMP, ONCOR | Highlands Tnp - Lewisville Switch | LN | 138 | 21/12, 20/12, 20/1, 20/3, 20/2 | Carrollton Northwest-Lakepoint Tnp 138 kV, DCKT Carrollton Northwest to Lewisville Switch 345 kV | South Tnp - Carrollton Northwest, Argyle - Highlands Tap 138 kV, TI Tnp - West Tnp 138 kV | RT | Planned | [6 empty] | LWSSW | LWSVH | 593 | SLWSLWS8
LCRA | Hill Country - Marion | LN | 345 | 19/2 | DCKT Elmcreek - Skyline 345 kV | Hill Country - Marion 345 kV | RT | Planned | [6 empty] | MARION | HILLCTRY | HILL_MAR_1 | SHILMAR5
AEP | Hiway 9 - Javelina | LN | 138 | 18/10 | DCKT Hecker - Whitepoint 138 kV | Rincon - Whitepoint 138 kV | RT | Planned | [6 empty] | JAVELINA | HIWAY_9 | HIWAY__JAVELI1 | SJAVHIW8
AEP | Hiway 9 Auto 69A2 138/69 kV | XF | 138 | 17/4 | Lon Hill Auto 69A1 138/69 kV | Koch Up River Auto 69A1 138/69 kV | RT | Forced | [6 empty] | HIWAY_9 |  | 69A2 | XHIW89
AEP | Holly - Westside Aep | LN | 138 | 18/11 | Airline Aep - … - Westside Aep 138 kV | Arcadia - Southside 138 kV | RT | Planned, Forced | [6 empty] | HOLLY4 | WESTSIDE | HOLLY4_WESTSI1 | SHOLWES8
CNPE | Holmes - Plaza | LN | 138 | 21/10 | Eastside - Polk 138 kV | Downtown - Polk 138 kV | RT | Planned | [6 empty] | PZ | HM | HM_PZ_06A | SHMG1V8
CPS | Howard - Somerset | LN | 138 | 18/1, 17/12 | DCKT Castrvll to Razorbac & Txresrch 138kV | Hondo Creek Switching Station - Moore Switching Station 138 kV | RT | Planned | [6 empty] | S1 | E3 | E3_S1 | SE3S18
AEP | Industrial Aep - Nueces Bay | LN | 69 | 17/4 | Lon Hill Auto 69A1 138/69 kV | Koch Up River Auto 69A1 138/69 kV | RT | Forced | [6 empty] | INDUSTRI | NUECES_B | INDUST_NUECES1 | SINDNUE9
ONCOR, TMPA | Jack_Creek - Twin Oak Switch | LN | 345 | 20/11 | DCKT GibbonsCreek-Limestone 345 kV | Jewett - Singleton 345 kV (260_A) | RT | Planned | N | [5 empty] | JK_CK | TOKSW | JK_TOKSW1 | SJK_TOK5
BRAZOS | Jaybird - Rw Miller | LN | 138 | 16/11 | Mineral Wells to Mineral Wells West 138 kV | Bunker - RW Miller 138 kV | ST | Planned | [6 empty] | MIL | JAYBIRD | JYBRD_MIL | SSTVMIL8
BRAZOS | Jaybird - Stephenville Bepc | LN | 138 | 16/11 | Mineral Wells to Mineral Wells West 138 kV | Bunker - RW Miller 138 kV | ST | Planned | [6 empty] | JAYBIRD | STV | JYBRD_STV | SJAYSTV8
CNPE | Jeanetta - WA Parish | LN | 345 | 21/12 | Meadow - Ph Robinson 345 kV | Magnolia Tnp - Seminole Tnp 138 kV | RT | Planned | [6 empty] | WAP | JN | JN_WAP72A | SJNWA1P5
ONCOR | Jewett - Singleton (260_A) | LN | 345 | 2018 | DCKT Gibbons Creek to Singleton 345 kV | Jewett - Singleton 345 kV (240) | ADD | [7 empty] | JEWET | SNG | 260_A | SSNGJE25
AEP | Jim Treece - Riley | LN | 345 | 16/11 | Basecase | Panhandle GTC | ST | Planned | [6 empty] | JIMTREEC | RILEY | JIMTRE_RILEY2 | SJIMRI25
AEP | Jim Treece - Tesla | LN | 345 | 17/2, 16/11 | Basecase | Panhandle GTC | ST | Planned | Y, N | [5 empty] | JIMTREEC | TESLA | JIMTRE_TESLA2 | SJIMTE25
ONCOR | Johnson Switch - Venus Switch | LN | 345 | 19/11, 19/10 | DCKT Venus Switch to Timberview Switch & Everman Switch 345 KV, Concord Auto CRD1 345/138 kV | Cedar Hill Switch - Fish Creek Switch 138 kV (3180), Concord Auto CRD2 345/138 kV | RT | Planned | [6 empty] | JONSW | VENSW | 141 | SJONVEN5
CNPE | Jones Creek - Refuge | LN | 345 | 21/9 | Hillje - Wolf 345 kV | Refuge - South Texas Project 345 kV | RT | Forced | [6 empty] | JCK | REF | JCKREF27 | SREFJCK5
CNPE | Jones Creek - South Texas Project | LN | 345 | 22/4 | Elmcreek - South Texas Project 345 kV & South Texas Project - WA Parish 345 kV | Hillje - South Texas Project 345 kV | RT | Planned | [6 empty] | JCK | STP | JCKSTP18A | SJCKSTP5
TNMP | Jones Street Tnp - Lakepointe Tnp | LN | 138 | 20/3, 20/2, 20/1,19/3, 17/12, 17/11 | DCKT Carrollton Northwest to Lewisville Switch 345 kV | Ti Tnp - West Tnp 138 kV, Carrollton Northwest - Lakepointe Tnp 138kV, Argyle - Hihglands Tnp 138 kV | RT | Planned | [6 empty] | LWVJS | LKPNT | 590_B | SLWVLKP8
BRAZOS, TNMP | Jones Street Tnp - Lewisville Switch | LN | 138 | 20/3 | DCKT Carrollton Northwest to Lewisville Switch 345 kV | TI Tnp - West Tnp 138 kV | RT | Planned | [6 empty] | LWSSW | LWVJS | 590_A | SLWVLWS8
CNPE | Jordan - King | LN | 345 | 21/11 | Jordan - King 345 kV & Jordan - North Belt 345 kV | Bigvue - Lyondell 138 kV, Lychem - Power Systems Arco Cogen 138 kV | RT | Planned | [6 empty] | KG | JOR | JORKG_97 | SKGJOR5
AEP | Joslin - Sand Crab | LN | 138 | 21/11 | Formosa G3 | Formosa - Lolita 138 kV | RT | Planned | [6 empty] | JOSLIN | SANDCRAB | JOSLIN_SANDCR1 | SJOSSAN8
LCRA | Kendall CTEC - Maenius Road | LN | 138 | 22/4 | Comfort - Kendall 138 kV | Hollmig - Kendall 138 kV | RT | Planned | [6 empty] | KENDCT | MAENRO | 22T342 | SMAEKEN8
ONCOR | Killeen Switch - Salado Switch (271) | LN | 345 | 18/12 | Killeen Switch TRX KLNSW_3_2 345/138 | Killen Switch TRX MR1H 345/138 kV | RT | Planned | [6 empty] | KLNSW | SALSW | 271 | SKLNSA25
ONCOR | Killeen Switch - Salado Switch (272) | LN | 345 | 18/12 | Killeen Switch TRX KLNSW_3_2 345/138 | Killen Switch TRX MR1H 345/138 kV | RT | Planned | [6 empty] | KLNSW | SALSW | 272 | SKLNSAL5
ONCOR | Killeen Switch Auto AXFMR1 345/138 kV | XF | 345 | 22/5, 22/4, 22/3, 22/2, 22/1 | DBCKT Salado Switch - Killeen Switch 345 kV | Killeen Switch Auto AXFMR2 345/138 kV | ADD | Planned | [6 empty] | KLNSW |  | AXFMR1 | XKLN58
ONCOR | Killeen Switch Auto AXFMR2 345/138 kV | XF | 345 | 2022 | DBCKT Salado Switch - Killeen Switch 345 kV | Killeen Switch Auto AXFMR1 345/138 kV | ADD | Planned | [6 empty] | KLNSW |  | AXFMR2 | XKLN358
AEP | Kleberg Aep - Loyola Sub | LN | 138 | 21/4 | Ajo-Nelson Sharpe 138 kV | Falfurrias - Premont 69 kV | RT | Forced | [6 empty] | KLEBERG | LOYOLA | KLEBER_LOYOLA11 | SKLELOY8
ONCOR | Knob Creek Switch - Salado Switch | LN | 345 | 19/9 | DCKT Temple Elm Creek to Belton 138 kV | Temple Southeast - Temple Switch 138 kV | RT | Planned | [6 empty] | SALSW | KNBSW | 36040 | SKNBSAL5
AEP, ETT, ONCOR | Krum West Switch - Riley (37030) | LN | 345 | 21/3 | DCKT Clear Crossing-Coulomb & Clear Crossing-Smoky Hill 345 kV | Fisher Road Switch - Riley 345 kV | RT | Forced | [6 empty] | RILEY | KRWSW | 37030_A | SKRWRI25
AEP | La Palma 138 kV bus #1 (CB 55, etc.) | BUS | 138 | 18/5 | DCKT Rio Hondo - North Edinburg 345 kV & Harlingen Switch 138 kV | Burns Sub - Rio Hondo 138 kV | RT | Planned | [6 empty] | LA_PALMA |  | 0BB1 | N/A
AEP | La Palma 138 kV bus #2 (CB 2015, etc.) | BUS | 138 | 18/5, 17/2 | DCKT Rio Hondo - North Edinburg 345 kV & Harlingen Switch 138 kV, North Edinburg Auto 1382 345/138 kV | Burns Sub - Rio Hondo 138 kV | RT | Planned | [6 empty] | LA_PALMA |  | 8BB2 | N/A
AEP | Laquinta - Lobo | LN | 138 | 15/5 | Crestonio to Falfurrias 138 kV | Bruni Auto 69_1 138/69 kV | ST | Planned | Y | [5 empty] | LOBO | LAQUINTA | LAQUIN_LOBO1 | SLAQLOB8
AEP | Laredo Vft North - … - Mines Road | LN | 138 | 18/4 | Molina to Wormser Road 138 kV, Lobo to Molina 138 kV | Del_Mar - Laredo Plant 138 kV | RT | Planned | [6 empty] | LARDVNTH | LASCRUCE | LARDVN_LASCRU1 | MNLALAR8
AEP | Laredo Vft North - Lobo (LARDVN_LOBO1) | LN | 138 | 21/4 | Fowlerton-Lobo 345 kV | North Laredo Switch - Piloncillo 138 kV | RT | Planned | N | [5 empty] | LOBO | LARDVNTH | LARDVN_LOBO11 | SLARLO28
AEP | Laredo VFT North - Lobo (LARDVN_LOBO2) | LN | 138 | 21/5 | Laredo Vft North - Lobo 138 kV | Molina - Sierra Vista 138 kV | RT | Planned | [6 empty] | LOBO | LARDVNTH | LARDVN_LOBO2 | SLARLOB8
AEP | Laredo VFT North ... North Laredo Switch | LN | 138 | 22/4 | Molina -…- Wormser Road 138 kV, Fowlerton - Lobo 345 kV | Del Mar - Laredo Plant 138 kV, Bruni Sub 138/69 kV | RT | Planned | [6 empty] | LARDVNTH | LASCRUCE | LARDVN_LASCRU1 | SMINNLA8
AEP | Las Pulgas - Raymondville 2 | LN | 138 | 21/12, 21/11, 21/10, 21/9, 17/4, 16/12 | Lon Hill - North Edinburg - Bonilla - El Trueno Wind Farm 345 kV & Primera-…- Rio Hondo 138 kV, Loyola Sub to Kleberg Aep 138 kV, DCKT Rio Hondo to North Endinburg 345 kV & Harlingen Sw | Haine Drive - La Palma 138 kV, Loyola Sub Auto 69_1 138/69 kV, Burns Sub - Rio Hondo 138 kV | RT | Planned | [6 empty] | RAYMND2 | LASPULGA | LASPUL_RAYMND1 | SRAYRI38
AEP | Las Pulgas - Rio Hondo | LN | 138 | 17/4, 16/12 | Loyola Sub to Kleberg Aep 138 kV | Loyola Sub Auto 69_1 138/69 kV | ST | Planned | [6 empty] | LASPULGA | RIOHONDO | LASPUL_RIOHON1 | SRAYRI28
ONCOR | Lewisville Switch - Roanoke Switch | LN | 345 | 19/4, 19/3 | DCKT Carrollton Northwest - Lewisville Switch 345 kV, Argyle - … - Lewisville Switch 138 kV | Argyle - Highlands Tap 138 kV | RT | Planned, Forced | [6 empty] | LWSSW | RNKSW | 105_B | SLWSRNK5
BRAZOS | Lewisville Switch Auto FMR2 345/138 kV | XF | 345 | 17/4 | Jones Street Tnp to Lewisville Sw 138 kV | Ti Tnp - West Tnp 138 kV | RT | Planned | [6 empty] | LWSSW |  | FMR2 | XLWS158
ONCOR | Liggett Switch - Venus Switch (528) | LN | 345 | 19/11 | Liggett Switch to Venus Switch 345 kV | Britton Road - Venus Switch 345 kV (530_C) | RT | Planned | [6 empty] | VENSW | LIGSW | 528 | SLIGVEN5
ONCOR | Liggett Switch - Venus Switch (529) | LN | 345 | 19/9 | DCKT Watermill Switch - Big Onion & Elrod Switch 345 kV | Britton Road - Venus Switch 345 kV (530_C) | RT | Planned | [6 empty] | VENSW | LIGSW | 529 | SLI2VEN5
BPUB | Loma Alta Substation - Waterport Substation | LN | 138 | 18/1, 16/5 | Loma Alta Sub T1 138/69 kV, La Palma to East Harrison 69 kV | La Palma - Villa Cavazos 138 kV, Haine Drive - La Palma 138 kV | RT | Planned, Forced | [6 empty] | WATERPRT | LOMA_ALT | WP_LA | SWATLO28
AEP | Lon Hill - Nelson Sharpe | LN | 345 | 16/4, 16/3, 15/10, 15/2 | DCKT Lon Hill to North Edinburg 345 kV & Orange Grove Sw 138 kV, Ajo to Rio Hondo 345 kV | Bunsen - Lon Hill 138 kV, Celanese Bishop - Kleberg 138 kV | ST | Planned | Y | [5 empty] | LON_HILL | N_SHARPE | LON_HI_N_SHAR1 | SN_SLON5
AEP | Lon Hill - Whitepoint | LN | 345 | 18/2, 17/8 | Lon Hill to Coleto Creek 345 kV, DCKT San Miguel Gen to Elmcreek 345 kV, DCKT Kendall to Cagnon 345 kV & Menger Creek to Ranchtwn 138 kV | Lon Hill - Pawnee Switching Station 345 kV, Pawnee Switching Station - Calaveras 345 kV, Marion Auto AT2H 345/138 kV | RT | Forced | [6 empty] | LON_HILL | WHITE_PT | LON_HI_WHITE_1 | SWHILON5
AEP | Lon Hill Auto 69A2 138/69 kV | XF | 138 | 17/4 | Hecker to WhitePoint 138 kV, Lon Hill Auto 69A1 138/69 kV | Whitepoint - Rincon 138 kV, Koch Up River Auto 69A1 138/69 kV | RT | Planned | [6 empty] | LON_HILL |  | 69A2 | XLON489
STEC | Loop 463 Sub - Victoria | LN | 138 | 22/4 | Coleto Creek - Victoria 138 kV (COLETO_VICTOR1) | Coleto Creek - Victoria 138 kV (COLETO_VICTOR2) | RT | Planned | [6 empty] | L_463S | VICTORIA | LOOP_VICTORIA | SL_4VIC8
ONCOR | Lufkin Switch - … - Nacogdoches Se | LN | 138 | 17/12 | DCKT Martin Lake Ses to Stryker Creek Ses & Trinidad Ses to Mt Enterprise 345 kV | Nacogdoches Se - Redland Switch 138 kV | RT | Planned | [6 empty] | LFKSW | NCSTP | 1350_E | SNCDNCD8
AEP | Magruder - Victoria | LN | 138 | 22/4, 19/10, 19/9 | Coleto Creek - Victoria 138 kV, Victoria Auto 69A1 138/69 kV | Coleto Creek - Victoria 138 kV, Victoria Auto 69A2 138/69 kV | RT | Planned, Forced | [6 empty] | MAGRUDER | VICTORIA | MAGRUD_VICTOR2 | SMAGVIC8
ONCOR | Martin Lake Ses - Mt Enterprise | LN | 345 | 2017 | Martin Lake - Elktion and Tyler Grande DCKT | Martin Lake - Shamburger | ADD | [7 empty] | MLSES | ENTPR | 360 | SENTMLS5
ONCOR | Martin Lake Ses - Styker Creek Ses | LN | 345 | 2017 | DCKT Martin Lake Ses to Elkton & Tyler Grande 345 kV | Martin Lake Ses - Shamburger Sw 345 kV | ADD | [7 empty] | MLSES | SCSES | 370 | SMLSSCS5
ONCOR | Martin Lake Ses - Tyler Grande | LN | 345 | 2017 | DCKT Martin Lake Ses to Styker Creek Ses & Mt Enterprise 345 kV | Martin Lake Ses - Shamburger Sw 345 kV | ADD | [7 empty] | MLSES | TYGND | 340 | STYGMLS5
AEP | McCampbell - … - Whitepoint | LN | 138 | 18/10 | DCKT Hecker - Whitepoint 138 kV | Dupont Switch Ingleside - Rincon 138 kV | RT | Planned, Forced | [6 empty] | MCCAMPBE | PORTLAND | MCCAMP_PORTLA1 | SPORWH28
AEP | Melon Creek - Refugio | LN | 138 | 19/5, 18/10 | DCKT Hecker - Whitepoint 138 kV, Formosa - Lolita 138 kV | Rincon - Whitepoint 138 kV, Victoria - Victoria Dupont Switch 138 kV | RT | Planned | [6 empty] | MELONCRE | REFUGIO | MELONC_REFUGI1 | SMELREF8
AEP | Melon Creek - Rincon | LN | 138 | 18/11, 18/10 | DCKT Hecker - Whitepoint 138 kV, Airline Aep - … - Westside Aep 138 kV | Dupont Switch Ingleside - Rincon 138 kV, Arcadia - Southside 138 kV | RT | Planned, Forced | [6 empty] | RINCON | MELONCRE | MELONC_RINCON1 | SMELRIN8
ONCOR | Mitchell Bend Switch - Rocky Creek | LN | 345 | 19/11, 19/10 | DCKT Comanche Peak SES - Timberview Switch & Johnson Switch 345 kV | Carmicheal Bend Switch - Mitchell Bend Switch 345 kV | RT | Planned | [6 empty] | RKCRK | MBDSW | 152 | SRKCMB35
ONCOR | Mitchell Bend Switch - Wolf Hollow 345 Switch | LN | 345 | 22/3 | Comanche Peak Ses - Johnson Switch (Oncor) 345 kV & Comanche Peak Ses - Timberview Switch 345 kV | Comanche Peak Ses - Mitchell Bend Switch 345 kV | RT | Forced | [6 empty] | WOFHO | MBDSW | 6034_A | SRKCMB25
ONCOR | Monticello Ses - … -Paris Switch | LN | 345 | 2017 | DCKT Paris Sw to Valley Ses & Valley South 345 kV | Paris Sw 345/138 kV Auto MR1 | ADD | [7 empty] | PRSSW | MNSES | 390 | SMNSPRS5
ONCOR | Mt Enterprise - Trinidad Ses | LN | 345 | 2017 | DCKT Tri Corner - Elkton & Tyler Grande 345 kV | Elkton 345/138 kV Auto MR3 | ADD | [7 empty] | ENTPR | TRSES | 361 | SENTTR25
ONCOR | Nacogdoches Se - Redland Switch | LN | 138 | 18/12 | DCKT Mt Enterprise - Trinidad Ses & Martin Lake Ses - Stryker Creek Ses | Lufkin Switch - Nacogdoches South Tap 138 kV | RT | Planned | [6 empty] | HNRSW | NCDSE | 1170 | SHNRNCD8
AEP, LCRA | Naval Base - … - Port Aransas | LN | 69 | 18/11, 18/10, 17/4 | Hecker to WhitePoint 138 kV, Airline Aep - … - Westside Aep 138 kV, DCKT Citgo N Oak Park 0 Hiway 9 138 kV & Hiway 9 - Industrial Aep 69 kV, DCKT Hecker - Whitepoint 138 kV | Whitepoint - Rincon 138 kV, Arcadia - Southside 138 kV, Morris Street - Nueces Bay 138 kV, Dupont Switch Ingleside - Rincon 138 kV | RT | Planned | [6 empty] | NVLBASE | N_PADRE | NVLBAS_N_PADR1 | SSEAPO19
AEP | North Edinburg - Lon Hill | LN | 345 | 17/3, 16/3, 15/3 | Nelson Sharpe to Ajo 345 kV, Nelso Sharpe to Ajo 345 kV, DCKT Rio Hondo to North Edinburg 345 kV & Harlingen Sw 138 kV, Basecase | Raymondville 2 - Yturria Sub 138 kV, Celanese Bishop - Nelson Sharpe 138 kV, Burns Sub - Rio Hondo 138 kV, Valley GTC | RT, ST | Planned, Forced | [6 empty] | NEDIN | LON_HILL | LON_HI_NEDIN1 | SNEDLON5
AEP | North Edinburg - Pomelo | LN | 345 | 17/1, 16/10 | Basecase | Valley GTC | ST | Planned | Y | [5 empty] | NEDIN | POMELO | NEDIN_POMELO1 | SPOMNED5
AEP | North Edinburg - Rio Hondo | LN | 345 | 16/3 | North Edinburg to Lon Hill 345 kV | Burns Sub - Rio Hondo 138 kV | ST | Planned | [6 empty] | NEDIN | RIOHONDO | NEDIN_RIOHON1 | SNEDRIO5
AEP | North Edinburg Auto 138 345/138 kV | XF | 345 | 19/4, 17/2 | North Edinburg Auto 1382 345/138 kV | Burns Sub - Rio Hondo 138 kV, Haine Drive - La Palma 138 kV | RT | Planned, Forced | [6 empty] | NEDIN |  | 138H | XNED358
AEP | North Edinburg Auto 345_1382 345/138 | XF | 345 | 20/5 | DCKT Loss of North Edinburg Train 345 kV | North Edinburt Auto 345_138 345/138 kV | RT | Planned | Y, N | [5 empty] | NEDIN | NEDIN | 345_1382 | XNED258
AEP | North Laredo Switch - Piloncillo | LN | 138 | 21/10 | Fowlerton - Lobo 345 kV | Laredo Vft North - Las Cruces 138 kV | RT | Planned | [6 empty] | NLARSW | PILONCIL | NLARSW_PILONC1 | SPILNLA8
LCRA, ONCOR | North McCamey - … - Odessa Ehv Switch | LN | 345 | 2018 | Basecase | McCamey GTC | ADD | [7 empty] | NORTMC | ODEHV | MCCAMEY_ODESSA | SNORODE5
STEC | Oaks Sub - Poteet Sub | LN | 69 | 18/1, 17/12 | DCKT Castrvll to Razorbac & Txresrch 138kV | Hondo Creek Switching Station - Moore Switching Station 138 Kv | RT | Planned | [6 empty] | POTEETS | OAKS9 | POT_OAKS | SPOTOAK9
CNPE | Oasis - WA Parish | LN | 345 | 21/5 | Jones Creek - Refuge 345 kV & Jones Creek - South Texas Project 345 kV | Oasis - WA Parish 345 kV | RT | Planned | [6 empty] | OAS | WAP | OASWAP18A | SOASWA25
CNPE | Obrien - Wa Parish (OB_WAP99) | LN | 345 | 20/8 | DCKT Wa Parish-Jeanetta 345 kV | Wa Parish - Obrien 345 kV | RT | Forced | [6 empty] | WAP | OB | OB_WAP99A | SOBWAP5
ONCOR | Odessa … Odessa EHV Switch | LN | 138 | 22/3, 21/10 | Moss Switch - Odessa EHV Switch 345 kV & Odessa EHV Switch - Wolf Switching Station 345 kV | General Tire Switch - Rexall 138 kV, Midessa South SW AXFMR1 345/138 kV | RT | Planned | [6 empty] | ODESA | TROTP | 6512_A | SLIQOD18
ONCOR | Odessa EHV Switch - Quail Switch | LN | 345 | 22/3 | Falcon Seaboard - Midland East 345 kV & Falcon Seaboard - Morgan Creek Ses 345 kV | Morgan Creek Ses AXFMR1 345/138 kV | RT | Planned | [6 empty] | QALSW | ODEHV | 6051_A | SQALODE5
ONCOR, WETR | Odessa EHV Switch - Wett_Grelton | LN | 345 | 22/4, 22/3 | Longshore Switch - Midessa South Sw 345 kV & Morgan Creek Ses-…-Quail Switch 345 kV, Scurry County South Switch - Wett_Long_draw 345 kV & Wett_Faraday - Wett_Long_Draw 345 kV | Gail Sub - Willow Valley Switch 138 kV, Dewey Lake Tap - Polecat Creek Switch 138 kV, Luther - Vealmoor 138 kV | RT | Planned | [6 empty] | W_GT_345 | ODEHV | T-306 | SW_GODE5
LCRA | Odlaw Switch - … - Uvalde Aep | LN | 138 | 19/2 | Bighill - Kendal 345 kV | Hamilton Road - Maverick 138kV | RT | Planned, Forced | [6 empty] | ODLASW | BLEWET | 570T570 | SBRAUVA8
GAR | Olinger - Wylie Switch (WYL_OLI1) | LN | 138 | 16/4 | Greenville Steam to Shelby 138 kV | Shelby Auto BT1 138/69 kV | ST | Forced | [6 empty] | WYLIESW | OLINGR | WYL_OLI1 | SFIRWY18
GAR | Olinger - Wylie Switch (WYL_OLI2) | LN | 138 | 16/9, 15/9 | Pruitt to Swindell 138 kV | Ben Davis - Olinger 138 kV | ST | Planned | [6 empty] | WYLIESW | OLINGR | WYL_OLI2 | SOLIWY18
GAR | Olinger - Wylie Switch (WYL_OLI3) | LN | 138 | 16/9 | Pruitt to Swindell 138 kV | Ben Davis - Olinger 138 kV | ST | Planned | [6 empty] | WYLIESW | OLINGR | WYL_OLI3 | SOLIEL28
AEP | Paint Creek Bus #1 (CB 4135, etc.) | BUS | 138 | 17/1, 16/6, 16/5 | Scurry Sw to Sun Sw 138 kV, Salt Creek Bepc to Salt Creek Reactor 138 kV | Eskota Sw - Longworth 69 kV, Aspermont Auto 69T1 138/69 kV | ST | Planned | [6 empty] | PAINTCRE |  | 8BB1 | N/A
AEP, BPUB | Palo Alto Sub - Titan Sub | LN | 138 | 16/5 | Loma Alta Sub T1 138/69 kV | La Palma - Villa Cavazos 138 kV | RT | Planned | [6 empty] | PALOALTO | TITAN_SU | PALOAL_TITAN_1 | SPALSCA8
ONCOR | Paris Switch CB_8635 | CB | 345 | 2017 | DCKT Paris Sw to Valley Ses & Valley South 345 kV | Paris Sw 345/138 kV Auto MR1 | ADD | [7 empty] | PRSSW |  | 8635 | N/A
AEP, STEC | Pawnee Switching Station - Tango | LN | 345 | 22/2, 22/1, 21/11 | Coleto Creek - Grissom 345 kV & Fannin Sub - Goliad 69 kV, Grissom - Lon Hill 345 kV, Fowlerton - San Miguel Gen 345 kV | North Carbide - Sea Drift Coke 138 kV, Choke Canyon Aep - San Miguel Gen 138 kV, George West Switch Station - Sigmor 138 kV | RT | Forced, Planned | [6 empty] | PAWNEE | TANGO | PAWNEE_TANGO1 | STANPAW5
AEP | Port Aransas - Seawall Aep | LN | 69 | 18/1, 17/3 | DCKT Whitepoint to McCambell & Dupons Sw Ingleside 138 kV, DCKT Whitepoint to Hecker & Dupont Sw Ingleside 138 Kv, Barney Davis to Nelson Sharpe 138 kV, Nelson Sharpe Auto Trx Xf1 345/138 kV | Whitepoint - Rincon 138 kV, Rodd Field - Holly 138 kV | RT | Planned, Forced | [6 empty] | PORT_A | SEAWALL | PORT_A_SEAWAL1 | SSEAPO29
AEP | Primera - Rio Hondo | LN | 138 | 20/7 | La Palma-Rangerville (MVEC) 138 kV | Haine Drive - La Palma 138 kV | RT | Forced | [6 empty] | S_SNROSA | PRIMERA | PRIMER_S_SNRO11 | SS_SPRI8
CPS | Randolph - Weiderstein | LN | 138 | 15/9 | DCKT Skyline to Harmony & Nachches 138 kV | Fratt - Parkway Lcra 138 kV | ST | Planned | Y | [5 empty] | WEIDER | W2 | WEIDER_RAND | SW2WEI8
AEP | Refugio - … - Rincon | LN | 69 | 19/10, 19/9 | Victoria Auto 69A1 138/69 kV | Victoria Auto 69A2 138/69 kV | RT | Planned | [6 empty] | BONIVIEW | RINCON | BONIVI_RINCON1 | SBONRIN9
AEP | Refugio - … - Victoria | LN | 69 | 20/5 | Gila-…-Whitpoint 138 kV | Nueces Bay - Whitepoint 138 kV | RT | Planned | N | [5 empty] | OCONNOR | VICTORIA | REFUG_VICTO_1C | SGREVI29
AEP | Riley - Tesla | LN | 345 | 21/11 | DBCKT Edith Clarke - Riley 345 kV | Abilene Mulberry Creek - Long Creek 345 kV | RT | Planned | [6 empty] | RILEY | TESLA | RILEY_TESLA1 | STESRI15
AEP | Rincon - Whitepoint | LN | 138 | 22/4, 19/2 | Dupont Switch Ingleside - Hecker 138 kV & Dupont Switch Ingleside McCampbell 138 kV, McCampbell - … - Whitepoint 138 kV | Dupont Switch Ingleside - McCampbell 138 kV, Whitepoint TRX 138_69A1 138/69 kV | RT | Planned | [6 empty] | WHITE_PT | RINCON | RINCON_WHITE_2 | SRINWHI8
CNPE | Roans Prairie - Singleton | LN | 345 | 22/3 | North Belt - Th Wharton 345 kV | Airline - White Oak 138 kV | RT | Planned | [6 empty] | RNS | SNG | RNSSNG75A | SSNGRNS5
AEP, BRAZOS | Salt Creek SS - … - Spur | LN | 138 | 19/5 | DCKT Dermott Switch to Bluff Creek Switch & Golden Switch 138 kV | Morgan Creek SES - Sun Switch 138 kV | RT | Planned | [6 empty] | SLTCRKSS | SCKR | SCKR_SCK | SSPUSLT8
STEC | Sam Rayburn Switch - Vanderbilt Switch | LN | 138 | 15/10 | Loop 463 to Sam Rayburn 138 kV | Sam Rayurn Swithcing Station Auto 69_2 138/69 kV | ST | Planned | [6 empty] | RAYBURN | VANBLTSS | RAY_VANB | SVANRAY8
AEP | San Angelo College Hills - … - San Angelo Power Station | LN | 138 | 19/9 | San Angelo Paulann to San Angelo Red Creek 138 kV | San Angelo Concho - San Angelo Emerson Street 69 kV | RT | Planned | [6 empty] | SAPOWER | SOUTHLAN | SAPOWE_SOUTHL1 | SSASSA28
AEP | San Angelo Power Station - … - SA Highland Street | LN | 138 | 19/9 | San Angelo Coke Street to San Angelo Red Creek 138 kV | San Angelo Power Station - San Angelo South 69 kV | RT | Planned | [6 empty] | SAPOWER | SAST | SAPOWE_SAST1 | SSASRED8
AEP | San Angelo Red Creek Auto T2 345/138 kV | XF | 345 | 16/10 | San Angelo Red Creek Auto T1 345/138 kV | Nicole - Orient 138 kV | RT | Planned | [6 empty] | REDCREEK |  | T2H | XSA3R58
BRAZOS, ONCOR | Sardis - Sterrett | LN | 138 | 22/2 | Corsicana -…- Montfort Switch 138 kV & Montfort Switch - Trinidad Ses 138 kV | Desoto Switch - Red Oak 138 kV | RT | Planned | [6 empty] | STERT | SARDIS | 951_A | SSARSTE8
ONCOR, WETR | Scurry County South Switch - Wett_Long_Draw | LN | 345 | 22/4 | Longshore Switch - Midessa South Sw 345 kV & Morgan Creek Ses-…-Quail Switch 345 kV, Odessa EHV Switch - Wett_Grelton 345 kV, Wett_Grelton - Wett_Long_Draw 345 kV | Falcon Seaboard - Morgan Creek Ses 345 kV, Luther - Vealmoor 138 kV | RT | Planned | [6 empty] | W_LD_345 | SCOSW | T-304 | SW_LSCO5
AEP, BRAZOS | Scurry Switch - … - Spur | LN | 138 | 16/10, 16/3 | Aspermont Aep to Spur 138 kV | Spur Auto 69_1 138/69 kV | ST | Planned | Y, N | [5 empty] | SCURRYSW | SCK | SLTCRK_SCRYSW | SSPUMW18
BPUB | Sixth Street Substation - South Plant Substation | LN | 138 | 18/4, 18/3 | DCKT San Miguel Gen to Elmcreek 345 kV, Kendall to Cagnon 345 kV; | Pawnee Switching Station - Calaveras 345 kV, CICO - Comfort 138 kV | RT | Planned | [6 empty] | SOUTH_PL | SIXTH_ST | 6ST_SP | SSIXSOU8
LCRA | Smithville … Sim Gideon | LN | 138 | 22/3 | AEN Dunlap - Lost Pines AEN 345 kV & Austrop - Lost Pines AEN 345 kV | Sim Gideon - Winchester 138 kV | RT | Planned | [6 empty] | ALUMCR | SMITHV | 200T150 | SSMIGID8
ONCOR | Snyder - … - Sun Switch (6240) | LN | 138 | 21/4 | DCKT Dermott Sw-…- Bluff Creek Sw & Ennis Creek Sw 138 kV | Morgan Creek Ses - Sun Switch 138 kV | RT | Planned | N | [5 empty] | SNYDR | DPCRK | 6240_A | SSACSUN8
CNPE | South Texas Project - WA Parish | LN | 345 | 22/3, 22/2, 21/12, 21/9 | Jones Creek - Refuge 345 kV & Jones Creek - South Texas Project 345 kV, Jones Creek - South Texas Project 345 kV & Refuge - South Texas Project 345 kV, Hillje - Wolf 345 kV | Hillje - South Texas Project 345 kV, Blessing - Pavlov 138 kV, Jones Creek - South Texas Project 345 kV | RT | Planned | [6 empty] | STP | WAP | STPWAP39 | SSTPWAP5
BPUB, STEC | Southmost Sub - Waterport Sub | LN | 138 | 18/1 | Lon Hill to Coleto Creek 345 kV, La Palma to East Harrison 69 kV, DCKT Jewett to Singleton 345 kV | Warburton Road Switching Station - Victoria 138 kV, Btu Jack Creek - Twin Oak Sw 345 kV | RT | Forced | [6 empty] | WATERPRT | SOUTHMOS | WP_SM | SSOUWAT8
CNPE | Sr Bertron - Texas | LN | 138 | 21/2 | DCKT Chambers-King & Chambers Jordan-North Belt 345 kV | Exxon - Lynch 138 kV | RT | Forced | [6 empty] | SRB | TX | SRBTX_87A | STXSRB8
BRAZOS | Stephenville Bepc Auto FMR1 138/69 kV | XF | 138 | 15/3 | Oran Sub to Mineral Wells & RW Miller 138 kV | Bunker - RW Miller 138 kV | ST | Planned | [6 empty] | STV |  | FMR1 | XSTV289
ONCOR | Stryker Creek Ses - Trinidad Ses | LN | 345 | 2017 | DCKT Elkton to Tri Corner & Tyler Grande to Tri Corner 345 kV | Elkton 345/138 kV Auto MR3 | ADD | [7 empty] | SCSES | TRSES | 480 | STRSSCS5
CNPE | TH Wharton - Zenith (THWZEN98) | LN | 345 | 22/4, 22/3, 20/4 | DCKT Singleton to Tomball 345 kV and Kuykendahl to Roans Prairie 345 kV and Kuykendahl to Rothwood 345 kV | TH Wharton - Zenith (THWZEN71) 345 kV | RT | Planned, Forced, Forced | [6 empty] | THW | ZEN | THWZEN98 | SZENTH35
TNMP | TI TNP - West TNP | LN | 138 | 21/10 | DBCKT Carrollton Northwest - Lewisville Switch 345 kV | Jones Street Tnp - Lewisville Switch 138 kV | RT | Planned | [6 empty] | LWVTI | LWSVW | 588_A | SLWSLW48
ONCOR | Tri Corner - Tyler Grande | LN | 345 | 2017 | DCKT Trinidad Ses to Stryker Creek Ses & Mt Enterprise 345 kV | Elkton 345/138 kV Auto MR3 | ADD | [7 empty] | TRCNR | TYGND | 341 | STYGTRC5
ONCOR | Tri Corner - Watermill Switch (215) | LN | 345 | 20/2, 19/10, 19/9 | DCKT Watermill Switch - Big Onion & Elrod Switch 345 kV, DCKT Centerville Road Switch to Parkdale Switch 138 kV, DCKT Big Brown SES to Richland Chambers 345 kV | Britton Road - Venus Switch 345 kV (530_C), Prairie Creek - Scyene Road 138 kV, Kleberg Tap - Seagoville 138 kV | RT | Planned | [6 empty] | TRCNR | WTRML | 215 | STRCWTR5
ONCOR | Tri Corner - Watermill Switch (515) | LN | 345 | 20/2, 19/10, 19/9 | DCKT Parkdale Switch - Centerville Road Switch 138 kV,DCKT Big Onion - Watermill Switch 345 kV & Elrod Switch - Watermill Switch 345 kV, DCKT Big Brown SES to Richland Chambers 345 kV | Prairie Creek - Scyene Road 138 kV, Britton Road - Venus Switch 345 kV (530_C), Kleberg Tap - Seagoville 138 kV | RT | Planned | [6 empty] | TRCNR | WTRML | 515 | STRSWTR5
AEP | Victoria 69A2 138/69 kV | XF | 138 | 22/2 | Victoria Auto 69A1 138/69 kV | Magruder - Victoria 138 kV | RT | Forced | [6 empty] | VICTORIA | VICTORIA | 138_69A2_H | XVIC89
AEP | Victoria Auto 69A1 138/69 kV | XF | 138/69 | 21/3, 20/4 | Melon Creek-Rincon line 1 138 kV, Victoria Auto 69A2 138/69 kV | Bonnieview - Ricon, Magruder - Victoria 69 kV | RT | Forced, Planned | [6 empty] | VICTORIA |  | 69A1 | XVI2C89
AEP | Weil Tract - Westside Aep | LN | 138 | 18/11 | DCKT Citgo N Oak Park 0 Hiway 9 138 kV & Hiway 9 - Industrial Aep 69 kV | Morris Street - Nueces Bay 138 kV | RT | Planned | [6 empty] | SEIL_TRC | WESTSIDE | WEIL_T_WESTSI1 | SWEIWES8
WETR | Wett_Bearkat - Wett_Sand_Bluff | LN | 345 | 22/4 | Longshore Switch - Morgan Creek Ses 345 kV & Morgan Creek Switch - Quail Switch 345 kV, Longshore Switch - Midessa South Sw 345 kV & Morgan Creek Ses-…-Quail Switch 345 kV, Midessa South Sw - Spraberry Switch 138 kV & Odessa EHV Switch - Spraberry Switch 138 kV | Forest Creek and Sand Bluff Wind Farms - Morgan Creek Ses 138 kV | RT | Planned | [6 empty] | W_SB_345 | W_BK_345 | T-309 | SW_BW_25
WETR | Wett_Grelton - Wett_Long_Draw | LN | 345 | 22/4 | Longshore Switch - Morgan Creek Ses 345 kV & Morgan Creek Switch - Quail Switch 345 kV | Gail Sub - Key Sub 138 kV | RT | Planned | [6 empty] | W_GT_345 | W_LD_345 | T-305 | SW_GW_L5
AEP | Whitepoint Auto 345A 345/138 kV | XF | 345 | 18/3 | Lon Hill Auto Trx Lon_Hill_3_2 345/138 kV | Lon Hill Auto 381H 345/138 kV | RT | Forced | [6 empty] | WHITE_PT |  | 345A | XWHI58

## Request Form
TDSP | Major Transmission Element (MTE) | Equip. Type | kV | Contingency | Overload | Addition or Removal Requestor | Reason for Addition or Removal