## Slide 1
Generation Resource Energy and Regulation Deployment Performance Report for August 2022

## Slide 2: Non-IRR GREDP < 85% – August 2022
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 339 | 904 | 1,266 | 5.83 | 71.41
Unit 104 | 44 | 67 | 3.50 | 65.67
Unit 267 | 51 | 62 | 1.82 | 82.26

## Slide 3: IRR Summary – August 2022
IRR | Fleet | < 95% | > 100 INT, < 95%
GREDP Average (%) | 78.07 | 56.75 | 86.31
GREDP Median (%) | 96.24 | 66.67 | 86.57
Average MW Error | 5.36 | 5.20 | 4.24
Median MW Error | 4.73 | 4.36 | 3.56
Total Intervals Scored | 12,731 | 4934 | 3,598
100+ Intervals Scored | 22 | 273 | 6
Total Intervals Scored Average | 42.87 | 71.51 | 599.67

## Slide 4: IRR ≥ 95%, ≥ 100 Scored Intervals – August 2022
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 1 | 1,758 | 1,760 | 5.33 | 99.89
Unit 4 | 810 | 831 | 3.90 | 97.47
Unit 5 | 809 | 819 | 5.11 | 98.78
Unit 8 | 707 | 736 | 5.57 | 96.06
Unit 9 | 650 | 663 | 2.61 | 98.04
Unit 10 | 363 | 367 | 11.79 | 98.91
Unit 11 | 319 | 332 | 10.33 | 96.08
Unit 13 | 222 | 227 | 5.07 | 97.80
Unit 14 | 205 | 209 | 6.19 | 98.09
Unit 15 | 170 | 170 | 3.03 | 100.00
Unit 16 | 132 | 134 | 7.86 | 98.51
Unit 17 | 113 | 114 | 3.10 | 99.12
Unit 18 | 105 | 109 | 17.39 | 96.33
Unit 19 | 105 | 105 | 7.49 | 100.00
Unit 20 | 104 | 104 | 4.14 | 100.00
Unit 21 | 98 | 103 | 7.01 | 95.15

## Slide 5: IRR < 95%, ≥ 100 Scored Intervals – August 2022
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 2 | 732 | 891 | 1.90 | 82.15
Unit 3 | 756 | 840 | 2.51 | 90.00
Unit 6 | 728 | 790 | 3.33 | 92.15
Unit 7 | 668 | 745 | 8.50 | 89.66
Unit 12 | 192 | 230 | 3.79 | 83.48
Unit 22 | 82 | 102 | 5.41 | 80.39