## Slide 1
Residential KWH Usage 2010 - 2022
Carl L Raish
Principal Load Profiling and Modeling
Retail Market Subcommittee – June 7, 2022

## Slide 2: Comparison Methodology
Pull sub-total data from ERCOT Settlement System for Residential profiles with IDR meter types (AMS metering).
  Usage for Active ESIIDs in competitive areas of ERCOT.
  Use newest settlement data for each operating day.
  Sum across TDSPs and Weather Zones.
Determine number of active ESIIDs for each operating day.
  Sum across TDSPs and Weather Zones.
Divide to get average KWH per ESIID by day.
Sum across Days to get average KWH per ESIID by month/year.
Also determine hourly peak for the month.
  1 MW is the amount required to serve X Residential Customers

## Slide 3: Residential Hourly Peak per ESIID
  1 MW is enough to serve 250 Residential Customers at the ERCOT Summer Residential Class Hourly Peak
  1 MW is enough to serve 320 Residential Customers at the ERCOT Residential Class Winter Hourly Peak
Summer: Jun - Sep
Winter: Dec, Jan, Feb

## Slide 4: Residential KWH per ESIID
2022: Sep – Dec use 2010 – 2021 average

## Slide 5: Residential KWH per ESIID Rankings

## Slide 6: Residential KWH per ESIID Comparisons

## Slide 7: Residential KWH per ESIID Comparisons

## Slide 8: Residential KWH per ESIID Comparisons

## Slide 9: Residential KWH per ESIID Comparisons

## Slide 10: Residential KWH per ESIID Centerpoint

## Slide 11: Residential KWH per ESIID Oncor

## Slide 12: Residential KWH per ESIID TNMP

## Slide 13: Residential KWH per ESIID AEP Central

## Slide 14: Residential KWH per ESIID AEP North

## Slide 15: Residential KWH per ESIID Comparisons

## Slide 16: Residential KWH per ESIID Comparisons

## Slide 17: Residential KWH per ESIID Comparisons